## HE 1100
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 11
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 998 |  | Local Avail. | 611
|  | Enter Remote Generation: | 688 |  |  | PNM Contingent: | 7 |  | Gen. | 516
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 95
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 25 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1402 |  |  | Total Load Next Hour: | 1333 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 82 |  |  | PNM Contract: | 7
|  | Spin Required: | 41 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 41 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 65 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 82 | 35 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 75 | 65 |  |  | MWH | $/MWH |  |  | Unit 1 | 68 | 77 | 9 | 3 | 0
|  | Total Spin: | 157 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | 41 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 95 | 100 | 5 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | 41 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 200 | 210 | 10 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 81 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 3 | 67 | 10 | 1 | 54
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 36 | 39 | 3 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 516 | 611 | 41 |  | 54
[6 empty] | Total: | 0 | NA | 0 |  | FC | 102 | 103
[11 empty] | PV | 586 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 82 |  |  |  |  | 0 |  |  | 688 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 41 | MW's actual spin for Hour Ending |  |  | 11

## HE 1200
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 12
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1026 |  | Local Avail. | 611
|  | Enter Remote Generation: | 687 |  |  | PNM Contingent: | 7 |  | Gen. | 563
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 48
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 25 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1401 |  |  | Total Load Next Hour: | 1361 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 88 |  |  | PNM Contract: | 7
|  | Spin Required: | 44 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 44 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 40 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 75 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 73 | 77 | 4 | 3 | 0
|  | Total Spin: | 115 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 75 | 77 | 2 | 4.5 | 0
|  | Spin Available/(Deficient): | -4 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 95 | 100 | 5 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -4 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 184 | 210 | 26 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 59 | 67 | 8 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 36 | 39 | 3 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 563 | 611 | 48 |  | 0
[6 empty] | Total: | 0 | NA | 0 |  | FC | 102 | 103
[11 empty] | PV | 585 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 88 |  |  |  |  | 0 |  |  | 687 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 48 | MW's actual spin for Hour Ending |  |  | 12

## HE 1300
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 13
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1047 |  | Local Avail. | 611
|  | Enter Remote Generation: | 687 |  |  | PNM Contingent: | 7 |  | Gen. | 562
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 49
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1401 |  |  | Total Load Next Hour: | 1357 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 87 |  |  | PNM Contract: | 7
|  | Spin Required: | 43.5 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 43.5 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 44 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 50 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 70 | 77 | 7 | 3 | 0
|  | Total Spin: | 94 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | 0.5 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 95 | 100 | 5 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | 0.5 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 184 | 210 | 26 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 63 | 67 | 4 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 36 | 39 | 3 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 562 | 611 | 49 |  | 0
[6 empty] | Total: | 0 | NA | 0 |  | FC | 103 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 87 |  |  |  |  | 0 |  |  | 687 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 49 | MW's actual spin for Hour Ending |  |  | 13

## HE 1400
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 14
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1064 |  | Local Avail. | 611
|  | Enter Remote Generation: | 686 |  |  | PNM Contingent: | 7 |  | Gen. | 571
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 40
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1400 |  |  | Total Load Next Hour: | 1374 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 88 |  |  | PNM Contract: | 7
|  | Spin Required: | 44 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 44 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 26 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 50 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 70 | 77 | 7 | 3 | 0
|  | Total Spin: | 76 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -18 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 94 | 100 | 6 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -18 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 196 | 210 | 14 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 63 | 67 | 4 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 34 | 39 | 5 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 571 | 611 | 40 |  | 0
[6 empty] | Total: | 0 | NA | 0 |  | FC | 102 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 88 |  |  |  |  | 0 |  |  | 686 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 40 | MW's actual spin for Hour Ending |  |  | 14

## HE 1500
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 15
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1072 |  | Local Avail. | 611
|  | Enter Remote Generation: | 686 |  |  | PNM Contingent: | 7 |  | Gen. | 555
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 56
|  | Non-Firm Purchases into EPE: | 25 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1425 |  |  | Total Load Next Hour: | 1382 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 89 |  |  | PNM Contract: | 7
|  | Spin Required: | 44.5 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 44.5 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 43 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 25 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 70 | 77 | 7 | 3 | 0
|  | Total Spin: | 68 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -21 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 94 | 100 | 6 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -21 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 181 | 210 | 29 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 62 | 67 | 5 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 34 | 39 | 5 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 555 | 611 | 56 |  | 0
[6 empty] | Total: | 0 | NA | 0 |  | FC | 102 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 89 |  |  |  |  | 0 |  |  | 686 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 56 | MW's actual spin for Hour Ending |  |  | 15

## HE 1600
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 16
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1076 |  | Local Avail. | 611
|  | Enter Remote Generation: | 687 |  |  | PNM Contingent: | 7 |  | Gen. | 542
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 69
|  | Non-Firm Purchases into EPE: | 50 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1451 |  |  | Total Load Next Hour: | 1386 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 89 |  |  | PNM Contract: | 7
|  | Spin Required: | 44.5 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 44.5 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 65 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 0 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 70 | 77 | 7 | 3 | 0
|  | Total Spin: | 65 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -24 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 91 | 100 | 9 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -24 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 172 | 210 | 36 | 3.6 | 2
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 60 | 67 | 7 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 35 | 39 | 4 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 542 | 611 | 67 |  | 2
[6 empty] | Total: | 0 | NA | 0 |  | FC | 103 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 89 |  |  |  |  | 0 |  |  | 687 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 67 | MW's actual spin for Hour Ending |  |  | 16

## HE 1700
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 17
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1074 |  | Local Avail. | 611
|  | Enter Remote Generation: | 687 |  |  | PNM Contingent: | 7 |  | Gen. | 532
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 79
|  | Non-Firm Purchases into EPE: | 50 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1451 |  |  | Total Load Next Hour: | 1384 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 88 |  |  | PNM Contract: | 7
|  | Spin Required: | 44 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 44 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 67 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 0 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 70 | 77 | 7 | 3 | 0
|  | Total Spin: | 67 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -21 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 87 | 100 | 13 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -21 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 164 | 210 | 36 | 3.6 | 10
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 62 | 67 | 5 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 35 | 39 | 4 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 532 | 611 | 69 |  | 10
[6 empty] | Total: | 0 | NA | 0 |  | FC | 103 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 88 |  |  |  |  | 0 |  |  | 687 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 69 | MW's actual spin for Hour Ending |  |  | 17

## HE 1800
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 18
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1058 |  | Local Avail. | 611
|  | Enter Remote Generation: | 687 |  |  | PNM Contingent: | 7 |  | Gen. | 507
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 104
|  | Non-Firm Purchases into EPE: | 50 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1451 |  |  | Total Load Next Hour: | 1368 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 87 |  |  | PNM Contract: | 7
|  | Spin Required: | 43.5 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 43.5 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 83 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 0 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 70 | 77 | 7 | 3 | 0
|  | Total Spin: | 83 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -4 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 76 | 100 | 24 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -4 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 150 | 210 | 36 | 3.6 | 24
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 62 | 67 | 5 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 35 | 39 | 4 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 507 | 611 | 80 |  | 24
[6 empty] | Total: | 0 | NA | 0 |  | FC | 103 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 87 |  |  |  |  | 0 |  |  | 687 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 80 | MW's actual spin for Hour Ending |  |  | 18

## HE 2000
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 20
|  | Enter Local Generation Avail: | 611 |  |  | Projected Control Area Load: | 1086 |  | Local Avail. | 611
|  | Enter Remote Generation: | 686 |  |  | PNM Contingent: | 7 |  | Gen. | 548
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 63
|  | Non-Firm Purchases into EPE: | 50 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 611
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1450 |  |  | Total Load Next Hour: | 1396 |  | 3 |  | 541
|  | Enter Total Spin Required:** | 88 |  |  | PNM Contract: | 7
|  | Spin Required: | 44 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 44 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 54 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 0 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 71 | 77 | 6 | 3 | 0
|  | Total Spin: | 54 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -34 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 69 | 100 | 31 | 3.37 | 0
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -34 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 195 | 210 | 15 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 62 | 67 | 5 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 41 | 41 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 37 | 39 | 2 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 548 | 611 | 63 |  | 0
[6 empty] | Total: | 0 | NA | 0 |  | FC | 103 | 103
[11 empty] | PV | 583 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 88 |  |  |  |  | 0 |  |  | 686 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 63 | MW's actual spin for Hour Ending |  |  | 20

## HE 2100
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE | [8 empty] | 2001-07-29
[6 empty] | HE | 21
|  | Enter Local Generation Avail: | 612 |  |  | Projected Control Area Load: | 1099 |  | Local Avail. | 612
|  | Enter Remote Generation: | 687 |  |  | PNM Contingent: | 7 |  | Gen. | 512
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 100
|  | Non-Firm Purchases into EPE: | 50 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 103 |  |  | Firm Sales: | 128 | Eddy | 133 | Local | 612
|  | Reserves: | 0 |  |  | Non-Firm Sales: | 0 | -load | 130 | -Copper | 70
|  | Total Generation for Load: | 1452 |  |  | Total Load Next Hour: | 1409 |  | 3 |  | 542
|  | Enter Total Spin Required:** | 87 |  |  | PNM Contract: | 7
|  | Spin Required: | 43.5 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 43.5 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 75 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 0
|  | *Amount of Spin: | 43 | 245 | Weighted Avg. Purchase Power Calculator | [6 empty] | Output | Highs' | Spin | RR | LG
|  | Amount of Non-Spin: | 0 | 275 |  |  | MWH | $/MWH |  |  | Unit 1 | 47 | 77 | 30 | 3 | 0
|  | Total Spin: | 43 |  |  | Firm Block 1: | 0 | 0 | 0 |  | 2 | 73 | 77 | 4 | 4.5 | 0
|  | Spin Available/(Deficient): | -44 |  |  | Firm Block 2: | 0 | 0 | 0 |  | 3 | 44 | 100 | 33.7 | 3.37 | 22.3
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  | GT2 | 0 | 0 | 0 | 10 | 0
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | -44 |  |  | Total: | 0 | NA | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  | NM4 | 207 | 210 | 3 | 3.6 | 0
|  | MWH of Non-Firm Avail./(Deficient): | 114 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  | Copper | 63 | 67 | 4 | 1 | 0
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  | 6 | 42 | 42 | 0 | 2 | 0
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  | 7 | 36 | 39 | 3 | 2.1 | 0
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  | 8 | 0 | 0 | 0 | 1 | 0
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  | Total | 512 | 612 | 77.7 |  | 22.3
[6 empty] | Total: | 0 | NA | 0 |  | FC | 103 | 103
[11 empty] | PV | 584 | 602
NOTE: | * Spin = Forecast Quota = |  |  | 87 |  |  |  |  | 0 |  |  | 687 | 705 |  | RR = Ramp Rates
| ** Output comes from the EMS | [13 empty] | LG = Lost Generation because of RR
*** Load includes Native Load, SS & CFE
[5 empty] | 77.7 | MW's actual spin for Hour Ending |  |  | 21