## TABLE
|  | Firm Pipeline Capacity into Southern California |  | Exhibit No. ____
|  | MMcfd |  | I.99-007-003
INCOMING INTERSTATE CAPACITY |  | SCG TAKE-AWAY | TOTAL TAKE-AWAY CAPACITY
Wheeler Ridge |  | Wheeler Ridge | Wheeler Ridge
PG&E Canadian | 600 | 680 | SoCalGas | 680
Kern River | 700 | {1,2,3,4} | Enhanced Oil Recovery (EOR) | 770
Mojave {5} | 400 |  | Kern to PG&E at Daggett | 200 | {8}
Occidental | 200 |  | Kern toSWGas, Nevada | 150
Total | 1900 |  | Occidental to PG&E | 200 | {8} {11}
|  |  | Total | 2000
Hector Road |  | Hector Road | Hector Road
Mojave | 400 | 50 | SoCalGas | 50
| {5} | {6} | EOR or Wheeler Ridge | 350 | {9}
|  |  | Total | 400
No. Needles |  | No. Needles | No. Needles
Transwestern | 750 | 750 | SoCalGas | 750
Topock (South Needles) |  | Topock | Topock
El Paso | 2080 | 540 | SoCalGas | 540
Transwestern | 340 |  | PG&E | 1140
Total | 2420 |  | Mojave | 400 | {9}
| {12} |  | El Paso to SWGas, Nevada | 0
|  |  | Total | 2080
Blythe |  | Blythe | Blythe
El Paso | 1210 | 1210 | SoCalGas | 1210
L85, San Joacquin Calif |  | L85 | L85
Calif. | 150 | 150 | SoCalGas | 150
N. Coastal California |  | N. Coast | N. Coast
Calif. | 120 | 120 | SoCalGas | 120
INCOMING INTERSTATE CAPACITY |  | SCG TAKE-AWAY | TOTAL S. CALIF TAKE-AWAY CAPACITY
{10} | 6150 | 3500 |  | 5560 | {7}
(1) Take-away from PG&E limited to 520 MMcfd by Line 225 capacity from Kern River St. to Wheeler Ridge w/650 psi pressure from PG&E
(2) Mojave meters currently set to 500 MMcfd but K/M noted the capacity can be raised to 680 MMcf/d by simply adjusting the existing meters.
(3) Interconnect Capacity with Occidental is 200 MMcfd
(4) Total combined PG&E, Occidental, Kern/Mojave of 680 MMcfd capacity assumes minimum flow of 160 MMcfd from Kern/Mojave.
(5) Mojave 400 is fed by EP/TW at Topock. Not included in totals to avoid double counting.
{6} Interconnect is for 200 MMcfd, but firm capacity limited to 50 MMcfd if 750 MMcfd TW supply flows at N. Needles
{7} Total is sum of SoCalGas (3500), SWGas Nevada (300), Enhanced Oil Recovery (770), PG&E Line 300 (1140).
{7} Total is sum of SoCalGas (3500), SWGas Nevada (150), Enhanced Oil Recovery (770), PG&E Line 300 (1140).
{8} This capacity feeds into PG&E Line 300 and is not in total to avoid double-counting
{9} This capacity serves Enhanced Oil Recovery Market or SoCalGas via Wheeler Ridge; therefore is not in total to avoid double counting.
{10} Upsteam Capacity flowing to SCG interconnects that could theoretically serve SCG given unlimited take-away and market demand
{11} Subject to Occidental pressures and final operational details of SCG/PG&E access agreements
{12} There are contracts on El Paso with primary rights at the SoCal Gas delivery point totaling approximately 1466 MMcf/d.
Avg. Daily Market
Source: 1999 SCG BCAP forecast |  |  | SoCalGas | 2690
Source: 1999 CGR, p.14 All PG&E sources other than Calif/Canada |  |  | PG&E L300s | 640
Source: Division of Oil & Gas, Annual Report 1998/1999 average |  |  | Enhanced Oil Recovery | 770
Source: FERC 1998 Form 2 |  |  | SWGas, Nevada | 176
|  |  | Total | 4276
Note on C22: Bill Healy: This should be reduced by 150 MM/d because that is the total of the firm contracts with rights to deliver to California. The SWG Nevada contract cannot deliver to California. Any volumes above the 2080 MMcf/d would have to flow on some form of interruptible agreement. Given the note in Brian's cover memo indicating that this is a representation of firm capacity, this change should be made.