## TABLE
Exhibit No.______
I.99-07-003
|  |  | Firm Pipeline Capacity into Southern California |  | (MMcf/d)
Wheeler Ridge
| Incoming Interstate Capacity |  |  | Take-Away Capacity
| PGT/PG&E | 600 |  | SoCalGas | 680 | (1,2,3,4)
| Kern/Mojave | 1100 |  | Other Deliveries
| Occidental | 200 |  | PG&E No. Calif. | 520
| Total | 1900 |  | EOR Market | 700
|  |  |  | Hector Rd. | 50
|  |  |  | K/M to PG&E | 200
|  |  |  | K/M to Las Vegas | 150
|  |  |  | OXY to PG&E | 200
|  |  |  | Total | 2500
(1) Take-away from PG&E limited to 520 MMcf/d by Line 225 capacity from KRS to Wheeler Ridge w/650 psig of pressure from PG&E.
(2) Kern/Mojave meter currently set to 500 MMcfd.
(3) Interconnect capacity with Occidental is 200 MMcfd.
(4) Total SoCal Gas take-away capacity of 680 MMcf/d from PG&E, Occidental, and Kern/Mojave inteconnects
assumes minimum flow of 160 MMcfd from Kern/Mojave interconnect.
Hector Road
| Incoming Interstate Capacity |  |  | Take-Away Capacity
| Mojave | 400 |  | SoCalGas | 50
Other Deliveries
|  |  |  | EOR market | 400
|  |  |  | Wheeler Ridge | 400
|  |  |  | Total | 850
No. Needles
| Incoming Interstate Capacity |  |  | Take-Away Capacity
| Transwestern | 1090 |  | SoCalGas | 750
Other Deliveries
|  |  |  | PG&E | 400
|  |  |  | Mojave | 400
|  |  |  | Total | 1550
Topock (South Needles)
| Incoming Interstate Capacity |  |  | Take-Away Capacity
| El Paso | 2230 |  | SoCalGas | 540
| Transwestern | 400 |  | Other Deliveries
|  | 2630 |  | PG&E | 1140
|  |  |  | Mojave | 400
|  |  |  | SWGas | 150
|  |  |  | Total | 2230
Blythe
| Incoming Interstate Capacity |  |  | Take-Away Capacity
| El Paso | 1210 |  | SoCalGas | 1210
|  |  |  | Other Deliveries | N/A
|  |  |  | Total | 1210