## Top_Menu
Click on any button to perform the appropriate action.
.
Print all 3 sheets of the 6 Day
Create Sheet for New Day
Load Another Day's Sheet
Print PGL & NSG 6-Day sheets
Print 6-Day Summary Sheet
Print
NGPL Forecast
Print
Gas Summaries
Copy Weather to Network
Print PGL & NSG Midcon Noms
Print PGL
Nine to Nine
Print NSG
Nine to Nine
Print PGL
Nine to Nine
Print Billy Sheet
Print Mahomet Pipeline Graphics

## Weather_Input
Weather | [13 empty] | SUNNY
|  |  |  | Actual | Actual | Actual | [7 empty] | CLOUDY
|  |  | Average | Average | Monthly | Seasonal | Degree |  |  |  | 1 Word |  |  | PARTLY
| High | Low | Wind Speed | Temp | Degree Day | Degree | Day | Forecast Line #1 | Forecast Line #2 | W. Code | Description |  |  | SNOW
2001-06-19 | 83 | 65 | 7.2 | 71.2 | 77 | 6689 | 0 | OVERNIGHT…MOSTLY CLOUDY. A 40% CHANCE OF RAIN. |  | 2 | 1 | OVERNIGHT…MOSTLY CLOUDY. A 40% CHANCE OF RAIN. OVERNIGHT…MOSTLY CLOUDY. A 40% CHANCE OF RAIN. | 1 | RAIN
2001-06-20 | 78 | 59 | 7 |  |  |  |  | MOSTLY CLOUDY THIS A.M…BECOMING PARTLY SUNNY BY P.M. N.E. WINDS 5/10 MPH | OVERNIGHT…PARTLY CLOUDY. LIGHT NORTH WINDS. | 2 | S | MOSTLY CLOUDY THIS A.M…BECOMING PARTLY SUNNY BY P.M. N.E. WINDS 5/10 MPH OVERNIGHT…PARTLY CLOUDY. LIGHT NORTH WINDS. | 1 | TSTORM
2001-06-21 | 72 | 53 | 10 |  |  |  |  | PARTLY CLOUDY WITH A 30% CHANCE OF P.M. SHOWERS…COOLER NEAR LAKE. OVE | RNIGHT…BECOMING FAIR. | 3 | PARTLY | PARTLY CLOUDY WITH A 30% CHANCE OF P.M. SHOWERS…COOLER NEAR LAKE. OVE RNIGHT…BECOMING FAIR.
2001-06-22 | 74 | 51 | 8 |  |  |  |  | SUNNY…BUT COOLER NEAR THE LAKE. |  | 1 |  | SUNNY…BUT COOLER NEAR THE LAKE.
2001-06-23 | 80 | 58 | 6 |  |  |  |  | PARTLY CLOUDY…BUT COOLER NEAR THE LAKE. |  | 3 | 0 | PARTLY CLOUDY…BUT COOLER NEAR THE LAKE.
2001-06-24 | 85 | 62 | 8 |  |  |  |  | SUNNY. |  | 1 | v | SUNNY.

## PGL_Deliveries
[49 empty] | These four generators are included in sendout |  |  |  | not included in sendout
|  |  | Measured Deliveries | [23 empty] | Trunkline |  |  | NGPL |  | NGPL | [16 empty] | NGPL | Daniels |  | SCADA | 100% | SCADA | Manlove Ultrasonic
| Mean |  | 73rd | Calumet | Calumet | Calumet | Crawford | Crawford | Crawford | Oakton | O'Hare | O'Hare | US Steel/ | 112th & | Republic |  |  |  | Oakton | Actual |  |  |  | Northern Border |  |  | injected to | Trunkline | Trunkline | 10" | 10" | 16" | 16" | SNG | Union | Mobil | PERC | PGL | Linepack |  | NGPL No-Notice |  | LNG |  | MANLOVE | MANLOVE |  | MANLOVE | Midwest Generation |  |  | Crawford | Elwood |  | Bi-Directional
| Temp | Sendout | Street | 2 | 3 | Edison | Natural | Manlove | LPG | Stn. | 1 | 2 | ACME | 138th St. | (LTV 2) | LTV 3 | Ford | Unmetered | NICOR | Sendout | Alliance | ANR | Midwestern | Man. North | Man. South | Sharp Rd. | Manlove | to LNG | to Pipeline | Injection | to Pipeline | Injection | to Pipeline | TAP | RFG | RFG | Peaking | BTU'S | In | Out | In | Out | In | Out | INJECTION | Plant & Field | FUEL USED | WITHDRAW | Calumet | Crawford | Fisk | Unicom | NICOR | Lincoln | To NGPL | To PGL
2001-06-19 | 74 | 215000 | 0 | 0 | 0 | 2247 | 36795 | 167890 | 0 | 19 | 3 | 1676 | 287 | 1 | 799 | 245 | 1064 | 4594 | 0 | 215620 | 89586 | 0 | 0 | 0 | 165128 | 17045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 7086 | 17764 | 0 | 1016 | 0 | 15722 | 0 | 18000 | 0 | 1463 | 121310 | 600 | 1819.65 | 0 | 2254 | 4685 | 0 | 0 | 17527 | 6467
2001-06-20 | 68.5 | 220000 | [44 empty] | **FORMULA**
2001-06-21 | 62.5 | 225000 |  |  |  |  | ^^^^^^^^^^ | [9 empty] | NATIONAL | 0
2001-06-22 | 62.5 | 205000 |  |  |  |  | Note: that Crawford Edision | [9 empty] | HOLNAM | 0
2001-06-23 | 69 | 185000 |  |  |  |  | is included in the | [9 empty] | STEELMET | 0
2001-06-24 | 73.5 | 200000 |  |  |  |  | Crawford Natural Total. | [9 empty] | MRBLHD#1 | 0
[17 empty] | 122ND | 0
[17 empty] | 134TH | 0
[17 empty] | MRBLHD#2 | 0
[17 empty] | SH BELL | 0
[17 empty] | GNRL MILLS | 0

## NSG_Deliveries
[11 empty] | ANR | ANR
[9 empty] | NO | NO | NO | NO
| Mean | Sendout | Busse |  | Somers | Tonne | Actual | NSG | NOTICE | NOTICE | NOTICE | NOTICE
| Temp. |  | Road | Grayslake | Road | Road | Sendout | AVE. BTU | IN | OUT | IN | OUT
2001-06-19 | 74 | 36000 | 0 | 23805 | 10571 | 1053 | 35429 | 1003 | 3031 | 0 | 4644 | 0
2001-06-20 | 68.5 | 37000
2001-06-21 | 62.5 | 38000
2001-06-22 | 62.5 | 36000
2001-06-23 | 69 | 33000
2001-06-24 | 73.5 | 36000

## PGL_Requirements
Injection
[6 empty] | 100% | Oani | Payback | Lincoln |  | Deliveries | MFUL | [6 empty] | ANR |  | Elwood Burns by Units | [5 empty] | MGT |  |  |  | NBDR
| LNG |  |  |  |  | Elwood | HUB | Alliance | Wilton |  | To | PGLto NGPL | NGPL | PGL | Manlove | Manlove | NGPL | MANLOVE | No-Notice | No-Notice | Units | Ultrasonic | Turbine | to | to | to | to | to | to | to | to | to | to
| Liquefaction | MGT | NBDR | TGC | Linepack In | BURN | Activities | PGL to Alliance | Allegheny | Constellation | Midwestern | SPSSO | No-Notice | Manlove | Fuel | Plant Use | NSS | NGPL-DSS | E. Joliet | CoMo | 1 - 4 | 5 - 8 | 9 | ANR | MGT | NBDR | ANR | NGPL | MGT | ANR | NGPL | MGT | NBDR
2001-06-19 | 0 | 0 | 0 | 4000 | 0 | 17045 | 0 | 0 | 6444 | 0 | 0 | 0 | 0 | 131310 | 1969.65 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1899-12-31
2001-06-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135000 | 2025 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900-01-01
2001-06-21 | 0 | 0 | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135000 | 2025 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900-01-02
2001-06-22 | 0 | 0 | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135000 | 2025 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900-01-03
2001-06-23 | 0 | 0 | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135000 | 2025 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900-01-04
2001-06-24 | 0 | 0 | 0 | 4000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 135000 | 2025 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1900-01-05

## PGL_Supplies
[6 empty] | Other Supplies |  |  |  |  | Storage Withdrawals | [12 empty] | System Supply
[12 empty] | MFUL |  |  |  | ANR |  | Elwood nom |  | Pegasys
| Forecasted | [7 empty] | PERC | NGPL | PGL | NGPL to PGL |  |  | TGC VIA | E. Joliet | Monee | NICOR | HUB | Transportation |  | Alliance | [6 empty] | TGC QNT
| Linepack Out | MGT | NBDR | NICOR | TGC | LNG | RFG | LPG | Peaking | NO-NOTICE | Manlove | SPSSO |  |  | PANHANDLE | No-Notice | No-Notice | N Border only | Activities | Totals |  | Payback to PGL | Alliance | ANR | MGT | NBDR | NGPL | TGC | TPC/Hess
2001-06-19 | 15722 | 0 | 0 | 0 | 0 | 1463 | 24850 | 0 | 0 | 18000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34334 | 0 | 122530 | 0 | 0 | 89603 | 200 | 0 | 167271 | 31556 | 4000 | 0 | 1899-12-31
2001-06-20 | 0 | 0 | 0 | 0 | 0 | 1000 | 15000 | 0 | 0 | 25030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 0 | 120055 | 0 | 0 | 99063 | 200 | 0 | 150892 | 41342 | 24000 | 0 | 1900-01-01
2001-06-21 | 0 | 0 | 0 | 0 | 0 | 1000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120055 | 0 | 0 | 99063 | 200 | 0 | 150892 | 41342 | 4000 | 0 | 1900-01-02
2001-06-22 | 0 | 0 | 0 | 0 | 0 | 1000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120055 | 0 | 0 | 99063 | 200 | 0 | 150892 | 41342 | 4000 | 0 | 1900-01-03
2001-06-23 | 0 | 0 | 0 | 0 | 0 | 1000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120055 | 0 | 0 | 99063 | 200 | 0 | 150892 | 41342 | 4000 | 0 | 1900-01-04
2001-06-24 | 0 | 0 | 0 | 0 | 0 | 1000 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120055 | 0 | 0 | 99063 | 200 | 0 | 150892 | 41342 | 4000 | 0 | 1900-01-05

## NSG_Requirements
| Gas Owed | Off_System Sales |  |  |  | No Notice |  |  |  |  | Injection | [6 empty] | NSG Displacement to PGL
| by NSG |  |  |  |  | NPGL |  | Calculated |  | NSG to PGL | NSG to PGL | NSG to PGL | NSG
[6 empty] | Midcon -50 | NGPL | 5% | ANR | Manlove | Manlove | Manlove | Manlove | ANR | NGPL | NGPL | NGPL | ANR |  |  |  | MGT |  |  | NGPL |  |  | NBDR
| NICOR | NGPL | ANR | MGT | NBDR | EOD ADJ. | NO-NOTICE | Tolerance | No-Notice | via NBDR | via NGPL | via MGT | via ANR | 50 | DSS | NSS | BESS | to ANR | to NGPL | to MGT | to ANR | to NGPL | to MGT | to ANR | to NGPL | to MGT | to ANR | to NGPL | to MGT | to NBDR
2001-06-19 | 0 | 0 | 0 | 0 | 0 | 0 | 3031 | 7197 | 4644 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2001-06-19
2001-06-20 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 7197 | 4760 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2001-06-20
2001-06-21 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 7197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2001-06-21
2001-06-22 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 7197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2001-06-22
2001-06-23 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 7197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2001-06-23
2001-06-24 | 0 | 0 | 0 | 0 | 0 | 0 | 2000 | 7197 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2001-06-24

## NSG_Supplies
| Gas Owed | Contractual |  |  |  | Storage Withdrawals | [6 empty] | Flowing Supply
| To NSG | [12 empty] | ANR
|  | NGPL | Midcon-50 | ANR | NGPL | PGL | NGPL | NGPL | NGPL | ANR | ANR | NBDR |  | Sys. Supply | Sys. Supply | NGPL | Transportation Gas
| NICOR | Midcon -50 | EOD-ADJ | No-Notice | NO-NOTICE | Manlove | DSS | NSS | BESS | 50 @ Busse | 50 @ E.J. | @Manhattan | MGT | @E.J. | @Somers | Sys. Supply | NGPL | NBDR | LPG
2001-06-19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15215 | 27899 | 16025 | 0 | 0 | 1899-12-31
2001-06-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15215 | 28549 | 16675 | 0 | 0 | 1900-01-01
2001-06-21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15215 | 28549 | 16675 | 0 | 0 | 1900-01-02
2001-06-22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15215 | 28549 | 16675 | 0 | 0 | 1900-01-03
2001-06-23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15215 | 28549 | 16675 | 0 | 0 | 1900-01-04
2001-06-24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15215 | 28549 | 16675 | 0 | 0 | 1900-01-05
.

## PGL_6_Day_Report
Peoples Gas 6-day nomination Report | [5 empty] | Starting on: | TUE | 2001-06-19
All values in 1000 DTH
|  |  | TUE | WED | THU | FRI | SAT | SUN
|  |  | 2001-06-19 | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
Weather: |  | High/Low/Mean | 83/65/74 | 78/59/69 | 72/53/63 | 74/51/63 | 80/58/69 | 85/62/74
Sendout: |  |  | 215 | 220 | 225 | 205 | 185 | 200
Elwood Energy |  |  | 8.5225 | 0 | 0 | 0 | 0 | 0
Allegheny Energy |  |  | 6.444 | 0 | 0 | 0 | 0 | 0
Constellation Energy |  |  | 0 | 0 | 0 | 0 | 0 | 0
Deliveries to Oakton NICOR |  |  | 0 | 0 | 0 | 0 | 0 | 0
Injection: | PGL: | Manlove | 131.31 | 135 | 135 | 135 | 135 | 135
|  | Fuel | 1.9696 | 2.025 | 2.025 | 2.025 | 2.025 | 2.025
|  | Plant Use | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
|  | LNG Liquefaction | 0 | 0 | 0 | 0 | 0 | 0
| ANR: | No-Notice E. Joliet | 0 | 0 | 0 | 0 | 0 | 0
|  | No-Notice CoMo | 0 | 0 | 0 | 0 | 0 | 0
| NGPL: | No-Notice | 0 | 0 | 0 | 0 | 0 | 0
PGL (Manlove): to NGPL SPSSO |  |  | 0 | 0 | 0 | 0 | 0 | 0
Deliveries to Midwestern@ Union Hill |  |  | 0 | 0 | 0 | 0 | 0 | 0
Line Pack In: |  |  | 0 | 0 | 0 | 0 | 0 | 0
Gas Owed By PGL to: | ALLI |  | 0 | 0 | 0 | 0 | 0 | 0
| MGT |  | 0 | 0 | 0 | 0 | 0 | 0
| NBDR |  | 0 | 0 | 0 | 0 | 0 | 0
| TGC |  | 4 | 0 | 4 | 4 | 4 | 4
TOTAL REQUIREMENTS: |  |  | 367.8462 | 357.525 | 366.525 | 346.525 | 326.525 | 341.525
Supply
Storage Withdrawal: | PGL: | Manlove | 0 | 0 | 0 | 0 | 0 | 0
|  | LNG | 1.463 | 1 | 1 | 1 | 1 | 1
|  | LPG | 0 | 0 | 0 | 0 | 0 | 0
| ANR: | No-Notice E. Joliet | 0 | 0 | 0 | 0 | 0 | 0
|  | No-Notice CoMo | 0 | 0 | 0 | 0 | 0 | 0
| NGPL: | No-Notice | 18 | 25.03 | 0 | 0 | 0 | 0
NGPL to : PGL (Manlove) SPSSO |  |  | 0 | 0 | 0 | 0 | 0 | 0
Hub Activities |  |  | 0 | 0 | 0 | 0 | 0 | 0
Elwood / PGL | NBDR |  | 17.167 | 1 | 0 | 0 | 0 | 0
System Supply & Transportation | ALLI: |  | 89.603 | 99.063 | 99.063 | 99.063 | 99.063 | 99.063
| ANR: |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
| MGT: |  | 0 | 0 | 0 | 0 | 0 | 0
| NBDR |  | 167.271 | 150.892 | 150.892 | 150.892 | 150.892 | 150.892
| NGPL: |  | 31.556 | 41.342 | 41.342 | 41.342 | 41.342 | 41.342
| TGC: |  | 4 | 24 | 4 | 4 | 4 | 4
| RFG: |  | 24.85 | 15 | 15 | 15 | 15 | 15
| PERC Peaking: |  | 0 | 0 | 0 | 0 | 0 | 0
Line Pack Out: |  |  | 15.722 | 0 | 0 | 0 | 0 | 0
Gas Owed To PGL By: | ALLI: |  | 0 | 0 | 0 | 0 | 0 | 0
| MGT: |  | 0 | 0 | 0 | 0 | 0 | 0
| NBDR |  | 0 | 0 | 0 | 0 | 0 | 0
| TGC: |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL SUPPLY: |  |  | 369.832 | 357.527 | 311.497 | 311.497 | 311.497 | 311.497
SUPPLY SURPLUS: |  |  | 1.9858 | 0.002 | 0 | 0 | 0 | 0
SUPPLY SHORTAGE: |  |  | 0 | 0 | 55.028 | 35.028 | 15.028 | 30.028
PGL Transportation (RIDER) |  |  | 122.53 | 120.055 | 120.055 | 120.055 | 120.055 | 120.055

## NSG_6_Day_Report
North Shore 6-day nomination Report | [5 empty] | Starting on: | TUE | 2001-06-19
All Values in 1000 DTH
|  |  | TUE | WED | THU | FRI | SAT | SUN
Requirements |  |  | 2001-06-19 | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
Weather: |  | High/Low/Mean | 83/65/74 | 78/59/69 | 72/53/63 | 74/51/63 | 80/58/69 | 85/62/74
Sendout: |  |  | 36 | 37 | 38 | 36 | 33 | 36
Injection: | PGL: | Manlove | 0 | 0 | 0 | 0 | 0 | 0
| ANR: | No-Notice | 4.644 | 4.76 | 0 | 0 | 0 | 0
| NGPL: | No-Notice | 3.031 | 2 | 2 | 2 | 2 | 2
Gas Owed by NSG: | NICOR: |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL REQUIREMENTS: |  |  | 43.675 | 43.76 | 40 | 38 | 35 | 38
Supply
Storage | PGL: | Manlove Field | 0 | 0 | 0 | 0 | 0 | 0
| ANR: | 50 @ Busse Road | 0 | 0 | 0 | 0 | 0 | 0
|  | No-Notice Somers Rd | 0 | 0 | 0 | 0 | 0 | 0
| NGPL: | No-Notice Grlk/Tonne | 0 | 0 | 0 | 0 | 0 | 0
| NSG | LP | 0 | 0 | 0 | 0 | 0 | 0
Flowing Supply: | NGPL: | System Supply @ NGPL | 27.899 | 28.549 | 28.549 | 28.549 | 28.549 | 28.549
| ANR: | System Supply @ Som. | 15.215 | 15.215 | 15.215 | 15.215 | 15.215 | 15.215
TOTAL SUPPLY: |  |  | 43.114 | 43.764 | 43.764 | 43.764 | 43.764 | 43.764
SUPPLY SURPLUS: |  |  | 0 | 0.004 | 3.764 | 5.764 | 8.764 | 5.764
SUPPLY SHORTAGE: |  |  | 0.561 | 0 | 0 | 0 | 0 | 0
NSG Transportation (RIDER) |  |  | 16.025 | 16.675 | 16.675 | 16.675 | 16.675 | 16.675
Average Wind Speed MPH (From 4am WSC Weather) |  |  | 2001-06-19: 7.2; 2001-06-20: 7; 2001-06-21: 10

## PGL_Nine_to_Nine
|  | Alliance |  | SNG/RFG |  |  |  | Gas Date: | 2001-06-19 | TUE
Payback Alliance to PGL | 0 |  | Elwood Tap |  | Temperatures | High | Low: | High | Low: | High | Low:
Payback PGL to Alliance | 0 |  | Union ( Citgo) RFG | 24.85 |  | 83 | 65
Alliance to NGPL to Manl. | 0 |  | Mobil RFG | 0 | Ave Temperature
System Supply Alliance | 89.603 |  | Deliveries to Pipeline | 24.85 | SENDOUT: |  | 215
Nominated to Pipeline | 89.603 |  |  | Trunkline | Oakton NICOR |  | 0
|  | ANR | QNT | 0
ANR No-Notice Injection | 0 |  | Payback PGL to TRNK | 4 | Alliance thu Manlove |  | 0
ANR No-Notice Withdraw | 0 |  | Payback TRNK to PGL | 0 | Alliance |  | 89.603
System Supply ANR | 0.2 |  | System Supply** | 4 | ANR |  | 0.2
Nominated to Pipeline | 0.2 |  | Deliveries to Manlove | 0 | Manlove |  | -130.447
|  | Manlove |  | 73rd & Crawford | Midwestern |  | 0
Injection | 131.31 |  | 73rd Totals |  | Northern Border |  | 184.438
Withdrawal | 0 |  | Crawford Mahomet |  | RFG/Dilution Gas |  | 24.85
LNG In | 0 |  | Total Mahomet |  | Trunkline |  | 0
LNG Out | 1.463 |  |  | 131st & Bell Road | Linepack Out (+) |  | 15.722
Plant & Field Gas Use | 0.6 |  | PERK Peaking | 0 | Linepack In (-) |  | 0
Manlove Compressor Fuel | 1.9696 |  |  | Electric Power Plants | Alleghney Energy |  | -6.444
Deliveries to Pipeline | -130.447 |  | Alleghney / Lincoln / Wilton | 6.444 | Elwood Energy |  | -8.5225
NGPL 10" | 0 |  |  |  | Total Mahomet |  | 169.3995
NGPL 16" | 0 |  | Elwood Nicor 1 units (1-4) | 0 | NGPL |  |  |  | Minimum take :
Utrasonic Bi-Directional | 0 |  | Elwood Nicor 2 Turbine | 0 | Crawford LPG |  | 0
|  | Midwestern | Elwood Nicor 2 Ultrasonic | 0 | Chicago District (NGPL) |  | 45.6005
Payback PGL to Midw. | 0 |  | Total Elwood | 8.5225 | Elwood Tap
Payback Midw to PGL | 0 |  | Sharp Rd. Northern Border |  | Manlove Tap |  | 1.9696
System Supply | 0 |  |  |  | NGPL Takes |  | 47.5702
TGL - 30 @ Midwestern | 0 |  | Wisvest Calumet 3 |  | NGPL / Manlove |  | 0
Nominated to Pipeline | 0 |  |  |  | No-Notice In |  | 0
| Northern Border |  | Calumet Edison |  | No-Notice Out |  | -18
Payback PGL- NBDR | 0 |  | Crawford Edison |  | NGPL FTS |  | -31.556 |  | -31.556 |  | -31.556
Payback NBDR - PGL | 0 |  | Fisk Edison |  | NGPL CHICAGO DISTRICT
System Supply | 167.271 |  | Total Edison |  | 112th Street |  |  | 126th & Saginaw (Ford)
Elwood/NICOR Nom | 34.334 |  |  |  | 138th Street |  |  | Calumet Edison
TOTAL Northern Border | 184.438 |  | Ave BTU |  | Republic (LTV) 2 |  |  | Calumet 3
Deliveries to Manhattan North |  |  | Ave Wind |  | Calumet 2 |  |  | Crawford NGPL
Deliveries to Manhattan South | 175.9155 |  | Ave Temp |  | US Steel |  |  | Oakton
Deliveries to Sharp Rd. | 8.5225 |  |  |  | Acme Steel |  |  | Ohare 1
Deliveries to Alleghney(Wilton) | 6.444 |  |  |  | LTV Steel |  |  | Ohare 2
N. Border Deliveries to PGL | 190.882 |  |  |  | Nonmetered |  |  | Wisvest
NGPL TOTALS

## NSG_Nine_to_Nine
|  |  |  | Gas Date: | TUE | 2001-06-19 | BTU
| Morning Avg. |  | Evening Avg. |  | Nights Avg. |  | Final
Temperature | High |  | High | Low | High | Low | High | Low
| 83 | 65
Sendout: |  | 36
Grayslake |  | 0
SOMERS Rd. |  | 10.571
Busse Road |  | 0
Tonne Road |  | 25.429
Linepack In
Linepack Out
Lake Cook Totals |  | 0
Peterson Road LP
NGPL TAKES | [5 empty] | Minimum take :
NGPL Takes |  | 25.429
Off System Sales |  | 0 |  | 0 |  | 0 |  | 0
BESS Injection |  | 0 |  | 0 |  | 0 |  | 0
BESS Withdrawal |  | 0 |  | 0 |  | 0 |  | 0
No-Notice In |  | 3.031
No-Notice Out |  | 0
NGPL FTS |  | -27.899 |  | -27.899 |  | -27.899 |  | -27.899
NGPL Transportation |  | 0 |  | 0 |  | 0 |  | 0
Manlove PGL-NSG |  | 0 |  | 0 |  | 0 |  | 0
Busse Road
ANR-50 Injection | 0 |  |  |  | Notes:
ANR-50 W/D @ Busse | 0
ANR-50 W/D @ E. Joliet | 0
Displ. NSG to PGL | 0
Off-System Sales | 0
NSG owes NICOR | 0
NICOR owes NSG | 0
System Supply | 0
Delivery to Pipeline | 0
Somers Road
ANR - 50 Withdrawal | 0
No-Notice Injection | 4.644
No-Notice Withdrawal | 0
PBack NBDR to PGL | 0
PBack PGL to NBDR | 0
Sys Supply @ Somers Rd. | 15.215
Delivery to Pipeline | 10.571
Midwestern
Displacement to PGL | 0
Injection to Manlove | 0
Off-System Sales | 0
System Supply | 0
Peterson Road LP Plant
Gallons Used (x.09083)
Dekatherm Flow

## Nine_to_Nine
|  |  |  | Gas Date: | 2001-06-19
| Morning Ave. Temp. | 44 |  |  | Night Ave. Temp. |  | FINAL
Nine to Nine | Nine to Nine | Low: | High | Low: | High | Low: | High | Low:
TEMPERATURES | 83 | 65
GRAYSLAKE
BUSSE RD.
TOTAL SENDOUT: | 215 | 36
| PGL | NSG
ANR | #REF!
MIDWESTERN | 122.53
131st & BELL RD. | 0
RFG | 24.85
TRUNKLINE | -41.707
MANLOVE | 1.463
LINEPACK IN | 0
LINEPACK OUT | 15.722
73 RD & CM / BUSSE | #REF! | 0 |  | 0 |  | 0
LPG | 0 | 0
CHICAGO DISTRICT¦ NGPL | #REF! | 36
ELWOOD TAP | 0
MAHOMET TAP | 1.9696
NGPL TAKES | #REF! | 36
MANLOVE DISPLACEMENT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NGPL OFF SYSTEM SALES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSS (INJ.) | 0.6 | 0 | 0.6 | 0 | 0.6 | 0 | 0.6 | 0
MIDCON | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSS (OUT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NSS (OUT) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NGPL DISPLACEMENT | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
NGPL FTS | -31.556 | -27.899 | -31.556 | -27.899 | -31.556 | -27.899 | -31.556 | -27.899
Transportation Gas | 0 | -16.025 | 0 | -16.025 | 0 | -16.025 | 0 | -16.025
NSS (INJ.) | 0 |  | 0 |  | 0 |  | 0
NO-NOTICE IN | 0 | 3.031
NO-NOTICE OUT | -18 | 0
NICOR OFFSYSTEM SALES | 0 |  | 0 |  | 0
BESS (IN) | #REF! | 0 |  |  |  |  | #REF!
| MANLOVE FIELD |  |  |  | NGPL CHICAGO DISTRICT
INJECTION | 131.31 |  |  |  | 112 TH & 138 STREET
WITHDRAWAL | 0 |  |  |  | REPUBLIC (LTV) 2
LNG (IN) | 0 |  |  |  | CALUMET 2
LNG (OUT) | 1.463 |  |  |  | US STEEL & ACME
MAHOMET TAP | 1.9696 |  |  |  | LTV STEEL
FUEL USED | 1.9696 |  |  |  | NONMETERED
DELIVERIES TO PIPELINE | 1.463 |  |  |  | FORD
NGPL 16" | 0 |  |  |  | CALUMET EDISON
NGPL 10" | 0 |  |  |  | CALUMET 3
| MIDWESTERN |  |  |  | CRAWFORD NATURAL
Transportation Gas+P/BACK | 122.53 |  |  |  | OAKTON ST.
SYS SUPPLY PGL | 0 |  |  |  | OHARE 2
SYS SUPPLY NS+TGL30 | 0 |  |  |  | OHARE 1
OFF SYSTEM SALES | 0 |  |  |  | NGPL TOTALS
DELIVERED TO PIPELINE | 122.53 |  |  |  | NORTH SHORE ANR
| ANR |  |  |  | ANR SYSTEM SUPPLY |  |  | 0
Transportation Gas | 0 |  |  |  | NI-GAS PAYBACK |  | 0 | 0
System Supply +Payback | #REF! |  |  |  | NS TO PGL DISPLACEMENT |  | 0
ANR-50 STORAGE (INJ.) | 0 |  |  |  | A-HESS SYSTEM SUPPLY |  |  | 0
ANR-50 STORAGE (WITHDR) | 0 |  |  |  | OFF SYSTEM SALES |  | 0
OFF SYSTEM SALES | 0 |  |  |  | ANR-50 @ BUSSE RD. |  | 0 | 0
DISPLACEMENT | 0 |  |  |  | ANR-50 @ E. JOLIET |  |  | 0
DELIVERED TO PIPELINE | #REF! |  |  |  | DELIVERY TO EAST JOLIET |  |  | 0
|  | TRUNKLINE TOTAL: |  |  | DELIVERY TO BUSSE RD. |  |  | 0
Transportation Gas | 89.603 |  |  |  | NORTH SHORE MIDWESTERN
System Supply+Payback | 0 |  |  |  | MGT SYSTEM SUPPLY |  |  | 0
TEJAS/ QNT | 0 |  |  |  | MGT INJ TO MANLOVE |  | 0
TGL-30 (INJ.) | 0 |  |  |  | MGT DISPLACEMENT |  | 0 | 0
TGL-30 (WITHDRAWAL) | 0
OFF SYSTEM SALES | 0 |  |  |  | SNG TAP |  | USED FOR HEAT NOT DILUTION GAS
DELIVER TO FIELD (INJ) | 131.31 |  |  |  | RFG Union |  | Total RFG
GAS OWED BY PGL | 4 |  |  |  | MOBIL
DELIVERED TO PIPELINE | -41.707
73 RD AND CRAWFORD STATIONS |  |  |  |  | Gas Day | TUE | 2001-06-19
73RD TOTALS
CRAWFORD MAHOMET
TOTAL MAHOMET PIPELINE |  |  | Ave. TEMP. |  | Ave. wind |  | BTU | BTU
PGL Nine to Nine |  |  |  | Gas Date: | 1899-12-31
| Morning Ave. 49 |  | Evening Ave. |  | Nights Ave. |  | FINAL
Temperatures | High | Low: | High | Low: | High | Low: | High | Low:
SENDOUT:
131st & BELL RD. |  | #REF!
ANR |  | #REF! |  | #REF! |  | #REF! |  | #REF!
Manlove |  | 1.463
Midwestern |  | 122.53
Northern Border |  | 0
RFG/Dilution Gas |  | #REF!
Trunkline |  | 89.603
Linepack In |  | 0
Linepack Out |  | 15.722
Mahomet Deliveries
NGPL | 0 | 0
Crawford LP | #VALUE! | #VALUE!
Chicago District (NGPL) | 0
Elwood Tap | #REF!
Manlove Tap | #VALUE! | #VALUE!
NGPL Takes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Manlove Displacement
Off System Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSS Injection | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NSS Injection | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BESS Injection | -0.2 | 0 | -0.2 | 0 | -0.2 | 0 | -0.2 | 0
NGPL Displacement | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
No-Notice In | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
No-Notice Out | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NGPL FTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NGPL Transportation | 0 |  | 0 |  | 0 |  | 0
DSS Out | #REF! | 0
NSS Out | 0 | -16.025
|  | ANR |  |  | NGPL CHICAGO DISTRICT
ANR-50 Injection | 0
ANR-50 Withdrawal | 0 |  |  |  | 112th Street
Displacement NSG - PGL | 0 |  |  |  | 138th Street
Off System Sales | 0 |  |  |  | Republic (LTV) 2
Payback PGL to ANR | #REF! |  |  |  | Calumet 2
Payback ANR to PGL | 0 |  |  |  | US Steel
System Supply | 0.2 |  |  |  | Acme Steel
Transportation Gas | 0 |  |  |  | LTV Steel
Nominated to Pipeline | #REF! |  |  |  | Nonmetered
|  | Midwestern |  |  | 126th & Saginaw ( Ford)
Off System Sales | 0 |  |  |  | Calumet Edison
System Supply NSG | 0 |  |  |  | Calumet 3
System Supply PGL | 0 |  |  |  | Crawford NGPL
Payback PGL to Midw. | 0 |  |  |  | Oakton
Payback Midw. to PGL | 0 |  |  |  | Ohare 1
Transportation Gas | 122.53 |  |  |  | Ohare 2
Nominated to Pipeline | 122.53 |  |  |  | NGPL TOTALS
Manlove
Injection | 131.31 |  |  |  | Elwood Tap |  |  | 0
Withdrawal | 0 |  |  |  | Union ( Citgo) RFG |  |  | 0
LNG In | 0 |  |  |  | Mobil RFG
LNG Out | 1.463 |  |  |  | Deliveries to Pipeline |  |  | #REF!
Manlove Tap |  |  |  |  | 131st & Bell Road
Fuel Used | 1.9696 |  |  |  | PERK Peaking |  |  | 0
Deliveries to Pipeline | 1.463 | [6 empty] | 0
NGPL 10" | 0 |  |  |  | Deliveries to Pipeline |  |  | #REF!
NGPL 16" | 0 |  |  |  | Northern Border
|  | Trunkline |  |  | Off- System |  |  | 0
Off-System | 0 |  |  |  | Payback PGL- NBDR |  |  | 0
QNT | 0 |  |  |  | Payback NBDR - PGL |  |  | 0
Payback PGL to TRNK | 4 |  |  |  | System Supply |  |  | 0
Payback TRNK to PGL | 0 |  |  |  | Transportation Gas |  |  | 0
TGL - 30 Injection | 0 |  |  |  | Deliveries to Manhattan |  |  | 0
TGL - 30 Withdrawal | 0 |  |  |  | Deliveries to Bell Road |  |  | 0
System Supply | 4 |  |  |  | 73 RD AND CRAWFORD STATIONS
Transportation Gas | 89.603 |  |  |  | 73rd Totals
Deliveries to Injection |  |  |  |  | Crawford Mahomet
Deliveries to Pipeline | 89.603 |  |  |  | TOTAL MAHOMET PIPELINE
| Ave. Temp. |  | Ave. Wind |  |  |  | BTU

## PGL_Midcon_Form
MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP. | MIDCON GAS SERVICES CORP.
NOMINATION FORM | NOMINATION FORM | NOMINATION FORM | NOMINATION FORM | NOMINATION FORM | NOMINATION FORM | NOMINATION FORM | NOMINATION FORM | NOMINATION FORM

## NSG_Midcon_Form
MIDCON GAS SERVICES CORP.
|  | Send To: | Tommy Crowder |  | Acct Rep.: | Curtis Cole
|  |  | Operations |  |  | MidCon Gas Services Corp.
MidCon Gas Services Corp.
Phone: (630) 691-3720
|  |  | Phone: (713) 963-3124 |  |  | Fax: (630) 282-2073
Fax: (713) 964-5774
For Emergencies,
Call: 1 (800) 424-7039
NOMINATION FORM
As Per Agreement: FIRM STORAGE GAS SALE AND PURCHASE CONTRACT by and between
MIDCON GAS SERVICES CORP. and THE PEOPLES GAS LIGHT AND COKE COMPANY
(50 Day Storage Service Agreement)
Nominations for: NORTH SHORE GAS COMPANY
| Today's Date: |  | 2001-06-20 11:20 |  | Time: | 37062.4724
| Customer Contact: |  | TORREZ |  | Phone: | 312-240-4754
1st of Month Nomination - Due 2 Business Days Prior to Start of Month (100,000 MDQ)
Regular Nomination - Due by 9:00 a.m. for Gas Flow the Following Day (100,000 MDQ)
| X | Late Nomination - Due by 7:00 a.m. for Gas Flow Current Day (+/-50,000 MDQ in Total for
PGLC/ North Shore combined)
| Effective Date of Nomination: |  |  | 1998-04-30
| Total Nomination Change to: |  |  | 0 | MMBtu
| Total Nomination Change from: |  |  | 0 | MMBtu
| Estimated 5 Day Nominations: |  |  | 1998-05-01 | 0 | MMBtu
|  |  |  | 1998-05-02 | 0 | MMBtu
|  |  |  | 1998-05-03 | 0 | MMBtu
|  |  |  | 1998-05-04 | 0 | MMBtu
|  |  |  | 1998-05-05 | 0 | MMBtu
Comments:
Notes:
1) Contact names: Tommy Crowder @ (713) 963-3124 or Lynn Kimball @ (713) 963-3027.)
/2 Please fax all nominations forms to the attention of the above listed indivduals.
/3 All Terms and Conditions are per the above refernced Agreement.

## Six_Day_Summary
Weather
|  |  | Temperatures |  | Degree Days |  |  | Degree Day Deviation
Tuesday | 2001-06-19 |  | High: | 83 | Today: | 0 | Daily: | -1
|  |  | Low: | 65 | Month to Date: | 77 | Monthly: | 31 | CLOUDY
|  |  | Average: | 71.2 | Season: | 6689 | Season: | 267
OVERNIGHT…MOSTLY CLOUDY. A 40% CHANCE OF RAIN.
Wednesday | 2001-06-20 |  | High: | 78 | Today: | 0 | Daily: | 0
|  |  | Low: | 59 | Month to Date: | 77 | Monthly: | 31 | PARTLY CLOUDY/SUNNY
|  |  | Average: | 68.5 | Season: | 6689 | Season: | 267
MOSTLY CLOUDY THIS A.M…BECOMING PARTLY SUNNY BY P.M. N.E. WINDS 5/10 MPH
OVERNIGHT…PARTLY CLOUDY. LIGHT NORTH WINDS.
Thursday | 2001-06-21 |  | High: | 72 | Today: | 2.5 | Daily: | 2.5
|  |  | Low: | 53 | Month to Date: | 79.5 | Monthly: | 33.5 | RAIN
|  |  | Average: | 62.5 | Season: | 6691.5 | Season: | 269.5
PARTLY CLOUDY WITH A 30% CHANCE OF P.M. SHOWERS…COOLER NEAR LAKE. OVE
RNIGHT…BECOMING FAIR.
Friday | 2001-06-22 |  | High: | 74 | Today: | 2.5 | Daily: | 2.5
|  |  | Low: | 51 | Month to Date: | 82 | Monthly: | 36 | THUNDERSTORMS
|  |  | Average: | 62.5 | Season: | 6694 | Season: | 272
SUNNY…BUT COOLER NEAR THE LAKE.
Saturday | 2001-06-23 |  | High: | 80 | Today: | 0 | Daily: | 0
|  |  | Low: | 58 | Month to Date: | 82 | Monthly: | 36 | SUNNY/CLEAR
|  |  | Average: | 69 | Season: | 6694 | Season: | 272
PARTLY CLOUDY…BUT COOLER NEAR THE LAKE.
Sunday | 2001-06-24 |  | High: | 85 | Today: | 0 | Daily: | 0
|  |  | Low: | 62 | Month to Date: | 82 | Monthly: | 36 | SNOW
|  |  | Average: | 73.5 | Season: | 6694 | Season: | 272
SUNNY.
Activity | All Values in 1000 DTH
PGL | 2001-06-19 | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
Sendout | 215 | 220 | 225 | 205 | 185 | 200
Total Requirements | 367.8462 | 357.525 | 366.525 | 346.525 | 326.525 | 341.525
System Supply | 203.027 | 216.434 | 196.434 | 196.434 | 196.434 | 196.434
Leased Storage w/d | 0 | 0 | 0 | 0 | 0 | 0
Leased Storage inj. | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
Rider | 122.53 | 120.055 | 120.055 | 120.055 | 120.055 | 120.055
NSG | 2001-06-19 | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
Sendout | 36 | 37 | 38 | 36 | 33 | 36
Total Requirements | 43.675 | 43.76 | 40 | 38 | 35 | 38
System Supply | 43.114 | 43.764 | 43.764 | 43.764 | 43.764 | 43.764
Leased Storage w/d | 0 | 0 | 0 | 0 | 0 | 0
Leased Storage inj. | 0 | 0 | 0 | 0 | 0 | 0
Rider | 16.025 | 16.675 | 16.675 | 16.675 | 16.675 | 16.675
Net Manlove | 2001-06-19 | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
Manlove In | 131.31 | 135 | 135 | 135 | 135 | 135
Manlove Out | 0 | 0 | 0 | 0 | 0 | 0
Gas Control's Weather Provider is Murray & Trettel
NOTE: Occasionally, the current day's Degree Day value and the current day's average temperature (where
average temp < 65) do not sum to 65. This is due to the fact that the current day's average temperature is
based on a Noon to Noon day while the current day's Degree Days (as reported by the National Weather
Service) are based on Midnight to Midnight days.

## NPGL_Forecast
PEOPLES GAS LIGHT AND COKE COMPANY
| Wednesday | Thursday | Friday | Saturday | Sunday
ACTIVITY | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
NGPL TAKE | 66.372 | 41.342 | 41.342 | 41.342 | 41.342
DSS W/D | 0 | 0 | 0 | 0 | 0
NSS W/D | 0 | 0 | 0 | 0 | 0
BESS W/D | 0 | 0 | 0 | 0 | 0
DSS INJ. | 0 | 0 | 0 | 0 | 0
NSS INJ. | 0 | 0 | 0 | 0 | 0
BESS INJ. | 0 | 0 | 0 | 0 | 0
MAHOMET TAP | 0
MANLOVE NGPL | 0 | 0 | 0 | 0 | 0
ELWOOD TAP | 0
ALIIANCE TO MANLOVE | 0
NORTH SHORE GAS COMPANY
| Wednesday | Thursday | Friday | Saturday | Sunday
ACTIVITY | 2001-06-20 | 2001-06-21 | 2001-06-22 | 2001-06-23 | 2001-06-24
NGPL TAKE | 26.549 | 26.549 | 26.549 | 26.549 | 26.549
MANLOVE W/D | 0 | 0 | 0 | 0 | 0
DSS W/D | 0 | 0 | 0 | 0 | 0
NSS W/D | 0 | 0 | 0 | 0 | 0
BESS W/D | 0 | 0 | 0 | 0 | 0
CUSHION W/D
DSS INJ. | 0 | 0 | 0 | 0 | 0
NSS INJ. | 0 | 0 | 0 | 0 | 0
BESS INJ. | 0 | 0 | 0 | 0 | 0
MANLOVE INJ. | 0 | 0 | 0 | 0 | 0

## Billy_Sheet
Gas Day: | 2001-06-20 | NEW DAY NOMINATIONS/DELIVERIES
ANR SOMERS RD.
System Supply | 15.215 |  |  | Manlove Field |  | DKT | MCF
No - Notice | 0 | 4.76 |  | Injection |  | 135 | 131.7073
Deliveries to Somers Rd. | 10.455 |  | 0.43562 | Withdrawal | 0 |  | 0
Busse Rd. |  |  |  | Manlove Hourly Rate | 5.625
ANR-50 W/D | 0 |  |  | Northern Borders
PGL-NSG Displacement | 0 |  |  | Elwood Energy | 2
Payback NSG TO NICOR | 0 |  |  | Lincoln Energy | 0
Deliveries @ Busse | 0 |  | 0 | System Supply PGL | 150.892
Alliance System Supply | 99.063 |  |  | Total Nominations | 152.892
DELIVERY TO MANLOVE | 0 |  |  | Payback NBDR-PGL | 0
Payback PGL to Alliance |  | 0 |  | Payback PGL-NBDR |  | 0
Alliance Deliveries | 99.063 |  | 4.1276 | Deliveries @ Man.North | 0 |  | 0
ANR System Supply | 0.2 |  |  | Deliveries @ Man.South | 152.892 |  | 6.3705
ANR N0-Notice | 0 | 0 |  | Deliveries @ Elwood Energy | 0 |  | 0
Total Nominations | 0.2 |  |  | Deliveries @ Lincoln Energy | 0 |  | 0
Payback ANR-PGL | #REF! |  |  | Oakton to NICOR
Payback PGL-ANR |  | #REF! |  | Deliveries to NICOR |  | 0
Deliveries @ E. Joliet | #REF! |  | #REF! | TRUNKLINE | 0
Midwestern System Supply | 0 |  |  | System Supply | 24
Total Nominations | 0 |  |  | Total Nominations | 24
Payback MIDW-PGL | 0 |  |  | Payback TGC-PGL | 0
Payback PGL-MIDW | 0 | 0 |  | Payback PGL-TGC |  | 0
Deliveries @ Midwest | 0 |  | 0 | Deliveries @ Manlove | 24 |  | 1
NOTE: If Elwood is to burn any gas make sure Northern Border knows it.
Don't call suppliers till we get a nomination from NICOR.
+

## MAHOMET PIPELINE GRAPHICS
|  | CRAWFORD LINE 2 |  | 73RD LINE 1 |  | GAS DAY | 2001-06-20
LP GAS @ CRAWFORD |  | 385 |  |  | 386 |  |  | SOMERS RD | 15.215
0
PERC PEAKING @ BELL ROAD | [8 empty] | EDWARDS RD | 10.455
0
NORTHERN BORDERS @ BELL ROAD
0
RFG | [6 empty] | GRAYSLAKE
15 | [6 empty] | 0 |  |  | NS SENDOUT | 37
ANR | [6 empty] | LP @ PETERSON RD
#REF! | [6 empty] | 0 |  |  | SHORT(-)OR LONG(+) | 0.004
ALLIANCE
99.063
|  | 370 |  |  | 370
[9 empty] | BUSSE RD | 0
|  | 668 |  |  | 806
NRTHRN BRDRS @ MANHATTAN SOUTH | [8 empty] | TONNE RD | 26.549
152.892
MIDWESTERN
0 | [5 empty] | LINCOLN PREVIOUS DAY
6.444
TRUNKLINE | [5 empty] | EDISON MISSION PREVIOUS DAY
24 | [5 empty] | 7.4 |  |  | PGL SENDOUT | 220 | NS SENDOUT | 37
MANLOVE WITHDRAWLS | [5 empty] | ELWOOD ENERGY |  |  | NET MAHOMET DELIVERIES | #REF! | NS SHORT(-)OR LONG(+) | 4.764
0 |  |  |  |  | 2001-06-19 | 17.045 |  |  | NGPL NOMINATED | 66.372
[5 empty] | 2001-06-20 | 0
LNG VAPORIZED | [5 empty] | MANLOVE INJECTION |  |  | SHORT(-)OR LONG(+) | #REF!
1 | [5 empty] | 135
NGPL TAP | [5 empty] | LNG LIQUEFACTION
0 | [5 empty] | 0
|  | LINE 2 |  |  | LINE 1
|  | 668 |  |  | 754
GROSS DELIVERIES TO MAHOMET |  |  |  | MANLOVE & ELWOOD ENERGY REQUIREMENTS
#REF! | [5 empty] | 135
NET DELIVERIES TO MAHOMET SYSTEM
#REF! | [5 empty] | NOTE HIGHLIGHTED AREAS NEED VALUES INSERTED DAILY
[5 empty] | LINEPACK | AVAILABLE LINE PACK
LINE SEGMENT | MIN PSIG | MAX PSIG | AVG |  | FACTOR | IN MMCF | OUT MMCF
LINE 1 MS-73 | 250 | 410 | 378 |  | 0.067 | 2.144 | 8.576
LINE 1 MF-MS | 797 | 797 | 797 |  | 0.139 | 0 | 0
LINE 2 MS-CM | 250 | 410 | 377.5 |  | 0.141 | 4.5825 | 17.9775
LINE 2 MF-MS | 285 | 750 | 668 |  | 0.161 | 13.202 | 61.663
[5 empty] | TOTAL | 19.9285 | 88.2165
OPEN
CLOSED
OPEN
CLOSED
OPEN
OPEN
CLOSED
CLOSED
OPEN
CLOSED
CLOSED
OPEN
OPEN
OPEN
CLOSED
OPEN
CLOSED
CLOSED
OPEN
CLOSEDCLOSED
OPEN
OPEN
CLOSED
CLOSED
OPEN
MANHATTAN
STATION
CONTROL
LINE 1&2
CLOSED
OPEN

## PGL_Gas_Summary
PGL SENDOUT | 215.62 |  | GAS DAY | 2001-06-19
CRAWFORD LP | 0 |  | Oakton NICOR | 0
73 RD STREET | 0 |  | 112 TH & 138 TH STREET | 0.001
CRAWFORD MAHOMET | 167.89 |  | REPUBLIC (LTV)2 | 0.799
MAHOMET TOTALS | 167.89 |  | CALUMET 2 | 0
ALLIANCE | 89.586 |  | US STEEL & ACME STEEL | 0.287
ANR | 0 |  | LTV STEEL | 0.245
MIDWESTERN | 0 |  | NONMETERED | 4.594
RFG | 24.85 |  | 126th & SAGINAW (FORD) | 1.064
131 ST & BELL RD. (PERC) | 0 |  | CALUMET EDISON | 2.247
NORTHERN BORDER | 158.179 |  | CALUMET 3 | 0
TRUNKLINE | 0 |  | CRAWFORD NATURAL | 36.795
MANLOVE | -120.447 |  | OAKTON ST. | 0.019
LINEPACK IN |  | 0 | OHARE 1 | 0.003
LINEPACK OUT | 15.722 |  | OHARE 2 | 1.676
TOTAL MAHOMET | 167.89 |  | CHICAGO DISTRICT | 47.73
Alliance System Supply | 89.603 |  | ELWOOD TAP | 0.006
Payback Alliance to PGL | 0 |  | MAHOMET TAP | 1.8196
Payback PGL to Alliance |  | 0 | TOTAL NGPL TAKES | 49.5557
TOTAL | 89.603 |  | MANLOVE NSG TO PGL | 0
ANR SYSTEM SUPPLY | 0.2 |  | MANLOVE PGL TO NSG |  | 0
ANR NO-NOTICE (INJ) |  | 0 | DSS (INJ) |  | 0
ANR NO-NOTICE (W/D) | 0 |  | NSS (INJ) |  | 0
OFF SYSTEM SALES |  |  | BESS (INJ) |  | 0
MW SYSTEM SUPPLY | 0 |  | NO-NOTICE (INJ) |  | 0
TGL-30 @ MIDWESTERN | 0 |  | NO-NOTICE (W/D) | 18
TL SYSTEM SUPPLY | 4 |  | *NGPL / Manlove | 0
TEJAS/QNT | 0 |  | NGPL FTS | 31.556
TGL via PANHANDLE (INJ) |  | 0 | BESS (W/D) | 0
TGL via PANHANDLE (WD) | 0 |  | DSS (W/D) | 0
TOTAL DELIVERIES | 0 |  | NSS (W/D) | 0
DELIVERY TO LNG |  | 0
DELIVERY TO INJ. |  | 0
MANLOVE INJ. TOTAL |  | 131.31
MANLOVE WITHDRAWAL | 0
LNG (IN) |  | 0
LNG (OUT) | 1.463 |  | NGPL TOTALS | 49.556
NGPL 16" | 0 |  | Northern Border Off-System Sales |  | 6.444
NGPL 1O" | 0 |  | System Supply | 167.271
NGPL Ultrasonic Bi-Directional | 0 | 0 | Transportation Gas | 0
INJ. FUEL | 1.8196 |  | PGL-NSG Displacement |  | 0
Plant & Field Use |  | 0.6 | NSG-PGL Displacement | 0
HIGH TEMPERATURE | 83 |  | Elwood/NICOR Nom | 34.334
LOW TEMPERATURE | 65 |  | Elwood Gas Burn |  | 17.527
AVERAGE TEMPERATURE | 71.2 |  | Allegheny Gas Burn |  | 6.467
AVERAGE WIND | 7.2 |  | SNG TAP | 0.006
AVERAGE BTU | 1.016 |  | UNION (CITGO) RFG | 7.086
* Transportation Gas - Estimated Nominations |  |  | MOBIL RFG | 17.764
COPIES TO WEAR , GAS ACCOUNTING and GAS TRANSPORTATION (DI VALERIO)

## NSG_Gas_Summary
NSG SENDOUT: | 35.429 |  | GAS DAY | 2001-06-19
GRAYSLAKE | 23.805 |  | BUSSE RD | 0
TONNE ROAD | 1.053 |  | NSG LP | 0
NGPL TOTALS | 24.858 |  | Somers Rd. | 10.571
MANLOVE INJ. |  | 0 | ANR No-Notice Injection |  | 4.644
MANLOVE WITHD. | 0 |  | ANR No-Notice Withdrawal | 0
NGPL ACTIVITY |  |  | ANR SYSTEM SUPPLY @ Somers Rd. | 15.215
*TRANSPORTATION GAS | 0 |  | TOTAL MANLOVE INJECTION |  | 0
FTS SUPPLY | 27.899 |  | NSG MIDWESTERN ACTIVITY
MIDCON | 0 |  | MGT INJ. @ MANLOVE |  | 0
NO-NOTICE IN |  | 3.031 | MGT @ UNIOIN HILL | 0
NO-NOTICE OUT | 0 |  | MGT DISPLACEMENT |  | 0
DSS INJECTION |  | 0 | ANR ACTIVITY @ BUSSE RD.
DSS WITHDRAWAL | 0 |  | ANR INJ. @ MANLOVE |  | 0
PGL TO NSG PGL-NGPL | #REF! |  | NSG-PGL ANR-ANR DISP. |  | 0
PGL TO NSG NGPL-ANR | 0 |  | ANR-50 INJECTION |  | 0
PGL TO NSG NGPL-MGT | 0 |  | ANR-50 W\DRAWAL @ BUSSE RD. | 0
OFF-SYSTEM SALES |  | 0 | ANR-50 W\DRAWAL @ E. JOLIET | 0
BESS INJECTION |  | 0 | ANR-50 PGL W/D @ BUSSE RD. | 0
BESS WITHDRAWAL | 0 |  | ANR SYSTEM SUPPLY @ E. JOLIET | 0
NSS INJECTION |  | 0 | PGL-NSG ANR-ANR DISPLACEMENT | 0
NSS WITHDRAWAL | 0 |  | ANR OFF-SYSTEM SALES |  | 0
NGPL TOTALS | #REF! |  | ANR TO BUSSE RD. | 0
*TRANSPORTATION GAS - ESTIMATED NOMINATIONS

## NGPL_Gas_Summary
NGPL GAS SUMMARY

## Sheet1
payback alliance to pgl | 25
TRUE

## Imbalances
Date: | 2001-06-19
NOTE: Imbalances began February 11, 1997
| ANR | [5 empty] | Midwestern | [5 empty] | Trunkline
| Daily |  | TOTAL | TOTAL | Accumulative |  | Daily |  | TOTAL | TOTAL | Accumulative |  | Daily |  | TOTAL | TOTAL | Accumulative
| Short | Long | SHORT | LONG | Short | Long | Short | Long | SHORT | LONG | Short | Long | Short | Long | SHORT | LONG | Short | Long
2001-06-18 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 107400 | 0 | 51891486 | 15045098 | 36846388 | 0
2001-06-19 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 93603 | 0 | 51985089 | 15045098 | 36939991 | 0

## Normal_Degree_Day_Data
| Normal | Normal Monthly | Normal Seasonal
| Daily Degree Day | Degree Day | Degree Day
2000-08-01 | 0 | 0 | 0
2000-08-02 | 0 | 0 | 0
2000-08-03 | 0 | 0 | 0
2000-08-04 | 0 | 0 | 0
2000-08-05 | 0 | 0 | 0
2000-08-06 | 0 | 0 | 0
2000-08-07 | 0 | 0 | 0
2000-08-08 | 0 | 0 | 0
2000-08-09 | 0 | 0 | 0
2000-08-10 | 0 | 0 | 0
2000-08-11 | 0 | 0 | 0
2000-08-12 | 0 | 0 | 0
2000-08-13 | 0 | 0 | 0
2000-08-14 | 0 | 0 | 0
2000-08-15 | 0 | 0 | 0
2000-08-16 | 0 | 0 | 0
2000-08-17 | 0 | 0 | 0
2000-08-18 | 0 | 0 | 0
2000-08-19 | 0 | 0 | 0
2000-08-20 | 0 | 0 | 0
2000-08-21 | 0 | 0 | 0
2000-08-22 | 0 | 0 | 0
2000-08-23 | 0 | 0 | 0
2000-08-24 | 1 | 1 | 1
2000-08-25 | 1 | 2 | 2
2000-08-26 | 1 | 3 | 3
2000-08-27 | 1 | 4 | 4
2000-08-28 | 1 | 5 | 5
2000-08-29 | 1 | 6 | 6
2000-08-30 | 1 | 7 | 7
2000-08-31 | 1 | 8 | 8
2000-09-01 | 1 | 1 | 9
2000-09-02 | 1 | 2 | 10
2000-09-03 | 1 | 3 | 11
2000-09-04 | 1 | 4 | 12
2000-09-05 | 1 | 5 | 13
2000-09-06 | 1 | 6 | 14
2000-09-07 | 2 | 8 | 16
2000-09-08 | 2 | 10 | 18
2000-09-09 | 2 | 12 | 20
2000-09-10 | 3 | 15 | 23
2000-09-11 | 3 | 18 | 26
2000-09-12 | 3 | 21 | 29
2000-09-13 | 3 | 24 | 32
2000-09-14 | 3 | 27 | 35
2000-09-15 | 3 | 30 | 38
2000-09-16 | 3 | 33 | 41
2000-09-17 | 4 | 37 | 45
2000-09-18 | 4 | 41 | 49
2000-09-19 | 4 | 45 | 53
2000-09-20 | 4 | 49 | 57
2000-09-21 | 4 | 53 | 61
2000-09-22 | 5 | 58 | 66
2000-09-23 | 5 | 63 | 71
2000-09-24 | 5 | 68 | 76
2000-09-25 | 6 | 74 | 82
2000-09-26 | 6 | 80 | 88
2000-09-27 | 6 | 86 | 94
2000-09-28 | 7 | 93 | 101
2000-09-29 | 7 | 100 | 108
2000-09-30 | 7 | 107 | 115
2000-10-01 | 7 | 7 | 122
2000-10-02 | 8 | 15 | 130
2000-10-03 | 8 | 23 | 138
2000-10-04 | 8 | 31 | 146
2000-10-05 | 9 | 40 | 155
2000-10-06 | 9 | 49 | 164
2000-10-07 | 10 | 59 | 174
2000-10-08 | 10 | 69 | 184
2000-10-09 | 10 | 79 | 194
2000-10-10 | 11 | 90 | 205
2000-10-11 | 11 | 101 | 216
2000-10-12 | 11 | 112 | 227
2000-10-13 | 11 | 123 | 238
2000-10-14 | 11 | 134 | 249
2000-10-15 | 12 | 146 | 261
2000-10-16 | 12 | 158 | 273
2000-10-17 | 13 | 171 | 286
2000-10-18 | 13 | 184 | 299
2000-10-19 | 13 | 197 | 312
2000-10-20 | 14 | 211 | 326
2000-10-21 | 14 | 225 | 340
2000-10-22 | 15 | 240 | 355
2000-10-23 | 15 | 255 | 370
2000-10-24 | 16 | 271 | 386
2000-10-25 | 16 | 287 | 402
2000-10-26 | 16 | 303 | 418
2000-10-27 | 17 | 320 | 435
2000-10-28 | 17 | 337 | 452
2000-10-29 | 18 | 355 | 470
2000-10-30 | 18 | 373 | 488
2000-10-31 | 18 | 391 | 506
2000-11-01 | 19 | 19 | 525
2000-11-02 | 19 | 38 | 544
2000-11-03 | 19 | 57 | 563
2000-11-04 | 20 | 77 | 583
2000-11-05 | 20 | 97 | 603
2000-11-06 | 21 | 118 | 624
2000-11-07 | 21 | 139 | 645
2000-11-08 | 22 | 161 | 667
2000-11-09 | 22 | 183 | 689
2000-11-10 | 22 | 205 | 711
2000-11-11 | 23 | 228 | 734
2000-11-12 | 23 | 251 | 757
2000-11-13 | 24 | 275 | 781
2000-11-14 | 24 | 299 | 805
2000-11-15 | 25 | 324 | 830
2000-11-16 | 25 | 349 | 855
2000-11-17 | 26 | 375 | 881
2000-11-18 | 26 | 401 | 907
2000-11-19 | 27 | 428 | 934
2000-11-20 | 27 | 455 | 961
2000-11-21 | 27 | 482 | 988
2000-11-22 | 28 | 510 | 1016
2000-11-23 | 28 | 538 | 1044
2000-11-24 | 29 | 567 | 1073
2000-11-25 | 29 | 596 | 1102
2000-11-26 | 30 | 626 | 1132
2000-11-27 | 30 | 656 | 1162
2000-11-28 | 31 | 687 | 1193
2000-11-29 | 32 | 719 | 1225
2000-11-30 | 32 | 751 | 1257
2000-12-01 | 32 | 32 | 1289
2000-12-02 | 32 | 64 | 1321
2000-12-03 | 32 | 96 | 1353
2000-12-04 | 33 | 129 | 1386
2000-12-05 | 33 | 162 | 1419
2000-12-06 | 34 | 196 | 1453
2000-12-07 | 34 | 230 | 1487
2000-12-08 | 34 | 264 | 1521
2000-12-09 | 34 | 298 | 1555
2000-12-10 | 35 | 333 | 1590
2000-12-11 | 35 | 368 | 1625
2000-12-12 | 35 | 403 | 1660
2000-12-13 | 36 | 439 | 1696
2000-12-14 | 36 | 475 | 1732
2000-12-15 | 36 | 511 | 1768
2000-12-16 | 37 | 548 | 1805
2000-12-17 | 37 | 585 | 1842
2000-12-18 | 38 | 623 | 1880
2000-12-19 | 38 | 661 | 1918
2000-12-20 | 38 | 699 | 1956
2000-12-21 | 38 | 737 | 1994
2000-12-22 | 39 | 776 | 2033
2000-12-23 | 39 | 815 | 2072
2000-12-24 | 39 | 854 | 2111
2000-12-25 | 40 | 894 | 2151
2000-12-26 | 40 | 934 | 2191
2000-12-27 | 40 | 974 | 2231
2000-12-28 | 40 | 1014 | 2271
2000-12-29 | 40 | 1054 | 2311
2000-12-30 | 41 | 1095 | 2352
2000-12-31 | 42 | 1137 | 2394
2001-01-01 | 42 | 42 | 2436
2001-01-02 | 42 | 84 | 2478
2001-01-03 | 42 | 126 | 2520
2001-01-04 | 43 | 169 | 2563
2001-01-05 | 43 | 212 | 2606
2001-01-06 | 43 | 255 | 2649
2001-01-07 | 43 | 298 | 2692
2001-01-08 | 43 | 341 | 2735
2001-01-09 | 43 | 384 | 2778
2001-01-10 | 43 | 427 | 2821
2001-01-11 | 43 | 470 | 2864
2001-01-12 | 43 | 513 | 2907
2001-01-13 | 43 | 556 | 2950
2001-01-14 | 43 | 599 | 2993
2001-01-15 | 44 | 643 | 3037
2001-01-16 | 44 | 687 | 3081
2001-01-17 | 45 | 732 | 3126
2001-01-18 | 44 | 776 | 3170
2001-01-19 | 44 | 820 | 3214
2001-01-20 | 43 | 863 | 3257
2001-01-21 | 43 | 906 | 3300
2001-01-22 | 43 | 949 | 3343
2001-01-23 | 43 | 992 | 3386
2001-01-24 | 43 | 1035 | 3429
2001-01-25 | 43 | 1078 | 3472
2001-01-26 | 43 | 1121 | 3515
2001-01-27 | 43 | 1164 | 3558
2001-01-28 | 42 | 1206 | 3600
2001-01-29 | 42 | 1248 | 3642
2001-01-30 | 42 | 1290 | 3684
2001-01-31 | 42 | 1332 | 3726
2001-02-01 | 42 | 42 | 3768
2001-02-02 | 42 | 84 | 3810
2001-02-03 | 42 | 126 | 3852
2001-02-04 | 42 | 168 | 3894
2001-02-05 | 41 | 209 | 3935
2001-02-06 | 41 | 250 | 3976
2001-02-07 | 41 | 291 | 4017
2001-02-08 | 41 | 332 | 4058
2001-02-09 | 41 | 373 | 4099
2001-02-10 | 40 | 413 | 4139
2001-02-11 | 40 | 453 | 4179
2001-02-12 | 40 | 493 | 4219
2001-02-13 | 39 | 532 | 4258
2001-02-14 | 39 | 571 | 4297
2001-02-15 | 39 | 610 | 4336
2001-02-16 | 38 | 648 | 4374
2001-02-17 | 37 | 685 | 4411
2001-02-18 | 37 | 722 | 4448
2001-02-19 | 36 | 758 | 4484
2001-02-20 | 36 | 794 | 4520
2001-02-21 | 36 | 830 | 4556
2001-02-22 | 35 | 865 | 4591
2001-02-23 | 35 | 900 | 4626
2001-02-24 | 35 | 935 | 4661
2001-02-25 | 34 | 969 | 4695
2001-02-26 | 34 | 1003 | 4729
2001-02-27 | 33 | 1036 | 4762
2001-02-28 | 33 | 1069 | 4795
2001-03-01 | 33 | 33 | 4828
2001-03-02 | 33 | 66 | 4861
2001-03-03 | 32 | 98 | 4893
2001-03-04 | 32 | 130 | 4925
2001-03-05 | 31 | 161 | 4956
2001-03-06 | 31 | 192 | 4987
2001-03-07 | 31 | 223 | 5018
2001-03-08 | 30 | 253 | 5048
2001-03-09 | 30 | 283 | 5078
2001-03-10 | 30 | 313 | 5108
2001-03-11 | 30 | 343 | 5138
2001-03-12 | 29 | 372 | 5167
2001-03-13 | 29 | 401 | 5196
2001-03-14 | 29 | 430 | 5225
2001-03-15 | 28 | 458 | 5253
2001-03-16 | 28 | 486 | 5281
2001-03-17 | 27 | 513 | 5308
2001-03-18 | 27 | 540 | 5335
2001-03-19 | 26 | 566 | 5361
2001-03-20 | 26 | 592 | 5387
2001-03-21 | 26 | 618 | 5413
2001-03-22 | 25 | 643 | 5438
2001-03-23 | 25 | 668 | 5463
2001-03-24 | 24 | 692 | 5487
2001-03-25 | 24 | 716 | 5511
2001-03-26 | 24 | 740 | 5535
2001-03-27 | 23 | 763 | 5558
2001-03-28 | 23 | 786 | 5581
2001-03-29 | 23 | 809 | 5604
2001-03-30 | 22 | 831 | 5626
2001-03-31 | 22 | 853 | 5648
2001-04-01 | 22 | 22 | 5670
2001-04-02 | 22 | 44 | 5692
2001-04-03 | 22 | 66 | 5714
2001-04-04 | 21 | 87 | 5735
2001-04-05 | 21 | 108 | 5756
2001-04-06 | 21 | 129 | 5777
2001-04-07 | 20 | 149 | 5797
2001-04-08 | 20 | 169 | 5817
2001-04-09 | 20 | 189 | 5837
2001-04-10 | 19 | 208 | 5856
2001-04-11 | 19 | 227 | 5875
2001-04-12 | 18 | 245 | 5893
2001-04-13 | 17 | 262 | 5910
2001-04-14 | 17 | 279 | 5927
2001-04-15 | 17 | 296 | 5944
2001-04-16 | 16 | 312 | 5960
2001-04-17 | 16 | 328 | 5976
2001-04-18 | 16 | 344 | 5992
2001-04-19 | 15 | 359 | 6007
2001-04-20 | 15 | 374 | 6022
2001-04-21 | 14 | 388 | 6036
2001-04-22 | 14 | 402 | 6050
2001-04-23 | 14 | 416 | 6064
2001-04-24 | 13 | 429 | 6077
2001-04-25 | 13 | 442 | 6090
2001-04-26 | 13 | 455 | 6103
2001-04-27 | 12 | 467 | 6115
2001-04-28 | 12 | 479 | 6127
2001-04-29 | 12 | 491 | 6139
2001-04-30 | 12 | 503 | 6151
2001-05-01 | 11 | 11 | 6162
2001-05-02 | 11 | 22 | 6173
2001-05-03 | 11 | 33 | 6184
2001-05-04 | 11 | 44 | 6195
2001-05-05 | 10 | 54 | 6205
2001-05-06 | 10 | 64 | 6215
2001-05-07 | 9 | 73 | 6224
2001-05-08 | 9 | 82 | 6233
2001-05-09 | 9 | 91 | 6242
2001-05-10 | 8 | 99 | 6250
2001-05-11 | 8 | 107 | 6258
2001-05-12 | 8 | 115 | 6266
2001-05-13 | 7 | 122 | 6273
2001-05-14 | 7 | 129 | 6280
2001-05-15 | 7 | 136 | 6287
2001-05-16 | 7 | 143 | 6294
2001-05-17 | 7 | 150 | 6301
2001-05-18 | 7 | 157 | 6308
2001-05-19 | 7 | 164 | 6315
2001-05-20 | 7 | 171 | 6322
2001-05-21 | 6 | 177 | 6328
2001-05-22 | 6 | 183 | 6334
2001-05-23 | 6 | 189 | 6340
2001-05-24 | 5 | 194 | 6345
2001-05-25 | 5 | 199 | 6350
2001-05-26 | 5 | 204 | 6355
2001-05-27 | 5 | 209 | 6360
2001-05-28 | 4 | 213 | 6364
2001-05-29 | 4 | 217 | 6368
2001-05-30 | 4 | 221 | 6372
2001-05-31 | 4 | 225 | 6376
2001-06-01 | 4 | 4 | 6380
2001-06-02 | 4 | 8 | 6384
2001-06-03 | 4 | 12 | 6388
2001-06-04 | 3 | 15 | 6391
2001-06-05 | 3 | 18 | 6394
2001-06-06 | 3 | 21 | 6397
2001-06-07 | 3 | 24 | 6400
2001-06-08 | 3 | 27 | 6403
2001-06-09 | 3 | 30 | 6406
2001-06-10 | 3 | 33 | 6409
2001-06-11 | 3 | 36 | 6412
2001-06-12 | 2 | 38 | 6414
2001-06-13 | 2 | 40 | 6416
2001-06-14 | 1 | 41 | 6417
2001-06-15 | 1 | 42 | 6418
2001-06-16 | 1 | 43 | 6419
2001-06-17 | 1 | 44 | 6420
2001-06-18 | 1 | 45 | 6421
2001-06-19 | 1 | 46 | 6422
2001-06-20 | 0 | 46 | 6422
2001-06-21 | 0 | 46 | 6422
2001-06-22 | 0 | 46 | 6422
2001-06-23 | 0 | 46 | 6422
2001-06-24 | 0 | 46 | 6422
2001-06-25 | 0 | 46 | 6422
2001-06-26 | 0 | 46 | 6422
2001-06-27 | 0 | 46 | 6422
2001-06-28 | 0 | 46 | 6422
2001-06-29 | 0 | 46 | 6422
2001-06-30 | 0 | 46 | 6422
2001-07-01 | 0 | 0 | 6422
2001-07-02 | 0 | 0 | 6422
2001-07-03 | 0 | 0 | 6422
2001-07-04 | 0 | 0 | 6422
2001-07-05 | 0 | 0 | 6422
2001-07-06 | 0 | 0 | 6422
2001-07-07 | 0 | 0 | 6422
2001-07-08 | 0 | 0 | 6422
2001-07-09 | 0 | 0 | 6422
2001-07-10 | 0 | 0 | 6422
2001-07-11 | 0 | 0 | 6422
2001-07-12 | 0 | 0 | 6422
2001-07-13 | 0 | 0 | 6422
2001-07-14 | 0 | 0 | 6422
2001-07-15 | 0 | 0 | 6422
2001-07-16 | 0 | 0 | 6422
2001-07-17 | 0 | 0 | 6422
2001-07-18 | 0 | 0 | 6422
2001-07-19 | 0 | 0 | 6422
2001-07-20 | 0 | 0 | 6422
2001-07-21 | 0 | 0 | 6422
2001-07-22 | 0 | 0 | 6422
2001-07-23 | 0 | 0 | 6422
2001-07-24 | 0 | 0 | 6422
2001-07-25 | 0 | 0 | 6422
2001-07-26 | 0 | 0 | 6422
2001-07-27 | 1 | 1 | 6423
2001-07-28 | 1 | 2 | 6424
2001-07-29 | 1 | 3 | 6425
2001-07-30 | 1 | 4 | 6426
2001-07-31 | 1 | 5 | 6427
2001-08-01 | 0 | 0 | 6427
2001-08-02 | 0 | 0 | 0
2001-08-03 | 0 | 0 | 0
2001-08-04 | 0 | 0 | 0
2001-08-05 | 0 | 0 | 0
2001-08-06 | 0 | 0 | 0
2001-08-07 | 0 | 0 | 0