## Sheet1
Ft. Pierce Dispatch Analysis | [9 empty] | Needs to be updated:
Assumptions: | [9 empty] | The ENA gas reqmts below assume:
Turbine |  |  | 501F | [6 empty] | Summer: Run 196 MW @ 6068 for 16 hours, and 278 @ 7080 for 8 hours
Power delivered Into FPL (no incremental transmission costs) | [9 empty] | Winter: Run 278 MW @ 7080 for 16 hours
Deliver gas at FGT Zone 2 + $.035 for physical premium, and $.035 for transport variable costs, plus 2.25% fuel
VOM |  |  | 0.67 | mwhr escalating at 2.5% a year
HR |  |  | 7773 | btu/kwhr
Start Charges |  |  | 2730 | per start
MW |  |  | 182 | MW
Annual Availability |  |  | 85% | (55% in Apr & Oct, 90% all other months)
[10 empty] | Inputs: |  | Power |  |  |  | Power Annual Summary
|  |  | Daily Dispatch Volumes |  | Daily Gas Purchases | Volume Over (Under) |  | Gas Purchases (Daily) |  | ENA Reqmts | Availability
|  |  | ENA Curves | ICF Curves |  | ENA Curves | ICF Curves | 1 | 29529.9 | 32811 | 90% | ENA Curves |  | ICF Curves |  |  | ENA Curves |  | ICF Curves
| Month | Year | [5 empty] | 2 | 29529.9 | 32811 | 90% | Volumes | Dispatch Hrs. | Volumes | Dispatch Hrs. | Year | Volumes | Hrs | Volumes | Hrs
2002-11-01 | 11 | 2002 | 8142.2873 | 26818.8891 | 29529.9 | 21387.6127 | 2711.0109 | 3 | 29529.9 | 32811 | 90% | 31425.2694 | 172.6663 | 103507.8699 | 568.7246 | 2002 | 78220.9227 | 429.7853 | 208212.2584 | 1144.0234
2002-12-01 | 12 | 2002 | 11733.6327 | 26253.781 | 29529.9 | 17796.2673 | 3276.119 | 4 | 18046.05 | 32811 | 55% | 46795.6533 | 257.119 | 104704.3885 | 575.2988 | 2003 | 816146.9295 | 4484.3238 | 1152104.8986 | 6330.2467 | 7446
2003-01-01 | 1 | 2003 | 16060.8141 | 27249.0775 | 29529.9 | 13469.0859 | 2280.8225 | 5 | 31383.9 | 34871 | 90% | 64053.1633 | 351.9405 | 108673.7942 | 597.1088 | 2004 | 865387.2631 | 4754.8751 | 1167245.8943 | 6413.439
2003-02-01 | 2 | 2003 | 16718.9475 | 25207.985 | 29529.9 | 12810.9525 | 4321.915 | 6 | 31383.9 | 34871 | 90% | 60225.2065 | 330.9077 | 90804.5259 | 498.926 | 2005 | 876737.3986 | 4817.2385 | 1175514.073 | 6458.8685
2003-03-01 | 3 | 2003 | 15313.0859 | 25253.4537 | 29529.9 | 14216.8141 | 4276.4463 | 7 | 31383.9 | 34871 | 90% | 61071.1005 | 335.5555 | 100714.919 | 553.3787 | 2006 | 884813.7431 | 4861.614 | 1158707.3452 | 6366.5239
2003-04-01 | 4 | 2003 | 9865.5684 | 15213.3594 | 18046.05 | 8180.4816 | 2832.6906 | 8 | 31383.9 | 34871 | 90% | 38076.2966 | 209.2104 | 58716.169 | 322.6163 | 2007 | 905732.5253 | 4976.5523 | 1146006.1353 | 6296.737
2003-05-01 | 5 | 2003 | 22598.2922 | 24799.2524 | 31383.9 | 8785.6078 | 6584.6476 | 9 | 31383.9 | 34871 | 90% | 90125.699 | 495.1961 | 98903.4894 | 543.4258 | 2008 | 926620.4044 | 5091.3209 | 1140233.0898 | 6265.017
2003-06-01 | 6 | 2003 | 23900.9458 | 24938.2583 | 31383.9 | 7482.9542 | 6445.6417 | 10 | 18046.05 | 32811 | 55% | 92246.0279 | 506.8463 | 96249.5496 | 528.8437 | 2009 | 940199.3204 | 5165.9303 | 1130862.1741 | 6213.5284
2003-07-01 | 7 | 2003 | 25561.0578 | 25368.5776 | 31383.9 | 5822.8422 | 6015.3224 | 11 | 29529.9 | 32811 | 90% | 101941.6944 | 560.1192 | 101174.052 | 555.9014 | 2010 | 842473.5616 | 4628.9756 | 1124693.7805 | 6179.6362
2003-08-01 | 8 | 2003 | 25230.5572 | 25346.3061 | 31383.9 | 6153.3428 | 6037.5939 | 12 | 29529.9 | 32811 | 90% | 100623.6038 | 552.8769 | 101085.2297 | 555.4133 | 2011 | 845466.4069 | 4645.4198 | 1119773.6574 | 6152.6025
2003-09-01 | 9 | 2003 | 20368.7929 | 29364.0728 | 31383.9 | 11015.1071 | 2019.8272 |  |  |  |  | 78613.6354 | 431.9431 | 113331.0413 | 622.698 | 2012 | 853280.2959 | 4688.3533 | 1118750.9781 | 6146.9834
2003-10-01 | 10 | 2003 | 7647.3391 | 18036.1112 | 18046.05 | 10398.7109 | 9.9388 | ENA Curves |  |  |  | 30498.8438 | 167.5761 | 71930.9723 | 395.2251 | 2013 | 854600.5518 | 4695.6074 | 1112562.7867 | 6112.9823
2003-11-01 | 11 | 2003 | 10784.5285 | 27277.3271 | 29529.9 | 18745.3715 | 2252.5729 |  |  |  |  | 41623.0354 | 228.698 | 105277.2177 | 578.4463 | 2014 | 857602.2441 | 4712.1002 | 1110315.6491 | 6100.6354
2003-12-01 | 12 | 2003 | 14304.4821 | 26389.0689 | 29529.9 | 15225.4179 | 3140.8311 | Month | Avg. Vol Over |  |  | 57048.623 | 313.454 | 105243.9386 | 578.2634 | 2015 | 861514.6716 | 4733.5971 | 1108363.1907 | 6089.9076
2004-01-01 | 1 | 2004 | 18682.7219 | 28046.9348 | 29529.9 | 10847.1781 | 1482.9652 | 1 | 13250.6724 |  |  | 74509.7619 | 409.3943 | 111855.7802 | 614.5922 | 2016 | 864895.0139 | 4752.1704 | 1105870.5529 | 6076.2118
2004-02-01 | 2 | 2004 | 19281.0422 | 26385.644 | 29529.9 | 10248.8578 | 3144.256 | 2 | 12671.1955 |  |  | 71934.9318 | 395.2469 | 98441.2294 | 540.8859 | 2017 | 740936.4692 | 4071.0795 | 905218.6083 | 4973.7286
2004-03-01 | 3 | 2004 | 18088.6434 | 26282.3623 | 29529.9 | 11441.2566 | 3247.5377 | 3 | 12670.4522 |  |  | 72140.4794 | 396.3763 | 104818.3754 | 575.9251 | 2018 | 0 | 0 | 0 | 0
2004-04-01 | 4 | 2004 | 11448.6528 | 15600.5918 | 18046.05 | 6597.3972 | 2445.4582 | 4 | 7490.7388 |  |  | 44186.2322 | 242.7815 | 60210.6977 | 330.828
2004-05-01 | 5 | 2004 | 22535.5032 | 25303.8769 | 31383.9 | 8848.3968 | 6080.0231 | 5 | 11950.3706 |  |  | 89875.286 | 493.8203 | 100916.015 | 554.4836
2004-06-01 | 6 | 2004 | 24061.6418 | 25553.9024 | 31383.9 | 7322.2582 | 5829.9976 | 6 | 9842.5706 |  |  | 92866.236 | 510.254 | 98625.6366 | 541.8991
2004-07-01 | 7 | 2004 | 25153.2371 | 25702.9182 | 31383.9 | 6230.6629 | 5680.9818 | 7 | 8141.4087 |  |  | 100315.2385 | 551.1826 | 102507.457 | 563.2278
2004-08-01 | 8 | 2004 | 24995.8595 | 25911.9824 | 31383.9 | 6388.0405 | 5471.9176 | 8 | 8530.429 |  |  | 99687.5911 | 547.734 | 103341.2394 | 567.809
2004-09-01 | 9 | 2004 | 19946.5781 | 27788.7857 | 31383.9 | 11437.3219 | 3595.1143 | 9 | 13349.6958 |  |  | 76984.0917 | 422.9895 | 107251.199 | 589.2923
2004-10-01 | 10 | 2004 | 9054.5232 | 17051.4894 | 18046.05 | 8991.5268 | 994.5606 | 10 | 9002.7452 |  |  | 36110.925 | 198.4117 | 68004.139 | 373.6491
2004-11-01 | 11 | 2004 | 12022.2255 | 27281.8943 | 29529.9 | 17507.6745 | 2248.0057 | 11 | 17443.8852 |  |  | 46399.9441 | 254.9447 | 105294.8448 | 578.5431
2004-12-01 | 12 | 2004 | 15138.9319 | 26573.45 | 29529.9 | 14390.9681 | 2956.45 | 12 | 15369.2516 |  |  | 60376.5455 | 331.7393 | 105979.2807 | 582.3037
2005-01-01 | 1 | 2005 | 19175.6493 | 28277.2082 | 29529.9 | 10354.2507 | 1252.6918 |  |  |  |  | 76475.6373 | 420.1958 | 112774.148 | 619.6382
2005-02-01 | 2 | 2005 | 20037.2442 | 27127.7532 | 29529.9 | 9492.6558 | 2402.1468 | ICF Curves |  |  |  | 72178.4174 | 396.5847 | 97719.9396 | 536.9227
2005-03-01 | 3 | 2005 | 19037.2231 | 26905.8343 | 29529.9 | 10492.6769 | 2624.0657 |  |  |  |  | 75923.571 | 417.1625 | 107304.8841 | 589.5873
2005-04-01 | 4 | 2005 | 11795.7232 | 16033.6556 | 18046.05 | 6250.3268 | 2012.3944 | Month | Avg. Vol Over |  |  | 45525.7553 | 250.1415 | 61882.1136 | 340.0116
2005-05-01 | 5 | 2005 | 22291.3503 | 25749.2647 | 31383.9 | 9092.5497 | 5634.6353 | 1 | 5609.001 |  |  | 88901.5642 | 488.4701 | 102692.2947 | 564.2434
2005-06-01 | 6 | 2005 | 23283.5613 | 25866.5217 | 31383.9 | 8100.3387 | 5517.3783 | 2 | 6907.5119 |  |  | 89863.2237 | 493.754 | 99832.195 | 548.5285
2005-07-01 | 7 | 2005 | 24325.3098 | 25874.9857 | 31383.9 | 7058.5902 | 5508.9143 | 3 | 6925.1536 |  |  | 97013.3286 | 533.0403 | 103193.6906 | 566.9983
2005-08-01 | 8 | 2005 | 24263.7577 | 25987.071 | 31383.9 | 7120.1423 | 5396.829 | 4 | 4612.9829 |  |  | 96767.8487 | 531.6915 | 103640.705 | 569.4544
2005-09-01 | 9 | 2005 | 19964.4376 | 27063.3407 | 31383.9 | 11419.4624 | 4320.5593 | 5 | 9501.0353 |  |  | 77053.0206 | 423.3682 | 104451.3341 | 573.9084
2005-10-01 | 10 | 2005 | 10161.3261 | 16912.8016 | 18046.05 | 7884.7239 | 1133.2484 | 6 | 7990.4494 |  |  | 40525.0366 | 222.665 | 67451.0293 | 370.6101
2005-11-01 | 11 | 2005 | 14023.974 | 27796.7858 | 29529.9 | 15505.926 | 1733.1142 | 7 | 7378.9392 |  |  | 54125.7197 | 297.3941 | 107282.0757 | 589.462
2005-12-01 | 12 | 2005 | 15642.354 | 26902.0178 | 29529.9 | 13887.546 | 2627.8822 | 8 | 7474.5478 |  |  | 62384.2755 | 342.7707 | 107289.6632 | 589.5036
2006-01-01 | 1 | 2006 | 18302.1114 | 27837.2138 | 29529.9 | 11227.7886 | 1692.6862 | 9 | 6594.1776 |  |  | 72991.8247 | 401.054 | 111019.3782 | 609.9966
2006-02-01 | 2 | 2006 | 19088.2894 | 26662.1702 | 29529.9 | 10441.6106 | 2867.7298 | 10 | 2557.6051 |  |  | 68760.0802 | 377.8026 | 96042.8106 | 527.7078
2006-03-01 | 3 | 2006 | 19438.1175 | 26499.2877 | 29529.9 | 10091.7825 | 3030.6123 | 11 | 6529.3503 |  |  | 77522.4037 | 425.9473 | 105683.5092 | 580.6786
2006-04-01 | 4 | 2006 | 12057.5735 | 15736.1594 | 18046.05 | 5988.4765 | 2309.8906 | 12 | 6871.2122 |  |  | 46536.3702 | 255.6943 | 60733.9228 | 333.7029
2006-05-01 | 5 | 2006 | 22673.407 | 25477.3427 | 31383.9 | 8710.493 | 5906.5573 |  |  |  |  | 90425.2691 | 496.8421 | 101607.8251 | 558.2848
2006-06-01 | 6 | 2006 | 23323.0903 | 25548.7762 | 31383.9 | 8060.8097 | 5835.1238 |  |  |  |  | 90015.7867 | 494.5922 | 98605.8517 | 541.7904
2006-07-01 | 7 | 2006 | 24626.8819 | 25848.7121 | 31383.9 | 6757.0181 | 5535.1879 |  |  |  |  | 98216.0479 | 539.6486 | 103088.9071 | 566.4226
2006-08-01 | 8 | 2006 | 24489.5476 | 25854.5908 | 31383.9 | 6894.3524 | 5529.3092 |  |  |  |  | 97668.3358 | 536.6392 | 103112.3522 | 566.5514
2006-09-01 | 9 | 2006 | 20179.5713 | 26510.426 | 31383.9 | 11204.3287 | 4873.474 |  |  |  |  | 77883.332 | 427.9304 | 102317.3525 | 562.1833
2006-10-01 | 10 | 2006 | 10912.1014 | 16585.4614 | 18046.05 | 7133.9486 | 1460.5886 |  |  |  |  | 43519.2519 | 239.1168 | 66145.5428 | 363.437
2006-11-01 | 11 | 2006 | 14721.3549 | 27154.5788 | 29529.9 | 14808.5451 | 2375.3212 |  |  |  |  | 56817.2709 | 312.1828 | 104803.469 | 575.8432
2006-12-01 | 12 | 2006 | 16162.266 | 26464.9146 | 29529.9 | 13367.634 | 3064.9854 |  |  |  |  | 64457.7701 | 354.1636 | 105546.4239 | 579.9254
2007-01-01 | 1 | 2007 | 18947.4726 | 27368.3901 | 29529.9 | 10582.4274 | 2161.5099 |  |  |  |  | 75565.6311 | 415.1958 | 109149.6325 | 599.7233
2007-02-01 | 2 | 2007 | 19491.9097 | 26194.3704 | 29529.9 | 10037.9903 | 3335.5296 |  |  |  |  | 70214.0065 | 385.7912 | 94357.6962 | 518.4489
2007-03-01 | 3 | 2007 | 19738.7291 | 26160.166 | 29529.9 | 9791.1709 | 3369.734 |  |  |  |  | 78721.292 | 432.5346 | 104331.0362 | 573.2475
2007-04-01 | 4 | 2007 | 12372.1541 | 15561.0607 | 18046.05 | 5673.8959 | 2484.9893 |  |  |  |  | 47750.4983 | 262.3654 | 60058.1271 | 329.9897
2007-05-01 | 5 | 2007 | 22983.0496 | 25349.2347 | 31383.9 | 8400.8504 | 6034.6653 |  |  |  |  | 91660.1745 | 503.6273 | 101096.9091 | 555.4775
2007-06-01 | 6 | 2007 | 23507.7578 | 25364.1288 | 31383.9 | 7876.1422 | 6019.7712 |  |  |  |  | 90728.5134 | 498.5083 | 97893.2027 | 537.8747
2007-07-01 | 7 | 2007 | 25088.823 | 25997.1005 | 31383.9 | 6295.077 | 5386.7995 |  |  |  |  | 100058.3445 | 549.7711 | 103680.7046 | 569.6742
2007-08-01 | 8 | 2007 | 24795.6986 | 25877.9939 | 31383.9 | 6588.2014 | 5505.9061 |  |  |  |  | 98889.3163 | 543.3479 | 103205.6878 | 567.0642
2007-09-01 | 9 | 2007 | 20625.7913 | 26055.4171 | 31383.9 | 10758.1087 | 5328.4829 |  |  |  |  | 79605.5241 | 437.393 | 100561.2393 | 552.5343
2007-10-01 | 10 | 2007 | 11462.4402 | 16345.8985 | 18046.05 | 6583.6098 | 1700.1515 |  |  |  |  | 45714.0931 | 251.1763 | 65190.1267 | 358.1875
2007-11-01 | 11 | 2007 | 15520.2728 | 26515.8927 | 29529.9 | 14009.6272 | 3014.0073 |  |  |  |  | 59900.7054 | 329.1248 | 102338.4511 | 562.2992
2007-12-01 | 12 | 2007 | 16780.7601 | 26113.0981 | 29529.9 | 12749.1399 | 3416.8019 |  |  |  |  | 66924.4261 | 367.7166 | 104143.3221 | 572.2161
2008-01-01 | 1 | 2008 | 19318.3626 | 27026.267 | 29529.9 | 10211.5374 | 2503.633 |  |  |  |  | 77044.8013 | 423.3231 | 107785.1893 | 592.2263
2008-02-01 | 2 | 2008 | 19890.6668 | 25846.5219 | 29529.9 | 9639.2332 | 3683.3781 |  |  |  |  | 74209.3578 | 407.7437 | 96429.8385 | 529.8343
2008-03-01 | 3 | 2008 | 20004.9062 | 25866.6137 | 29529.9 | 9524.9938 | 3663.2863 |  |  |  |  | 79782.8498 | 438.3673 | 103160.3018 | 566.8148
2008-04-01 | 4 | 2008 | 12631.4916 | 15462.7873 | 18046.05 | 5414.5584 | 2583.2627 |  |  |  |  | 48751.4148 | 267.8649 | 59678.8396 | 327.9057
2008-05-01 | 5 | 2008 | 23230.3088 | 25283.0857 | 31383.9 | 8153.5912 | 6100.8143 |  |  |  |  | 92646.2848 | 509.0455 | 100833.0962 | 554.028
2008-06-01 | 6 | 2008 | 23708.1724 | 25325.4191 | 31383.9 | 7675.7276 | 6058.4809 |  |  |  |  | 91502.0161 | 502.7583 | 97743.802 | 537.0539
2008-07-01 | 7 | 2008 | 25476.3198 | 26196.9346 | 31383.9 | 5907.5802 | 5186.9654 |  |  |  |  | 101603.7457 | 558.2623 | 104477.6758 | 574.0532
2008-08-01 | 8 | 2008 | 24919.0071 | 25892.1954 | 31383.9 | 6464.8929 | 5491.7046 |  |  |  |  | 99381.0909 | 546.05 | 103262.3257 | 567.3754
2008-09-01 | 9 | 2008 | 21381.5566 | 25793.3384 | 31383.9 | 10002.3434 | 5590.5616 |  |  |  |  | 82522.4108 | 453.4198 | 99549.743 | 546.9766
2008-10-01 | 10 | 2008 | 11902.8834 | 16135.0736 | 18046.05 | 6143.1666 | 1910.9764 |  |  |  |  | 47470.6528 | 260.8278 | 64349.3223 | 353.5677
2008-11-01 | 11 | 2008 | 15768.3991 | 25931.1545 | 29529.9 | 13761.5009 | 3598.7455 |  |  |  |  | 60858.3524 | 334.3866 | 100081.6462 | 549.8992
2008-12-01 | 12 | 2008 | 17764.421 | 25796.6586 | 29529.9 | 11765.479 | 3733.2414 |  |  |  |  | 70847.4272 | 389.2716 | 102881.3094 | 565.2819
2009-01-01 | 1 | 2009 | 19503.0114 | 26762.6936 | 29529.9 | 10026.8886 | 2767.2064 |  |  |  |  | 77781.2112 | 427.3693 | 106734.0155 | 586.4506
2009-02-01 | 2 | 2009 | 20139.6562 | 25597.9378 | 29529.9 | 9390.2438 | 3931.9622 |  |  |  |  | 72547.327 | 398.6117 | 92209.219 | 506.6441
2009-03-01 | 3 | 2009 | 20442.6319 | 25682.0216 | 29529.9 | 9087.2681 | 3847.8784 |  |  |  |  | 81528.572 | 447.9592 | 102424.1179 | 562.7699
2009-04-01 | 4 | 2009 | 12795.2985 | 15359.0126 | 18046.05 | 5250.7515 | 2687.0374 |  |  |  |  | 49383.6299 | 271.3386 | 59278.3196 | 325.7051
2009-05-01 | 5 | 2009 | 23449.7602 | 25230.3493 | 31383.9 | 7934.1398 | 6153.5507 |  |  |  |  | 93521.4931 | 513.8544 | 100622.7748 | 552.8724
2009-06-01 | 6 | 2009 | 24054.8484 | 25335.4258 | 31383.9 | 7329.0516 | 6048.4742 |  |  |  |  | 92840.017 | 510.11 | 97782.4229 | 537.2661
2009-07-01 | 7 | 2009 | 25885.4477 | 26412.015 | 31383.9 | 5498.4523 | 4971.885 |  |  |  |  | 103235.4148 | 567.2276 | 105335.4516 | 578.7662
2009-08-01 | 8 | 2009 | 25215.2135 | 25996.8475 | 31383.9 | 6168.6865 | 5387.0525 |  |  |  |  | 100562.4105 | 552.5407 | 103679.6955 | 569.6687
2009-09-01 | 9 | 2009 | 21728.11 | 25608.2291 | 31383.9 | 9655.79 | 5775.6709 |  |  |  |  | 83859.9384 | 460.7689 | 98835.3112 | 543.0512
2009-10-01 | 10 | 2009 | 12058.6695 | 15981.8776 | 18046.05 | 5987.3805 | 2064.1724 |  |  |  |  | 48091.9535 | 264.2415 | 63738.3512 | 350.2107
2009-11-01 | 11 | 2009 | 16650.7921 | 25462.8679 | 29529.9 | 12879.1079 | 4067.0321 |  |  |  |  | 64263.9603 | 353.0987 | 98274.2874 | 539.9686
2009-12-01 | 12 | 2009 | 18199.7004 | 25562.6908 | 29529.9 | 11330.1996 | 3967.2092 |  |  |  |  | 72583.3926 | 398.8098 | 101948.2073 | 560.155
2010-01-01 | 1 | 2010 | 17705.5516 | 27190.0384 | 29529.9 | 11824.3484 | 2339.8616 |  |  |  |  | 70612.6463 | 387.9816 | 108438.3367 | 595.815
2010-02-01 | 2 | 2010 | 18584.6945 | 25526.6597 | 29529.9 | 10945.2055 | 4003.2403 |  |  |  |  | 66946.0241 | 367.8353 | 91952.4599 | 505.2333
2010-03-01 | 3 | 2010 | 18896.6105 | 25361.1442 | 29529.9 | 10633.2895 | 4168.7558 |  |  |  |  | 75362.7849 | 414.0812 | 101144.4063 | 555.7385
2010-04-01 | 4 | 2010 | 11857.9928 | 14994.3503 | 18046.05 | 6188.0572 | 3051.6997 |  |  |  |  | 45766.0858 | 251.462 | 57870.9004 | 317.972
2010-05-01 | 5 | 2010 | 21316.949 | 24525.0703 | 31383.9 | 10066.951 | 6858.8297 |  |  |  |  | 85015.492 | 467.1181 | 97810.0063 | 537.4176
2010-06-01 | 6 | 2010 | 22510.5136 | 24781.1793 | 31383.9 | 8873.3864 | 6602.7207 |  |  |  |  | 86879.6355 | 477.3606 | 95643.3009 | 525.5126
2010-07-01 | 7 | 2010 | 24095.0002 | 24984.0375 | 31383.9 | 7288.8998 | 6399.8625 |  |  |  |  | 96094.816 | 527.9935 | 99640.443 | 547.475
2010-08-01 | 8 | 2010 | 23776.3089 | 25038.8476 | 31383.9 | 7607.5911 | 6345.0524 |  |  |  |  | 94823.8229 | 521.01 | 99859.0344 | 548.676
2010-09-01 | 9 | 2010 | 18260.9528 | 26900.6058 | 31383.9 | 13122.9472 | 4483.2942 |  |  |  |  | 70478.3975 | 387.2439 | 103823.2568 | 570.4575
2010-10-01 | 10 | 2010 | 8471.8782 | 16917.5304 | 18046.05 | 9574.1718 | 1128.5196 |  |  |  |  | 33787.2412 | 185.6442 | 67469.8884 | 370.7137
2010-11-01 | 11 | 2010 | 13519.7336 | 25880.7528 | 29529.9 | 16010.1664 | 3649.1472 |  |  |  |  | 52179.5972 | 286.7011 | 99887.1201 | 548.8303
2010-12-01 | 12 | 2010 | 16179.6294 | 25363.7071 | 29529.9 | 13350.2706 | 4166.1929 |  |  |  |  | 64527.0182 | 354.5441 | 101154.6274 | 555.7947
2011-01-01 | 1 | 2011 | 18028.5712 | 26998.9115 | 29529.9 | 11501.3288 | 2530.9885 |  |  |  |  | 71900.9013 | 395.0599 | 107676.0912 | 591.6269
2011-02-01 | 2 | 2011 | 18733.9492 | 25402.0284 | 29529.9 | 10795.9508 | 4127.8716 |  |  |  |  | 67483.6712 | 370.7894 | 91503.5114 | 502.7665
2011-03-01 | 3 | 2011 | 19078.0961 | 25387.3103 | 29529.9 | 10451.8039 | 4142.5897 |  |  |  |  | 76086.5789 | 418.0581 | 101248.7608 | 556.3119
2011-04-01 | 4 | 2011 | 11881.1207 | 14955.5038 | 18046.05 | 6164.9293 | 3090.5462 |  |  |  |  | 45855.3481 | 251.9525 | 57720.9719 | 317.1482
2011-05-01 | 5 | 2011 | 21350.4711 | 24477.1535 | 31383.9 | 10033.4289 | 6906.7465 |  |  |  |  | 85149.1837 | 467.8527 | 97618.9063 | 536.3676
2011-06-01 | 6 | 2011 | 22476.7283 | 24684.6972 | 31383.9 | 8907.1717 | 6699.2028 |  |  |  |  | 86749.2407 | 476.6442 | 95270.9271 | 523.4666
2011-07-01 | 7 | 2011 | 24119.1414 | 25018.3053 | 31383.9 | 7264.7586 | 6365.5947 |  |  |  |  | 96191.0954 | 528.5225 | 99777.1084 | 548.2259
2011-08-01 | 8 | 2011 | 23907.1455 | 25120.3261 | 31383.9 | 7476.7545 | 6263.5739 |  |  |  |  | 95345.6209 | 523.877 | 100183.9843 | 550.4615
2011-09-01 | 9 | 2011 | 18222.0463 | 26636.35 | 31383.9 | 13161.8537 | 4747.55 |  |  |  |  | 70328.2375 | 386.4189 | 102803.3579 | 564.8536
2011-10-01 | 10 | 2011 | 8584.1998 | 16751.7978 | 18046.05 | 9461.8502 | 1294.2522 |  |  |  |  | 34235.198 | 188.1055 | 66808.9197 | 367.082
2011-11-01 | 11 | 2011 | 13741.4586 | 25622.4161 | 29529.9 | 15788.4414 | 3907.4839 |  |  |  |  | 53035.3479 | 291.403 | 98890.0661 | 543.352
2011-12-01 | 12 | 2011 | 15823.3164 | 25142.1577 | 29529.9 | 13706.5836 | 4387.7423 |  |  |  |  | 63105.9833 | 346.7362 | 100271.0522 | 550.9398
2012-01-01 | 1 | 2012 | 18195.1073 | 26862.1064 | 29529.9 | 11334.7927 | 2667.7936 |  |  |  |  | 72565.0746 | 398.7092 | 107130.4898 | 588.6291
2012-02-01 | 2 | 2012 | 18892.2666 | 25308.2441 | 29529.9 | 10637.6334 | 4221.6559 |  |  |  |  | 70484.4631 | 387.2773 | 94421.5976 | 518.8
2012-03-01 | 3 | 2012 | 19088.3423 | 25295.9188 | 29529.9 | 10441.5577 | 4233.9812 |  |  |  |  | 76127.4426 | 418.2827 | 100884.2769 | 554.3092
2012-04-01 | 4 | 2012 | 11954.096 | 14940.1846 | 18046.05 | 6091.954 | 3105.8654 |  |  |  |  | 46136.9973 | 253.5 | 57661.847 | 316.8233
2012-05-01 | 5 | 2012 | 21380.3942 | 24457.7302 | 31383.9 | 10003.5058 | 6926.1698 |  |  |  |  | 85268.5218 | 468.5084 | 97541.4429 | 535.942
2012-06-01 | 6 | 2012 | 22396.9408 | 24579.9622 | 31383.9 | 8986.9592 | 6803.9378 |  |  |  |  | 86441.3 | 474.9522 | 94866.701 | 521.2456
2012-07-01 | 7 | 2012 | 24377.3992 | 25200.3567 | 31383.9 | 7006.5008 | 6183.5433 |  |  |  |  | 97221.0697 | 534.1817 | 100503.1592 | 552.2152
2012-08-01 | 8 | 2012 | 24008.0405 | 25176.9271 | 31383.9 | 7375.8595 | 6206.9729 |  |  |  |  | 95748.0066 | 526.0879 | 100409.7184 | 551.7017
2012-09-01 | 9 | 2012 | 17931.376 | 26267.7576 | 31383.9 | 13452.524 | 5116.1424 |  |  |  |  | 69206.3913 | 380.2549 | 101380.7702 | 557.0372
2012-10-01 | 10 | 2012 | 9057.9822 | 16576.9588 | 18046.05 | 8988.0678 | 1469.0912 |  |  |  |  | 36124.7202 | 198.4875 | 66111.6328 | 363.2507
2012-11-01 | 11 | 2012 | 14076.9875 | 25365.6629 | 29529.9 | 15452.9125 | 4164.2371 |  |  |  |  | 54330.3262 | 298.5183 | 97899.1237 | 537.9073
2012-12-01 | 12 | 2012 | 15953.7021 | 25059.2039 | 29529.9 | 13576.1979 | 4470.6961 |  |  |  |  | 63625.9827 | 349.5933 | 99940.2186 | 549.1221
2013-01-01 | 1 | 2013 | 18428.8193 | 26751.3884 | 29529.9 | 11101.0807 | 2778.5116 |  |  |  |  | 73497.1565 | 403.8305 | 106688.9284 | 586.2029
2013-02-01 | 2 | 2013 | 18952.5173 | 25234.2582 | 29529.9 | 10577.3827 | 4295.6418 |  |  |  |  | 68271 | 375.1154 | 90899.1676 | 499.446
2013-03-01 | 3 | 2013 | 19152.9529 | 25210.2456 | 29529.9 | 10376.9471 | 4319.6544 |  |  |  |  | 76385.1201 | 419.6985 | 100542.598 | 552.4319
2013-04-01 | 4 | 2013 | 12075.9844 | 14939.0401 | 18046.05 | 5970.0656 | 3107.0099 |  |  |  |  | 46607.4271 | 256.0848 | 57657.4298 | 316.7991
2013-05-01 | 5 | 2013 | 21370.5982 | 24417.1744 | 31383.9 | 10013.3018 | 6966.7256 |  |  |  |  | 85229.4538 | 468.2937 | 97379.6999 | 535.0533
2013-06-01 | 6 | 2013 | 22232.9692 | 24487.6452 | 31383.9 | 9150.9308 | 6896.2548 |  |  |  |  | 85808.4494 | 471.475 | 94510.4023 | 519.2879
2013-07-01 | 7 | 2013 | 24535.0212 | 25344.9424 | 31383.9 | 6848.8788 | 6038.9576 |  |  |  |  | 97849.6922 | 537.6357 | 101079.791 | 555.3835
2013-08-01 | 8 | 2013 | 23902.8283 | 25148.9721 | 31383.9 | 7481.0717 | 6234.9279 |  |  |  |  | 95328.4031 | 523.7824 | 100298.2293 | 551.0892
2013-09-01 | 9 | 2013 | 18163.4249 | 26103.7413 | 31383.9 | 13220.4751 | 5280.1587 |  |  |  |  | 70101.9874 | 385.1758 | 100747.7472 | 553.5591
2013-10-01 | 10 | 2013 | 9113.0317 | 16458.395 | 18046.05 | 8933.0183 | 1587.655 |  |  |  |  | 36344.2665 | 199.6938 | 65638.7812 | 360.6526
2013-11-01 | 11 | 2013 | 13845.3104 | 25246.3673 | 29529.9 | 15684.5896 | 4283.5327 |  |  |  |  | 53436.1653 | 293.6053 | 97438.7006 | 535.3775
2013-12-01 | 12 | 2013 | 16484.1335 | 24994.2849 | 29529.9 | 13045.7665 | 4535.6151 |  |  |  |  | 65741.4303 | 361.2167 | 99681.3113 | 547.6995
2014-01-01 | 1 | 2014 | 18558.8254 | 26652.5334 | 29529.9 | 10971.0746 | 2877.3666 |  |  |  |  | 74015.6423 | 406.6794 | 106294.6783 | 584.0367
2014-02-01 | 2 | 2014 | 19057.9137 | 25170.0326 | 29529.9 | 10471.9863 | 4359.8674 |  |  |  |  | 68650.6606 | 377.2014 | 90667.8131 | 498.1748
2014-03-01 | 3 | 2014 | 19290.1442 | 25163.696 | 29529.9 | 10239.7558 | 4366.204 |  |  |  |  | 76932.2616 | 422.7047 | 100356.9503 | 551.4118
2014-04-01 | 4 | 2014 | 12139.0959 | 14937.0265 | 18046.05 | 5906.9541 | 3109.0235 |  |  |  |  | 46851.0069 | 257.4231 | 57649.6585 | 316.7564
2014-05-01 | 5 | 2014 | 21307.959 | 24352.7783 | 31383.9 | 10075.941 | 7031.1217 |  |  |  |  | 84979.6385 | 466.9211 | 97122.8776 | 533.6422
2014-06-01 | 6 | 2014 | 22260.2653 | 24486.653 | 31383.9 | 9123.6347 | 6897.247 |  |  |  |  | 85913.799 | 472.0538 | 94506.5726 | 519.2669
2014-07-01 | 7 | 2014 | 24616.0646 | 25442.0488 | 31383.9 | 6767.8354 | 5941.8512 |  |  |  |  | 98172.9067 | 539.4116 | 101467.067 | 557.5114
2014-08-01 | 8 | 2014 | 23867.5495 | 25147.8725 | 31383.9 | 7516.3505 | 6236.0275 |  |  |  |  | 95187.7055 | 523.0094 | 100293.8439 | 551.0651
2014-09-01 | 9 | 2014 | 18128.8499 | 25984.7528 | 31383.9 | 13255.0501 | 5399.1472 |  |  |  |  | 69968.5447 | 384.4426 | 100288.5096 | 551.0358
2014-10-01 | 10 | 2014 | 9156.0436 | 16351.87 | 18046.05 | 8890.0064 | 1694.18 |  |  |  |  | 36515.8047 | 200.6363 | 65213.9418 | 358.3184
2014-11-01 | 11 | 2014 | 13861.6433 | 25118.1186 | 29529.9 | 15668.2567 | 4411.7814 |  |  |  |  | 53499.2024 | 293.9517 | 96943.7228 | 532.6578
2014-12-01 | 12 | 2014 | 16778.4145 | 24951.3334 | 29529.9 | 12751.4855 | 4578.5666 |  |  |  |  | 66915.0712 | 367.6652 | 99510.0136 | 546.7583
2015-01-01 | 1 | 2015 | 18530.6631 | 26688.0677 | 29529.9 | 10999.2369 | 2841.8323 |  |  |  |  | 73903.3266 | 406.0622 | 106436.3951 | 584.8154
2015-02-01 | 2 | 2015 | 19150.0399 | 25095.4346 | 29529.9 | 10379.8601 | 4434.4654 |  |  |  |  | 68982.5187 | 379.0248 | 90399.0956 | 496.6983
2015-03-01 | 3 | 2015 | 19525.4078 | 25153.0297 | 29529.9 | 10004.4922 | 4376.8703 |  |  |  |  | 77870.5314 | 427.8601 | 100314.4114 | 551.1781
2015-04-01 | 4 | 2015 | 12195.0838 | 14935.4698 | 18046.05 | 5850.9662 | 3110.5802 |  |  |  |  | 47067.0929 | 258.6104 | 57643.6505 | 316.7234
2015-05-01 | 5 | 2015 | 21258.5252 | 24255.3886 | 31383.9 | 10125.3748 | 7128.5114 |  |  |  |  | 84782.4881 | 465.8378 | 96734.4715 | 531.5081
2015-06-01 | 6 | 2015 | 22347.9959 | 24563.5434 | 31383.9 | 9035.9041 | 6820.3566 |  |  |  |  | 86252.3962 | 473.9143 | 94803.3325 | 520.8974
2015-07-01 | 7 | 2015 | 24827.4441 | 25661.346 | 31383.9 | 6556.4559 | 5722.554 |  |  |  |  | 99015.9229 | 544.0435 | 102341.6604 | 562.3168
2015-08-01 | 8 | 2015 | 23906.3532 | 25258.3967 | 31383.9 | 7477.5468 | 6125.5033 |  |  |  |  | 95342.4609 | 523.8597 | 100734.6326 | 553.487
2015-09-01 | 9 | 2015 | 18051.6852 | 25786.4824 | 31383.9 | 13332.2148 | 5597.4176 |  |  |  |  | 69670.7262 | 382.8062 | 99523.2821 | 546.8312
2015-10-01 | 10 | 2015 | 8974.3714 | 16068.3513 | 18046.05 | 9071.6786 | 1977.6987 |  |  |  |  | 35791.2665 | 196.6553 | 64083.2229 | 352.1056
2015-11-01 | 11 | 2015 | 14309.8007 | 24900.5954 | 29529.9 | 15220.0993 | 4629.3046 |  |  |  |  | 55228.872 | 303.4553 | 96104.1891 | 528.045
2015-12-01 | 12 | 2015 | 16951.9274 | 24884.845 | 29529.9 | 12577.9726 | 4645.055 |  |  |  |  | 67607.0692 | 371.4674 | 99244.8471 | 545.3014
2016-01-01 | 1 | 2016 | 18534.6212 | 26543.7861 | 29529.9 | 10995.2788 | 2986.1139 |  |  |  |  | 73919.1118 | 406.149 | 105860.9763 | 581.6537
2016-02-01 | 2 | 2016 | 19271.4352 | 24967.8672 | 29529.9 | 10258.4648 | 4562.0328 |  |  |  |  | 71899.0891 | 395.0499 | 93151.698 | 511.8225
2016-03-01 | 3 | 2016 | 19708.2642 | 25073.8751 | 29529.9 | 9821.6358 | 4456.0249 |  |  |  |  | 78599.7928 | 431.867 | 99998.7302 | 549.4436
2016-04-01 | 4 | 2016 | 12181.5944 | 14872.7898 | 18046.05 | 5864.4556 | 3173.2602 |  |  |  |  | 47015.0307 | 258.3243 | 57401.736 | 315.3942
2016-05-01 | 5 | 2016 | 21299.7996 | 24192.9761 | 31383.9 | 10084.1004 | 7190.9239 |  |  |  |  | 84947.0974 | 466.7423 | 96485.5603 | 530.1404
2016-06-01 | 6 | 2016 | 22313.218 | 24442.7757 | 31383.9 | 9070.682 | 6941.1243 |  |  |  |  | 86118.1705 | 473.1768 | 94337.2279 | 518.3364
2016-07-01 | 7 | 2016 | 24560.817 | 25492.9936 | 31383.9 | 6823.083 | 5890.9064 |  |  |  |  | 97952.5702 | 538.2009 | 101670.2435 | 558.6277
2016-08-01 | 8 | 2016 | 24170.6241 | 25395.3687 | 31383.9 | 7213.2759 | 5988.5313 |  |  |  |  | 96396.4167 | 529.6506 | 101280.8993 | 556.4885
2016-09-01 | 9 | 2016 | 17969.2516 | 25528.188 | 31383.9 | 13414.6484 | 5855.712 |  |  |  |  | 69352.5726 | 381.0581 | 98526.3914 | 541.3538
2016-10-01 | 10 | 2016 | 8951.5837 | 15892.2553 | 18046.05 | 9094.4663 | 2153.7947 |  |  |  |  | 35700.3851 | 196.156 | 63380.9228 | 348.2468
2016-11-01 | 11 | 2016 | 14473.4833 | 24636.0415 | 29529.9 | 15056.4167 | 4893.8585 |  |  |  |  | 55860.6071 | 306.9264 | 95083.1399 | 522.4348
2016-12-01 | 12 | 2016 | 16833.3517 | 24746.4807 | 29529.9 | 12696.5483 | 4783.4193 |  |  |  |  | 67134.1699 | 368.8691 | 98693.0273 | 542.2694
2017-01-01 | 1 | 2017 | 18774.5671 | 26400.6655 | 29529.9 | 10755.3329 | 3129.2345 |  |  |  |  | 74876.0556 | 411.4069 | 105290.1881 | 578.5175
2017-02-01 | 2 | 2017 | 19307.4048 | 24853.6908 | 29529.9 | 10222.4952 | 4676.2092 |  |  |  |  | 69549.3803 | 382.1395 | 89528.2828 | 491.9136
2017-03-01 | 3 | 2017 | 19807.4568 | 24985.729 | 29529.9 | 9722.4432 | 4544.171 |  |  |  |  | 78995.3892 | 434.0406 | 99647.189 | 547.512
2017-04-01 | 4 | 2017 | 12188.8601 | 14821.1497 | 18046.05 | 5857.1899 | 3224.9003 |  |  |  |  | 47043.0725 | 258.4784 | 57202.4303 | 314.2991
2017-05-01 | 5 | 2017 | 21323.633 | 24138.0226 | 31383.9 | 10060.267 | 7245.8774 |  |  |  |  | 85042.1489 | 467.2646 | 96266.3965 | 528.9362
2017-06-01 | 6 | 2017 | 22282.621 | 24336.3208 | 31383.9 | 9101.279 | 7047.5792 |  |  |  |  | 86000.081 | 472.5279 | 93926.3636 | 516.0789
2017-07-01 | 7 | 2017 | 24631.8964 | 25534.0987 | 31383.9 | 6752.0036 | 5849.8013 |  |  |  |  | 98236.0466 | 539.7585 | 101834.1774 | 559.5284
2017-08-01 | 8 | 2017 | 24207.0443 | 25395.9373 | 31383.9 | 7176.8557 | 5987.9627 |  |  |  |  | 96541.6663 | 530.4487 | 101283.1667 | 556.5009
2017-09-01 | 9 | 2017 | 17624.8428 | 25244.07 | 31383.9 | 13759.0572 | 6139.83 |  |  |  |  | 68023.3221 | 373.7545 | 97429.8339 | 535.3288
2017-10-01 | 10 | 2017 | 9184.5032 | 15749.2464 | 18046.05 | 8861.5468 | 2296.8036 |  |  |  |  | 36629.3066 | 201.2599 | 62810.5801 | 345.1131
2017-11-01 | 11 | 2017 |  |  | 29529.9 | 29529.9 | 29529.9
2017-12-01 | 12 | 2017 |  |  | 29529.9 | 29529.9 | 29529.9
2018-01-01 | 1 | 2018 |  |  | 29529.9 | 29529.9 | 29529.9
2018-02-01 | 2 | 2018 |  |  | 29529.9 | 29529.9 | 29529.9
2018-03-01 | 3 | 2018 |  |  | 29529.9 | 29529.9 | 29529.9
2018-04-01 | 4 | 2018 |  |  | 18046.05 | 18046.05 | 18046.05
2018-05-01 | 5 | 2018 |  |  | 31383.9 | 31383.9 | 31383.9
2018-06-01 | 6 | 2018 |  |  | 31383.9 | 31383.9 | 31383.9
2018-07-01 | 7 | 2018 |  |  | 31383.9 | 31383.9 | 31383.9
2018-08-01 | 8 | 2018 |  |  | 31383.9 | 31383.9 | 31383.9
2018-09-01 | 9 | 2018 |  |  | 31383.9 | 31383.9 | 31383.9
2018-10-01 | 10 | 2018 |  |  | 18046.05 | 18046.05 | 18046.05
2018-11-01 | 11 | 2018 |  |  | 29529.9 | 29529.9 | 29529.9
2018-12-01 | 12 | 2018 |  |  | 29529.9 | 29529.9 | 29529.9
2019-01-01 | 1 | 2019 |  |  | 29529.9 | 29529.9 | 29529.9
2019-02-01 | 2 | 2019 |  |  | 29529.9 | 29529.9 | 29529.9
2019-03-01 | 3 | 2019 |  |  | 29529.9 | 29529.9 | 29529.9
2019-04-01 | 4 | 2019 |  |  | 18046.05 | 18046.05 | 18046.05
2019-05-01 | 5 | 2019 |  |  | 31383.9 | 31383.9 | 31383.9