## Sheet1
Ft. Pierce Facility Heat Rate & Hourly Gas Flow Rate Calculation
PHYSICAL CONVERSION OF GAS TO POWER
| MW | Heat Rate (MMBTU/MW-Hr) | Gas Consumed (MMBTU/Hr)
Enron | 200 | 10.055 | 2011
Ft. Pierce (power generated from steam) | 72 | 0 | 0
Ft. Pierce (Enron buys gas to duct fire) | 10 | 10.5 | 105
Facility | 282 | 7.5 | 2115
| FINANCIAL CONVERSION OF GAS TO POWER (Mode 1) |  |  | Mode 1 - ENA is dispatched/Ft. Pierce is dispatched
| Gas Purchased | MW Generated | Calculated Heat Rate
Enron | 1337 | 200 | 6.685
Ft. Pierce | 779 | 82 | 9.5
Facility | 2116 | 282 | 7.5035
FINANCIAL CONVERSION OF GAS TO POWER (Mode 2)
| Gas Purchased | MW Generated | Calculated Heat Rate | Mode 2 - ENA is dispatched/Ft. Pierce is not dispatched
Enron | 2116 | 282 | 7.5035
Ft. Pierce | 0 | 0 | N/A
Facility | 2116 | 282 | 7.5035