## Summary
GENCO SUMMARY
Valuation Date: | Week of | 2000-06-19
ASSET SUMMARY: | [8 empty] | VALUATION:
[10 empty] | 2000 | 2001 | 2002
1999 Assets |  |  | 2000 Assets | [5 empty] | GenCo EBITDA (000 $) | 282872.8029 | 197149.2436 | 140995.4333
Total Cost (000$) | 431600.161 |  | Current Estimates of Total Cost (000$) |  |  |  | 592398.806
$/kW @ ISO MW of 1381 MW | 312.5273 |  | $/kW @ ISO MW of 1686 MW |  |  |  | 351.3635 |  |  | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton | GenCo
Current Book Value as of 29-Mar-00 (000$) | 418679.3649 |  | Dollar Spent on the 2000 Assets as of 31-May-00 (000$) |  |  |  | 531348.4203 |  | Enterprise Value (without Salvage Value) | 79080.5159 | 78349.6897 | 57829.6364 | 90158.1337 | 82832.134 | 102718.7714 | 490968.8811
[9 empty] | Enterprise Value (with Salvage Value) | 178673.8804 | 179157.6074 | 136978.0216 | 198050.9452 | 184652.1794 | 234295.3708 | 1111808.0048
1999 & 2000 Assets Total Cost: | 1023998.967
$/kW @ ISO MW of 3067 MW | 333.8764 | [7 empty] | 2000 Capacity Prices ($/kW-mo) | 10.7402 | 11.123 | 10.0576 | 18.2301 | 16.444 | 14.9959 | 13.1926
[9 empty] | 2001 Capacity Prices ($/kW-mo) | 7.678 | 7.3026 | 6.9687 | 8.1446 | 7.7014 | 7.5072 | 7.5736
[9 empty] | 2002 Capacity Prices ($/kW-mo) | 5.7265 | 5.4417 | 5.1994 | 6.1042 | 5.8055 | 5.6654 | 5.6775
FINANCING ASSUMPTIONS:
| Debt |  | Equity |  | Total
Capitalization Ratio | 50% |  | 50% |  | 100%
Amount ('000 $) | 511999.4835 |  | 511999.4835 |  | 1023998.967
Cost of Funds
10-yr Treasury Rate (%) | 5.99% | (Dated: 19-Jun-00)
Spread (%) | 3.117% | (Dated: 19-Jun-00)
All In Coupon Rate (%) | 9.107% |  | 20% |  | 14.55% | (Wtg Avg)
GenCo Book Value at the end of Year 3 (000$) | 933259.1796
Salvage Value at year 3 ($/kW) | 304.2906 | (Year 3 Book Value / ISO MW of 3067 MW)
Rates
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
Treasury (%) | 5.99% | 6.128% | 6.15% | 6.33% | 6.51% | 6.5% | 6.52% | 6.22% | 5.98% | 5.87%
Spreads (%) | 3.117% | 3.007% | 3.111% | 3.015% | 2.784% | 2.644% | 2.587% | 2.74% | 3.22% | 3.24%
All-in Rate (%) | 9.107% | 9.135% | 9.261% | 9.345% | 9.294% | 9.144% | 9.107% | 8.96% | 9.2% | 9.11%
Enterprise Values (with Salvage)
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
Wilton | 234295.3708 | 240916.4206 | 250615.977 | 243613.069 | 235379.9579 | 222284.6671 | 217247.1225 | 213822.0791 | 215319.3314 | 213935.0064
Gleason | 198050.9452 | 207269.1991 | 215888.1873 | 204375.368 | 193727.5103 | 185886.0014 | 180460.8764 | 177406.9221 | 179089.6382 | 177569.5557
Brownsville | 178673.8804 | 187786.943 | 197429.3796 | 201606.0948 | 189524.1625 | 181011.7955 | 175266.8378 | 172032.9454 | 174377.9155 | 172632.826
Caledonia | 179157.6074 | 188009.04 | 197105.2956 | 200803.1747 | 187998.6602 | 179521.9024 | 172423.0865 | 169764.8272 | 171872.6871 | 170181.3682
Wheatland | 184652.1794 | 189688.7475 | 198752.4779 | 196380.6594 | 186630.9413 | 175928.4851 | 171980.4544 | 168718.7649 | 169921.9409 | 168753.2131
New Albany | 136978.0216 | 144111.1191 | 151882.6125 | 155354.1261 | 145308.9665 | 139184.7812 | 133943.7203 | 132084.6626 | 133447.3004 | 132085.0783
Enterprise Values (with Salvage)
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
GenCo | 1111808.0048 | 1157781.4693 | 1211673.9299 | 1202132.4919 | 1138570.1986 | 1083817.6328 | 1051322.0978 | 1033830.2014 | 1044028.8137 | 1035157.0477
Capacity Prices | 2000 | 2001 | 2002
Wheatland | 16.444 | 7.7014 | 5.8055
Gleason | 18.2301 | 8.1446 | 6.1042
Wilton | 14.9959 | 7.5072 | 5.6654
Brownsville | 10.7402 | 7.678 | 5.7265
Caledonia | 11.123 | 7.3026 | 5.4417
New Albany | 10.0576 | 6.9687 | 5.1994
GenCo | 13.1926 | 7.5736 | 5.6775
Valuation
Required Changes for Weekly/Monthly Valuation
Weekly Changes
1 | Desk (Source: Jenny Latham)
2 | 10-yr Treasury
3 | Spreads
4 | USD Libor Forward Curve (Source: http://home.ect.enron.com/dept/irfx/curves/)
Monthly Changes
1 | Accounting Numbers
2 | Depreciation Value

## Capacity Prices
CAPACITY PRICE SUMMARY
1999 Assets | [5 empty] | 2000 Assets
Brownsville
Capacity Prices
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 10.7402 | 12.2209 | 14.1318 | 15.3332 | 12.8674 | 11.0927 | 10.2619 | 8.9076 | 9.5097 | 9.0523
2001 | 7.678 | 8.2401 | 8.6768 | 8.6188 | 7.9864 | 7.6532 | 7.2055 | 7.184 | 7.2108 | 7.2093
2002 | 5.7265 | 6.1247 | 6.3478 | 6.255 | 6.2594 | 6.1141 | 5.8311 | 5.7296 | 5.7445 | 5.7256
Caledonia
Capacity Prices
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 11.123 | 12.5474 | 14.2697 | 15.338 | 12.697 | 10.928 | 9.809 | 8.5459 | 9.1093 | 8.6657
2001 | 7.3026 | 7.8505 | 8.3123 | 8.2536 | 7.6494 | 7.3307 | 6.8613 | 6.8752 | 6.9017 | 6.902
2002 | 5.4417 | 5.8248 | 6.0677 | 5.9858 | 5.9834 | 5.8462 | 5.5439 | 5.4723 | 5.4874 | 5.4705
New Albany
Capacity Prices
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 10.0576 | 11.4381 | 13.1715 | 14.358 | 11.8519 | 10.3252 | 9.4213 | 8.2323 | 8.7833 | 8.3531
2001 | 6.9687 | 7.5119 | 8.0172 | 7.9621 | 7.3754 | 7.0738 | 6.5852 | 6.6375 | 6.6637 | 6.6635
2002 | 5.1994 | 5.5756 | 5.8504 | 5.7693 | 5.7769 | 5.6488 | 5.3291 | 5.2897 | 5.3048 | 5.2873
Gleason
Capacity Prices
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 18.2301 | 20.4334 | 23.1794 | 24.0401 | 20.2597 | 17.6434 | 16.6093 | 14.6396 | 15.5798 | 14.8847
2001 | 8.1446 | 8.7182 | 9.0578 | 7.0595 | 6.8016 | 6.5242 | 6.0848 | 6.0023 | 6.0268 | 6.0417
2002 | 6.1042 | 6.5118 | 6.6708 | 4.9669 | 4.9741 | 4.8879 | 4.5606 | 4.4203 | 4.4386 | 4.4522
Wheatland
Capacity Prices
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 16.444 | 17.429 | 20.226 | 23.8601 | 20.421 | 17.262 | 16.5341 | 14.3464 | 15.0194 | 14.3961
2001 | 7.7014 | 8.1581 | 8.4646 | 7.763 | 7.4835 | 6.9368 | 6.5542 | 6.3768 | 6.4342 | 6.498
2002 | 5.8055 | 6.0159 | 6.1199 | 5.2756 | 5.2359 | 4.9232 | 4.6786 | 4.7558 | 4.7738 | 4.7778
Wilton
Capacity Prices
Valuation Date | 2000-06-19 | 2000-06-12 | 2000-06-05 | 2000-05-29 | 2000-05-22 | 2000-05-15 | 2000-05-08 | 2000-05-01 | 2000-04-24 | 2000-04-17
2000 | 14.9959 | 15.998 | 18.1966 | 22.5138 | 19.8612 | 16.8256 | 16.1157 | 14.017 | 14.681 | 14.0691
2001 | 7.5072 | 7.968 | 8.284 | 6.6331 | 6.6073 | 6.1401 | 5.7602 | 5.6717 | 5.7331 | 5.8076
2002 | 5.6654 | 5.8758 | 6.0035 | 4.552 | 4.6666 | 4.3591 | 4.1193 | 4.2234 | 4.2425 | 4.2578

## Assumptions
ASSUMPTIONS
TECHNICAL ASSUMPTIONS: | 1999 PROJECTS |  |  | 2000 PROJECTS |  |  | GENCO
| Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Number of Turbines | 4 | 6 | 6 | 3 | 4 | 8 | 31
Commercial Operation Date | 1999-06-15 | 1999-06-15 | 1999-07-01 | 2000-06-01 | 2000-06-01 | 2000-06-01
ISO Capacity (MW) | 492 | 498 | 391 | 533 | 503 | 650 | 3067
Gross Summer Capacity (June - Sept) (MW) | 450 | 440 | 355 | 500 | 465 | 600 | 2810
Summer Availability | 95% | 95% | 95% | 95% | 95% | 95% | 95%
Net Summer Capacity (MW) | 427.5 | 418 | 337.25 | 475 | 441.75 | 570 | 2669.5
Gross Shoulder Capacity (Apr, May, Oct) (MW) | 450 | 440 | 355 | 500 | 465 | 600 | 2810
Shoulder Availability | 75% | 75% | 75% | 75% | 75% | 75% | 75%
Net Summer Capacity (MW) | 337.5 | 330 | 266.25 | 375 | 348.75 | 450 | 2107.5
Gross Winter Capacity (Nov - Mar) (MW) | 510 | 535 | 455 | 555 | 525 | 690 | 3270
Winter Availability | 75% | 75% | 75% | 75% | 75% | 75% | 75%
Net Winter Capacity (MW) | 382.5 | 401.25 | 341.25 | 416.25 | 393.75 | 517.5 | 2452.5
Weighted Average Capacity Per Year | 386.25 | 389.0208 | 321.1667 | 425.5208 | 398.5 | 518.125 | 2438.5833
Heat Rate (Btu/kWh) | 11800 | 12200 | 12200 | 10600 | 11700 | 12200 | 11775.7441
Annual Operating Hours | 1365 | 1685 | 1086 | 915 | 902 | 3250 | 9203
Annual Generation (MWh) | 527231.25 | 655500.1042 | 348787 | 389351.5625 | 359447 | 1683906.25 | 3964223.1667
Number of Starts per year | 75 | 75 | 75 | 75 | 75 | 75 | 75
Operating Costs (Annualized 2000$) | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Annual Escalator | 3% | 3% | 3% | 3% | 3% | 3% | 3%
Mobilization | 0 | 0 | 0 | 1448.6417 | 1580.424 | 1471.68 | 823.7325
Fixed Operation & Maintenance | 1563.6315 | 1721.302 | 1878.0666 | 1242.4817 | 1515.7903 | 1448.5406 | 1541.8857
Variable Operation & Maintenance | 426.3631 | 249.3288 | 224.7381 | 375.12 | 446.16 | 528 | 387.455
Major Maintenance & Ongoing Capex | 1000 | 1006 | 1000 | 1028.5714 | 1028.5714 | 1028.5714 | 1016.6823
O&M Management Fee | 207.019 | 207.019 | 207.019 | 342.8571 | 342.8571 | 342.8571 | 281.7815
Owner's Expense | 431.7852 | 410.9307 | 362.6722 | 322.2511 | 306.2677 | 400.6471 | 373.1156
Property Taxes (Not Escalated) | 250 | 591.2 | 488.8 | 158.1 | 174.2349 | 572.0571 | 375.8914
Total | 3878.7987 | 4185.7805 | 4161.2959 | 4918.0231 | 5394.3054 | 5792.3534 | 4800.544

## Spark-Spread
SPARK-SPREAD VALUE FROM TRADING
MONTHLY VALUES
Valuation Date
| 2000-01-31 | 2000-02-29 | 2000-03-31 | 2000-04-30 | 2000-05-31 | 2000-06-16 | 2000-06-30 | 2000-07-31 | 2000-08-31 | 2000-09-30 | 2000-10-31 | 2000-11-30 | 2000-12-31 | 2001-01-31 | 2001-02-28 | 2001-03-31 | 2001-04-30 | 2001-05-31 | 2001-06-30 | 2001-07-31 | 2001-08-31 | 2001-09-30 | 2001-10-31 | 2001-11-30 | 2001-12-31 | 2002-01-31 | 2002-02-28 | 2002-03-31 | 2002-04-30 | 2002-05-31 | 2002-06-30 | 2002-07-31 | 2002-08-31 | 2002-09-30 | 2002-10-31 | 2002-11-30 | 2002-12-31
| 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2001 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002 | 2002
USD Libor Forward Curve (http://home.ect.enron.com/dept/irfx/curves/) |  |  |  |  | 6.18% | 6.715% | 6.781% | 6.843% | 6.888% | 6.92% | 6.947% | 6.974% | 7.001% | 7.028% | 7.052% | 7.073% | 7.084% | 7.096% | 7.106% | 7.113% | 7.121% | 7.127% | 7.132% | 7.136% | 7.141% | 7.146% | 7.15% | 7.153% | 7.154% | 7.154% | 7.154% | 7.154% | 7.154% | 7.154% | 7.153% | 7.152% | 7.152%
Revenue from Desk (Real) (Source: Jenny Latham)
Brownsville | 119.526 | 73.677 | -30.044 | -34.523 | 1835.186 | 3.1963 | 2067.3198 | 23617.4519 | 20285.3394 | 859.3241 | 34.2775 | 22.6433 | 36.6164 | 129.2561 | 134.7973 | 18.0557 | 47.3797 | 413.3567 | 4347.1436 | 12824.3571 | 13780.5741 | 745.705 | 63.1798 | 42.4361 | 54.9048 | 142.8792 | 141.0973 | 22.349 | 63.7761 | 349.3256 | 2825.5359 | 9009.775 | 8961.323 | 855.2776 | 127.0437 | 79.7752 | 102.8503
Caledonia | 213.762 | 140.606 | -308.827 | -3.246 | 3390.302 | 500.0931 | 1914.5548 | 24767.7672 | 19567.4699 | 777.579 | 25.9813 | 18.0435 | 30.634 | 114.6563 | 119.9988 | 14.0045 | 40.111 | 373.7754 | 4122.5512 | 12358.3606 | 13268.902 | 683.0789 | 51.0177 | 35.1446 | 47.0377 | 128.253 | 126.968 | 17.7915 | 55.2541 | 321.453 | 2686.3376 | 8676.9927 | 8626.4846 | 797.9313 | 109.9951 | 68.8064 | 91.0148
New Albany | -12.977 | 7.004 | -1.605 | -108.792 | 694.969 | 66.4234 | 1450.7712 | 19794.0898 | 15539.8239 | 565.5234 | 17.9557 | 14.9923 | 26.3035 | 102.8088 | 108.4514 | 11.988 | 29.6707 | 320.9821 | 3183.6413 | 9755.7244 | 10477.9718 | 502.3103 | 37.546 | 30.7969 | 41.7963 | 117.1896 | 116.531 | 15.5371 | 42.4292 | 280.7624 | 2076.0457 | 6841.7691 | 6801.3867 | 599.4525 | 87.5833 | 62.215 | 83.0665
Sub-Total: 1999 Peakers | 320.311 | 221.287 | -340.476 | -146.561 | 5920.457 | 569.7127 | 5432.6458 | 68179.3088 | 55392.6333 | 2202.4264 | 78.2145 | 55.679 | 93.554 | 346.7211 | 363.2476 | 44.0482 | 117.1614 | 1108.1142 | 11653.3361 | 34938.4421 | 37527.4479 | 1931.0942 | 151.7435 | 108.3776 | 143.7388 | 388.3218 | 384.5963 | 55.6775 | 161.4594 | 951.541 | 7587.9192 | 24528.5369 | 24389.1943 | 2252.6614 | 324.6221 | 210.7965 | 276.9316
Gleason | 0 | 0 | 0 | 0 | 0 | 77.0492 | 1758.0351 | 26786.5383 | 23108.4233 | 1128.6981 | 68.6824 | 43.7608 | 63.0452 | 192.3342 | 197.9817 | 36.0676 | 85.9238 | 578.5459 | 5184.209 | 14751.7168 | 15838.5117 | 962.0121 | 113.5693 | 73.2099 | 87.9891 | 204.904 | 200.6975 | 41.7887 | 107.4985 | 476.2304 | 3364.0512 | 10377.8176 | 10322.6916 | 1065.6838 | 200.2838 | 124.2308 | 151.6695
Wheatland | 0 | 0 | 0 | 0 | -116.546 | 14.0573 | 2215.5885 | 29670.7136 | 19527.4271 | 1129.1501 | 19.5705 | 19.9335 | 14.3492 | 141.9334 | 150.6856 | 14.4972 | 42.263 | 426.2372 | 4790.5415 | 13178.1075 | 14125.9697 | 771.3185 | 34.938 | 39.3319 | 26.2604 | 127.2599 | 130.2089 | 30.3175 | 80.8972 | 361.6674 | 3111.3102 | 9398.3188 | 9356.609 | 942.6628 | 71.842 | 64.8337 | 50.193
Wilton Center | 0 | 0 | 0 | 0 | -134.31 | -161.2869 | 2521.3959 | 34423.0528 | 23993.7882 | 1316.3864 | 17.2645 | 29.921 | 31.5354 | 199.3419 | 212.2117 | 24.3962 | 41.4409 | 396.1457 | 6008.6713 | 16798.1075 | 18013.3345 | 944.7528 | 32.0184 | 53.7381 | 39.2163 | 183.7829 | 190.7268 | 47.0029 | 93.2837 | 388.2599 | 3886.6472 | 11981.4233 | 11929.6245 | 1178.0729 | 72.8507 | 84.1088 | 68.4316
Sub-Total: 2000 Peakers | 0 | 0 | 0 | 0 | -250.856 | -70.1804 | 6495.0195 | 90880.3048 | 66629.6386 | 3574.2346 | 105.5174 | 93.6154 | 108.9298 | 533.6095 | 560.879 | 74.9609 | 169.6277 | 1400.9288 | 15983.4218 | 44727.9319 | 47977.8158 | 2678.0833 | 180.5257 | 166.2799 | 153.4658 | 515.9469 | 521.6332 | 119.1091 | 281.6795 | 1226.1576 | 10362.0086 | 31757.5598 | 31608.9251 | 3186.4196 | 344.9765 | 273.1733 | 270.2941
Total Revenue, Real | 320.311 | 221.287 | -340.476 | -146.561 | 5669.601 | 499.5324 | 11927.6653 | 159059.6136 | 122022.2719 | 5776.661 | 183.7319 | 149.2944 | 202.4837 | 880.3306 | 924.1265 | 119.0091 | 286.7891 | 2509.043 | 27636.758 | 79666.3741 | 85505.2638 | 4609.1776 | 332.2692 | 274.6574 | 297.2046 | 904.2686 | 906.2295 | 174.7867 | 443.1388 | 2177.6987 | 17949.9278 | 56286.0966 | 55998.1194 | 5439.081 | 669.5986 | 483.9698 | 547.2257
Revenue from Desk (Nominal)
Brownsville | 119.526 | 73.677 | -30.044 | -34.523 | 1835.186 | 3.1963 | 2072.5249 | 24014.4823 | 20745.5069 | 883.7495 | 35.4572 | 23.5555 | 38.3167 | 136.0628 | 142.6633 | 19.2236 | 50.7338 | 445.2497 | 4709.4984 | 13975.7534 | 15107.1015 | 822.1874 | 70.0726 | 47.3361 | 61.6085 | 161.2783 | 160.1238 | 25.5131 | 73.2202 | 403.4158 | 3281.628 | 10525.6381 | 10530.5854 | 1010.7612 | 151.0197 | 95.3684 | 123.6759
MW | 382.5 | 382.5 | 382.5 | 337.5 | 337.5 | 228 | 199.5 | 427.5 | 427.5 | 427.5 | 337.5 | 382.5 | 382.5 | 382.5 | 382.5 | 382.5 | 337.5 | 337.5 | 427.5 | 427.5 | 427.5 | 427.5 | 337.5 | 382.5 | 382.5 | 382.5 | 382.5 | 382.5 | 337.5 | 337.5 | 427.5 | 427.5 | 427.5 | 427.5 | 337.5 | 382.5 | 382.5
Implied Capacity Price | 0.31249 | 0.19262 | -0.078546 | -0.10229 | 5.4376 | 0.014019 | 10.3886 | 56.1742 | 48.5275 | 2.0673 | 0.10506 | 0.061583 | 0.10017 | 0.35572 | 0.37298 | 0.050258 | 0.15032 | 1.3193 | 11.0164 | 32.6918 | 35.3382 | 1.9232 | 0.20762 | 0.12375 | 0.16107 | 0.42164 | 0.41862 | 0.066701 | 0.21695 | 1.1953 | 7.6763 | 24.6214 | 24.6329 | 2.3644 | 0.44747 | 0.24933 | 0.32334
Caledonia | 213.762 | 140.606 | -308.827 | -3.246 | 3390.302 | 500.0931 | 1919.3753 | 25184.1354 | 20011.3527 | 799.6809 | 26.8754 | 18.7704 | 32.0565 | 120.6941 | 127.0012 | 14.9104 | 42.9505 | 402.6145 | 4466.1851 | 13467.9188 | 14546.1755 | 753.1382 | 56.5837 | 39.2027 | 52.7808 | 144.7686 | 144.0891 | 20.3104 | 63.4363 | 371.2274 | 3119.9606 | 10136.8663 | 10137.1117 | 942.9897 | 130.7537 | 82.2556 | 109.4438
MW | 401.25 | 401.25 | 401.25 | 330 | 330 | 222.9333 | 195.0667 | 418 | 418 | 418 | 330 | 401.25 | 401.25 | 401.25 | 401.25 | 401.25 | 330 | 330 | 418 | 418 | 418 | 418 | 330 | 401.25 | 401.25 | 401.25 | 401.25 | 401.25 | 330 | 330 | 418 | 418 | 418 | 418 | 330 | 401.25 | 401.25
Implied Capacity Price | 0.53274 | 0.35042 | -0.76966 | -0.0098364 | 10.2736 | 2.2432 | 9.8396 | 60.2491 | 47.874 | 1.9131 | 0.081441 | 0.04678 | 0.079892 | 0.3008 | 0.31651 | 0.03716 | 0.13015 | 1.22 | 10.6847 | 32.2199 | 34.7995 | 1.8018 | 0.17147 | 0.097701 | 0.13154 | 0.36079 | 0.3591 | 0.050618 | 0.19223 | 1.1249 | 7.464 | 24.2509 | 24.2515 | 2.256 | 0.39622 | 0.205 | 0.27276
New Albany | -12.977 | 7.004 | -1.605 | -108.792 | 694.969 | 66.4234 | 1454.424 | 20126.8461 | 15892.3406 | 581.5978 | 18.5736 | 15.5963 | 27.5249 | 108.2228 | 114.78 | 12.7635 | 31.7711 | 345.7479 | 3449.0128 | 10631.6128 | 11486.5885 | 553.8293 | 41.6422 | 34.3529 | 46.8995 | 132.2805 | 132.2448 | 17.7368 | 48.7122 | 324.2362 | 2411.1566 | 7992.8728 | 7992.4118 | 708.4288 | 104.1122 | 74.3759 | 99.8862
MW | 341.25 | 341.25 | 341.25 | 266.25 | 266.25 | 179.8667 | 157.3833 | 337.25 | 337.25 | 337.25 | 266.25 | 341.25 | 341.25 | 341.25 | 341.25 | 341.25 | 266.25 | 266.25 | 337.25 | 337.25 | 337.25 | 337.25 | 266.25 | 341.25 | 341.25 | 341.25 | 341.25 | 341.25 | 266.25 | 266.25 | 337.25 | 337.25 | 337.25 | 337.25 | 266.25 | 341.25 | 341.25
Implied Capacity Price | -0.038028 | 0.020525 | -0.0047033 | -0.40861 | 2.6102 | 0.36929 | 9.2413 | 59.6793 | 47.1233 | 1.7245 | 0.06976 | 0.045704 | 0.080659 | 0.31714 | 0.33635 | 0.037402 | 0.11933 | 1.2986 | 10.2269 | 31.5244 | 34.0596 | 1.6422 | 0.1564 | 0.10067 | 0.13743 | 0.38764 | 0.38753 | 0.051976 | 0.18296 | 1.2178 | 7.1495 | 23.7001 | 23.6988 | 2.1006 | 0.39103 | 0.21795 | 0.29271
Sub-Total: 1999 Peakers | 320.311 | 221.287 | -340.476 | -146.561 | 5920.457 | 569.7127 | 5446.3242 | 69325.4638 | 56649.2002 | 2265.0282 | 80.9062 | 57.9222 | 97.8982 | 364.9797 | 384.4445 | 46.8975 | 125.4554 | 1193.612 | 12624.6962 | 38075.285 | 41139.8656 | 2129.1549 | 168.2986 | 120.8917 | 161.2889 | 438.3275 | 436.4576 | 63.5603 | 185.3687 | 1098.8794 | 8812.7452 | 28655.3772 | 28660.1089 | 2662.1798 | 385.8856 | 251.9999 | 333.006
Gleason | 0 | 0 | 0 | 0 | 0 | 77.0492 | 1762.4615 | 27236.8439 | 23632.6317 | 1160.7802 | 71.0461 | 45.5238 | 65.9727 | 202.4627 | 209.5347 | 38.4006 | 92.0064 | 623.1843 | 5616.3371 | 16076.1553 | 17363.1376 | 1060.6798 | 125.9596 | 81.6633 | 98.7323 | 231.2903 | 227.7608 | 47.7051 | 123.4172 | 549.9708 | 3907.0693 | 12123.8491 | 12130.3501 | 1259.4178 | 238.0818 | 148.5136 | 182.3803
MW |  |  |  |  | 0 | 0 | 332.5 | 475 | 475 | 475 | 375 | 416.25 | 416.25 | 416.25 | 416.25 | 416.25 | 375 | 375 | 475 | 475 | 475 | 475 | 375 | 416.25 | 416.25 | 416.25 | 416.25 | 416.25 | 375 | 375 | 475 | 475 | 475 | 475 | 375 | 416.25 | 416.25
Implied Capacity Price |  |  |  |  | 0 | 0 | 5.3006 | 57.3407 | 49.7529 | 2.4437 | 0.18946 | 0.10937 | 0.15849 | 0.4864 | 0.50339 | 0.092254 | 0.24535 | 1.6618 | 11.8239 | 33.8445 | 36.554 | 2.233 | 0.33589 | 0.19619 | 0.23719 | 0.55565 | 0.54717 | 0.11461 | 0.32911 | 1.4666 | 8.2254 | 25.5239 | 25.5376 | 2.6514 | 0.63488 | 0.35679 | 0.43815
Wheatland | 0 | 0 | 0 | 0 | -116.546 | 14.0573 | 2221.1669 | 30169.5048 | 19970.4015 | 1161.245 | 20.244 | 20.7366 | 15.0155 | 149.4077 | 159.4787 | 15.4349 | 45.2549 | 459.124 | 5189.8556 | 14361.2643 | 15485.7451 | 850.4279 | 38.7497 | 43.8735 | 29.4667 | 143.6477 | 147.7671 | 34.6099 | 92.8766 | 417.6686 | 3613.5314 | 10979.553 | 10995.0919 | 1114.0325 | 85.4002 | 77.5064 | 60.3563
MW |  |  |  |  | 348.75 | 235.6 | 206.15 | 441.75 | 441.75 | 441.75 | 348.75 | 393.75 | 393.75 | 393.75 | 393.75 | 393.75 | 348.75 | 348.75 | 441.75 | 441.75 | 441.75 | 441.75 | 348.75 | 393.75 | 393.75 | 393.75 | 393.75 | 393.75 | 348.75 | 348.75 | 441.75 | 441.75 | 441.75 | 441.75 | 348.75 | 393.75 | 393.75
Implied Capacity Price |  |  |  |  | -0.33418 | 0.059666 | 10.7745 | 68.2954 | 45.2075 | 2.6287 | 0.058047 | 0.052664 | 0.038135 | 0.37945 | 0.40503 | 0.0392 | 0.12976 | 1.3165 | 11.7484 | 32.5099 | 35.0555 | 1.9251 | 0.11111 | 0.11142 | 0.074836 | 0.36482 | 0.37528 | 0.087898 | 0.26631 | 1.1976 | 8.18 | 24.8547 | 24.8899 | 2.5219 | 0.24488 | 0.19684 | 0.15329
Wilton Center | 0 | 0 | 0 | 0 | -134.31 | -161.2869 | 2527.7443 | 35001.735 | 24538.0808 | 1353.8034 | 17.8586 | 31.1265 | 32.9998 | 209.8394 | 224.5951 | 25.9742 | 44.3745 | 426.7107 | 6509.5222 | 18306.2751 | 19747.3103 | 1041.6504 | 35.5115 | 59.9431 | 44.0044 | 207.4494 | 216.4456 | 53.6576 | 107.0974 | 448.3787 | 4514.0216 | 13997.2558 | 14018.681 | 1392.2385 | 86.5992 | 100.5492 | 82.2879
MW |  |  |  |  | 450 | 304 | 266 | 570 | 570 | 570 | 450 | 517.5 | 517.5 | 517.5 | 517.5 | 517.5 | 450 | 450 | 570 | 570 | 570 | 570 | 450 | 517.5 | 517.5 | 517.5 | 517.5 | 517.5 | 450 | 450 | 570 | 570 | 570 | 570 | 450 | 517.5 | 517.5
Implied Capacity Price |  |  |  |  | -0.29847 | -0.53055 | 9.5028 | 61.4066 | 43.0493 | 2.3751 | 0.039686 | 0.060148 | 0.063768 | 0.40549 | 0.434 | 0.050192 | 0.09861 | 0.94825 | 11.4202 | 32.1163 | 34.6444 | 1.8275 | 0.078915 | 0.11583 | 0.085033 | 0.40087 | 0.41825 | 0.10369 | 0.23799 | 0.9964 | 7.9193 | 24.5566 | 24.5942 | 2.4425 | 0.19244 | 0.1943 | 0.15901
Sub-Total: 2000 Peakers | 0 | 0 | 0 | 0 | -250.856 | -70.1804 | 6511.3727 | 92408.0837 | 68141.1139 | 3675.8287 | 109.1487 | 97.3869 | 113.988 | 561.7098 | 593.6085 | 79.8098 | 181.6358 | 1509.019 | 17315.7148 | 48743.6946 | 52596.193 | 2952.7581 | 200.2209 | 185.4799 | 172.2034 | 582.3873 | 591.9735 | 135.9725 | 323.3913 | 1416.0181 | 12034.6223 | 37100.6578 | 37144.1231 | 3765.6888 | 410.0813 | 326.5692 | 325.0244
Total Revenue, Nominal | 320.311 | 221.287 | -340.476 | -146.561 | 5669.601 | 499.5324 | 11957.6969 | 161733.5475 | 124790.3141 | 5940.8568 | 190.055 | 155.3092 | 211.8861 | 926.6895 | 978.0529 | 126.7073 | 307.0912 | 2702.631 | 29940.411 | 86818.9796 | 93736.0585 | 5081.913 | 368.5194 | 306.3717 | 333.4923 | 1020.7148 | 1028.4312 | 199.5328 | 508.7599 | 2514.8975 | 20847.3675 | 65756.035 | 65804.2319 | 6427.8685 | 795.9668 | 578.5691 | 658.0304
Total MW | 1125 | 1125 | 1125 | 933.75 | 1732.5 | 1170.4 | 1356.6 | 2669.5 | 2669.5 | 2669.5 | 2107.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2107.5 | 2107.5 | 2669.5 | 2669.5 | 2669.5 | 2669.5 | 2107.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2452.5 | 2107.5 | 2107.5 | 2669.5 | 2669.5 | 2669.5 | 2669.5 | 2107.5 | 2452.5 | 2452.5
ANNUAL VALUES
Jenny's Numbers
| 2000 | 2001 | 2002 | 2000 | 2001 | 2002
Capacity Revenue from Desk (Real $)
Brownsville | 2000-01-31: 48889.9907; 2000-02-29: 32601.1459; 2000-03-31: 22681.0079; 2000-04-30: 48889.9907; 2000-05-31: 32601.1459; 2000-06-16: 22681.0079; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Caledonia | 2000-01-31: 51034.7197; 2000-02-29: 31228.6387; 2000-03-31: 21707.282; 2000-04-30: 51034.7197; 2000-05-31: 31228.6387; 2000-06-16: 21707.282; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
New Albany | 2000-01-31: 38054.4821; 2000-02-29: 24603.6882; 2000-03-31: 17123.9682; 2000-04-30: 38054.4821; 2000-05-31: 24603.6882; 2000-06-16: 17123.9682; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Gleason | 2000-01-31: 53034.2326; 2000-02-29: 38102.0711; 2000-03-31: 26637.5476; 2000-04-30: 53034.2326; 2000-05-31: 38102.0711; 2000-06-16: 26637.5476; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Wheatland | 2000-01-31: 52494.2438; 2000-02-29: 33742.0839; 2000-03-31: 23726.1205; 2000-04-30: 52494.2438; 2000-05-31: 33742.0839; 2000-06-16: 23726.1205; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Wilton Center | 2000-01-31: 62037.7472; 2000-02-29: 42763.3751; 2000-03-31: 30104.2152; 2000-04-30: 62037.7472; 2000-05-31: 42763.3751; 2000-06-16: 30104.2152; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Total Capacity Revenue (Real $) | 2000-01-31: 305545.4161; 2000-02-29: 203041.0029; 2000-03-31: 141980.1413; 2000-04-30: 305545.4161; 2000-05-31: 203041.0029; 2000-06-16: 141980.1413; 2000-06-30: 0; 2000-07-31: 0; 2000-08-31: 0
Capacity Revenue from Desk (Nominal $)
Brownsville | 2000-01-31: 49780.6113; 2000-02-29: 35587.4911; 2000-03-31: 26542.2279
Caledonia | 2000-01-31: 51924.9367; 2000-02-29: 34090.1556; 2000-03-31: 25403.2132
New Albany | 2000-01-31: 38761.9257; 2000-02-29: 26857.2232; 2000-03-31: 20038.4549
Gleason | 2000-01-31: 54052.3093; 2000-02-29: 41588.2538; 2000-03-31: 31169.8062
Wheatland | 2000-01-31: 53475.8257; 2000-02-29: 36828.0829; 2000-03-31: 27762.0415
Wilton Center | 2000-01-31: 63207.7514; 2000-02-29: 46675.7109; 2000-03-31: 35224.6619
Total Capacity Revenue (Nominal $) | 2000-01-31: 311203.36; 2000-02-29: 221626.9175; 2000-03-31: 166140.4057
Capacity Prices (Net Capacity, $/kW-mo) | 2000-01-31: 2000; 2000-02-29: 2001; 2000-03-31: 2002
Brownsville | 2000-01-31: 10.7402; 2000-02-29: 7.678; 2000-03-31: 5.7265
Caledonia | 2000-01-31: 11.123; 2000-02-29: 7.3026; 2000-03-31: 5.4417
New Albany | 2000-01-31: 10.0576; 2000-02-29: 6.9687; 2000-03-31: 5.1994
Gleason | 2000-01-31: 18.2301; 2000-02-29: 8.1446; 2000-03-31: 6.1042
Wheatland | 2000-01-31: 16.444; 2000-02-29: 7.7014; 2000-03-31: 5.8055
Wilton Center | 2000-01-31: 14.9959; 2000-02-29: 7.5072; 2000-03-31: 5.6654
Average Capacity Price (Nominal $) | 2000-01-31: 13.1926; 2000-02-29: 7.5736; 2000-03-31: 5.6775
Note on A492: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## 99 Acct Sumry
GENCO '99 Peakers LLC
Expense Analysis Summary
Summary
2000-03-31
'99 Peakers
|  | Brownsville | Caledonia | New Albany
Source: 99 O&M analysis - 0001.xls
Mobilization |  | 0 | 0 | 0
Operations & Maintenance: | Classification
O&M Expenses
Fuel Handling Sstem (Gas) | Fixed | 7328 | 13504.04 | 7328
Feedwater System | Variable | 0 | 0 | 0
Air Pollution Control System | Fixed | 0 | 1413 | 15773.9
Combustion Air System | Fixed | 10028
Fire Protection System | Fixed | 3668 | 3811 | 7618
Demineralized Water System | Variable | 129514 | 67381 | 66156
Wastewater System | Fixed | 1156 | 1958 | 1156
Recirculating Water System | Fixed | 3856 | 3856 | 11572
Building Utilities & HVAC System | Fixed | 9507.94 | 11323 | 7917.6
Electrical Distribution System | Fixed | 18357.72 | 12670.33 | 28748.49
Steam Distribution System | Fixed | 0 | 11 | 0
Distributed Control System | Fixed | 9061.35 | 50100 | 50147
Plant Consumable Supplies | Fixed | 47513.43 | 50754.74 | 54828.14
Plant G&A | Fixed | 234983.05 | 271658.25 | 283341.74
Reimbursable Labor | Fixed | 723929.07 | 769874.32 | 1016310.71
Tools & Equipment | Fixed | 73629.04 | 38773.77 | 57229.72
Utilities | Fixed | 359412.87 | 449134.98 | 286787.9
Instrument/Service Air | Fixed | 1672 | 1166 | 1208
Gas T/G System | Variable | 235202.26 | 181947.83 | 158582.15
HRSG System | Variable | 61646.83 | 0 | 0
Other - Non-Scope Costs | Fixed | 59529 | 41293.53 | 48099.39
Subtotal Other O&M |  | 1989994.56 | 1970630.79 | 2102804.74
O&M Management Fee |  | 207019 | 207019 | 207019
Major Maintenance Accrual |  | 1000000 | 1006000 | 1000000
Subtotal - Oper & Maint Expense |  | 3197013.56 | 3183649.79 | 3309823.74
Owner's Expense:
Insurance | Owners | 284061 | 261456 | 270554
Property Taxes |  | 250000 | 591200 | 488800
Utilities | Owners | 0 | 0 | 0
Interconnection Fees | Owners | 68416.6667 | 68416.6667 | 68416.6667
Gas Pipeline Metering Cost | Owners | 20525 | 20525 | 20525
Misc | Owners | 58782.5 | 60533 | 3176.5
Franchise Taxes | Owners | 0 | 0 | 0
0
Subtotal - Owner's Expense |  | 681785.1667 | 1002130.6667 | 851472.1667
Total O&M excluding Capital Costs |  | 3878798.7267 | 4185780.4567 | 4161295.9067
Other Expense
Interest Expense |  | 0 | 0 | 0
Capital Charge, net of credit |  | 5447002.3959 | 6745353.2014 | 6706426.8651
Depreciation Expense |  | 3805252 | 4590793 | 4488989
Subtotal - Other Expense |  | 9252254.3959 | 11336146.2014 | 11195415.8651
Total O&M |  | 13131053.1226 | 15521926.6581 | 15356711.7718
| Check | 13131053.1226 | 15521926.6581 | 15356711.7718
| Difference | 0 | 0 | 0

## 00 Acct Sumry
GENCO '00 Peakers LLC
Expense Analysis Summary
Summary
2000-03-31
'00 Peakers
|  | Gleason | Wheatland | Wilton
Source: 00 O&M analysis - 0001.xls
Mobilization |  | 845041 | 921914 | 858480
Operations & Maintenance: | Classification
O&M Expenses
Air Pollution Control System | Fixed | 19723 | 19745 | 19735
Feedwater System | Variable | 0 | 0 | 0
Fire Protection System | Fixed | 0 | 0 | 0
Demineralized Water System | Variable | 79695 | 106260 | 0
Wastewater System | Fixed | 0 | 0 | 0
Recirculating Water System | Fixed | 0 | 0 | 0
Building Utilities & HVAC System | Fixed | 2246 | 2246 | 2246
Electrical Distribution System | Fixed | 11929 | 11929 | 11929
Distributed Control System | Fixed | 4667 | 4667 | 4667
Plant Consumable Supplies | Fixed | 9654 | 9654 | 9654
Plant G&A | Fixed | 118140 | 118140 | 118140
Reimbursable Labor | Fixed | 444047 | 589750 | 458186
Tools & Equipment | Fixed | 11000 | 15550 | 11000
Utilities | Fixed | 92729 | 101885 | 198779
Instrument/Service Air | Fixed | 438 | 438 | 438
Gas T/G System | Variable | 139125 | 154000 | 308000
HRSG System | Variable | 0 | 0 | 0
Other - Non-Scope Costs | Fixed | 10208 | 10207 | 10208
Subtotal Other O&M |  | 943601 | 1144471 | 1152982
O&M Management Fee |  | 200000 | 200000 | 200000
Major Maintenance Accrual |  | 600000 | 600000 | 600000
Subtotal - Oper & Maint Expense |  | 1743601 | 1944471 | 1952982
Owner's Expense:
Insurance | Owners | 120686.5 | 111362.8333 | 155602.5
Property Taxes |  | 92225 | 101637 | 333700
Utilities | Owners | 0 | 0 | 0
Interconnection Fees | Owners | 49268.3333 | 49268.3333 | 60083.3333
Gas Pipeline Metering Cost | Owners | 18025 | 18025 | 18025
Misc | Owners | 0 | 0 | 0
Franchise Taxes | Owners | 0 | 0 | 0
Subtotal - Owner's Expense |  | 280204.8333 | 280293.1667 | 567410.8333
Total O&M excluding Capital Costs |  | 2868846.8333 | 3146678.1667 | 3378872.8333
Other Expense
Interest Expense |  | 0 | 0 | 0
Capital Charge, net of credit |  | 5491946 | 6096180 | 9322568
Depreciation Expense |  | 2448114 | 2676594 | 4015032
0
Subtotal - Other Expense |  | 7940060 | 8772774 | 13337600
Total O&M |  | 10808906.8333 | 11919452.1667 | 16716472.8333
| Check | 10808906.8333 | 11919452.1667 | 16716472.8333
| Difference | 0 | 0 | 0

## Consolidated
INCOME STATEMENT - GENCO
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 13.1926 | 7.5736 | 5.6775
Capacity Revenue from Desk (Real $) |  | 305545.4161 | 203041.0029 | 141980.1413
Capacity Revenue from Desk (Nominal $) |  | 311203.36 | 221626.9175 | 166140.4057
Expense
Mobilization |  | 4500.7457 | 0 | 0
Fixed Operation & Maintenance |  | 9369.8126 | 9650.907 | 9940.4342
Variable Operation & Maintenance |  | 2249.7101 | 2317.2014 | 2386.7174
Major Maintenance & Ongoing Capex |  | 6091.7143 | 6274.4657 | 6462.6997
O&M Management Fee |  | 1649.6284 | 1699.1173 | 1750.0908
Owner's Expense |  | 2234.554 | 2301.5906 | 2370.6383
Property Taxes |  | 2234.392 | 2234.392 | 2234.392
Total Expense |  | 28330.5571 | 24477.674 | 25144.9724
EBITDA |  | 282872.8029 | 197149.2436 | 140995.4333
Salvage Value |  | 0 | 0 | 933259.1796 | 933259.1796
Without Salvage Value
Net Equity Cashflow | 0 | 282872.8029 | 197149.2436 | 140995.4333
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 490968.8811 |  |  |  | 490968.8811
With Salvage Value
Net Equity Cashflow | 0 | 282872.8029 | 197149.2436 | 1074254.6129
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 1111808.0048 |  |  |  | 1111808.0048
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Brownsville
INCOME STATEMENT - BROWNSVILLE
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 10.7402 | 7.678 | 5.7265
Capacity Revenue from Desk (Real $) |  | 48889.9907 | 32601.1459 | 22681.0079
Capacity Revenue from Desk (Nominal $) |  | 49780.6113 | 35587.4911 | 26542.2279
Expense
Mobilization |  | 0 | 0 | 0
Fixed Operation & Maintenance |  | 1563.6315 | 1610.5404 | 1658.8566
Variable Operation & Maintenance |  | 426.3631 | 439.154 | 452.3286
Major Maintenance & Ongoing Capex |  | 1000 | 1030 | 1060.9
O&M Management Fee |  | 207.019 | 213.2296 | 219.6265
Owner's Expense |  | 431.7852 | 444.7387 | 458.0809
Property Taxes |  | 250 | 250 | 250
Total Expense |  | 3878.7987 | 3987.6627 | 4099.7926 | 3878.7987
EBITDA |  | 45901.8126 | 31599.8284 | 22442.4353
Salvage Value |  | 0 | 0 | 149710.9607
Without Salvage Value
Net Equity Cashflow | 0 | 45901.8126 | 31599.8284 | 22442.4353
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 79080.5159
With Salvage Value
Net Equity Cashflow | 0 | 45901.8126 | 31599.8284 | 172153.396
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 178673.8804
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Caledonia
INCOME STATEMENT - CALEDONIA
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 11.123 | 7.3026 | 5.4417
Capacity Revenue from Desk (Real $) |  | 51034.7197 | 31228.6387 | 21707.282
Capacity Revenue from Desk (Nominal $) |  | 51924.9367 | 34090.1556 | 25403.2132
Expense
Mobilization |  | 0 | 0 | 0
Fixed Operation & Maintenance |  | 1721.302 | 1772.941 | 1826.1292
Variable Operation & Maintenance |  | 249.3288 | 256.8087 | 264.513
Major Maintenance & Ongoing Capex |  | 1006 | 1036.18 | 1067.2654
O&M Management Fee |  | 207.019 | 213.2296 | 219.6265
Owner's Expense |  | 410.9307 | 423.2586 | 435.9563
Property Taxes |  | 591.2 | 591.2 | 591.2
Total Expense |  | 4185.7805 | 4293.6179 | 4404.6904 | 4185.7805
EBITDA |  | 47739.1562 | 29796.5377 | 20998.5228
Salvage Value |  | 0 | 0 | 151536.7041
Without Salvage Value
Net Equity Cashflow | 0 | 47739.1562 | 29796.5377 | 20998.5228
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 78349.6897
With Salvage Value
Net Equity Cashflow | 0 | 47739.1562 | 29796.5377 | 172535.2269
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 179157.6074
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## New Albany
INCOME STATEMENT - NEW ALBANY
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 10.0576 | 6.9687 | 5.1994
Capacity Revenue from Desk (Real $) |  | 38054.4821 | 24603.6882 | 17123.9682
Capacity Revenue from Desk (Nominal $) |  | 38761.9257 | 26857.2232 | 20038.4549
Expense
Mobilization |  | 0 | 0 | 0
Fixed Operation & Maintenance |  | 1878.0666 | 1934.4086 | 1992.4408
Variable Operation & Maintenance |  | 224.7381 | 231.4803 | 238.4247
Major Maintenance & Ongoing Capex |  | 1000 | 1030 | 1060.9
O&M Management Fee |  | 207.019 | 213.2296 | 219.6265
Owner's Expense |  | 362.6722 | 373.5523 | 384.7589
Property Taxes |  | 488.8 | 488.8 | 488.8
Total Expense |  | 4161.2959 | 4271.4708 | 4384.9509 | 4161.2959
EBITDA |  | 34600.6298 | 22585.7524 | 15653.504
Salvage Value |  | 0 | 0 | 118977.6131
Without Salvage Value
Net Equity Cashflow | 0 | 34600.6298 | 22585.7524 | 15653.504
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 57829.6364
With Salvage Value
Net Equity Cashflow | 0 | 34600.6298 | 22585.7524 | 134631.1171
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 136978.0216
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Gleason
INCOME STATEMENT - GLEASON
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 18.2301 | 8.1446 | 6.1042
Capacity Revenue from Desk (Real $) |  | 53034.2326 | 38102.0711 | 26637.5476
Capacity Revenue from Desk (Nominal $) |  | 54052.3093 | 41588.2538 | 31169.8062
Expense
Mobilization |  | 1448.6417 | 0 | 0
Fixed Operation & Maintenance |  | 1242.4817 | 1279.7562 | 1318.1489
Variable Operation & Maintenance |  | 375.12 | 386.3736 | 397.9648
Major Maintenance & Ongoing Capex |  | 1028.5714 | 1059.4286 | 1091.2114
O&M Management Fee |  | 342.8571 | 353.1429 | 363.7371
Owner's Expense |  | 322.2511 | 331.9187 | 341.8762
Property Taxes |  | 158.1 | 158.1 | 158.1
Total Expense |  | 4918.0231 | 3568.7199 | 3671.0385 | 4918.0231
EBITDA |  | 49134.2861 | 38019.5339 | 27498.7677
Salvage Value |  | 0 | 0 | 162186.8741
Without Salvage Value
Net Equity Cashflow | 0 | 49134.2861 | 38019.5339 | 27498.7677
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 90158.1337
With Salvage Value
Net Equity Cashflow | 0 | 49134.2861 | 38019.5339 | 189685.6418
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 198050.9452
Note on A434: Depletion Sheets are driven off of Summary sheet so reflect CE share of each project

## Wheatland
INCOME STATEMENT - WHEATLAND
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 16.444 | 7.7014 | 5.8055
Capacity Revenue from Desk (Real $) |  | 52494.2438 | 33742.0839 | 23726.1205
Capacity Revenue from Desk (Nominal $) |  | 53475.8257 | 36828.0829 | 27762.0415
Expense
Mobilization |  | 1580.424 | 0 | 0
Fixed Operation & Maintenance |  | 1515.7903 | 1561.264 | 1608.1019
Variable Operation & Maintenance |  | 446.16 | 459.5448 | 473.3311
Major Maintenance & Ongoing Capex |  | 1028.5714 | 1059.4286 | 1091.2114
O&M Management Fee |  | 342.8571 | 353.1429 | 363.7371
Owner's Expense |  | 306.2677 | 315.4557 | 324.9194
Property Taxes |  | 174.2349 | 174.2349 | 174.2349
Total Expense |  | 5394.3054 | 3923.0708 | 4035.5359 | 5394.3054
EBITDA |  | 48081.5202 | 32905.0121 | 23726.5056
Salvage Value |  | 0 | 0 | 153058.1569
Without Salvage Value
Net Equity Cashflow | 0 | 48081.5202 | 32905.0121 | 23726.5056
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 82832.134
With Salvage Value
Net Equity Cashflow | 0 | 48081.5202 | 32905.0121 | 176784.6626
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 184652.1794

## Wilton
INCOME STATEMENT - WILTON CENTER
('000 $) | 2000-01-01 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
Capacity Prices ($/kW-mo) |  | 14.9959 | 7.5072 | 5.6654
Capacity Revenue from Desk (Real $) |  | 62037.7472 | 42763.3751 | 30104.2152
Capacity Revenue from Desk (Nominal $) |  | 63207.7514 | 46675.7109 | 35224.6619
Expense
Mobilization |  | 1471.68 | 0 | 0
Fixed Operation & Maintenance |  | 1448.5406 | 1491.9968 | 1536.7567
Variable Operation & Maintenance |  | 528 | 543.84 | 560.1552
Major Maintenance & Ongoing Capex |  | 1028.5714 | 1059.4286 | 1091.2114
O&M Management Fee |  | 342.8571 | 353.1429 | 363.7371
Owner's Expense |  | 400.6471 | 412.6666 | 425.0466
Property Taxes |  | 572.0571 | 572.0571 | 572.0571
Total Expense |  | 5792.3534 | 4433.1319 | 4548.9642 | 5792.3534
EBITDA |  | 57415.398 | 42242.579 | 30675.6977
Salvage Value |  | 0 | 0 | 197788.8708
Without Salvage Value
Net Equity Cashflow | 0 | 57415.398 | 42242.579 | 30675.6977
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 102718.7714
With Salvage Value
Net Equity Cashflow | 0 | 57415.398 | 42242.579 | 228464.5685
Weighted Average Cost of Capital | 14.55%
Enterprise Value | 234295.3708

## Depreciation
GENCO BOOK DEPRECIATION
Current
('000 $) | Initial Book Value | 1999-12-31 | 2000-06-19 | 2000-12-31 | 2001-12-31 | 2002-12-31 | Check
(30-yr SL, 10% Residual)
Brownsville
No. of Months in Operation |  | 6.538 | 5.6181 | 6.3819 | 12 | 12
% Depreciated |  | 1.634% | 1.405% | 1.595% | 3% | 3% | 10.63% | 10.64%
Beginning Book Value | 128000.722 | 128000.722 | 125908.5541 | 124110.7617 | 122068.5325 | 118228.5108
Depreciation | 0 | 2092.1679 | 1797.7925 | 2042.2292 | 3840.0217 | 3840.0217
Ending Book Value | 128000.722 | 125908.5541 | 124110.7617 | 122068.5325 | 118228.5108 | 114388.4892
Caledonia
No. of Months in Operation |  | 6.538 | 5.6181 | 6.3819 | 12 | 12
% Depreciated |  | 1.634% | 1.405% | 1.595% | 3% | 3% | 10.63% | 10.64%
Beginning Book Value | 154763.971 | 154763.971 | 152234.3587 | 150060.6717 | 147591.4395 | 142948.5204
Depreciation | 0 | 2529.6123 | 2173.687 | 2469.2321 | 4642.9191 | 4642.9191
Ending Book Value | 154763.971 | 152234.3587 | 150060.6717 | 147591.4395 | 142948.5204 | 138305.6013
New Albany
No. of Months in Operation |  | 6.0123 | 5.6181 | 6.3819 | 12 | 12
% Depreciated |  | 1.503% | 1.405% | 1.595% | 3% | 3% | 10.5% | 10.51%
Beginning Book Value | 148835.468 | 148835.468 | 146598.3517 | 144507.9316 | 142133.2877 | 137668.2236
Depreciation | 0 | 2237.1163 | 2090.4201 | 2374.6439 | 4465.064 | 4465.064
Ending Book Value | 148835.468 | 146598.3517 | 144507.9316 | 142133.2877 | 137668.2236 | 133203.1596
Gleason
No. of Months in Operation |  | 0 | 0.59016 | 6.4098 | 12 | 12
% Depreciated |  | 0% | 0.1475% | 1.455% | 3% | 3% | 7.602% | 7.745%
Beginning Book Value | 175029.3572 | 175029.3572 | 175029.3572 | 174771.1172 | 172224.5835 | 166973.7028
Depreciation | 0 | 0 | 258.24 | 2546.5337 | 5250.8807 | 5250.8807
Ending Book Value | 175029.3572 | 175029.3572 | 174771.1172 | 172224.5835 | 166973.7028 | 161722.8221
Wheatland
No. of Months in Operation |  | 0 | 0.59016 | 6.4098 | 12 | 12
% Depreciated |  | 0% | 0.1475% | 1.455% | 3% | 3% | 7.602% | 7.745%
Beginning Book Value | 159992.6881 | 159992.6881 | 159992.6881 | 159756.6333 | 157428.8708 | 152629.0902
Depreciation | 0 | 0 | 236.0548 | 2327.7625 | 4799.7806 | 4799.7806
Ending Book Value | 159992.6881 | 159992.6881 | 159756.6333 | 157428.8708 | 152629.0902 | 147829.3096
Wilton
No. of Months in Operation |  | 0 | 0.59016 | 6.4098 | 12 | 12
% Depreciated |  | 0% | 0.1475% | 1.455% | 3% | 3% | 7.602% | 7.745%
Beginning Book Value | 257376.7607 | 257376.7607 | 257376.7607 | 256997.0245 | 253252.4036 | 245531.1008
Depreciation | 0 | 0 | 379.7362 | 3744.6209 | 7721.3028 | 7721.3028
Ending Book Value | 257376.7607 | 257376.7607 | 256997.0245 | 253252.4036 | 245531.1008 | 237809.798
1999 Assets | 431600.161 | 424741.2645 | 418679.3649 | 411793.2597 | 398845.2549 | 385897.25
2000 Assets | 592398.806 | 592398.806 | 591524.775 | 582905.8579 | 565133.8938 | 547361.9296
Total GenCo | 1023998.967 | 1017140.0705 | 1010204.1399 | 994699.1176 | 963979.1486 | 933259.1796
Asset Breakdown
Brownsville | 12.5%
Caledonia | 15.11%
New Albany | 14.53%
Gleason | 17.09%
Wheatland | 15.62%
Wilton | 25.13%
Total | 100%

## Notes (hidden)
NOTES
OUTSTANDING ISSUES | STATUS
For Amy Copeland:
1. Confirm 1999 Capital Cost | Amy will send spreadsheet
2. Confirm 2000 Capital Cost #s | Ignore Summary Sheets as per Amy
(2 different #s in spreadsheet)
For Jenny Latham:
1. When deriving $/kW-mo, use what MWs? | * For $/kW-mo, Jenny uses MWs different from
* For MTM purposes, Jenny uses:
From Apr-Oct: 95%*Summer MW
From Nov-Mar: 120%*Summer MW*75% avail.
2. Gleason only has 6 months revenue in 2000? | Jenny will check with Presto
3. Jenny calculated weighted average price using 7 months in 2000 | Model did not use the numbers
For Don:
1. Use what spreads?
For Theresa Wiesmann:
1. CE vs. budget for 2000 projections? | Use CE, changed
2. No. of operating months in 1999 | Changed
3. Depreciation Assumptions | OK
Do:
1. Change annualized Opex for 2000 projects | Changed

## Process (hidden)
PROCESS
Inputs |  | Outputs
Weekly: | Monthly: | Enterprise Values (6+1)
1999 O&M | Capex | Treasury, Spreads
2000 O&M |  | Capacity Prices (6+1)
Treasury Rates
Spreads
Desk
Libor Forward Curve
Weekly GenCo
Valuation Model
Desk
(Jenny Latham x3-3982)
Weekly
Annual Real
Project
Revenues
Accounting
(Theresa Wiesmann x5-8173)
Weekly
1999 and 2000
O&M Numbers
Accounting
(Amy Copeland x3-7805)
Monthly
2000 Assets
Capex Draw
Schedule
http://home.ect.enron.com/dept/irfx/curves/
Weekly
USD Libor
Forward Curve
Bloomberg
(Page “PX1”)
Weekly
10-year
Treasury Rate
TD
Weekly
Spreads

## Changes
CHANGES
| CHANGES | DATE | COMMENTS
June 19 2000 Valuation
1 | Update Treasury | 2000-06-19 | Update from Bloomberg on 6/19/00
2 | Update Spread | 2000-06-19 | Update from Bloomberg on 6/19/00
4 | Update Real Revenue from Desk | 2000-06-16 | Received from Jenny Latham on 06/19/00
5 | Update Libor forward curve | 2000-06-19 | Downloaded from internet on 6/19/00
June 12 2000 Valuation
1 | Update Treasury | 2000-06-11 | Update from Bloomberg on 6/11/00
2 | Update Spread | 2000-06-11 | Update from Bloomberg on 6/11/00
4 | Update Real Revenue from Desk |  | Received from Jenny Latham on 06/12/00
5 | Update Libor forward curve | 2000-06-11 | Downloaded from internet on 6/11/00
6 | Update Capex Budget from Amy Spoede | 2000-05-31 | Received from Amy on 6/8/00
June 5 2000 Valuation
1 | Update Treasury | 2000-06-02 | Update from Bloomberg on 6/2/00
2 | Update Spread | 2000-06-02 | Update from Bloomberg on 6/2/00
4 | Update Real Revenue from Desk | 2000-06-01 | Received from Jenny Latham on 06/2/00
5 | Update Libor forward curve | 2000-06-02 | Downloaded from internet on 6/2/00
May 29 2000 Valuation
1 | Update Treasury | 2000-05-26 | Update from Bloomberg on 5/26/00
2 | Update Spread | 2000-05-26 | Update from Bloomberg on 5/26/00
4 | Update Real Revenue from Desk | 2000-05-25 | Received from Jenny Latham on 05/25/00
5 | Update Libor forward curve | 2000-05-26 | Downloaded from internet on 5/26/00
May 22 2000 Valuation
1 | Update Treasury | 2000-05-19 | Update from Bloomberg on 5/19/00
2 | Update Spread | 2000-05-19 | Update from Bloomberg on 5/19/00
4 | Update Real Revenue from Desk | 2000-05-18 | Received from Jenny Latham on 05/18/00
5 | Update Libor forward curve | 2000-05-19 | Downloaded from internet on 5/19/00
May 15 2000 Valuation
1 | Update Treasury | 2000-05-12 | Update from Bloomberg on 5/12/00
2 | Update Spread | 2000-05-12 | Update from Bloomberg on 5/12/00
4 | Update Real Revenue from Desk | 2000-05-11 | Received from Jenny Latham on 05/11/00
5 | Update Libor forward curve | 2000-05-12 | Downloaded from internet on 5/12/00
May 8 2000 Valuation
1 | Update Treasury | 2000-05-08 | Update from Bloomberg on 5/08/00
2 | Update Spread | 2000-05-08 | Update from Bloomberg on 5/08/00
3 | Update 1999, 2000 O&M | 2000-03-31 | Received from Theresa Wiesmann on 4/25/00
4 | Update Real Revenue from Desk | 2000-05-04 | Received from Jenny Latham on 05/04/00
5 | Update Libor forward curve | 2000-04-28 | Downloaded from internet on 4/28/00
6 | Update Capex | 2000-05-05 | Model from Amy Copeland dated 5/05/2000
April 21 2000 Valuation
1 | Update Treasury | 2000-04-24
2 | Update Real Revenue from Desk | 2000-04-20 | Received from Mitzie Scott on 4/24/00
3 | Update Libor forward curve | 2000-04-24 | Downloaded from internet on 4/24/00
April 14 2000 Valuation
1 | Update Treasury | 2000-04-14
2 | Update 1999, 2000 O&M | 2000-02-29 | Received from Theresa Wiesmann on 4/14/00
3 | Update Real Revenue from Desk | 2000-04-13 | Received from Jenny Latham on 4/14/00
Note:
a. Jenny changed the MWs for Summer, Winter, and Shoulder months.
b. The availability for shoulder months has changed from 95% to 75%
c. As per Jenny, Gleason will start operating on 6/2000 instead of 7/2000, at 350MW gross
4 | Update Libor forward curve | 2000-04-14 | Downloaded from internet on 4/14/00
5 | Update Capex | 2000-04-07 | Model from Amy Copeland dated 4/11/2000

## Start Charge Matrix (hidden)
BLOCK CHARGE MATRIX
Starts/ yr | Unit Cost per Start (1999 $) |  |  |  | Major Maintenance Charge per Turbine per Start ($) | [5 empty] | Major Maintenance Charge ($000)
| 501D5A | GE7EA,GE7B | 501D5 | 501F, 501FD | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton | Brownsville | Caledonia | New Albany | Gleason | Wheatland | Wilton
Number of Turbines
[5 empty] | 4 | 6 | 6 | 3 | 4 | 8
0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 704 | 457 | 1164 | 1374 | 934 | 457 | 457 | 1374 | 1164 | 457 | 74.72 | 54.84 | 54.84 | 82.44 | 93.12 | 73.12
30 | 704 | 457 | 1164 | 1374 | 934 | 457 | 457 | 1374 | 1164 | 457 | 112.08 | 82.26 | 82.26 | 123.66 | 139.68 | 109.68
40 | 1407 | 457 | 2140 | 3334 | 1773.5 | 457 | 457 | 3334 | 2140 | 457 | 283.76 | 109.68 | 109.68 | 400.08 | 342.4 | 146.24
50 | 1407 | 457 | 2140 | 3334 | 1773.5 | 457 | 457 | 3334 | 2140 | 457 | 354.7 | 137.1 | 137.1 | 500.1 | 428 | 182.8
60 | 1407 | 1243 | 2140 | 3334 | 1773.5 | 1243 | 1243 | 3334 | 2140 | 1243 | 425.64 | 447.48 | 447.48 | 600.12 | 513.6 | 596.64
70 | 1407 | 1243 | 2140 | 3334 | 1773.5 | 1243 | 1243 | 3334 | 2140 | 1243 | 496.58 | 522.06 | 522.06 | 700.14 | 599.2 | 696.08
80 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1249.44 | 596.64 | 596.64 | 1352.16 | 1385.6 | 795.52
90 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1405.62 | 671.22 | 671.22 | 1521.18 | 1558.8 | 894.96
100 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1561.8 | 745.8 | 745.8 | 1690.2 | 1732 | 994.4
110 | 3479 | 1243 | 4330 | 5634 | 3904.5 | 1243 | 1243 | 5634 | 4330 | 1243 | 1717.98 | 820.38 | 820.38 | 1859.22 | 1905.2 | 1093.84
120 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 1973.28 | 1349.28 | 1349.28 | 2296.44 | 2078.4 | 1799.04
130 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 2137.72 | 1461.72 | 1461.72 | 2487.81 | 2251.6 | 1948.96
140 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 2302.16 | 1574.16 | 1574.16 | 2679.18 | 2424.8 | 2098.88
150 | 3892 | 1874 | 4330 | 6379 | 4111 | 1874 | 1874 | 6379 | 4330 | 1874 | 2466.6 | 1686.6 | 1686.6 | 2870.55 | 2598 | 2248.8
160 | 5022 | 1874 | 6112 | 7118 | 5567 | 1874 | 1874 | 7118 | 6112 | 1874 | 3562.88 | 1799.04 | 1799.04 | 3416.64 | 3911.68 | 2398.72
170 | 5022 | 1874 | 6112 | 7118 | 5567 | 1874 | 1874 | 7118 | 6112 | 1874 | 3785.56 | 1911.48 | 1911.48 | 3630.18 | 4156.16 | 2548.64
180 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4008.24 | 2786.4 | 2786.4 | 3843.72 | 4400.64 | 3715.2
190 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4230.92 | 2941.2 | 2941.2 | 4057.26 | 4645.12 | 3921.6
200 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4453.6 | 3096 | 3096 | 4270.8 | 4889.6 | 4128
210 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4676.28 | 3250.8 | 3250.8 | 4484.34 | 5134.08 | 4334.4
220 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 4898.96 | 3405.6 | 3405.6 | 4697.88 | 5378.56 | 4540.8
230 | 5022 | 2580 | 6112 | 7118 | 5567 | 2580 | 2580 | 7118 | 6112 | 2580 | 5121.64 | 3560.4 | 3560.4 | 4911.42 | 5623.04 | 4747.2
240 | 5265 | 3137 | 6393 | 9120 | 5829 | 3137 | 3137 | 9120 | 6393 | 3137 | 5595.84 | 4517.28 | 4517.28 | 6566.4 | 6137.28 | 6023.04
250 | 5265 | 3137 | 6393 | 9120 | 5829 | 3137 | 3137 | 9120 | 6393 | 3137 | 5829 | 4705.5 | 4705.5 | 6840 | 6393 | 6274
Note on G7: ect: Average cost per turbine used due to different turbine types