## ENA Comps
Merchant Peaker Plant Cost Analysis
[9 empty] | ENA | CSFB
| Company | Location | Source | Turbine Type | Article Date | Operation Date | MW's | Cost ($ MM) | Cost/kW | Cost/kW
1 | Dynergy | Lake Charles | Co. Press Release | GE 7FA | 1999-07-23 | 2000-06-01 | 155 | 50 | 322.5806 | 322
2 | Tenaska | Georgia | Co. Press Release | GE 7FA | 1999-11-11 | 2001-06-01 | 936 | 410 | 438.0342 | 354.84
3 | Entergy | Miss. | Co. Press Release | GE 7EA | 2000-02-24 | 2001-06-01 | 300 | 140 | 466.6667 | 466.67
4 | Southwestern Elec. Coop. | Illinois | Megawatt Daily | GE LM 6000 | 1999-12-06 | 2001-06-01 | 45 | 25 | 555.5556 | 555.56
5 | Hoosier Energy/Williams | Indiana | N/A | GE LM 6000 | N/A | N/A | 170 | 94 | 552.9412 | N/A
6 | Austin Energy | Texas | Co. Press Release | GE LM 6000 | N/A | 2001-06-01 | 178 | 93.2 | 523.5955 | N/A
7 | DPL | Ohio | Co. Press Release | GE Gas Turbines | 2000-08-30 | 1999-06-01 | 250 | 75 | 300 | N/A
8 | DPL | Ohio | Co. Press Release | Pratt & Whitney | 2000-01-31 | 2000-06-01 | 225 | 80 | 355.5556 | 444.44
9 | DPL | Ohio | Co. Press Release | GE Gas Turbines | 2000-01-10 | 2001-12-01 | 160 | 60 | 375 | 390.63
10 | Indeck | Illinois | Co. Press Release | N/A | 2000-05-24 | 2001-06-01 | 700 | 250 | 357.1429 | 357.14
11 | Indeck | Illinois | Co. Press Release | N/A | 2000-03-01 | N/A | 300 | 100 | 333.3333 | 333.33
12 | Standard Power & Light | Illinois | Generation Week | N/A | 2000-03-01 | N/A | 800 | 380 | 475 | 475
13 | PPL Global | Pennsylvania | Electric Power Daily | N/A | 2000-05-26 | 2002-06-01 | 900 | 425 | 472.2222 | N/A
| Average | [7 empty] | 425.2021 | 411.0678
| Average (w/o GE LM 6000's) | [7 empty] | 389.5535 | 393.0062