## UltraSonic pressure data
Ultra Sonic Calibration pressure vs flowing pressure worksheet
Region/Station | 3rd Party owned y/n | Meter type | Flow conditioner type | Date of install | Company* | Receipt or Delivery | Calibrated at pressure | Flowing at pressure | Potential Drift % | Drift High or Low | Jan 2002 flow | Potential inpact | Possible Pulsation at this point Y or N
Minneapolis / North
Craddock/Fraiser/Miller
Des Moines
Mowrer / Cowart
Beatrice
Kile
Amarillo
Kneisley/Tanner/Williams
Albuquerque
Kneisley/Tanner/Williams
Midland
Kneisley/Tanner/Williams
Orlando
Campo/Figueroa
Tallahassee
McClary
Lafayette
Tidwell
*enter the pipeline impacted