## Sheet1
| HANOVER | ENRON | PAID BY | CHARGE TO
COMPRESSOR SKID | HCC |  | HCC | Contract Comp.
DAILY OPERATIONS | HCC |  | HCC | Contract Comp.
MAINTAINENCE | HCC |  | HCC | Contract Comp.
REPAIRS | HCC |  | HCC | Contract Comp.
FLUIDS | HCC |  | HCC | Contract Comp.
CALL OUTS | HCC |  | HCC | Contract Comp.
DEHYDRATOR
DAILY INSPECTIONS | HCC
TEMP. ADJUSTMENTS | HCC
LEVEL ADJUSTMENTS | HCC
ADDING GLYCOL | HCC
PURCHACE GLYCOL |  | X | E | PSO#
ADJUST PUMP PACKING | X |  | HCC | Contract Comp.
CHANGE PUMP PACKING |  | X | E | ?
REPAIR TO PUMPS, FLUID OR DRIVE END |  | X | X | ?
SPEED ADJUSTMENT ON KIMRAY PUMP | HCC |  |  | Contract Comp.
REPLACE BELTS |  | X | E | ?
ADJUST BELT TENSION | HCC |  |  | Contract Comp.
ELECTRIC MOTOR REPAIR |  | X | E | ?
ELECTRIC AND PNUMATIC CONTROL REPAIR |  | X | E | ?
FILTER CHANGE |  | X | E | ?
CALL OUT | HCC |  | E | ?
METER SKID
SCHEDULED METER CALIBRATION | HMS |  | HCC | ?
REVIEW AND PROVIDE INFO. AND SUPPORT OF SYS. BAL. |  | HMS | E | ?
REPAIR TO TURBINE METERS |  | HMS | E | ?
INSTRUMENT REPAIRS |  | HMS | E | ?
Y-STRAINER INSPECTION AND CLEANING (PM) | HCC |  | HCC | ?
OPERATE GAS QUALITY ANAL. (I.e. MOISTURE, O2, ETC ) | HCC |  |  | Contract Comp.
PIPELINE GAS QUALITY ANALYZER REPAIRS |  | HMS | E | ?
LABOR TO COLLECT GAS SAMPLES | HMS |  | E | ?
GAS SAMPLE ANALYSIS |  | HMS | E | ?
ORIFICE PLATE INSPECTION | HMS |  | E | ?
ORIFICE FITTING REPAIRS |  | HMS | E | ?
ORIFICE PLATE CHANGES |  | HMS | E | ?
REPAIRS TO METER TUBES |  | HMS | E | ?
DAILY CHECKS OF FLOWING VOLUMES AND PRESSURES | BOTH |  | HCC | ?
REPAIR & REPLACE TRANSMITTERS & TRANSDUCERS |  | HMS | E | ?
SEPERATORS
CHECK AND ADJUST FLUID LEVEL | HCC |  |  | Contract Comp.
REPAIRS TO LEVEL CONTROLLER |  | HCC | E | ?
REPAIRS TO DUMP VALVE |  | HCC | E | ?
DAILY INSPECTION | HCC |  |  | Contract Comp.
| HANOVER | ENRON | ENRON | ENRON
ATMOSPHERIC STORAGE TANK
GUAGING TANK | HCC
ARRANGING FOR DISPOSAL OF FLUIDS | HCC |  | HCC | Contract Comp.
COST ASSOCIATED WITH DISPOSAL |  | X | ENRON | PSO#
DAILY INSPECTION | HCC |  | HCC | Contract Comp.
STATION PIPING
ANNUAL RELIEF VALVE INSPECTION |  | X | E | ?
GREASING STATION VALVES | HCC |  | HCC | Contract Comp.
INITIAL PURGE AND PRESSURE | ? | ?
DAILY INSPECTION | HCC |  | HCC | Contract Comp.
INSTRUMENT AND ELECTRICAL
CALIBRATION OF ON-SKID I&E | HMS |  | HCC | Contract Comp.
CALIBRATION OF SITE RTU AND END DEVICES |  | HMS | HMS | HMS
REPAIR OF SITE RTU AND END DEVICES |  | HMS | E | ?
REPAIR OF ON-SKID I&E | HCC |  | HCC | Contract Comp.
MONITER &TROUBLESHOOT COMMUNICATION PROBLEMS |  | HMS | E | ?
REPAIRS TO COMMUNICATION SYSTEM |  | HMS | E | ?
ESD TEST AND REPAIR | HCC | HMS | E | ?
REPAIR OF SITE I&E |  | HMS | E | ?
PIPELINE OPERATIONS
PURGING LINES | HCC |  | HCC | PIPELINE OPNS.
PIGGING LINES | HCC |  | HCC | PIPELINE OPNS.
LINE LOCATING, ONE CALL | HCC |  | HCC | PIPELINE OPNS.
PURGING, PIGGING, TESTING, EQUIP. MATERIALS & UAF |  | HCC | E | ?
CATHODIC PROTECTION INSTALLATION |  | X | E | ?
CATHODIC PROTECTION OPERATION | HCC |  | HCC | PIPELINE OPNS.
CATHODIC PROTECTION MAINTENANCE |  | HCC | E | ?
CATHODIC PROTECTION RECORD KEEPING & ANALYSIS |  | X | E | ?
PIPELINE INSPECTION |  | HCC | E | ?
PIPELINE REPAIRS |  | HCC | E | ?
MAOP DOCUMENTATION & PROFF OF ADEQUATE OPP |  | HMS | E | ?
GENERAL
BASIC HOUSEKEEPING | HCC/HMS |  |  | Contract Comp.
PAINTING |  | X | E | ?
ROAD MAINTANENCE |  | X | E | ?
DAILY INSPECTION | HCC/HMS |  |  | Contract Comp.
PARTS INVENTORY | HCC |  |  | Contract Comp.
FIELD CONTACT FOR ENRON TECHNICAL GROUPS | HCC/HMS | HCC/HMS | ? | ?
ENVIROMENTAL
BASIC AIR PERMITING | HCC |  | HCC | PSO#
AIR PERMIT MODELING |  | HCC | E | ?
WATER DISCARGE PERMITING |  | X | E | ?
AIR PERMIT COMPLIANCE TESTING | HCC |  | ? | ?
WATER PERMIT COMPLIANCE TESTING |  | HCC | E | ?
GLYCOL FILTER DISPOSAL |  | HCC | E | ?
UNIT WASTE OIL DISPOSAL | HCC |  | HCC | ENVIR/DISP
UNIT OIL FILTER DISPOSAL | HCC |  | HCC | ENVIR/DISP