## Summary
The Cost of Nationalizing California's Power System
I | Undercollections due to Retail Rates that do not reflect the market price of wholesale power
|  |  | Cost to Taxpayers ($ millions) | Source/Comments
| Total |  | 13000 | Recent Trade Press Articles (net amount that utilities are owed)
II | Transmission System
| Net Book Value, assume SDG&E is 25% of SCE | 3.805 |  | Kingerski with SDGE = 25% of SCE
| Assume 2x book v |  | 7610 | Per Davis's claim to pay fair market value
Transmission System Upgrades
| Per ISO |  | 273 | CAISO (www.caiso.com/docs/09003a6080/0b/c6/09003a60800bc6de.pdf); includes path 15
| Additional |  | 250 | Per Davis's 2/16 press conference; assume $250/kW (cost of 3rd AC Intertie Exp)
| Subtotal |  | 523
III | New Generation
Net Short Position (MW)
| Summer 2001 | 5000 |  | CERA | NOT USED
| Under Construction | 1200 |  | CERA/CAISO
| Net Short 01 | 3800
| Load Growth '02-'09 | 8500 |  | WSCC
| Total Construction Need | 20000 |  | Per Davis's press release of 2/08/01. Probably includes some DSM and DG but that's ok since the state will subsidize that too.
Cost of New Build
| Unit Cost ($/Kw) | 900 |  | Current Market Costs (Pastoria)
| Total |  | 18000
IV | Grand Total |  | 39133