## J M Stuart 03
Owner Name | Dayton Power and Light Company
Station Name | J M Stuart Generating Station
Unit Name | J M Stuart 03
NERC Region | ECAR
State | OH
Fuel Type | Coal
Capacity | 610 MW
Start Date | 2002-01-07
End Date | 2002-01-10
Comments | Tube Leak
SIC | 4911
Plant ID | 1018004
Unit ID | 1003907
Outage ID | 19395

## Barry 04
Owner Name | Alabama Power Company
Station Name | Barry Power Station
Unit Name | Barry 04
NERC Region | SERC
State | AL
Fuel Type | Coal
Capacity | 403 MW
Start Date | 2002-01-07
End Date | 2002-01-07
Comments | Clinker Failure
SIC | 4911
Plant ID | 1006575
Unit ID | 1006832
Outage ID | 19392

## Colstrip 03
Owner Name | PPL Montana LLC
Station Name | Colstrip Power Station
Unit Name | Colstrip 03
NERC Region | WSCC
State | MT
Fuel Type | Coal
Capacity | 778 MW
Start Date | 2002-01-05
End Date | 2002-01-12
Comments | Unit is down with a generator ground fault problem.
SIC | 4931
Plant ID | 1015370
Unit ID | 1007494
Outage ID | 19382

## Craig 03
Owner Name | Tri-State Generation
Station Name | Craig Power Station
Unit Name | Craig 03
NERC Region | WSCC
State | CO
Fuel Type | Coal
Capacity | 446 MW
Start Date | 2002-01-05
End Date | 2002-01-13
Comments | Pulverizer Problem
SIC | 4911
Plant ID | 1015365
Unit ID | 1007179
Outage ID | 19386

## Craig 02
Owner Name | Tri-State Generation
Station Name | Craig Power Station
Unit Name | Craig 02
NERC Region | WSCC
State | CO
Fuel Type | Coal
Capacity | 446 MW
Start Date | 2002-01-05
End Date | 2002-01-13
Comments | Pulverizer Problem
SIC | 4911
Plant ID | 1015365
Unit ID | 1007178
Outage ID | 19385

## Craig 01
Owner Name | Tri-State Generation
Station Name | Craig Power Station
Unit Name | Craig 01
NERC Region | WSCC
State | CO
Fuel Type | Coal
Capacity | 446 MW
Start Date | 2002-01-05
End Date | 2002-01-13
Comments | Pulverizer Problem
SIC | 4911
Plant ID | 1015365
Unit ID | 1007177
Outage ID | 19384