## Mitchell 01
Owner Name | American Electric Power
Station Name | Mitchell Power Station
Unit Name | Mitchell 01
NERC Region | ECAR
State | WV
Fuel Type | Coal
Capacity | 816 MW
Start Date | 2002-10-12
End Date | 2002-01-11
Prv. Start Date | 2002-10-12
Prv. End Date | 2002-01-04
Comments | Boiler Maintenance
SIC | 4911
Plant ID | 1017322
Unit ID | 1007867
Outage ID | 16103

## Edwin I Hatch 02
Owner Name | Georgia Power Company
Station Name | Edwin I Hatch Nuclear Power Station
Unit Name | Edwin I Hatch 02
NERC Region | SERC
State | GA
Fuel Type | Nuclear
Capacity | 865 MW
Start Date | 2001-12-25
End Date | 2002-01-08
Prv. Start Date | 2001-12-25
Prv. End Date | 2002-01-01
Comments | Unit is down due to extensive mechical failure
SIC | 4911
Plant ID | 1012040
Unit ID | 1004272
Outage ID | 19297

## Salem 02
Owner Name | PSEG Power LLC
Station Name | Salem Nuclear Power Station
Unit Name | Salem 02
NERC Region | MAAC
State | NJ
Fuel Type | Nuclear
Capacity | 1170 MW
Start Date | 2001-12-31
End Date | 2002-01-02
Prv. Start Date | 2001-12-31
Prv. End Date | 2002-01-06
Comments | Unit tripped due to a pressure spray valve that got stuck in the open position & should be at 100% late today.
SIC | 4911
Plant ID | 1018459
Unit ID | 1004470
Outage ID | 19325