## Sheet1
Mill Run / Somerset Project Operational Report For October 2001
Executive Summary
This interim report was generated to comply with the contractual monthly reporting requirement from the Windsystem, Operations, & Maintenance Agreement.
The description of outages, safety near miss events, accidents, infrastructure work, and maintenance records are not included in this interim report.
All other required components are provided below.
|  |  |  | Operational Parameters |  | Operational Parameters
Site | Row | Pad | ReportingMonth | kWhGenerated | kWhConsumed | Net kWh Production | Capacity Factor | Availability1 | Operating Hrs
Mill Run | 1 | 1 | 2002-02-01 | 451762 | 389 |  | 0% | 96.81% | 0
Mill Run | 1 | 2 | 2002-02-01 | 367936 | 972 |  | 0% | 94.61% | 0
Mill Run | 1 | 3 | 2002-02-01 | 478585 | 287 |  | 0% | 99.52% | 0
Mill Run | 1 | 4 | 2002-02-01 | 490008 | 424 |  | 0% | 97.74% | 0
Mill Run | 1 | 5 | 2002-02-01 | 491885 | 341 |  | 0% | 97.78% | 0
Mill Run | 1 | 6 | 2002-02-01 | 417937 | 596 |  | 0% | 89.33% | 0
Mill Run | 1 | 7 | 2002-02-01 | 219110 | 2022 |  | 0% | 92.27% | 0
Mill Run | 1 | 8 | 2002-02-01 | 502865 | 326 |  | 0% | 97.98% | 0
Mill Run | 1 | 9 | 2002-02-01 | 502434 | 430 |  | 0% | 97.83% | 0
Mill Run | 1 | 10 | 2002-02-01 | 502768 | 337 |  | 0% | 97.3% | 0
Somerset | 1 | 1 | 2002-02-01 | 435897 | 408 |  | 0% | 96.86% | 0
Somerset | 1 | 2 | 2002-02-01 | 438331 | 307 |  | 0% | 99.3% | 0
Somerset | 1 | 3 | 2002-02-01 | 349885 | 592 |  | 0% | 93.99% | 0
Somerset | 1 | 4 | 2002-02-01 | 408123 | 348 |  | 0% | 97.45% | 0
Somerset | 1 | 5 | 2002-02-01 | 415344 | 150 |  | 0% | 99.14% | 0
Somerset | 1 | 6 | 2002-02-01 | 499222 | 190 |  | 0% | 99.16% | 0
|  | All WTG's |  | 6972092 | 8119 |  | 0% | 96.69% | 0
|  | Mill Run Substation |  |  |  | Data Not Available
|  | Somerset Substation |  |  |  | Data Not Available
|  | Combined Total |  |  |  | Data Not Available
|  | Apparent Line Loss2 |  |  |  | #DIV/0!
|  | All WTG's | Year To Date |  |  |  | N/A | 0% | N/A
Notes: | [8 empty] | 0 | #REF!
1) Current month availability is based on reads at turbine controller.
2) This is defined as (Turbine Net kWh - Substation Net kWh)/Turbine Net kWh