## Table 1
PlantUnitName | WSCCRegion | Fuel_Primary | HeatRate | Diff | Yesterday | Today | Today + 1 | Today + 2 | Today + 3 | Today + 4 | Today + 5 | Today + 6 | Today + 7
1 Power Plant - Richmond CA ALL | NP15 | UNK | 0 | 0 | 21 | 21
Alameda Combustion Turbines 1 | NP15 | NG | 16500 | 0 | 24 | 24
Alameda Combustion Turbines 2 | NP15 | NG | 16500 | 0 | 25 | 25
Alamitos 1 | SP15 | NG | 10956 | -175 | 175 | 0
Alamitos 3 | SP15 | NG | 10236 | 0 | 320 | 320
Alamitos 4 | SP15 | NG | 9690 | 0 | 320 | 320
Anaheim GT 1 | SP15 | NG | 12531 | 0 | 46 | 46
Apache ST2 | DSW | SUB | 10293 | 0 | 175 | 175
Apache ST2 | DSW | SUB | 10293 | 0 | 175 | 175
Bear Canyon ALL | NP15 | GEO | 0 | 0 | 11 | 11
Beaver 7 | PNW | WH | 0 | 0 | 141 | 141
Blundell 1 | PNW | GST | 21248 | 0 | 23 | 23
Boardman (OR) 1 | PNW | SUB | 10836 | 0 | 508 | 508
Boardman (OR) 1 | PNW | SUB | 10836 | 0 | 508 | 508
Bonanza 1 | PNW | BIT | 10463 | -420 | 420 | 0
Bonanza 1 | PNW | BIT | 10463 | 0 | 420 | 420
Bridger 1 | PNW | SUB | 9985 | 0 | 520 | 520
Bridger 1 | PNW | SUB | 9985 | 0 | 260 | 260
Bridger 1 | PNW | SUB | 9985 | 0 | 520 | 520
Bridger 1 | PNW | SUB | 9985 | 0 | 275 | 275
Bridger 1 | PNW | SUB | 9985 | 0 | 520 | 520
Bridger 2 | PNW | SUB | 9985 | 0 | 520 | 520
Bridger 2 | PNW | SUB | 9985 | 0 | 520 | 520
Broadway (CA) B1 | SP15 | NG | 11750 | 0 | 42 | 42
Broadway (CA) B2 | SP15 | NG | 11200 | 0 | 42 | 42
Burney Forest Products ALL | NP15 | UNK | 0 | 0 | 31 | 31
Campbells Soup (SPA) CC | NP15 | UNK | 0 | 0 | 169 | 169
Cardinal Cogen ALL | NP15 | UNK | 0 | 0 | 49 | 49
Carson Cogeneration Co. ALL | SP15 | UNK | 0 | 0 | 50 | 50
Centralia - TransAlta 1 | PNW | SUB | 10240 | 0 | 335 | 335
Centralia - TransAlta 2 | PNW | SUB | 10240 | 0 | 670 | 670
Cherokee (CO) 3 | RM | BIT | 10130 | 0 | 158 | 158
Cherokee (CO) 4 | RM | BIT | 9630 | 0 | 352 | 352
Cherokee (CO) 4 | RM | BIT | 9630 | 0 | 290 | 290
Cherokee (CO) 4 | RM | BIT | 9630 | 0 | 352 | 352
Cholla 1 | DSW | BIT | 10378 | 0 | 110 | 110
Cholla 1 | DSW | BIT | 10378 | 0 | 110 | 110
Cholla 3 | DSW | BIT | 10399 | 0 | 130 | 130
Cholla 3 | DSW | BIT | 10399 | 0 | 200 | 200
Civic Center 1 | SP15 | NG | 12687 | -34 | 34 | 0
Clark (CO) 2 | RM | BIT | 12690 | 0 | 24 | 24
Clark (NV) 2 | DSW | NG | 10350 | 0 | 66 | 66
Clark (NV) 3 | DSW | NG | 11400 | 0 | 67 | 67
Colstrip 1 | PNW | SUB | 11166 | 0 | 307 | 307
Colstrip 1 | PNW | SUB | 11166 | 0 | 307 | 307
Colstrip 3 | PNW | SUB | 10449 | 0 | 178 | 178
Colstrip 3 | PNW | SUB | 10449 | 0 | 727 | 727
Comanche (CO) 1 | RM | BIT | 10320 | 0 | 222 | 222
Comanche (CO) 1 | RM | BIT | 10320 | 0 | 325 | 325
Comanche (CO) 1 | RM | BIT | 10320 | 0 | 163 | 163
Comanche (CO) 1 | RM | BIT | 10320 | 0 | 335 | 335
Comanche (CO) 1 | RM | BIT | 10320 | 0 | 325 | 325
Cool Water 4ABC | SP15 | NG | 0 | 0 | 241 | 241
Cool Water 4ABC | SP15 | NG | 0 | -40 | 40 | 0
Copper 1 | DSW | NG | 15800 | 0 | 69 | 69
Corette 1 | PNW | SUB | 11011 | 0 | 160 | 160
Coronado CO1 | DSW | BIT | 10214 | -365 | 365 | 0
Coronado CO1 | DSW | BIT | 10214 | 0 | 365 | 365
Craig 1 | RM | BIT | 10644 | 0 | 100 | 100
Craig 2 | RM | BIT | 10644 | 0 | 428 | 428
Craig 3 | RM | BIT | 10612 | 0 | 204 | 204
Craig 3 | RM | BIT | 10612 | 0 | 49 | 49
Delano Energy Co. Incorpor ALL | ZP26 | BIO | 0 | 0 | 30 | 30
Diablo Canyon 2 | ZP26 | UR | 10503 | 0 | 1087 | 1087
El Segundo 3 | SP15 | NG | 9723 | 0 | 335 | 335
El Segundo 3 | SP15 | NG | 9723 | 0 | 335 | 335
El Segundo 3 | SP15 | NG | 9723 | 0 | 335 | 335
El Segundo 4 | SP15 | NG | 9593 | 0 | 335 | 335
Ellwood 1 | SP15 | NG | 14950 | 0 | 48 | 48
Etiwanda 4 | SP15 | NG | 9601 | 0 | 320 | 320
Etiwanda GT5 | SP15 | NG | 20006 | -40 | 40 | 0
Fort Churchill 2 | PNW | NG | 10295 | 0 | 113 | 113
Four Corners 4 | DSW | BIT | 9661 | 0 | 740 | 740
Frederickson 2 | PNW | NG | 10600 | 0 | 79 | 79
Fredonia (WA) 1 | PNW | NG | 10711 | 0 | 108 | 108
Fresno Cogeneration Partners ALL | NP15 | UNK | 0 | 0 | 28 | 28
Fresno Cogeneration Partners ALL | NP15 | UNK | 0 | 0 | 28 | 28
Gardner (NV) 3 | DSW | BIT | 10900 | 0 | 110 | 110
Gardner (NV) 4 | DSW | BIT | 10400 | 0 | 275 | 275
Gardner (NV) 4 | DSW | BIT | 10400 | 0 | 275 | 275
Geysers 12 | NP15 | GST | 21376 | 0 | 50 | 50
Gilroy Energy Co. 1 | NP15 | NG | 8190 | 0 | 130 | 130
Hanford ALL | SP15 | Coal/Petro | 0 | 0 | 27 | 27
High Sierra ALL | ZP26 | NG | 9895 | 0 | 48 | 48
Highgrove 1 | SP15 | NG | 13280 | 0 | 32 | 32
Highgrove 2 | SP15 | NG | 13280 | 0 | 33 | 33
Highgrove 3 | SP15 | NG | 12320 | 0 | 44 | 44
Highgrove 4 | SP15 | NG | 12300 | 0 | 45 | 45
Humboldt Bay & Mobile ST1 | NP15 | NG | 11913 | 0 | 52 | 52
Hunter 1 | PNW | BIT | 9950 | 0 | 415 | 415
Hunter 1 | PNW | BIT | 9950 | 0 | 123 | 123
Hunter 1 | PNW | BIT | 9950 | 0 | 415 | 415
Hunter 1 | PNW | BIT | 9950 | 0 | 400 | 400
Hunter 1 | PNW | BIT | 9950 | 0 | 415 | 415
Hunter 3 | PNW | BIT | 9950 | 0 | 395 | 395
Hunter 3 | PNW | BIT | 9950 | 0 | 395 | 395
Hunters Point 4 | NP15 | NG | 9759 | 0 | 163 | 163
Huntington 1 | PNW | BIT | 9800 | 0 | 420 | 420
Huntington Beach 1 | SP15 | NG | 9613 | 0 | 215 | 215
Huntington Beach 1 | SP15 | NG | 9613 | 0 | 215 | 215
Huntington Beach 2 | SP15 | NG | 9775 | 0 | 215 | 215
Huntington Beach 2 | SP15 | NG | 9775 | 0 | 215 | 215
Intermountain Generating 1 | SP15 | BIT | 9700 | 0 | 820 | 820
Intermountain Generating 1 | SP15 | BIT | 9700 | 0 | 820 | 820
Johnston 1 | PNW | SUB | 10600 | 0 | 106 | 106
Johnston 3 | PNW | SUB | 10700 | 0 | 230 | 230
Johnston 3 | PNW | SUB | 10700 | 0 | 230 | 230
Johnston 3 | PNW | SUB | 10700 | 0 | 230 | 230
Johnston 3 | PNW | SUB | 10700 | 0 | 150 | 150
Johnston 4 | PNW | SUB | 10500 | 0 | 330 | 330
Kern River Cogeneration Compan 1 | ZP26 | NG | 11532 | 0 | 75 | 75
LODI COMBUSTION ENGINE 1 | NP15 | NG | 14650 | 0 | 25 | 25
Long Beach 1 | SP15 | NG | 11052 | 0 | 57 | 57
Long Beach 2 | SP15 | NG | 11052 | 0 | 57 | 57
Long Beach 3 | SP15 | NG | 0 | 0 | 57 | 57
Long Beach 4 | SP15 | NG | 0 | 0 | 57 | 57
Long Beach 5 | SP15 | NG | 0 | 0 | 57 | 57
Long Beach 6 | SP15 | NG | 0 | 0 | 57 | 57
Long Beach 7 | SP15 | NG | 0 | 0 | 57 | 57
Long Beach ST8 | SP15 | Unknown | 0 | 0 | 58 | 58
Long Beach ST9 | SP15 | WH | 0 | 0 | 77 | 77
Luz Solar IX | SP15 | SUN | 0 | 0 | 80 | 80
Mohave 1 | DSW | SUB | 10217 | 0 | 237 | 237
Mohave 1 | DSW | SUB | 10217 | 0 | 254 | 254
Mojave Cogeneration Co. ALL | SP15 | Oil/Gas | 0 | 0 | 56 | 56
Morro Bay 3 | ZP26 | NG | 9496 | 0 | 338 | 338
Morro Bay 4 | ZP26 | NG | 9532 | 0 | 338 | 338
Morro Bay 4 | ZP26 | NG | 9532 | 0 | 338 | 338
Moss Landing 7 | NP15 | NG | 8981 | 0 | 739 | 739
Moss Landing 7 | NP15 | NG | 8981 | 0 | 739 | 739
Moss Landing 7 | NP15 | NG | 8981 | 0 | 739 | 739
Naughton 1 | PNW | BIT | 10200 | 0 | 160 | 160
Naughton 3 | PNW | BIT | 10000 | -330 | 330 | 0
Naughton 3 | PNW | BIT | 10000 | 0 | 100 | 100
Naughton 3 | PNW | BIT | 10000 | 0 | 330 | 330
Navajo (AZ) NAV1 | DSW | SUB | 9700 | 0 | 400 | 400
Neil Simpson 2 2 | PNW | SUB | 11500 | 0 | 80 | 80
Newman 2 | DSW | NG | 10300 | 0 | 81 | 81
North Valmy 1 | PNW | SUB | 10047 | 0 | 258 | 258
Palo Verde 1 | DSW | UR | 10635 | 0 | 1242 | 1242
Palo Verde 1 | DSW | UR | 10635 | 0 | 1242 | 1242
Palo Verde 1 | DSW | UR | 10635 | 0 | 1242 | 1242
Pittsburg 1 | NP15 | NG | 10445 | 0 | 163 | 163
Pittsburg 2 | NP15 | NG | 10161 | 0 | 163 | 163
Pittsburg 7 | NP15 | NG | 9697 | 0 | 720 | 720
Plains Escalante (NM) 1 | DSW | SUB | 10407 | 0 | 235 | 235
Plains Escalante (NM) 1 | DSW | SUB | 10407 | 0 | 115 | 115
Potrero 3 | SP15 | NG | 9771 | 0 | 207 | 207
Potrero 4 | SP15 | FO2 | 12080 | 0 | 30 | 30
Rawhide 1 | RM | SUB | 10480 | 0 | 269 | 269
Redondo Beach 5 | SP15 | NG | 10374 | 0 | 175 | 175
Redondo Beach 6 | SP15 | NG | 10716 | 0 | 175 | 175
Redondo Beach 6 | SP15 | NG | 10716 | 0 | 175 | 175
Redondo Beach 8 | SP15 | NG | 9500 | -480 | 480 | 0
Rio Bravo Fresno ALL | SP15 | UNK | 0 | 0 | 28 | 28
Rio Bravo Poso ALL | ZP26 | UNK | 0 | 0 | 38 | 38
Ripon Mill ALL | NP15 | Oil/Gas | 0 | 0 | 49 | 49
Roseville Combustion Turbines 2 | NP15 | NG | 15750 | 0 | 25 | 25
San Joaquin Cogen ALL | NP15 | NG | 8842 | 0 | 23 | 23
San Juan (NM) 1 | DSW | SUB | 11255 | 0 | 316 | 316
San Onofre 3 | SP15 | UR | 9887 | 0 | 1080 | 1080
Scattergood Generating Station 3 | SP15 | NG | 9031 | 0 | 445 | 445
Southeast Kern River Cogen ALL | ZP26 | UNK | 0 | 0 | 27 | 27
Springerville 2 | DSW | SUB | 8914 | -380 | 380 | 0
Stockton CoGen Co. ALL | NP15 | Coal (Coge | 0 | 0 | 55 | 55
West Phoenix 4 | DSW | NG | 14000 | 0 | 33 | 33
|  |  |  | -2264 | 42000 | 39736 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Table 2
WSCCRegion | FUEL_PRIMARY | Today - 3 | Today - 2 | Today - 1 | Today | Today + 1 | Today + 2 | Today + 3 | Today + 4 | Today + 5 | Today + 6 | Today + 7
DSW | NG
Other
NP15 | NG
Other
PNW | NG
Other
RM | NG
Other
SP15 | NG
Other
ZP26 | NG
Other
Total | NG
Other