## Sheet1
ELECTROBOLT EQUIPMENT LIST FOR S&S GE P.O.
EQUIPMENT DESCRIPTION | QUANTITY REQUIRED | UNIT COST | TOTAL COST | ENA DELTA COST TO S&S
LM 6000's WITH ENHANCED SPRINT OPTION | 8 | 13950000 | 111600000
OPTION D - FIN FAN OIL COOLERS | 8 | 63000 | 504000
OPTION I & J - WATER INJECTION METERING SYSTEM, UPGRADE TO DUPLEX NOx WATER PRESS. PUMP SKID | 8 | 57000 | 456000
OPTION Y - 3 EXTRA CT'S TERMINATED IN MGTB FOR REDUNDANT RELAY PROTECTION | 8 | 23000 | 184000
OPTION P3 - EXHAUST ASSEMBLIES (45 Ft. 85 Dba) (HEAVY BASE) | 8 | 233000 | 1864000
OPTION P4 - EXHAUST EXTENSION TO 90 FEET | 8 | 88800 | 710400
OPTION S - MODULAR CONTROL ROOM FOR TWO UNITS @ 50 FEET LONG | 4 | 165000 | 660000
OPTION U - UNIT MOTOR CONTROL CENTER | 8 | 45000 | 360000
OPTION V - CHILLER MODULE (2200 TONS) | 8 | 950000 | 7600000
OPTION W - COOLING TOWER FOR CHILLER MODULE | 8 | 150000 | 1200000
POWER SYSTEM STABILIZERS | 8 | 31875 | 255000
|  | TOTAL = | 125393400