## Jan
Houston Pipeline Co.
Bammel Operational Analysis
January 2001
|  | Mcf | MMBtu
|  | -14054750 | -14393970 |  | Commercial Group's Expectation |  |  |  | 0 |  | Gas Control's Expectation
|  | 17939 | 5019 |  | Variance w/ MIPS's (Actual v Expectation) |  |  |  | 14072689 |  | Mcf Variance w/ MIPS's (Actual v Gas Control)
|  |  | 142443 | Meter 7249 per RMMAGUA4 Report | [5 empty] | MIPS |  | George |  |  | Total for group (B1980074) | -546313
OK
[9 empty] | Gas Control |  | Variance |  |  |  | Total for Meter (987249) | -142443
Meter |  | Mcf | MMBtu |  | BTU | Comments |  | George Grant | (Mcf) | vs | (Mcf) | vs |  | Variance Analysis/Comments
[10 empty] | George |  | Earl
0519 | I | 0 | 0 |  | 0 | manually enter volume at meter 987429 |  | 0 | 0 | 0 | 0 | 0 |  |  | Total for group (BAMMELI2) | -307601
3082 | I | 0 | 0 |  | 0 | manually enter volume at meter 987429 |  | 0 | 0 | 0 | 0 | 0
3098 | I | 123 | 126 |  | 1.0244 | grouped at 980057 |  | 0 | 0 | 126 | 123 | 0 |  |  | Total for group (BAMMELW2) | 14159836 | -234134
3100 | I | 133658 | 137578 |  | 1.0293 | grouped at 980057 |  | 0 | 0 | 137578 | 133658 | 0
3102 | I | 26130 | 27454 |  | 1.0507 | grouped at 980057 |  | 0 | 0 | 27454 | 26130 | 0
5499 | I | 0 | 0 |  | 0 | grouped at 980074 |  | 0 | 0 | 0 | 0 | 0
6879 | I | 74 | 83 |  | 1.1216 | manually enter volume at meter 987249 |  |  | 0 |  | 74
9631 | I | 21772 | 22868 |  | 1.0503 | manually enter volume at meter 987249 |  | 0 | 0 | 22868 | 21772 | 0
9757 | I | 110755 | 119492 |  | 1.0789 | manually enter volume at meter 987249 |  | 0 | 0 | 119492 | 110755 | 0
1355 | O | 533464 | 546313 |  | 1.0241 | grouped at 980074 |  | 0 | 0 | 546313 | 533464 | 0
3099 | O | 7299661 | 7480681 |  | 1.0248 | grouped at 980056 |  | 0 | 0 | 7480681 | 7299661 | 0
3101 | O | 5220679 | 5327394 |  | 1.0204 | grouped at 980056 |  | 0 | 0 | 5327394 | 5220679 | 0
3103 | O | 1310956 | 1351761 |  | 1.0311 | grouped at 980056 |  | 0 | 0 | 1351761 | 1310956 | 0
3052 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3073 | F | 234 | 234 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 0 | 234 | 234 | 0
3074 | F | 102 | 102 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 0 | 102 | 102 | 0
3075 | F | 105 | 105 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 0 | 105 | 105 | 0
3083 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3084 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3085 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3086 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3087 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3088 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3089 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3090 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3091 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3092 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3093 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3094 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3095 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3096 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3097 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
8645 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
|  | -14072689 | -14398989 |  |  | NET BAMMEL |  | 0 | 0 | -14399072 | -14072689 | 0
[7 empty] | Fuel meters |  |  |  | 441
[7 empty] | Ultra Sonics / other |  |  |  | -14072248
[7 empty] | NET VARIANCE |  |  |  | -14072689
CHECK TOTALS - POPS Meter Daily Volumes Report
Data Above
|  | 292512 | 307601 |  | Total Meter 980057 on POPS Month to Date Allocation Group UA4 Report
|  | 13831296 | 14159836 |  | Total Meter 980056 on POPS Month to Date Allocation Group UA4 Report
|  | -13538784 | -13852235 | [7 empty] | 546754 |  | Transco Bi-Directional and Fuel
[11 empty] | -14398989 |  | Check Total
POPS Data
|  | 292512 | 307601 |  | Meter 980057 group per POPS online system (Meter Daily Volumes Report)
|  | 13831296 | 14159836 |  | Meter 980056 group per POPS online system (Meter Daily volumes Report)
|  | 0 | 0 |  | 980057 variance
|  | 0 | 0 |  | 980056 variance

## Feb
Houston Pipeline Co.
Bammel Operational Analysis
February 2001
|  | Mcf | MMBtu
|  | -4699750 | -4878880 |  | Commercial Group's Expectation |  |  |  | -4710267 |  | Gas Control's Expectation
|  | 10527 | -22254 |  | Variance w/ MIPS's (Actual v Expectation) |  |  |  | 10 |  | Mcf Variance w/ MIPS's (Actual v Gas Control)
|  |  | 182087 | Meter 7249 per RMMAGUA4 Report | [5 empty] | MIPS |  | George |  |  | Total for group (B1980074) | -30670
OK
[9 empty] | Gas Control |  | Variance |  |  |  | Total for Meter (987249) | -182087
Meter |  | Mcf | MMBtu |  | BTU | Comments |  | George Grant | (Mcf) | vs | (Mcf) | vs |  | Variance Analysis/Comments
[10 empty] | George |  | Earl
0519 | I | 0 | 0 |  | 0 | manually enter volume at meter 987429 |  | 0 | 0 | 0 | 0 | 0 |  |  | Total for group (BAMMELI2) | -1164639
3082 | I | 0 | 0 |  | 0 | manually enter volume at meter 987429 |  | 0 | 0 | 0 | 0 | 0
3098 | I | 0 | 0 |  | 0 | grouped at 980057 |  | 0 | 0 | 0 | 0 | 0 |  |  | Total for group (BAMMELW2) | 5990231 | 1111351
3100 | I | 939921 | 961185 |  | 1.0226 | grouped at 980057 |  | 0 | 939890 | 961185 | 31 | -939890
3102 | I | 20343 | 21367 |  | 1.0503 | grouped at 980057 |  | 0 | 20330 | 21367 | 13 | -20330
5499 | I | 0 | 0 |  | 0 | grouped at 980074 |  | 0 | 0 | 0 | 0 | 0
6879 | I | 0 | 0 |  | 0 | manually enter volume at meter 987249 |  |  | 0 |  | 0
9631 | I | 21195 | 22298 |  | 1.052 | manually enter volume at meter 987249 |  | 0 | 21195 | 22298 | 0 | -21195
9757 | I | 148163 | 159789 |  | 1.0785 | manually enter volume at meter 987249 |  | 0 | 148209 | 159789 | -46 | -148209
1355 | O | 30083 | 30784 |  | 1.0233 | grouped at 980074 |  | 0 | 30080 | 30784 | 3 | -30080
3099 | O | 3396308 | 3503225 |  | 1.0315 | grouped at 980056 |  | 0 | 3396304 | 3503225 | 4 | -3396304
3101 | O | 1648212 | 1685501 |  | 1.0226 | grouped at 980056 |  | 0 | 1648191 | 1685501 | 21 | -1648191
3103 | O | 765046 | 801505 |  | 1.0477 | grouped at 980056 |  | 0 | 765066 | 801505 | -20 | -765066
3052 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3073 | F | 72 | 72 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 72 | 72 | 0 | -72
3074 | F | 103 | 103 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 103 | 103 | 0 | -103
3075 | F | 75 | 75 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 75 | 75 | 0 | -75
3083 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3084 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3085 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3086 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3087 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3088 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3089 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3090 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3091 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3092 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3093 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3094 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3095 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3096 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3097 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
8645 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
|  | -4710277 | -4856626 |  |  | NET BAMMEL |  | 0 | -4710267 | -4856626 | -10 | 4710267
[7 empty] | Fuel meters |  |  |  | 0
[7 empty] | Ultra Sonics / other |  |  |  | -10
[7 empty] | NET VARIANCE |  |  |  | -10
CHECK TOTALS - POPS Meter Daily Volumes Report
Data Above
|  | 1129622 | 1164639 |  | Total Meter 980057 on POPS Month to Date Allocation Group UA4 Report
|  | 5809566 | 5990231 |  | Total Meter 980056 on POPS Month to Date Allocation Group UA4 Report
|  | -4679944 | -4825592 | [7 empty] | 31034 |  | Transco Bi-Directional and Fuel
[11 empty] | -4856626 |  | Check Total
POPS Data
|  | 1129622 | 1164639 |  | Meter 980057 group per POPS online system (Meter Daily Volumes Report)
|  | 5809566 | 5990231 |  | Meter 980056 group per POPS online system (Meter Daily volumes Report)
|  | 0 | 0 |  | 980057 variance
|  | 0 | 0 |  | 980056 variance

## Mar
Houston Pipeline Co.
Bammel Operational Analysis
March 2001
|  | Mcf | MMBtu
|  | 8918210 | 8879430 |  | Commercial Group's Expectation |  |  |  | 0 |  | Gas Control's Expectation
|  | 62355 | -178259 |  | Variance w/ MIPS's (Actual v Expectation) |  |  |  | -8855855 |  | Mcf Variance w/ MIPS's (Actual v Gas Control)
|  |  | 186101 | Meter 7249 per RMMAGUA4 Report | [5 empty] | MIPS |  | George |  |  | Total for group (B1980074) | 351913
OK
[9 empty] | Gas Control |  | Variance |  |  |  | Total for Meter (987249) | -186101
Meter |  | Mcf | MMBtu |  | BTU | Comments |  | George Grant | (Mcf) | vs | (Mcf) | vs |  | Variance Analysis/Comments
[10 empty] | George |  | Earl
0519 | I | 0 | 0 |  | 0 | manually enter volume at meter 987429 |  | 0 | 0 | 0 | 0 | 0 |  |  | Total for group (BAMMELI2) | -1016284
3082 | I | 0 | 0 |  | 0 | manually enter volume at meter 987429 |  | 0 | 0 | 0 | 0 | 0
3098 | I | 30982 | 32557 |  | 1.0508 | grouped at 980057 |  | 0 | 0 | 32557 | 30982 | 0 |  |  | Total for group (BAMMELW2) | 1060035 | 9939465
3100 | I | 6539423 | 6687368 |  | 1.0226 | grouped at 980057 |  | 0 | 0 | 6687368 | 6539423 | 0
3102 | I | 2796725 | 2859831 |  | 1.0226 | grouped at 980057 |  | 0 | 0 | 2859831 | 2796725 | 0
5499 | I | 337201 | 352049 |  | 1.044 | grouped at 980074 |  | 0 | 0 | 352049 | 337201 | 0
6879 | I | 0 | 0 |  | 0 | manually enter volume at meter 987249 |  |  | 0 |  | 0
9631 | I | 23641 | 24978 |  | 1.0566 | manually enter volume at meter 987249 |  | 0 | 0 | 24978 | 23641 | 0
9757 | I | 149271 | 161123 |  | 1.0794 | manually enter volume at meter 987249 |  | 0 | 0 | 161123 | 149271 | 0
1355 | O | 0 | 0 |  | 0 | grouped at 980074 |  | 0 | 0 | 0 | 0 | 0
3099 | O | 910307 | 944499 |  | 1.0376 | grouped at 980056 |  | 0 | 0 | 944499 | 910307 | 0
3101 | O | 14689 | 15021 |  | 1.0226 | grouped at 980056 |  | 0 | 0 | 15021 | 14689 | 0
3103 | O | 96210 | 100515 |  | 1.0447 | grouped at 980056 |  | 0 | 0 | 100515 | 96210 | 0
3052 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3073 | F | 61 | 61 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 0 | 61 | 61 | 0
3074 | F | 59 | 59 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 0 | 59 | 59 | 0
3075 | F | 62 | 62 |  | 1 | not grouped; allocated to storage/tport |  | 0 | 0 | 62 | 62 | 0
3083 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3084 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3085 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3086 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3087 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3088 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3089 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3090 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3091 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3092 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3093 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3094 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3095 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3096 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
3097 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
8645 | F | 0 | 0 |  | 0 | not grouped; allocated to storage/tport |  | 0 | 0 | 0 | 0 | 0
|  | 8855855 | 9057689 |  |  | NET BAMMEL |  | 0 | 0 | 9057689 | 8855855 | 0
[7 empty] | Fuel meters |  |  |  | 182
[7 empty] | Ultra Sonics / other |  |  |  | 8856037
[7 empty] | NET VARIANCE |  |  |  | 8855855
CHECK TOTALS - POPS Meter Daily Volumes Report
Data Above
|  | 9540042 | 9765857 |  | Total Meter 980057 on POPS Month to Date Allocation Group UA4 Report
|  | 1021206 | 1060035 |  | Total Meter 980056 on POPS Month to Date Allocation Group UA4 Report
|  | 8518836 | 8705822 | [7 empty] | -351867 |  | Transco Bi-Directional and Fuel
[11 empty] | 9057689 |  | Check Total
POPS Data
|  | 9540042 | 9765857 |  | Meter 980057 group per POPS online system (Meter Daily Volumes Report)
|  | 1021206 | 1060035 |  | Meter 980056 group per POPS online system (Meter Daily volumes Report)
|  | 0 | 0 |  | 980057 variance
|  | 0 | 0 |  | 980056 variance

## 9811 (hidden)
519 | I | 15261 | 16923
3082 | I | 272061 | 294418
3098 | I | 8632 | 8847
3100 | I | 1294861 | 1327121
3102 | I | 489098 | 500830
5499 | I | 455466 | 476446
9631 | I | 37890 | 40246
1355 | O | 0 | 0
3099 | O | 1690751 | 1734457
3101 | O | 258849 | 266569
3103 | O | 241149 | 248035
3052 | F | 0 | 0
3073 | F | 0 | 0
3074 | F | 0 | 0
3075 | F | 0 | 0
3083 | F | 3052 | 3125
3084 | F | 3780 | 3879
3085 | F | 2897 | 2968
3086 | F | 1788 | 1832
3087 | F | 2247 | 2303
3088 | F | 0 | 0
3089 | F | 776 | 804
3090 | F | 492 | 504
3091 | F | 227 | 232
3092 | F | 306 | 313
3093 | F | 388 | 397
3094 | F | 13 | 13
3095 | F | 1123 | 1151
3096 | F | 910 | 930
3097 | F | 920 | 941
8645 | F | 0 | 0
|  | 363601 | 396378

## 9810 (hidden)
519 | I | 0 | 0
3082 | I | 0 | 0
3098 | I | 0 | 0
3100 | I | 0 | 0
3102 | I | 0 | 0
5499 | I | 0 | 0
9631 | I | 0 | 0
1355 | O | 0 | 0
3099 | O | 0 | 0
3101 | O | 0 | 0
3103 | O | 0 | 0
3052 | F | 0 | 0
3073 | F | 0 | 0
3074 | F | 0 | 0
3075 | F | 0 | 0
3083 | F | 0 | 0
3084 | F | 0 | 0
3085 | F | 0 | 0
3086 | F | 0 | 0
3087 | F | 0 | 0
3088 | F | 0 | 0
3089 | F | 0 | 0
3090 | F | 0 | 0
3091 | F | 0 | 0
3092 | F | 0 | 0
3093 | F | 0 | 0
3094 | F | 0 | 0
3095 | F | 0 | 0
3096 | F | 0 | 0
3097 | F | 0 | 0
8645 | F | 0 | 0
|  | 0 | 0

## 9809 (hidden)
519 | I | 0 | 0
3082 | I | 0 | 0
3098 | I | 0 | 0
3100 | I | 0 | 0
3102 | I | 0 | 0
5499 | I | 0 | 0
9631 | I | 0 | 0
1355 | O | 0 | 0
3099 | O | 0 | 0
3101 | O | 0 | 0
3103 | O | 0 | 0
3052 | F | 0 | 0
3073 | F | 0 | 0
3074 | F | 0 | 0
3075 | F | 0 | 0
3083 | F | 0 | 0
3084 | F | 0 | 0
3085 | F | 0 | 0
3086 | F | 0 | 0
3087 | F | 0 | 0
3088 | F | 0 | 0
3089 | F | 0 | 0
3090 | F | 0 | 0
3091 | F | 0 | 0
3092 | F | 0 | 0
3093 | F | 0 | 0
3094 | F | 0 | 0
3095 | F | 0 | 0
3096 | F | 0 | 0
3097 | F | 0 | 0
8645 | F | 0 | 0
|  | 0 | 0

## 9808 (hidden)
519 | I | 0 | 0
3082 | I | 0 | 0
3098 | I | 0 | 0
3100 | I | 0 | 0
3102 | I | 0 | 0
5499 | I | 0 | 0
9631 | I | 0 | 0
1355 | O | 0 | 0
3099 | O | 0 | 0
3101 | O | 0 | 0
3103 | O | 0 | 0
3052 | F | 0 | 0
3073 | F | 0 | 0
3074 | F | 0 | 0
3075 | F | 0 | 0
3083 | F | 0 | 0
3084 | F | 0 | 0
3085 | F | 0 | 0
3086 | F | 0 | 0
3087 | F | 0 | 0
3088 | F | 0 | 0
3089 | F | 0 | 0
3090 | F | 0 | 0
3091 | F | 0 | 0
3092 | F | 0 | 0
3093 | F | 0 | 0
3094 | F | 0 | 0
3095 | F | 0 | 0
3096 | F | 0 | 0
3097 | F | 0 | 0
8645 | F | 0 | 0
|  | 0 | 0