## PG&E Samples
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PGE PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
2000-12-13 | SLX-TW | 12-13-00-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2000-12-13 | PGE-TW2 | 12-13-00-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2000-12-13 | PGE-Top3 | 12-13-00-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2000-12-13 | PGE-Top4 | 12-13-00-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2000-12-13 | PGE-A6 | 12-13-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2000-12-13 | PGE-B6 | 12-13-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
2000-12-13 | PGE-84.10A | 12-13-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2000-12-13 | PGE-63.26A | 12-13-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2000-12-13 | PGE-63.26B | 12-13-00-L | 2 oz |  | 15 PPM | 14 PPM | PG&E's 36" Line B
2000-12-13 | PGE-26.15A | 12-13-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2000-12-13 | PGE-26.15B | 12-13-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-12-13 | PGE-15.33A | 12-13-00-L | 8 oz |  | 10 PPM | 10 PPM | PG&E's 36" Line A
2000-12-13 | PGE 10.84A | 12-13-00-L | 2 oz |  | 11 PPM | 12 PPM | PG&E's 36" Line A
2000-12-13 | PGE 10.47B | 12-13-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-12-13 | PGE 8.58A | 12-13-00-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2000-12-13 | PGE- 0.55B | 12-13-00-L | 1/2 oz |  | 4 PPM | 3 PPM | PG&E's 36" Line B
2000-12-13 | PGE-TW4 | 12-13-00-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2000-12-13 | PGE-TW5 | 12-13-00-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2000-12-13 | PGE-TW6 | 12-13-00-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
2001-01-10 | SLX-TW | 01-10-01-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2001-01-10 | PGE-TW2 | 01-10-01-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2001-01-10 | PGE-Top3 | 01-10-01-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2001-01-10 | PGE-Top4 | 01-10-01-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2001-01-10 | PGE-A6 | 01-10-01-L | 0 | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2001-01-10 | PGE-B6 | 01-10-01-L | 0 | No sample taken per PG&E |  |  | Downstream Scrubber
2001-01-10 | PGE-84.10A | 01-10-01-L | 4 OZ |  |  |  | PG&Es 36" Line A
2001-01-10 | PGE-63.26A | 01-10-01-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2001-01-10 | PGE-63.26B | 01-10-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-01-10 | PGE-26.15A | 01-10-01-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2001-01-10 | PGE-26.15B | 01-10-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-01-10 | PGE-15.33A | 01-10-01-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2001-01-10 | PGE 10.84A | 01-10-01-L | 4 OZ |  |  |  | PG&Es 36" Line A
2001-01-10 | PGE 10.47B | 01-10-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-01-10 | PGE 8.58A | 01-10-01-L | 0 | No sample taken per PG&E |  |  | PG&E's 36" Line B
2001-01-10 | PGE- 0.55B | 01-10-01-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2001-01-10 | PGE-TW4 | 01-10-01-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2001-01-10 | PGE-TW5 | 01-10-01-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2001-01-10 | PGE-TW6 | 01-10-01-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon