## PG&E Page 1
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-01-29 | SLX-TW | 1-29-99-L | 6 oz |  | 55 PPM | 55 PPM | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-01-29 | PGE-TW2 | 1-29-99-L | 1/2 gallon |  | 68 PPM | 69 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-01-29 | PGE-Top3 | 1-29-99-L | 1 gallon |  | 64 PPM | 75 PPM | Compressor Station
PG&E's 34" Line A
1999-01-29 | PGE 10.84A | 1-29-99-L | 7 gallons |  | 2 PPM | < 1 PPM
PG&E's 34" Line B
1999-01-29 | PGE 10.47B |  | - | No sample taken per PG&E
Filter Scrubbers Downstream of
1999-02-05 | SLX-TW | 2-5-99-L | 6 oz. |  | 58 PPM | 55 PPM | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-02-05 | PGE-TW2 | 2-5-99-L | 0 | No liquid for the sample |  |  | Metering Station
|  |  |  | Per PG&E's request - Volume will |  |  | PG&E's Seperator at PG&E's
1999-02-05 | PGE-Top3 | 2-5-99-L | 2 gallons | recorded next week | 90 PPM | 92 PPM | Compressor Station
PG&E's Line A TCS
1999-02-05 | PGE-A6 | 2-5-99-L | - | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-02-05 | PGE-B6 | 2-5-99-L | 2 gallons |  | 17 PPM | 16 PPM | Downstream Scrubber
PG&E's 34" Line A
1999-02-05 | PGE 10.84A | 2-5-99-L | 2 gallons |  | 2 PPM | < 1 PPM
PG&E's 34" Line B
1999-02-05 | PGE 10.47B | 2-5-99-L | 2 gallons |  | 1 PPM | < 1 PPM
PG&E's 34" Line A
1999-02-05 | PGE 8.58A | 2-5-99-L | 8 oz |  | 2 PPM | 1 PPM
Filter Scrubbers Downstream of
1999-02-12 | SLX-TW | 2-12-99-L | 0 | No liquid for the sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-02-12 | PGE-TW2 | 2-12-99-L | 0 | No liquid for the sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-02-12 | PGE-Top3 | 2-12-99-L | 1 gallon |  | 92 PPM | 102 PPM | Compressor Station
PG&E's Line A TCS
1999-02-12 | PGE-A6 | 2-12-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-02-12 | PGE-B6 | 2-12-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's 34" Line A
1999-02-12 | PGE 10.84A | 2-12-99-L | 10 oz |  | 1 PPM | 1 PPM
PG&E's 34" Line B
1999-02-12 | PGE 10.47B | 2-12-99-L | 8 oz |  | ND | ND
PG&E's 34" Line B
1999-02-12 | PGE 8.58A | 2-12-99-L |  | No sample taken per PG&E
TW 20" 1st Siphon
1999-02-12 | PGE-TW4 | 2-12-99-L | 0 | No liquid for the sample
TW 20" 2nd siphon
1999-02-12 | PGE-TW5 | 2-12-99-L | 0 | No liquid for the sample
TW 20" 3rd Siphon
1999-02-12 | PGE-TW6 | 2-12-99-L | 0 | No liquid for the sample

## PG&E Page 2
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-02-19 | SLX-TW | 2-19-99-L | 0 | No liquid for sample |  |  | Solexol Plant
|  |  |  | PGEs sample got broke befor it |  |  | TW's Filter Scrubber at TW/PG&E
1999-02-19 | PGE-TW2 | 2-19-99-L | 1 gallon | got to the lab |  | 109 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-02-19 | PGE-Top3 | 2-19-99-L | 0 | No liquid for sample |  |  | Compressor Station
PG&E's Line A TCS
1999-02-19 | PGE-A6 | 2-19-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-02-19 | PGE-B6 | 2-19-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
1999-02-19 | PGE 10.84A | 2-19-99-L | 4 oz |  | 2 PPM | 2 PPM | PG&E's 34" Line A
1999-02-19 | PGE 10.47B | 2-19-99-L | 4 oz |  | <1 PPM | <1 PPM | PG&E's 34" Line B
1999-02-19 | PGE 8.58A | 2-19-99-L |  | No sample taken per PGE |  |  | PG&E's 34" Line B
1999-02-19 | PGE-TW4 | 2-19-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-02-19 | PGE-TW5 | 2-19-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-02-19 | PGE-TW6 | 2-19-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-02-26 | SLX-TW | 2-26-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-02-26 | PGE-TW2 | 2-26-99-L | 64 oz |  | 27 PPM | 60 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-02-26 | PGE-Top3 | 2-26-99-L | 64 oz |  | 71 PPM | 73 PPM | Compressor Station
PG&E's Line A TCS
1999-02-26 | PGE-A6 | 2-26-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-02-26 | PGE-B6 | 2-26-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
1999-02-26 | PGE 10.84A | 2-26-99-L | 4 oz |  | 2 PPM | 2 PPM | PG&Es 34" Line A
1999-02-26 | PGE 10.47B | 2-26-99-L | 0 | No liquid for sample |  |  | PG&E's 34" Line B
1999-02-26 | PGE 8.58A | 2-26-99-L |  | No sample taken per PGE |  |  | PG&E's 34" Line B
1999-02-26 | PGE-TW4 | 2-26-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-02-26 | PGE-TW5 | 2-26-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-02-26 | PGE-TW6 | 2-26-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page 3
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-03-04 | SLX-TW | 3-4-99-L | o | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-03-04 | PGE-TW2 | 3-4-99-L | 6 oz |  | 93 PPM | 126 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-03-04 | PGE-Top3 | 3-4-99-L | 1/2 Gallon |  | 27 PPM | 36 PPM | Compressor Station
PG&E's Line A TCS
1999-03-04 | PGE-A6 | 3-4-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-03-04 | PGE-B6 | 3-4-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
1999-03-04 | PGE 10.84A | 3-4-99-L | 4 oz |  | 2 PPM | 2 PPM | PG&E's 34" Line A
1999-03-04 | PGE 10.47B | 3-4-99-L | 4 oz |  | ND | ND | PG&E's 34" Line B
1999-03-04 | PGE 8.58A | 3-4-99-L |  | No sample taken per PGE |  |  | PG&E's 34" Line B
1999-03-04 | PGE-TW4 | 3-4-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-03-04 | PGE-TW5 | 3-4-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-03-04 | PGE-TW6 | 3-4-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-03-11 | SLX-TW | 3-11-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-03-11 | PGE-TW2 | 3-11-99-L | 15 oz |  | 138 PPM | 158 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-03-11 | PGE-Top3 | 3-11-99-L | 15 oz |  | 93 PPM | 94 PPM | Compressor Station
PG&E's Line A TCS
1999-03-11 | PGE-A6 | 3-11-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-03-11 | PGE-B6 | 3-11-99-L |  | No sample taken per PGE |  |  | Downstream Scrubber
1999-03-11 | PGE 10.84A | 3-11-99-L | 3 oz |  | 2 PPM | 2 PPM | PG&Es 34" Line A
1999-03-11 | PGE 10.47B | 3-11-99-L | 3 oz |  | <1 PPM | <1 PPM | PG&E's 34" Line B
1999-03-11 | PGE 8.58A | 3-11-99-L |  | No sample taken per PGE |  |  | PG&E's 34" Line B
1999-03-11 | PGE-TW4 | 3-11-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-03-11 | PGE-TW5 | 3-11-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-03-11 | PGE-TW6 | 3-11-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page 4
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-03-18 | SLX-TW | 3-18-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-03-18 | PGE-TW2 | 3-18-99-L | 50 oz |  | 144 PPM | 129 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-03-18 | PGE-Top3 | 3-18-99-L | 64 oz |  | 90 PPM | 82 PPM | Compressor Station
PG&E's Line A TCS
1999-03-18 | PGE-A6 | 3-18-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-03-18 | PGE-B6 | 3-18-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-03-18 | PGE 10.47A | 3-18-99-L | 2 oz |  | 2 PPM | 2 PPM | PG&E's 34" Line A
1999-03-18 | PGE 10.84B | 3-18-99-L | 2 oz |  | ND | ND | PG&E's 34" Line B
1999-03-18 | PGE 8.58A | 3-18-99-L |  | No sample taken per PG&E |  |  | PG&E's 34" Line B
1999-03-18 | PGE-TW4 | 3-18-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-03-18 | PGE-TW5 | 3-18-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-03-18 | PGE-TW6 | 3-18-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-03-25 | SLX-TW | 3-25-99-L | 1 oz |  |  | 58 PPM | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-03-25 | PGE-TW2 | 3-25-99-L | 36 oz |  | 216 PPM | 185 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-03-25 | PGE-Top3 | 3-25-99-L | 36 oz |  | 86 PPM | 91 PPM | Compressor Station
PG&E's Line A TCS
1999-03-25 | PGE-A6 | 3-25-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-03-25 | PGE-B6 | 3-25-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-03-25 | PGE 10.84A | 3-25-99-L | 4 oz |  | 2 PPM | 1 PPM | PG&Es 34" Line A
1999-03-25 | PGE 10.47B | 3-25-99-L | 2 oz |  | ND | ND | PG&E's 34" Line B
1999-03-25 | PGE 8.58A | 3-25-99-L |  | No sample taken per PG&E |  |  | PG&E's 34" Line B
1999-03-25 | PGE-TW4 | 3-25-99-L |  | No liquid for sample |  |  | TW 20" 1st Siphon
1999-03-25 | PGE-TW5 | 3-25-99-L |  | No liquid for sample |  |  | TW 20" 2nd siphon
1999-03-25 | PGE-TW6 | 3-25-99-L |  | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page 5
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-04-01 | SLX-TW | 4-1-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-04-01 | PGE-TW2 | 4-1-99-L | 80 oz |  | 232PPM | 219 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-04-01 | PGE-Top3 | 4-1-99-L | 32 oz |  | 82PPM | 93 PPM | Compressor Station
PG&E's Line A TCS
1999-04-01 | PGE-A6 | 4-1-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-04-01 | PGE-B6 | 4-1-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-04-01 | PGE 10.84A | 4-1-99-L | 3 oz |  | 3PPM | 3 PPM | PG&E's 34" Line A
1999-04-01 | PGE 10.47B | 4-1-99-L | 2 oz |  | ND | ND | PG&E's 34" Line B
1999-04-01 | PGE 8.58A | 4-1-99-L |  | No sample taken per PG&E |  |  | PG&E's 34" Line B
1999-04-01 | PGE-TW4 | 4-1-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-04-01 | PGE-TW5 | 4-1-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-04-01 | PGE-TW6 | 4-1-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-04-09 | SLX-TW | 4-9-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-04-09 | PGE-TW2 | 4-9-99-L | 17 oz |  | 293 PPM | 312 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-04-09 | PGE-Top3 | 4-9-99-L | 18 oz |  | 111 PPM | 115 PPM | Compressor Station
PG&E's Line A TCS
1999-04-09 | PGE-A6 | 4-9-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-04-09 | PGE-B6 | 4-9-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-04-09 | PGE 10.84A | 4-9-99-L | 8 oz |  | 5 PPM | 6 PPM | PG&Es 34" Line A
1999-04-09 | PGE 10.47B | 4-9-99-L | 2 oz |  | ND | ND | PG&E's 34" Line B
1999-04-09 | PGE 8.58A | 4-9-99-L |  | No sample taken per PG&E |  |  | PG&E's 34" Line B
1999-04-09 | PGE-TW4 | 4-9-99-L |  | No liquid for sample |  |  | TW 20" 1st Siphon
1999-04-09 | PGE-TW5 | 4-9-99-L |  | No liquid for sample |  |  | TW 20" 2nd siphon
1999-04-09 | PGE-TW6 | 4-9-99-L |  | No liquid for sample |  |  | TW 20" 3rd Siphon
PG&E's Seperator at PG&E's
1999-04-09 | PGE-Top4 | 4-9-99-L | 1/2 gallon |  | 113 PPM | 35 PPM | Compressor Station

## PG&E Page 6
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-04-15 | SLX-TW | 4-15-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-04-15 | PGE-TW2 | 4-15-99-L | 31 oz |  | 216 PPM | 320 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-04-15 | PGE-Top3 | 4-15-99-L | 16 oz |  | 92 PPM | 107 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-04-15 | PGE-Top4 | 4-15-99-L | 4 oz |  | 65 PPM | 19 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-04-15 | PGE-A6 | 4-16-99-L | 0 | No liquid for sample |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-04-16 | PGE-B6 | 4-16-99-L | 8 oz |  |  | 1 PPM | Downstream Scrubber
1999-04-15 | PGE 10.84A | 4-15-99-L | 8 oz |  | 4 PPM | 2 PPM | PG&E's 34" Line A
1999-04-15 | PGE 10.47B | 4-15-99-L | 4 oz |  | ND | ND | PG&E's 34" Line B
1999-04-15 | PGE 8.58A | 4-15-99-L |  | No sample taken per PG&E |  |  | PG&E's 34" Line B
1999-04-15 | PGE-TW4 | 4-15-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-04-15 | PGE-TW5 | 4-15-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-04-15 | PGE-TW6 | 4-15-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-04-22 | SLX-TW | 4-22-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-04-22 | PGE-TW2 | 4-22-99-L | 6 oz |  | 280 PPM | 199 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-04-22 | PGE-Top3 | 4-22-99-L | 24 oz |  | 91 PPM | 33 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-04-22 | PGE-Top4 | 4-22-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-04-22 | PGE-A6 | 4-22-99-L |  | No sampll taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-04-22 | PGE-B6 | 4-22-99-L |  | No sampll taken per PG&E |  |  | Downstream Scrubber
1999-04-22 | PGE 10.84A | 4-22-99-L | 3 oz |  | 3 PPM | 4 PPM | PG&Es 34" Line A
1999-04-22 | PGE 10.47B | 4-22-99-L | 1 oz |  | ND | ND | PG&E's 34" Line B
1999-04-22 | PGE 8.58A | 4-22-99-L |  | No sampll taken per PG&E |  |  | PG&E's 34" Line B
1999-04-22 | PGE-TW4 | 4-22-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-04-22 | PGE-TW5 | 4-22-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-04-22 | PGE-TW6 | 4-22-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page7
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-04-29 | SLX-TW | 4-29-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-04-29 | PGE-TW2 | 4-29-99-L | 7 oz |  | 307 PPM | 341 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-04-29 | PGE-Top3 | 4-29-99-L | 54 oz |  | 158 PPM | 167 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-04-29 | PGE-Top4 | 4-29-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-04-29 | PGE-A6 | 4-29-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-04-29 | PGE-B6 | 4-29-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-04-29 | PGE 10.84A | 4-29-99-L | 1 oz |  | 2 PPM | 2 PPM | PG&E's 36" Line A
1999-04-29 | PGE 10.47B | 4-29-99-L | 1 oz |  | ND | ND | PG&E's 36" Line B
1999-04-29 | PGE 8.58A | 4-29-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-04-29 | PGE-TW4 | 4-29-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-04-29 | PGE-TW5 | 4-29-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-04-29 | PGE-TW6 | 4-29-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-05-07 | SLX-TW | 5-7-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-05-07 | PGE-TW2 | 5-7-99-L | 100 oz |  | 152 PPM | 260 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-05-07 | PGE-Top3 | 5-7-99-L | 44 oz |  | 170 PPM | 181 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-05-07 | PGE-Top4 | 5-7-99-L | 4 oz |  | 223 PPM | 274 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-05-07 | PGE-A6 | 5-7-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-05-07 | PGE-B6 | 5-7-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-05-07 | PGE 10.84A | 5-7-99-L | 8 oz |  | 4 PPM | 5 PPM | PG&Es 36" Line A
1999-05-07 | PGE 10.47B | 5-7-99-L | 7 oz |  | ND | ND | PG&E's 36" Line B
1999-05-07 | PGE 8.58A | 5-7-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-05-07 | PGE-TW4 | 5-7-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-05-07 | PGE-TW5 | 5-7-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-05-07 | PGE-TW6 | 5-7-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page8
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-05-13 | SLX-TW | 5-13-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-05-13 | PGE-TW2 | 5-13-99-L | 41 oz |  | 264 PPM | 263 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-05-13 | PGE-Top3 | 5-13-99-L | 37 oz |  | 208 PPM | 180 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-05-13 | PGE-Top4 | 5-13-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-05-13 | PGE-A6 | 5-13-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-05-13 | PGE-B6 | 5-13-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-05-13 | PGE 10.84A | 5-13-99-L | 3 oz |  | 2 PPM | 5 PPM | PG&E's 36" Line A
1999-05-13 | PGE 10.47B | 5-13-99-L | 2 oz |  | 1 PPM | 1 PPM | PG&E's 36" Line B
1999-05-13 | PGE 8.58A | 5-13-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-05-13 | PGE-TW4 | 5-13-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-05-13 | PGE-TW5 | 5-13-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-05-13 | PGE-TW6 | 5-13-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-05-20 | SLX-TW | 5-20-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-05-20 | PGE-TW2 | 5-20-99-L | 3Gal 23oz |  | 280 PPM | 270 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-05-20 | PGE-Top3 | 5-20-99-L | 12 oz |  | 212 PPM | 210 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-05-20 | PGE-Top4 | 5-20-99-L | 1 oz |  | 329 PPM | 330 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-05-20 | PGE-A6 | 5-20-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-05-20 | PGE-B6 | 5-20-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-05-20 | PGE 10.84A | 5-20-99-L | 6 oz |  | 7 PPM | 7 PPM | PG&Es 36" Line A
1999-05-20 | PGE 10.47B | 5-20-99-L | 2 oz |  | <1 PPM | <1 PPM | PG&E's 36" Line B
1999-05-20 | PGE 8.58A | 5-20-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-05-20 | PGE-TW4 | 5-20-99-L |  | No liquid for sample |  |  | TW 20" 1st Siphon
1999-05-20 | PGE-TW5 | 5-20-99-L |  | No liquid for sample |  |  | TW 20" 2nd siphon
1999-05-20 | PGE-TW6 | 5-20-99-L |  | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page9
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-05-28 | SLX-TW | 5-28-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-05-28 | PGE-TW2 | 5-28-99-L | 3gal 86oz |  | 207 PPM | 210 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-05-28 | PGE-Top3 | 5-28-99-L | 10 oz |  | 203 PPM | 199 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-05-28 | PGE-Top4 | 5-28-99-L | 4 oz |  | 227 PPM | 231 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-05-28 | PGE-A6 | 5-28-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-05-28 | PGE-B6 | 5-28-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-05-28 | PGE 10.84A | 5-28-99-L | 6 oz |  | 7 PPM | 7 PPM | PG&E's 36" Line A
1999-05-28 | PGE 10.47B | 5-28-99-L | 2 oz | Sample got broke on way to lab |  | 1 PPM | PG&E's 36" Line B
1999-05-28 | PGE 8.58A | 5-28-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-05-28 | PGE-TW4 | 5-28-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-05-28 | PGE-TW5 | 5-28-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-05-28 | PGE-TW6 | 5-28-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-06-03 | SLX-TW | 6-3-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-06-03 | PGE-TW2 | 6-3-99-L | 54 oz |  | 278 PPM | 267 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-06-03 | PGE-Top3 | 6-3-99-L | 4 oz |  | 217 PPM | 210 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-06-03 | PGE-Top4 | 6-3-99-L | 4 oz |  | 328 PPM | 324 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-06-03 | PGE-A6 | 6-3-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-06-03 | PGE-B6 | 6-3-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-06-03 | PGE 10.84A | 6-3-99-L | 4 oz |  | 6 PPM | 6 PPM | PG&Es 36" Line A
1999-06-03 | PGE 10.47B | 6-3-99-L | 2 oz |  | <1 PPM | 1 PPM | PG&E's 36" Line B
1999-06-03 | PGE 8.58A | 6-3-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-06-03 | PGE-TW4 | 6-3-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-06-03 | PGE-TW5 | 6-3-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-06-03 | PGE-TW6 | 6-3-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page10
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-06-10 | SLX-TW | 6-10-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-06-10 | PGE-TW2 | 6-10-99-L | 23 oz |  | 321PPM | 300 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-06-10 | PGE-Top3 | 6-10-99-L | 4 oz |  | 213PPM | 204 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-06-10 | PGE-Top4 | 6-10-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-06-10 | PGE-A6 | 6-10-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-06-10 | PGE-B6 | 6-10-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-06-10 | PGE 10.84A | 6-10-99-L | 7 oz |  | 8PPM | 7 PPM | PG&E's 36" Line A
1999-06-10 | PGE 10.47B | 6-10-99-L | 1 oz |  | 1PPM | 1 PPM | PG&E's 36" Line B
1999-06-10 | PGE 8.58A | 6-10-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-06-10 | PGE-TW4 | 6-10-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-06-10 | PGE-TW5 | 6-10-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-06-10 | PGE-TW6 | 6-10-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-06-17 | SLX-TW | 6-17-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-06-17 | PGE-TW2 | 6-17-99-L | 28 0z |  |  | 356 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-06-17 | PGE-Top3 | 6-17-99-L | 6 oz |  |  | 188 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-06-17 | PGE-Top4 | 6-17-99-L | 2 oz |  |  | 312 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-06-17 | PGE-A6 | 6-17-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-06-17 | PGE-B6 | 6-17-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-06-17 | PGE 10.84A | 6-17-99-L | 2 oz |  |  | 5 PPM | PG&Es 36" Line A
1999-06-17 | PGE 10.47B | 6-17-99-L | 1 oz |  |  | 2 PPM | PG&E's 36" Line B
1999-06-17 | PGE 8.58A | 6-17-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-06-17 | PGE-TW4 | 6-17-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-06-17 | PGE-TW5 | 6-17-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-06-17 | PGE-TW6 | 6-17-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page11
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-07-08 | SLX-TW | 7-8-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-07-08 | PGE-TW2 | 7-8-99-L | 24 gallons |  | <1 PPM | <1 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-07-08 | PGE-Top3 | 7-8-99-L | 8 gallons |  | 14 PPM | 110 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-07-08 | PGE-Top4 | 7-8-99-L | 1 gallon |  | 55 PPM | 52 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-07-08 | PGE-A6 | 7-8-99-L | 0 | No liquid for sample |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-07-08 | PGE-B6 | 7-8-99-L | 0 | No liquid for sample |  |  | Downstream Scrubber
1999-07-08 | PGE 10.84A | 7-8-99-L | 6 oz |  | 1 PPM | <1 PPM | PG&E's 36" Line A
1999-07-08 | PGE 10.47B | 7-8-99-L | 6 oz |  | <1 PPM | <1 PPM | PG&E's 36" Line B
1999-07-08 | PGE 8.58A | 7-8-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-07-08 | PGE-TW4 | 7-8-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-07-08 | PGE-TW5 | 7-8-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-07-08 | PGE-TW6 | 7-8-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-07-15 | SLX-TW | 7-15-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-07-15 | PGE-TW2 | 7-15-99-L | 53 gal |  | 9 PPM | 10 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-07-15 | PGE-Top3 | 7-15-99-L | 6 oz |  | 162 PPM | 188 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-07-15 | PGE-Top4 | 7-15-99-L | 32 oz |  | 38 PPM | 43 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-07-15 | PGE-A6 | 7-15-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-07-15 | PGE-B6 | 7-15-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-07-15 | PGE 10.84A | 7-15-99-L | 4 oz |  | 4 PPM | 5 PPM | PG&Es 36" Line A
1999-07-15 | PGE 10.47B | 7-15-99-L | 4 oz |  | <1 PPM | <1 PPM | PG&E's 36" Line B
1999-07-15 | PGE 8.58A | 7-15-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-07-15 | PGE-TW4 | 7-15-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-07-15 | PGE-TW5 | 7-15-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-07-15 | PGE-TW6 | 7-15-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page12
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-07-22 | SLX-TW | 7-22-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-07-22 | PGE-TW2 | 7-22-99-L | 20 oz |  | 26PPM | 29 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-07-22 | PGE-Top3 | 7-22-99-L | 1 gal |  | 105PPM | 94 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-07-22 | PGE-Top4 | 7-22-99-L | 6 oz |  | 32PPM | 27 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-07-22 | PGE-A6 | 7-22-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-07-22 | PGE-B6 | 7-22-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-07-22 | PGE 10.84A | 7-22-99-L | 6 oz |  | 4PPM | 3 PPM | PG&E's 36" Line A
1999-07-22 | PGE 10.47B | 7-22-99-L | 4 oz |  | <1PPM | ND | PG&E's 36" Line B
1999-07-22 | PGE 8.58A | 7-22-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-07-22 | PGE-TW4 | 7-22-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-07-22 | PGE-TW5 | 7-22-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-07-22 | PGE-TW6 | 7-22-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-07-29 | SLX-TW | 7-29-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-07-29 | PGE-TW2 | 7-29-99-L | 1gal 28 oz |  | 20 PPM | 23PPM | Metering Station
PG&E's Seperator at PG&E's
1999-07-29 | PGE-Top3 | 7-29-99-L | 12 oz |  | 62PPM | 72PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-07-29 | PGE-Top4 | 7-29-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-07-29 | PGE-A6 | 7-29-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-07-29 | PGE-B6 | 7-29-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-07-29 | PGE 10.84A | 7-29-99-L | 2 oz |  | 6 PPM | 6 PPM | PG&Es 36" Line A
1999-07-29 | PGE 10.47B | 7-29-99-L | 2 oz |  | 1 PPM | 1 PPM | PG&E's 36" Line B
1999-07-29 | PGE 8.58A | 7-29-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-07-29 | PGE-TW4 | 7-29-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-07-29 | PGE-TW5 | 7-29-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-07-29 | PGE-TW6 | 7-29-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page13
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-08-05 | SLX-TW | 8-5-99-L | 0 | No liqued for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-08-05 | PGE-TW2 | 8-5-99-L | 44 gal 13 0z |  | 36 ppm | 32 ppm | Metering Station
[5 empty] | 96 ppm |  | PG&E's Seperator at PG&E's
1999-08-05 | PGE-Top3 | 8-5-99-L | 2 gal 40 oz |  | 2 ppm | 101 ppm | Compressor Station 1000 gal tank
[5 empty] | 27 ppm |  | Directly off PG&Es seperator
1999-08-05 | PGE-Top4 | 8-5-99-L | 1 gal 64 oz |  | 164 ppm | 116 ppm | At PG&Es Compressor station
PG&E's Line A TCS
1999-08-05 | PGE-A6 | 8-5-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-08-05 | PGE-B6 | 8-5-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-08-05 | PGE 10.84A | 8-5-99-L | 4 oz |  | 6 ppm | 5 ppm | PG&E's 36" Line A
1999-08-05 | PGE 10.47B | 8-5-99-L | 2 oz |  | <1 ppm | 1 ppm | PG&E's 36" Line B
1999-08-05 | PGE 8.58A | 8-5-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-08-05 | PGE-TW4 | 8-5-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-08-05 | PGE-TW5 | 8-5-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-08-05 | PGE-TW6 | 8-5-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-08-12 | SLX-TW | 8-12-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-08-12 | PGE-TW2 | 8-12-99-L | 343gal 3oz |  | 27 PPM | 34 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-08-12 | PGE-Top3 | 8-12-99-L | 7 gal |  | 104 PPM | 154 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-08-12 | PGE-Top4 | 8-12-99-L | 5 gal |  | 55 PPM | 87 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-08-12 | PGE-A6 | 8-12-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-08-12 | PGE-B6 | 8-12-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-08-12 | PGE-15.33A | 8-12-99-L | 1 oz |  | 5 PPM | 6 PPM | PG&Es 36" Line A
1999-08-12 | PGE 10.84A | 8-12-99-L | 4 oz |  | 3 PPM | 5 PPM | PG&Es 36" Line A
1999-08-12 | PGE 10.47B | 8-12-99-L | 2 oz |  | <1 PPM | <1 PPM | PG&E's 36" Line B
1999-08-12 | PGE 8.58A | 8-12-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-08-12 | PGE-TW4 | 8-12-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-08-12 | PGE-TW5 | 8-12-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-08-12 | PGE-TW6 | 8-12-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page14
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-08-19 | SLX-TW | 8-19-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-08-19 | PGE-TW2 | 8-19-99-L | 299 Gal |  | 23 PPM | 11 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-08-19 | PGE-Top3 | 8-19-99-L | 5 Gal |  | 72 PPM | 58 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-08-19 | PGE-Top4 | 8-19-99-L | 4 Gal | Did not get any results from Rick |  | 34 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-08-19 | PGE-A6 | 8-19-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-08-19 | PGE-B6 | 8-19-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-08-19 | PGE-15.33A | 8-19-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
1999-08-19 | PGE 10.84A | 8-19-99-L | 6 oz |  | 6 PPM | 3 PPM | PG&E's 36" Line A
1999-08-19 | PGE 10.47B | 8-19-99-L | 6 oz |  | 1 PPM | <1 PPM | PG&E's 36" Line B
1999-08-19 | PGE 8.58A | 8-19-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-08-19 | PGE-TW4 | 8-19-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-08-19 | PGE-TW5 | 8-19-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-08-19 | PGE-TW6 | 8-19-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-08-26 | SLX-TW | 8-26-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-08-26 | PGE-TW2 | 8-26-99-L | 21 oz |  | 11 PPM | 12 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-08-26 | PGE-Top3 | 8-26-99-L | 5 Gal |  | 87 PPM | 76 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-08-26 | PGE-Top4 | 8-26-99-L | 40 oz |  | 28 PPM | 21-PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-08-26 | PGE-A6 | 8-26-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-08-26 | PGE-B6 | 8-26-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-08-26 | PGE-15.33A | 8-26-99-L | 0 | No sample taken per PG&E |  |  | PG&Es 36" Line A
1999-08-26 | PGE 10.84A | 8-26-99-L | 6 oz |  | 7 PPM | 3 PPM | PG&Es 36" Line A
1999-08-26 | PGE 10.47B | 8-26-99-L | 0 | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-08-26 | PGE 8.58A | 8-26-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-08-26 | PGE-TW4 | 8-26-99-L | 0 | No sample taken per PG&E |  |  | TW 20" 1st Siphon
1999-08-26 | PGE-TW5 | 8-26-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-08-26 | PGE-TW6 | 8-26-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page15
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-09-02 | SLX-TW | 9-2-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-09-02 | PGE-TW2 | 9-2-99-L | 33 oz |  | 18 PPM | 18 PPM | Metering Station
PG&E's Seperator at PG&E's
1999-09-02 | PGE-Top3 | 9-2-99-L | 4 1/2 Gal |  | 118 PPM | 108 PPM | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-09-02 | PGE-Top4 | 9-2-99-L | 1 Gal 32 oz |  | 51 PPM | 51 PPM | At PG&Es Compressor station
PG&E's Line A TCS
1999-09-02 | PGE-A6 | 9-2-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-09-02 | PGE-B6 | 9-2-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-09-02 | PGE-15.33A | 9-2-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
1999-09-02 | PGE 10.84A | 9-2-99-L | 4 oz |  | 2 PPM | 2 PPM | PG&E's 36" Line A
1999-09-02 | PGE 10.47B | 9-2-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-09-02 | PGE 8.58A | 9-2-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-09-02 | PGE-TW4 | 9-2-99-L | 40 |  |  | 59 PPM | TW 20" 1st Siphon
1999-09-02 | PGE-TW5 | 9-2-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-09-02 | PGE-TW6 | 9-2-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-09-16 | SLX-TW | 9-16-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-09-16 | PGE-TW2 | 9-16-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-09-16 | PGE-Top3 | 9-16-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
|  |  |  | This sample taken just after decon |  |  | Directly off PG&Es seperator
1999-09-16 | PGE-Top4 | 9-16-99-L | 8 oz | project. We were not present. | 35 ppm |  | At PG&Es Compressor station
|  |  |  | This scrubber has not been |  |  | PG&E's Line A TCS
1999-09-14 | PGE-A6 | 9-14-99-L | 1 oz | decon'd as of yet. | 71 ppm |  | Downstream Scrubber
PG&E's Line B TCS
1999-09-16 | PGE-B6 | 9-16-99-L | 0 | No sample taken per PG&E |  |  | Downstream Scrubber
1999-09-16 | PGE-15.33A | 9-16-99-L | 6 oz |  | 4 ppm | 4 PPM | PG&Es 36" Line A
1999-09-16 | PGE 10.84A | 9-16-99-L | 4 oz |  | 4 ppm | 4 PPM | PG&Es 36" Line A
1999-09-16 | PGE 10.47B | 9-16-99-L | 1 oz |  | <1 PPM | <1 PPM | PG&E's 36" Line B
1999-09-16 | PGE 8.58A | 9-16-99-L | 0 | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-09-16 | PGE-TW4 | 9-16-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-09-16 | PGE-TW5 | 9-16-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-09-16 | PGE-TW6 | 9-16-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page16
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-09-22 | SLX-TW | 9-22-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-09-22 | PGE-TW2 | 9-22-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-09-22 | PGE-Top3 | 9-22-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-09-22 | PGE-Top4 | 9-22-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-09-22 | PGE-A6 | 9-22-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-09-22 | PGE-B6 | 9-22-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-09-22 | PGE-15.33A | 9-22-99-L | 4 oz |  | 5 PPM | 5 PPM | PG&E's 36" Line A
1999-09-22 | PGE 10.84A | 9-22-99-L | 2 oz |  | 5 PPM | 4 PPM | PG&E's 36" Line A
1999-09-22 | PGE 10.47B | 9-22-99-L | 1 oz |  | 1 PPM | 2 PPM | PG&E's 36" Line B
1999-09-22 | PGE 8.58A | 9-22-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-09-22 | PGE-TW4 | 9-22-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-09-22 | PGE-TW5 | 9-22-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-09-22 | PGE-TW6 | 9-22-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-09-30 | SLX-TW | 9-30-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-09-30 | PGE-TW2 | 9-30-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-09-30 | PGE-Top3 | 9-30-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-09-30 | PGE-Top4 | 9-30-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-09-30 | PGE-A6 | 9-30-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-09-30 | PGE-B6 | 9-30-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-09-30 | PGE-15.33A | 9-30-99-L | 10 oz |  | 7 PPM | 8 PPM | PG&Es 36" Line A
1999-09-30 | PGE 10.84A | 9-30-99-L | 1 oz |  | 4 PPM | 4 PPM | PG&Es 36" Line A
1999-09-30 | PGE 10.47B | 9-30-99-L | 2 oz |  | <1 PPM | <1 PPM | PG&E's 36" Line B
1999-09-30 | PGE 8.58A | 9-30-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-09-30 | PGE-TW4 | 9-30-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-09-30 | PGE-TW5 | 9-30-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-09-30 | PGE-TW6 | 9-30-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page17
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-10-06 | SLX-TW | 10-6-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-10-06 | PGE-TW2 | 10-6-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-10-06 | PGE-Top3 | 10-6-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-10-06 | PGE-Top4 | 10-6-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-10-06 | PGE-A6 | 10-6-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-10-06 | PGE-B6 | 10-6-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-10-06 | PGE-15.33A | 10-6-99-L | 1 oz |  | 8 PPM | 9 PPM | PG&E's 36" Line A
1999-10-06 | PGE 10.84A | 10-6-99-L | 2 oz |  | 9 PPM | 8 PPM | PG&E's 36" Line A
1999-10-06 | PGE 10.47B | 10-6-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-10-06 | PGE 8.58A | 10-6-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-10-06 | PGE-TW4 | 10-6-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-10-06 | PGE-TW5 | 10-6-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-10-06 | PGE-TW6 | 10-6-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-10-14 | SLX-TW | 10-14-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-10-14 | PGE-TW2 | 10-14-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-10-14 | PGE-Top3 | 10-14-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-10-14 | PGE-Top4 | 10-14-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-10-14 | PGE-A6 | 10-14-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-10-14 | PGE-B6 | 10-14-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-10-14 | PGE-15.33A | 10-14-99-L | 30 oz |  | 10 PPM | 15 PPM | PG&Es 36" Line A
1999-10-14 | PGE 10.84A | 10-14-99-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
1999-10-14 | PGE 10.47B | 10-14-99-L | 1/2 oz |  | 2 PPM | 1 PPM | PG&E's 36" Line B
1999-10-14 | PGE 8.58A | 10-14-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-10-14 | PGE-TW4 | 10-14-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-10-14 | PGE-TW5 | 10-14-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-10-14 | PGE-TW6 | 10-14-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page18
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-10-20 | SLX-TW | 10-20-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-10-20 | PGE-TW2 | 10-20-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-10-20 | PGE-Top3 | 10-20-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-10-20 | PGE-Top4 | 10-20-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-10-20 | PGE-A6 | 10-20-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-10-20 | PGE-B6 | 10-20-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-10-20 | PGE-15.33A | 10-20-99-L | 10 oz |  | 28 PPM | 29 PPM | PG&E's 36" Line A
1999-10-20 | PGE 10.84A | 10-20-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
1999-10-20 | PGE 10.47B | 10-20-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-10-20 | PGE 8.58A | 10-20-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-10-20 | PGE-TW4 | 10-20-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-10-20 | PGE-TW5 | 10-20-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-10-20 | PGE-TW6 | 10-20-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-10-27 | SLX-TW | 10-27-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-10-27 | PGE-TW2 | 10-27-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-10-27 | PGE-Top3 | 10-27-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-10-27 | PGE-Top4 | 10-27-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-10-27 | PGE-A6 | 10-27-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-10-27 | PGE-B6 | 10-27-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-10-27 | PGE-15.33A | 10-27-99-L | 30 oz |  | 27 PPM | 22 PPM | PG&Es 36" Line A
1999-10-27 | PGE 10.84A | 10-27-99-L | 4 oz |  | 19 PPM | 18 PPM | PG&Es 36" Line A
1999-10-27 | PGE 10.47B | 10-27-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-10-27 | PGE 8.58A | 10-27-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-10-27 | PGE-TW4 | 10-27-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-10-27 | PGE-TW5 | 10-27-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-10-27 | PGE-TW6 | 10-27-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page19
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-11-02 | SLX-TW | 11-2-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-11-02 | PGE-TW2 | 11-2-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-11-02 | PGE-Top3 | 11-2-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-11-02 | PGE-Top4 | 11-2-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-11-02 | PGE-A6 | 11-2-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-11-02 | PGE-B6 | 11-2-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-11-02 | PGE-15.33A | 11-2-99-L | 10 oz |  | 18 PPM | 18 PPM | PG&E's 36" Line A
1999-11-02 | PGE 10.84A | 11-2-99-L | 2 oz |  | 16 PPM | 17 PPM | PG&E's 36" Line A
1999-11-02 | PGE 10.47B | 11-2-99-L | 2 oz |  | <1 PPM | 1 PPM | PG&E's 36" Line B
1999-11-02 | PGE 8.58A | 11-2-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-11-02 | PGE-TW4 | 11-2-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-11-02 | PGE-TW5 | 11-2-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-11-02 | PGE-TW6 | 11-2-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-11-18 | SLX-TW | 11-18-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-11-18 | PGE-TW2 | 11-18-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-11-18 | PGE-Top3 | 11-18-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-11-18 | PGE-Top4 | 11-18-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-11-18 | PGE-A6 | 11-18-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-11-18 | PGE-B6 | 11-18-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-11-18 | PGE-15.33A | 11-18-99-L | 1 oz |  | 18 PPM | 20 PPM | PG&Es 36" Line A
1999-11-18 | PGE- 10.84A | 11-18-99-L | 2 oz |  | 22 PPM | 22 PPM | PG&Es 36" Line A
1999-11-18 | PGE- 10.47B | 11-18-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-11-18 | PGE- 8.58A | 11-18-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line A
1999-11-18 | PGE- 0.55B | 11-18-99-L | 4 oz |  | 26 PPM | 29 PPM | PG&E's 36" Line B
1999-11-18 | PGE-TW4 | 11-18-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-11-18 | PGE-TW5 | 11-18-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-11-18 | PGE-TW6 | 11-18-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page20
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-11-24 | SLX-TW | 11-24-99-L | 0 | No liquid for sample. |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-11-24 | PGE-TW2 | 11-24-99-L | 0 | No liquid for sample. |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-11-24 | PGE-Top3 | 11-24-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-11-24 | PGE-Top4 | 11-24-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-11-24 | PGE-A6 | 11-24-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-11-24 | PGE-B6 | 11-24-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-11-24 | PGE-15.33A | 11-24-99-L | 16 OZ |  | 10 PPM | 20 PPM | PG&E's 36" Line A
1999-11-24 | PGE 10.84A | 11-24-99-L | 3 OZ |  | 13 PPM | 11 PPM | PG&E's 36" Line A
1999-11-24 | PGE 10.47B | 11-24-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-11-24 | PGE 8.58A | 11-24-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-11-24 | PGE- 0.55B | 11-24-99-L | 4 OZ |  | 44 PPM | 41 PPM | PG&E's 36" Line B
1999-11-24 | PGE-TW4 | 11-24-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-11-24 | PGE-TW5 | 11-24-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-11-24 | PGE-TW6 | 11-24-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-12-01 | SLX-TW | 12-01-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-12-01 | PGE-TW2 | 12-01-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-12-01 | PGE-Top3 | 12-01-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-12-01 | PGE-Top4 | 12-01-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-12-01 | PGE-A6 | 12-01-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-12-01 | PGE-B6 | 12-01-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-12-01 | PGE-15.33A | 12-01-99-L | 16 oz |  | 25 PPM | 26 PPM | PG&Es 36" Line A
1999-12-01 | PGE 10.84A | 12-01-99-L | 2 oz |  | 11 PPM | 11 PPM | PG&Es 36" Line A
1999-12-01 | PGE 10.47B | 12-01-99-L | 1 oz |  | 3 PPM | 3 PPM | PG&E's 36" Line B
1999-12-01 | PGE 8.58A | 12-01-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-12-01 | PGE- 0.55B | 12-01-99-L | 16 oz |  | 47 PPM | 39 PPM | PG&E's 36" Line B
1999-12-01 | PGE-TW4 | 12-01-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-12-01 | PGE-TW5 | 12-01-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-12-01 | PGE-TW6 | 12-01-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page21
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-12-08 | SLX-TW | 12-8-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-12-08 | PGE-TW2 | 12-8-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-12-08 | PGE-Top3 | 12-8-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-12-08 | PGE-Top4 | 12-8-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-12-08 | PGE-A6 | 12-8-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-12-08 | PGE-B6 | 12-8-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-12-08 | PGE-15.33A | 12-8-99-L | 8 oz |  | 35 PPM | 36 PPM | PG&E's 36" Line A
1999-12-08 | PGE 10.84A | 12-8-99-L | 2 oz |  | 13 PPM | 13 PPM | PG&E's 36" Line A
1999-12-08 | PGE 10.47B | 12-8-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-12-08 | PGE 8.58A | 12-8-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-12-08 | PGE- 0.55B | 12-8-99-L | 4 oz |  | 30 PPM | 33 PPM | PG&E's 36" Line B
1999-12-08 | PGE-TW4 | 12-8-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-12-08 | PGE-TW5 | 12-8-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-12-08 | PGE-TW6 | 12-8-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
1999-12-14 | SLX-TW | 12-14-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-12-14 | PGE-TW2 | 12-14-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-12-14 | PGE-Top3 | 12-14-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-12-14 | PGE-Top4 | 12-14-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-12-14 | PGE-A6 | 12-14-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-12-14 | PGE-B6 | 12-14-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-12-14 | PGE-15.33A | 12-14-99-L | 12 oz |  | 39 PPM | 39 PPM | PG&Es 36" Line A
1999-12-14 | PGE 10.84A | 12-14-99-L | 2 oz |  | 9 PPM | 15 PPM | PG&Es 36" Line A
1999-12-14 | PGE 10.47B | 12-14-99-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
1999-12-14 | PGE 8.58A | 12-14-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-12-14 | PGE- 0.55B | 12-14-99-L | 3 oz |  | 21 PPM | 23 PPM | PG&E's 36" Line B
1999-12-14 | PGE-TW4 | 12-14-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-12-14 | PGE-TW5 | 12-14-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-12-14 | PGE-TW6 | 12-14-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page22
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PG&E PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
1999-12-29 | SLX-TW | 12-29-99-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
1999-12-29 | PGE-TW2 | 12-29-99-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
1999-12-29 | PGE-Top3 | 12-29-99-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
1999-12-29 | PGE-Top4 | 12-29-99-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
1999-12-29 | PGE-A6 | 12-29-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
1999-12-29 | PGE-B6 | 12-29-99-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
1999-12-29 | PGE-15.33A | 12-29-99-L | 10 oz |  | 30 PPM | 27 PPM | PG&E's 36" Line A
1999-12-29 | PGE 10.84A | 12-29-99-L | 4 oz |  | 16 PPM | 14 PPM | PG&E's 36" Line A
1999-12-29 | PGE 10.47B | 12-29-99-L | 1 oz |  | 2 PPM | 2 PPM | PG&E's 36" Line B
1999-12-29 | PGE 8.58A | 12-29-99-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
1999-12-29 | PGE- 0.55B | 12-29-99-L | 8 oz |  | 29 PPM | 31 PPM | PG&E's 36" Line B
1999-12-29 | PGE-TW4 | 12-29-99-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
1999-12-29 | PGE-TW5 | 12-29-99-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
1999-12-29 | PGE-TW6 | 12-29-99-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
2000-01-05 | SLX-TW | 1-5-2000-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2000-01-05 | PGE-TW2 | 1-5-2000-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2000-01-05 | PGE-Top3 | 1-5-2000-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2000-01-05 | PGE-Top4 | 1-5-2000-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2000-01-05 | PGE-A6 | 1-5-2000-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2000-01-05 | PGE-B6 | 1-5-2000-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
2000-01-05 | PGE-15.33A | 1-5-2000-L | 12 oz |  | 33 PPM | 32 PPM | PG&Es 36" Line A
2000-01-05 | PGE 10.84A | 1-5-2000-L | 3 oz |  | 9 PPM | 7 PPM | PG&Es 36" Line A
2000-01-05 | PGE 10.47B | 1-5-2000-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-01-05 | PGE 8.58A | 1-5-2000-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2000-01-05 | PGE- 0.55B | 1-5-2000-L | 4 oz |  | 17 PPM | 21 PPM | PG&E's 36" Line B
2000-01-05 | PGE-TW4 | 1-5-2000-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2000-01-05 | PGE-TW5 | 1-5-2000-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2000-01-05 | PGE-TW6 | 1-5-2000-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page23
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PGE PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
2000-01-19 | SLX-TW | 1-19-00-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2000-01-19 | PGE-TW2 | 1-19-00-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2000-01-19 | PGE-Top3 | 1-19-00-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2000-01-19 | PGE-Top4 | 1-19-00-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2000-01-19 | PGE-A6 | 1-19-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2000-01-19 | PGE-B6 | 1-19-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
2000-01-19 | PGE-15.33A | 1-19-00-L | 20 oz |  | 24 PPM | 28 PPM | PG&E's 36" Line A
2000-01-19 | PGE 10.84A | 1-19-00-L | 2 oz |  | 8 PPM | 16 PPM | PG&E's 36" Line A
2000-01-19 | PGE 10.47B | 1-19-00-L | 1 oz |  | 1 PPM | 2 PPM | PG&E's 36" Line B
2000-01-19 | PGE 8.58A | 1-19-00-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2000-01-19 | PGE- 0.55B | 1-19-00-L | 7 oz |  | 17 PPM | 32 PPM | PG&E's 36" Line B
2000-01-19 | PGE-TW4 | 1-19-00-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2000-01-19 | PGE-TW5 | 1-19-00-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2000-01-19 | PGE-TW6 | 1-19-00-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
2000-02-09 | SLX-TW | 2-9-00-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2000-02-09 | PGE-TW2 | 2-9-00-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2000-02-09 | PGE-Top3 | 2-9-00-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2000-02-09 | PGE-Top4 | 2-9-00-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2000-02-09 | PGE-A6 | 2-9-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2000-02-09 | PGE-B6 | 2-9-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
2000-02-09 | PGE-84.00A | 2-9-00-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2000-02-09 | PGE-63.00A | 2-9-00-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2000-02-09 | PGE-63.00B | 2-9-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-02-09 | PGE-26.00A | 2-9-00-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2000-02-09 | PGE-26.00B | 2-9-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-02-09 | PGE-15.33A | 2-9-00-L | 10 oz |  | 26 PPM | 15 PPM | PG&Es 36" Line A
2000-02-09 | PGE 10.84A | 2-9-00-L | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2000-02-09 | PGE 10.47B | 2-9-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-02-09 | PGE 8.58A | 2-9-00-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2000-02-09 | PGE- 0.55B | 2-9-00-L | 6 oz |  | 29 PPM | 24 PPM | PG&E's 36" Line B
2000-02-09 | PGE-TW4 | 2-9-00-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2000-02-09 | PGE-TW5 | 2-9-00-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2000-02-09 | PGE-TW6 | 2-9-00-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page24
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID |  | Volume Drained | Comments | PGE PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
2000-03-01 | SLX-TW | 3-1-00-L | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2000-03-01 | PGE-TW2 | 3-1-00-L | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2000-03-01 | PGE-Top3 | 3-1-00-L | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2000-03-01 | PGE-Top4 | 3-1-00-L | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2000-03-01 | PGE-A6 | 3-1-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2000-03-01 | PGE-B6 | 3-1-00-L |  | No sample taken per PG&E |  |  | Downstream Scrubber
2000-03-01 | PGE-84.00A | 3-1-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2000-03-01 | PGE-63.00A | 3-1-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2000-03-01 | PGE-63.00B | 3-1-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-03-01 | PGE-26.00A | 3-1-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line A
2000-03-01 | PGE-26.00B | 3-1-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-03-01 | PGE-15.33A | 3-1-00-L | 4 oz |  | 26 PPM | 24 PPM | PG&E's 36" Line A
2000-03-01 | PGE 10.84A | 3-1-00-L | 1 oz |  | 21 PPM | 20 PPM | PG&E's 36" Line A
2000-03-01 | PGE 10.47B | 3-1-00-L | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-03-01 | PGE 8.58A | 3-1-00-L |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2000-03-01 | PGE- 0.55B | 3-1-00-L | 1 gal |  | 23 PPM | 24 PPM | PG&E's 36" Line B
2000-03-01 | PGE-TW4 | 3-1-00-L | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2000-03-01 | PGE-TW5 | 3-1-00-L | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2000-03-01 | PGE-TW6 | 3-1-00-L | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
2000-03-22 | SLX-TW |  | 0 | No liquid for sample |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
2000-03-22 | PGE-TW2 |  | 0 | No liquid for sample |  |  | Metering Station
PG&E's Seperator at PG&E's
2000-03-22 | PGE-Top3 |  | 0 | No liquid for sample |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
2000-03-22 | PGE-Top4 |  | 0 | No liquid for sample |  |  | At PG&Es Compressor station
PG&E's Line A TCS
2000-03-22 | PGE-A6 |  |  | No sample taken per PG&E |  |  | Downstream Scrubber
PG&E's Line B TCS
2000-03-22 | PGE-B6 |  |  | No sample taken per PG&E |  |  | Downstream Scrubber
2000-03-22 | PGE-84.00A |  | 2 oz |  |  |  | PG&Es 36" Line A
2000-03-22 | PGE-63.00A |  | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2000-03-22 | PGE-63.26B |  | 3 oz |  |  |  | PG&E's 36" Line B
2000-03-22 | PGE-26.00A |  | 0 | No liquid for sample |  |  | PG&Es 36" Line A
2000-03-22 | PGE-26.00B |  | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-03-22 | PGE-15.33A |  | 2 oz |  |  |  | PG&Es 36" Line A
2000-03-22 | PGE 10.84A |  | 2 oz |  |  |  | PG&Es 36" Line A
2000-03-22 | PGE 10.47B |  | 0 | No liquid for sample |  |  | PG&E's 36" Line B
2000-03-22 | PGE 8.58A |  |  | No sample taken per PG&E |  |  | PG&E's 36" Line B
2000-03-22 | PGE- 0.55B |  | 4 oz |  |  |  | PG&E's 36" Line B
2000-03-22 | PGE-TW4 |  | 0 | No liquid for sample |  |  | TW 20" 1st Siphon
2000-03-22 | PGE-TW5 |  | 0 | No liquid for sample |  |  | TW 20" 2nd siphon
2000-03-22 | PGE-TW6 |  | 0 | No liquid for sample |  |  | TW 20" 3rd Siphon

## PG&E Page25
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID | Volume Drained | Comments | PGE PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
| SLX-TW |  |  |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
| PGE-TW2 |  |  |  |  | Metering Station
PG&E's Seperator at PG&E's
| PGE-Top3 |  |  |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
| PGE-Top4 |  |  |  |  | At PG&Es Compressor station
PG&E's Line A TCS
| PGE-A6 |  |  |  |  | Downstream Scrubber
PG&E's Line B TCS
| PGE-B6 |  |  |  |  | Downstream Scrubber
| PGE-84.00A |  |  |  |  | PG&E's 36" Line A
| PGE-63.00A |  |  |  |  | PG&E's 36" Line A
| PGE-63.26B |  |  |  |  | PG&E's 36" Line B
| PGE-26.00A |  |  |  |  | PG&E's 36" Line A
| PGE-26.00B |  |  |  |  | PG&E's 36" Line B
| PGE-15.33A |  |  |  |  | PG&E's 36" Line A
| PGE 10.84A |  |  |  |  | PG&E's 36" Line A
| PGE 10.47B |  |  |  |  | PG&E's 36" Line B
| PGE 8.58A |  |  |  |  | PG&E's 36" Line B
| PGE- 0.55B |  |  |  |  | PG&E's 36" Line B
| PGE-TW4 |  |  |  |  | TW 20" 1st Siphon
| PGE-TW5 |  |  |  |  | TW 20" 2nd siphon
| PGE-TW6 |  |  |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
| SLX-TW |  |  |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
| PGE-TW2 |  |  |  |  | Metering Station
PG&E's Seperator at PG&E's
| PGE-Top3 |  |  |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
| PGE-Top4 |  |  |  |  | At PG&Es Compressor station
PG&E's Line A TCS
| PGE-A6 |  |  |  |  | Downstream Scrubber
PG&E's Line B TCS
| PGE-B6 |  |  |  |  | Downstream Scrubber
| PGE-84.00A |  |  |  |  | PG&Es 36" Line A
| PGE-63.00A |  |  |  |  | PG&Es 36" Line A
| PGE-63.00B |  |  |  |  | PG&E's 36" Line B
| PGE-26.00A |  |  |  |  | PG&Es 36" Line A
| PGE-26.00B |  |  |  |  | PG&E's 36" Line B
| PGE-15.33A |  |  |  |  | PG&Es 36" Line A
| PGE 10.84A |  |  |  |  | PG&Es 36" Line A
| PGE 10.47B |  |  |  |  | PG&E's 36" Line B
| PGE 8.58A |  |  |  |  | PG&E's 36" Line B
| PGE- 0.55B |  |  |  |  | PG&E's 36" Line B
| PGE-TW4 |  |  |  |  | TW 20" 1st Siphon
| PGE-TW5 |  |  |  |  | TW 20" 2nd siphon
| PGE-TW6 |  |  |  |  | TW 20" 3rd Siphon

## PG&E Page26
CONFIDENTIAL
Transwestern Pipeline and PG&E Samples and Analytical Results
Date | Sample ID | Volume Drained | Comments | PGE PCB | TW PCB | Location of sample point
Filter Scrubbers Downstream of
| SLX-TW |  |  |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
| PGE-TW2 |  |  |  |  | Metering Station
PG&E's Seperator at PG&E's
| PGE-Top3 |  |  |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
| PGE-Top4 |  |  |  |  | At PG&Es Compressor station
PG&E's Line A TCS
| PGE-A6 |  |  |  |  | Downstream Scrubber
PG&E's Line B TCS
| PGE-B6 |  |  |  |  | Downstream Scrubber
| PGE-84.00A |  |  |  |  | PG&E's 36" Line A
| PGE-63.00A |  |  |  |  | PG&E's 36" Line A
| PGE-63.26B |  |  |  |  | PG&E's 36" Line B
| PGE-26.00A |  |  |  |  | PG&E's 36" Line A
| PGE-26.00B |  |  |  |  | PG&E's 36" Line B
| PGE-15.33A |  |  |  |  | PG&E's 36" Line A
| PGE 10.84A |  |  |  |  | PG&E's 36" Line A
| PGE 10.47B |  |  |  |  | PG&E's 36" Line B
| PGE 8.58A |  |  |  |  | PG&E's 36" Line B
| PGE- 0.55B |  |  |  |  | PG&E's 36" Line B
| PGE-TW4 |  |  |  |  | TW 20" 1st Siphon
| PGE-TW5 |  |  |  |  | TW 20" 2nd siphon
| PGE-TW6 |  |  |  |  | TW 20" 3rd Siphon
Filter Scrubbers Downstream of
| SLX-TW |  |  |  |  | Solexol Plant
TW's Filter Scrubber at TW/PG&E
| PGE-TW2 |  |  |  |  | Metering Station
PG&E's Seperator at PG&E's
| PGE-Top3 |  |  |  |  | Compressor Station 1000 gal tank
Directly off PG&Es seperator
| PGE-Top4 |  |  |  |  | At PG&Es Compressor station
PG&E's Line A TCS
| PGE-A6 |  |  |  |  | Downstream Scrubber
PG&E's Line B TCS
| PGE-B6 |  |  |  |  | Downstream Scrubber
| PGE-84.00A |  |  |  |  | PG&Es 36" Line A
| PGE-63.00A |  |  |  |  | PG&Es 36" Line A
| PGE-63.00B |  |  |  |  | PG&E's 36" Line B
| PGE-26.00A |  |  |  |  | PG&Es 36" Line A
| PGE-26.00B |  |  |  |  | PG&E's 36" Line B
| PGE-15.33A |  |  |  |  | PG&Es 36" Line A
| PGE 10.84A |  |  |  |  | PG&Es 36" Line A
| PGE 10.47B |  |  |  |  | PG&E's 36" Line B
| PGE 8.58A |  |  |  |  | PG&E's 36" Line B
| PGE- 0.55B |  |  |  |  | PG&E's 36" Line B
| PGE-TW4 |  |  |  |  | TW 20" 1st Siphon
| PGE-TW5 |  |  |  |  | TW 20" 2nd siphon
| PGE-TW6 |  |  |  |  | TW 20" 3rd Siphon