## Summary
High Probability WSCC Projects
Report Date | 2000-05-18
Project | State | On-Line Date | Capacity | Region | Cumulative Capacity
Person | NM | 2000-05-01 | 140 | DSW | 140
Manchief (Brush) | CO | 2000-06-01 | 265 | Rockies | 405
Foote Creek 4 | WY | 2000-08-01 | 4.25 | PNW | 409.25
Valmont Repowering | CO | 2000-06-01 | 11 | Rockies | 420.25
Arapahoe Repowering | CO | 2000-06-01 | 115 | Rockies | 535.25
South Point Power Plant [Mojave] | AZ | 2001-05-01 | 545 | DSW | 1105.25
Griffith Energy Project | AZ | 2001-05-01 | 520 | DSW | 1625.25
Desert Basin Gnrtng | AZ | 2001-06-01 | 600 | DSW | 2225.25
Sutter | CA | 2001-09-01 | 500 | NP15 | 2725.25
Klamath Cogen | OR | 2001-07-01 | 500 | PNW | 3225.25
West Phoenix 4 - Repower | AZ | 2001-08-01 | 70 | DSW | 3295.25
Los Medanos (Pittsburg) | CA | 2001-08-01 | 500 | NP15 | 3795.25
La Paloma | CA | 2001-09-01 | 1048 | ZP26 | 4843.25
Rathdrum | ID | 2001-09-01 | 270 | PNW | 5113.25
Vestas | OR | 2001-12-01 | 25 | PNW | 560.25
West Phoenix 5 | AZ | 2001-12-01 | 500 | DSW | 5613.25
Everett Delta | WA | 2001-12-01 | 248 | PNW | 5861.25
Coyote Springs Phase 2 | OR | 2002-03-01 | 231 | PNW | 6092.25
Delta Energy | CA | 2002-04-01 | 880 | NP15 | 6972.25
Powhatan 48 | CO | 2002-05-01 | 150 | Rockies | 7122.25
Hermiston | OR | 2002-05-01 | 536 | PNW | 7658.25
Las Vegas CoGen Expansion | NV | 2002-06-01 | 220 | DSW | 7878.25
Little Sand Dam | OR | 2003-06-01 | -11 | PNW | 7867.25
Chehalis Power | WA | 2003-06-01 | 460 | PNW | 8327.25
Sumas Energy 2 | WA | 2003-06-01 | 660 | PNW | 8987.25
Wygen 1 | WY | 2003-12-01 | 80 | PNW | 9067.25
Two Elk CT Waste | WY | 2004-06-01 | 240 | PNW | 9307.25

## New Gen
New Generation Additions
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth
Region | 1 | 2 | 3 | 4 | 5 | 6
NP15 | 1000 | 880 | 2720 | 1178.7
SP15 |  | 720 | 3136 | 1200
ZP26 | 1048 |  | 1570 | 1530
AZ | 1565 | 660 | 3120 | 825 | 5961
NV |  |  |  | 1280 | 1880 | 500
NM | 140 |  |  |  | 1407
CO | 276 | 550 | 160 | 350 | 160 | 200
OR | 525 | 756 |  |  | 1345 | 45
WA | 248 | 2235 | 660 | 1100
ID, MT, UT, WY | 430 | 244 |  | 485 | 2160
| 5232 | 6045 | 11366 | 7948.7 | 12913 | 745
[6 empty] | NP15 | ZP26 | SP15 | NW | SW | RO
[5 empty] | 2000-06-01 |  |  |  | 4 | 140 | 391
[5 empty] | 2000-07-31 |  |  |  | 4 | 140 | 391 | 500 | 500 | 880
[5 empty] | 2000-08-31 |  |  |  | 4 | 140 | 391
[5 empty] | 2000-09-30 |  |  |  | 4 | 140 | 391
[5 empty] | 2000-10-31 |  |  |  | 4 | 140 | 391
[5 empty] | 2000-11-30 |  |  |  | 4 | 140 | 391
[5 empty] | 2000-12-31 |  |  |  | 4 | 140 | 391
[5 empty] | 2001-01-31 |  |  |  | 4 | 140 | 391
[5 empty] | 2001-02-28 |  |  |  | 4 | 140 | 391
[5 empty] | 2001-03-31 |  |  |  | 4 | 140 | 391
[5 empty] | 2001-04-30 |  |  |  | 4 | 140 | 391
[5 empty] | 2001-05-31 |  |  |  | 4 | 1205 | 391
[5 empty] | 2001-06-30 |  |  |  | 4 | 1805 | 391
[5 empty] | 2001-07-31 |  |  |  | 504 | 1805 | 391
[5 empty] | 2001-08-31 | 570 |  |  | 504 | 1875 | 391
[5 empty] | 2001-09-30 | 1070 | 1048 |  | 774 | 1875 | 391
[5 empty] | 2001-10-31 | 1070 | 1048 |  | 774 | 1875 | 391
[5 empty] | 2001-11-30 | 1070 | 1048 |  | 774 | 1875 | 391
[5 empty] | 2001-12-31 | 1070 | 1048 |  | 1047 | 2375 | 391
[5 empty] | 2002-01-31 | 1070 | 1048 |  | 1047 | 2375 | 391
[5 empty] | 2002-02-28 | 1070 | 1048 |  | 1047 | 2375 | 391
[5 empty] | 2002-03-31 | 1070 | 1048 |  | 1278 | 2375 | 391
[5 empty] | 2002-04-30 | 1950 | 1048 |  | 1278 | 2375 | 391
[5 empty] | 2002-05-31 | 1950 | 1048 |  | 1810 | 2375 | 541
[5 empty] | 2002-06-30 | 1880 | 1048 | 0 | 1810 | 2595 | 541
[5 empty] | 2002-07-31 | 1880 | 1048 | 0 | 2346 | 2595 | 541
[5 empty] | 2002-08-31 | 1880 | 1048 | 0 | 2346 | 2595 | 541
[5 empty] | 2002-09-30 | 1880 | 1048 | 0 | 2346 | 2595 | 541
[5 empty] | 2002-10-31 | 1880 | 1048 | 0 | 2346 | 2595 | 541
[5 empty] | 2002-11-30 | 1880 | 1048 | 0 | 2346 | 2595 | 541
[5 empty] | 2002-12-31 | 1880 | 1048 | 0 | 2346 | 2595 | 541

## Canada
-- Calpine recently unveiled its plans to build, own and operate
the Calgary Energy Centre. The facility will be the first
independent power project announced in the Calgary area, and
represents Calpine's first investment in the Canadian power
market. The facility will help increase security of
electricity supply for Alberta and Calgary and will have the
ability to produce an additional 50 megawatts of electricity
during peak power demand periods.
| MW | Year
Calpine | 250 | 2003 | Calgary | NG
Vancouver Island, Elk Falls, Port Albeni

## CA
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth
| Under Construction | [20 empty] | Contact: | Mignon Marks (916) 654-4732 | PIRA Jimmy Kow (212) 686-6808 PIRA updates weekly compares to WSCC guide. George Hopley (Enron) used to maintain this while working at PIRA
Plant | Region | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Type, Fuel Source and Size | Location | Estimated Cost | Nature of Location, "green field" or existing site | Intended Grid Tie-In and New Linear Facilities | Natural Gas Supplier and New Linear Facilities | Turbine Specs | Air District, Air Pollution Control Technology and Offset Strategy | Cooling Technology, Source of Water (if water cooled), and New Linear Facilities | Status | Date of Data Adequacy | Actual or Projected Date of Certification (13+ months from Data Adequacy date) | Projected Date of Operation (24 months from Certification date) | Steve Roeder San Joaquin 559-230-5888, SDGE AQ (858) 694-3307, Kenneth Lim (415) 749-4710
Sutter | NP15 | PGAE Construction halted | 1 | 500 | 1999-04-01 | 2001-09-01 | CEC | RDI | PIRA | Calpine Corporation | Natural Gas Combined Cycle 500MW | Yuba City area, Sutter Co. | $250 - $285 million | 16 acres of "green field," adjacent to cogeneration power plant | WAPA transmission system, 4-mile 230 kV overhead line, not ISO operated | PG&E, 14.9 mile pipeline | 2 - 170MW Westinghouse 501 FC gas turbine/generators, 2 heat recovery steam generators (HRSG), 1 - 160 MW steam turbine/generator | Feather River AQMD Dry Low NOx, SCR, and oxidation catalyst 2.5 NOx | Dry air condenser | approved | 1998-01-21 | 1999-04-14 | Construction halted, pending review by US EPA Appeals Board If project can begin on April-00, could be operating by April-02. The Sacramento Municipal Utilities District has signed its first merchant plant contract with a five-year deal to buy 150 MW from Calpine Corp.'s natural gas-fired Sutter Power Plant, under construction near Yuba City north of Sacramento. 7/10/2000 plant currently on schedule and under construction
Los Medanos (Pittsburg) | NP15 | PGAE City Gate | 1 | 500 | 1999-08-01 | 2001-07-01 | CEC | RDI | PIRA | Pittsburg District Energy Facility LLC (established by Enron Capital and Trade Resources Corp.) | Natural Gas-Fired, Combined Cycle Cogeneration 500MW, steam to USS-POSCO | Pittsburg, Contra Costa Co. | $300 million | 12 acres of industrial site (USS-Posco Industries) | PG&E switchyard at the Pittsburg Power Plant, 2 mile 115kV | PG&E, 3.6 mile pipeline | 2 "F" class gas turbine/generators, heat recovery steam generator units, 1 steam turbine generator | BAAQMD SCR and Dry Low NOx | Delta Diablo Sanitation District - disinfected tertiary reclaimed water (128,000 gpm), 2 mile pipeline | approved | 1998-07-29 | 1999-08-17 | EPA appeal was quickly denied
La Paloma | ZP26 | Kern | 1 | 1048 | 1999-10-01 | 2001-08-01 | CEC | RDI | PIRA | La Paloma Generating Company LLC (formed by PG&E Generating Co.) | Natural Gas Combined Cycle 1048MW | McKittrick, Kern Co. | $500 million | 23 acres in an oil field production area | PG&E Midway Substation, 14.2 mile 230kV line | Interstate pipeline owned jointly by Kern River National Gas Transmission Company and Mojave Pipeline Company, 370 feet | 4 - 262 MW "power islands," each with 1 gas turbine generator (ABB Model GT 24) , 1 HRSG and 1 steam turbine | San Joaquin Valley Unified APCD SCR on 3, "SCONOx" on 1 CT | Fresh water cooled, Water from CA Aqueduct supplied from West Kern Water Dist., 5,500 AF/yr., 8 mile pipeline | approved | 1998-08-26 | 1999-10-06 | 2001-11-01 | Broke Ground on 5/17/2000
Delta Energy | NP15 | PGAE City Gate | 1 | 880 | 2000-02-01 | 2002-07-01 | CEC | RDI | PIRA | Calpine & Bechtel | Natural Gas Combined Cycle Cogeneration 880MW, steam to Dow Chemical | Pittsburg, Contra Costa Co. | $350-$450 million | 20 acres of existing industrial site (Dow Chemical) | PG&E Pittsburg Substation, 3.3 mile 230kV line | PG&E, 5.3 mile pipeline | 3 - 200MW CTGs, 3 HRSG, 1 SG | BAAQMD SCR | 2ndary-treated wastewater from Delta Diablo Sanitation District, 500 ft. | approved | 1999-02-17 | 2000-04-01 | 2002-04-01
High Desert | SP15 | Socal | 1 | 720 | 2000-03-03 | 2002-12-01 | CEC |  | PIRA | High Desert Power Plant LLC (Inland & Constellation) | Natural Gas Combined Cycle, either 678MW or 720MW. May develop steam, hot water or chilled water to industrial operations at project site in the future | Victorville, San Bernardino Co. | $250-$350 million | 25 acres at former Air Force base | SCE Victor Substation, 7.2 mile 230kV line | Southwest Gas Co. will build 2.75-mile pipeline to project, but additional connections being considered as well | 720 MW plant: 3 Class F CT's (160MW each) and 3 steam turbines (86.5MW each) 678 MW plant: 2 Class G CT's (236MW each) and 2 steam turbines (115MW each) | Mojave Desert APCD Dry Low NOx and SCR | Fresh water cooled, Water from CA Aqueduct supplied from Mojave Water Agency- 71 mile pipeline. Groundwater from Victor Valley Water District when CA Aqueduct water is unavailable. 720MW plant: 3,597 AF/yr., 678MW plant: 3,102 AF/yr. | proposed decision to approve project is pending | 1997-12-03 | 2000-02-01 | 2002-02-01 | Dec 2000 begin constr built dec 2002, some issues have arisen with its access to SWP water and amounts. Locally there is strong support to build this as part of an effort to revitalize the economy after the loss of the airbase.
Elk Hills | ZP26 | Kern | 3 | 500 | 2000-09-01 | 2002-09-01 | CEC | RDI | PIRA | Elk Hills Power LLC (Sempra & Occidental) | Natural Gas Combined Cycle 500MW | Taft/ Buttonwillow, Kern Co. |  | 12 acres of Elk Hills Oil and Gas Field | Either new Tupman substation or Midway substation, 9 miles | 2,500 ft. pipeline | 2 153-166 MW CTG's, 1 HRSG, 1 171MW SG | SJUVAPCD Dry low NOx SCR | Fresh water from State Water Project, provided by Western Kern Water Dist, 9.8 mile pipeline | Deemed data adequate, now undergoing staff assessment | 1999-06-09 | 2000-08-01 | 2002-08-01
Three Mountains | NP15 | Redwood/ Malin | 3 | 500 | 2000-10-01 | 2003-01-01 | CEC | RDI | PIRA | Three Mountain Power LLC (Ogden Power Pacific) | Natural Gas Combined Cycle 500MW | Burney, Shasta Co. | $250 million | 40 acres, on industrial site with existing 10 MW wood-burning power plant | PG&E, 1,800 ft. 230 kV line, plus 88 miles of reconductoring, tie-in with PG&E 230 kV Pit River hydro transmission line | PG&E, 2,500 to 7,000 ft. pipeline | 2 170-MW "F" Class CTG's, 1 HRSG, 1 230-W SG | Shasta Co. AQMD | Groundwater from Burney Water District, 4,700 ft. pipeline, 2,900 AF/yr | Deemed data adequate, now undergoing staff assessment | 1999-06-23 | 2000-08-01 | 2002-08-01 | Project manager asked for a 3 month delay for additional resources due to some water issues
Moss Landing | NP15 | PGAE/Baja | 3 | 1090 | 2000-10-01 | 2002-10-01 | CEC | RDI | PIRA | Moss Landing LLC (Duke Energy) | Natural Gas Combined Cycle 1,090 MW | Moss Landing, Monterey Co. | $475 million | existing urban/ industrial (power plant) site | PG&E substation at site | PG&E gas pipelines already at site | 2-530 MW units: each with 2 CTG's, 2 HRSG's and 1 SG | Monterey Bay Unified APCD | Seawater, once-through cooling | Deemed data adequate, now undergoing staff assessment | 1999-08-11 | 2000-10-01 | 2002-10-01
Otay Mesa | SP15 | Socal/Ehrinberg | 3 | 510 | 2000-11-01 | 2002-11-01 | CEC | RDI | PIRA | PG&E Generating Co. | Natural Gas Combined Cycle 510MW | Otay Mesa, San Diego Co. | $500 million | 15 acres of "green field" | SDG&E, .1 mile 230 kV line to Miguel-Tijuana substation | SDG&E, 2 mile pipeline |  | San Diego APCD, Dry low NOx, SCONOx, NOx @ 1 ppm | Dry air condenser - not water, 2 mile pipeline to dispose wastewater to San Diego Co. | Deemed data adequate, now undergoing staff assessment | 1999-10-06 | 2000-12-01 | 2002-12-01 | Air Quality issue
Pastoria (Tejon Ranch) | ZP26 | Kern | 3 | 750 | 2001-01-01 | 2003-01-01 | CEC | RDI | PIRA | Pastoria Energy Facility LLP (Enron) | Natural Gas Combined Cycle 750 MW | Kern Co. | $300 million | 30 acres | SCE Pastoria substation, via 1.35 mile 230 kV | Kern River-Mojave Pipeline via 11.65 mile pipeline | 3-170 MW CT's, 2 HRSG, and 1-185 MW SG | SJVUAPCD, SONON or SCR | Wheeler Ridge-Maricopa Water Storage District, up to 7.2 MGD | Deemed data adequate, now undergoing staff assessment | 2000-01-26 | 2001-03-01 | 2003-03-01 | To begin formal hearing process
Blythe | SP15 | Socal/Ehrinberg | 3 | 520 | 2001-03-01 | 2003-03-01 | CEC | RDI | PIRA | Summit Energy Group | Natural Gas Combined Cycle 520MW | Blythe, Riverside Co. | $250 million | 15 acres of land zoned for industy | Western Area Power Admin., 600 ft. to Blythe Substation | Either El Paso-owned pipeline via 11.5 pipeline, or So. Cal Gas via .8 mile pipeline | 2-170 MW CTs, 2 HRSG and 1-180 MW SG | Mojave, Dry low NOx and SCR | Groundwater wells at project site, 3,000 AF/yr. | Deemed data adequate, now undergoing staff assessment | Projected Jan-00 | 2001-02-01 | 2003-02-01
Midway-Sunset | SP15 | Socal | 3 | 500 | 2001-03-01 | 2003-03-01 | CEC | RDI | PIRA | ARCO Western Energy | Natural Gas Combined Cycle 500MW | McKittrick, Kern Co. | $300 million | 10 acres near existing power plant facility | PG&E, 19 mile 230 kV line to Midway substation | Will be connected to Kern-Mojave and So Cal Gas pipelines | 2 -170 MW CTs, 2 HRSG and 1-180 MW SG | SJVUAPCD, Dry low NOx, SCR | West Kern Water District to provide 3,260 AF/yr. | Filed 12/22/99 | Projected Feb-00 | 2001-03-01 | 2003-03-01
Contra Costa | NP15 | PGAE City Gate | 3 | 530 | 2001-04-01 | 2003-04-01 | CEC | RDI | PIRA | Southern Energy Delta, LLC | Natural Gas Combined Cycle 530MW (Total generating capacity at facility: 1,210 MW) | 1 mile NE of Antioch, Contra Costa Co. | $250-$300 million | 20 acres on existing 200-acre power plant site | PG&E's Contract Costa Switchyard, located on site at 230 KV | Existing gas supply pipeline connected to PG&E Line 400 | Adding new "Unit 8" to existing plant: 2-175 MW GE Frame 7FA CGTs, 2 HRSG, 1-190 MW STG | BAAQMD, Dry low NOx burners, SCR, oxidation catalyst, 2.5 ppm of NOx | Reused San Joaquin River water, used first to cool Units 6 & 7, no new water lines needed, 7.3 - 7.5 MGD | Filed 1/31/2000 | Projected Mar-00 | 2001-04-01 | 2003-04-01
Mountainview | SP15 | Socal | 3 | 1056 | 2001-04-01 | 2003-04-01 | CEC |  |  | Mountainview Power Co., LLC (subsidiary of Thermo ECOtek) | Natural Gas Combined Cycle, 1056MW | Redlands (annexation pending), San Berno. Co. | $550 million | 16.3 acres of existing San Bernardino power plant site | Existing adjacent SCE-owned San Bernardino substation, no new t. lines needed | SoCalGas (Line 4000/4002), new 17 mile pipeline | Adding Units 3&4 to existing 132-MW power plant site (Units 1&2 @ 66 MW), 4-167 MW GE Model 7FA class CGT's, 4 HRSG's, 2-209 MW STG's, plus diesel engines | SCAQMD, Dry low NOx, SCR, oxidation catalyst, 2.5 ppm NOx | Water from either on-site and off-site wells, or secondary effluent from City of Redlands WWTP (if reclaimed water is used, will need 2.3 mi. water supply pipeline, 1,100 ft. wastewater discharge pipeline, Need 7.15 MGD | Filed 2/1/2000 | Projected Mar-00 | 2001-03-01 | 2003-03-01 | Found data adequate 5/17/2000
Nueva Azalea (Sunlaw) | SP15 | Socal | 3 | 550 | 2001-01-01 | 2004-01-01 | CEC | RDI | PIRA | EM-One Power Station LLC (owned by Sunlaw) | Natural Gas Combined Cycle, 550 MW | South Gate, LA County | $256 million | 13.5 acres of existing commercial trucking facility | SCE, 1000 ft. of 230 kV line to both Mesa and Redondo substations | So Cal Gas, 1 mile pipeline | 2, 175-MW ABB KA24-1 CTs, and 2 100-MW ST's | SCAQMD, dry low-NOx combustors and SCONOX, <1 ppm | Reclaimed water purchased from City of South Gate, supplied by MWD, 2,100 GPM. Wastewater to City of South Gate sewers. | Filed 3/8/00 | Projected May-00 | 2001-06-01 | 2003-06-01 | Not Data Adequate
Sunrise | ZP26 | Kern | * 3 | 320 | 2000-08-01 | 2002-08-01 | CEC | RDI | PIRA | Sunrise Cogeneration and Power Company (subsidiary of Texaco, Inc.) | Natural Gas-Fired Cogeneration (for TEOR) 320MW | Fellows, Kern Co. | $175-$195 million | 16 acres oil reserve site | PG&E and DWR (new) Valley Acres substation, 15 mile 230 kV line | Texaco No. American Production, 60 ft. pipeline | 2 165 MW General Electric 7FA CTG's, 2 HRSG's | SJVUAPCDDry Low NOx SCR | From adjacent oil field operations | in hearings | 1999-02-17 | 2000-04-01 | 2002-04-01 | The California Energy Commission denied Texaco a license to build a proposed 320 MW, $175-$195 million power plant in Kern County, CA. The U.S. so-called Sunrise Cogeneration Project was rejected at the U.S. Environmental Protection Agency ruled that the local air district's final determination of compliance is invalid. The Energy Commission said it would not grant license until the environmental issues are resolved. 7/10/2000 turns out that CA had issues with Texaco over some prior violations at other sites. | Looks Bad. Not cancelled yet
Metcalf | NP15 | PGAE/Baja | * 3 | 600 | 2000-12-01 | 2002-12-01 | CEC | RDI | PIRA | Calpine & Bechtel | Natural Gas Combined Cycle 600 MW | San Jose and Santa Clara County, Santa Clara Co. | $300-400 million | 14 acres, currently zoned agricultural/ campus industrial | PG&E, 200 ft. 230 kV to Metcalf substation | PG&E, 1 mile | 2 - 200MW CTCs, 2 HRSG, 1-235 MW SG | BAAQMD Dry low NOx, SCR, NOx @ 2.5 ppm | Recycled water from San Jose/Santa Clara Water Pollution Control Plant via 10.2-mile pipeline, 2.9 to 5.8 MGD | Deemed data adequate, now undergoing staff assessment | 1999-06-23 | 2000-08-01 | 2002-08-01 | Also this week, the San Jose Mercury News reported that California Energy Commission analysts have recommended that Calpine Corp.'s proposed Metcalf Energy Center be built somewhere other than Coyote Valley. The newspaper said the recommendation was a "potentially fatal blow" to Calpine's plans for the power plant. The paper said that California Energy Commission officials said that sites in North San Jose or Fremont would be "preferable to the environmentally sensitive Coyote Valley." Calpine officials were reported to be insisting that Coyote Valley remains the best location for a power plant, and said they have no plans to fold their tents. They said they would address the state's concerns about water quality and a rare local butterfly before the energy commission makes a final permit decision later this year. 7/10/2000 - Mayor came out publicly against this, but there is strong support with the industrial and commercial users that a plant be built. | Need rezone of land. Major doc released 5/16/2000 Prelim staff assesment now enter public workshops, lot of public opposition
Morro Bay | ZP26 | Kern | 4 | 530 |  |  | CEC |  | PIRA | Duke Energy | Natural Gas Combined Cycle 530MW | Morro Bay, San Luis Obispo Co. | $250 million | existing urban/ industrial (power plant) site | [5 empty] | withdrew application, will resubmit for "first phase" in April or May, 2000. Community wants plant to be modified, want more funds, city council person wants to reopen intake issue | Projected Feb-00 | 2001-03-01 | 2003-03-01 | withdrawn
Antelope Valley | ZP26 | Kern | 4 | 1000 |  | 2004-06-01 | CEC | RDI | PIRA | AES | Up to 1,000MW | California City, Kern Co. | $500 million |  |  |  |  | Antelope Valley |  | Expect application 1/00 or 2/00 | Projected Mar-00 | 2001-04-01 | 2003-04-01
Potrero Repwr | NP15 | PGAE City Gate | 4 | 530 |  | 2003-09-01 | CEC |  | PIRA | Southern Energy | 530MW | Portrero, Contra Costa Co. | [5 empty] | BAAQMD |  |  | Projected Feb-00 | 2001-03-01 | 2003-03-01
South City | NP15 | PGAE City Gate | 4 | 550 |  |  | CEC | RDI | PIRA | AES | 550MW | So. San Francisco, San Mateo Co. | [5 empty] | BAAQMD
Redondo Beach Repwr | SP15 | Socal | 4 | 700 |  |  | CEC | RDI | PIRA | AES | 700MW | Redondo Beach, LA County | [5 empty] | SCAQMD |  | Expect application in March/00
Telephone Flat | NP15 | Application Submitted - Approved pending final gov't decision | 4 | 48.8 |  |  |  |  | PIRA | Calpine | Probably built to 30 MW depending on contract Geothermal Steam | Modoc National Forest - Medecine Lake Area
Four Mile Project | NP15 | Application Submitted - Approved pending final gov't decision | 4 | 49.9 |  |  |  |  | PIRA | Calpine | Probably built to 30 MW depending on contract Geothermal Steam | Modoc National Forest - Medecine Lake Area
Hanford | ZP26 |  | 4 | 100 |  | 2003-06-01
made requests to couple water districts
|  |  | Sum of Capacity | Status | [5 empty] | CISO New Gen Study
|  |  | Region | 1 | 2 | 3 | 4 |  |  | http://www.bpa.gov/corporate/kcc/lightson/caliso/sld001.htm
|  |  | NP15 | 1000 | 880 | 2720 | 1178.7
|  |  | SP15 |  | 720 | 3136 | 1200 |  |  | High Desert Call
|  |  | ZP26 | 1048 |  | 1570 | 1530 |  |  | Richard Buell
Project Manager
|  |  | Sum of Capacity | Region | [5 empty] | Energy Facilities Siting and Environmental Protection Division
|  |  | Possible On-line Date | NP15 | SP15 | ZP26 |  |  |  | California Energy Commission
|  |  | 2001-07-01 | 500 | [5 empty] | 1516 Ninth Street, MS-15
|  |  | 2001-08-01 | 500 | [5 empty] | Sacramento, CA 95814
|  |  | 2001-09-01 |  |  | 1048 |  |  |  | Phone: 916-653-1614
|  |  | 2002-03-01 |  | 720
|  |  | 2002-04-01 | 880
Note on A5: klande: JB - CEC Appl 880 MW
Note on A8: klande: DP- Kept at low probability JB - Low Prob
Note on A10: klande: DP-Agrees with low probability
Note on A13: klande: DP - High prob
Note on A18: klande: DP - 2004
Note on A22: klande: DP - Medium Prob 2003-4

## CA Siting Case
Project Name | Applicant | Type, Fuel Source and Size | Location | Estimated Cost | Nature of Location, "green field" or existing site | Intended Grid Tie-In and New Linear Facilities | Natural Gas Supplier and New Linear Facilities | Turbine Specs | Air District, Air Pollution Control Technology and Offset Strategy | Cooling Technology, Source of Water (if water cooled), and New Linear Facilities | Status | Date of Data Adequacy | Actual or Projected Date of Certification (13+ months from Data Adequacy date) | Projected Date of Operation (24 months from Certification date)
Sutter Power | Calpine Corporation | Natural Gas Combined Cycle 500MW | Yuba City area, Sutter Co. | $250 - $285 million | 16 acres of "green field," adjacent to cogeneration power plant | WAPA transmission system, 4-mile 230 kV overhead line, not ISO operated | PG&E, 14.9 mile pipeline | 2 - 170MW Westinghouse 501 FC gas turbine/generators, 2 heat recovery steam generators (HRSG), 1 - 160 MW steam turbine/generator | Feather River AQMD Dry Low NOx, SCR, and oxidation catalyst 2.5 NOx | Dry air condenser | approved | 1998-01-21 | 1999-04-14 | Construction halted, pending review by US EPA Appeals Board If project can begin on April-00, could be operating by April-02
Pittsburg District Energy Facility | Pittsburg District Energy Facility LLC (established by Enron Capital and Trade Resources Corp.) | Natural Gas-Fired, Combined Cycle Cogeneration 500MW, steam to USS-POSCO | Pittsburg, Contra Costa Co. | $300 million | 12 acres of industrial site (USS-Posco Industries) | PG&E switchyard at the Pittsburg Power Plant, 2 mile 115kV | PG&E, 3.6 mile pipeline | 2 "F" class gas turbine/generators, heat recovery steam generator units, 1 steam turbine generator | BAAQMD SCR and Dry Low NOx | Delta Diablo Sanitation District - disinfected tertiary reclaimed water (128,000 gpm), 2 mile pipeline | approved | 1998-07-29 | 1999-08-17 | 2001-09-01 | Avoid duplication of tx lines with delta
La Paloma | La Paloma Generating Company LLC (formed by PG&E Generating Co.) | Natural Gas Combined Cycle 1048MW | McKittrick, Kern Co. | $500 million | 23 acres in an oil field production area | PG&E Midway Substation, 14.2 mile 230kV line | Interstate pipeline owned jointly by Kern River National Gas Transmission Company and Mojave Pipeline Company, 370 feet | 4 - 262 MW "power islands," each with 1 gas turbine generator (ABB Model GT 24) , 1 HRSG and 1 steam turbine | San Joaquin Valley Unified APCD SCR on 3, "SCONOx" on 1 CT | Fresh water cooled, Water from CA Aqueduct supplied from West Kern Water Dist., 5,500 AF/yr., 8 mile pipeline | approved | 1998-08-26 | 1999-10-06 | 2001-11-01
Delta Energy Center | Calpine & Bechtel | Natural Gas Combined Cycle Cogeneration 880MW, steam to Dow Chemical | Pittsburg, Contra Costa Co. | $350-$450 million | 20 acres of existing industrial site (Dow Chemical) | PG&E Pittsburg Substation, 3.3 mile 230kV line | PG&E, 5.3 mile pipeline | 3 - 200MW CTGs, 3 HRSG, 1 SG | BAAQMD SCR | 2ndary-treated wastewater from Delta Diablo Sanitation District, 500 ft. | approved | 1999-02-17 | 2000-04-01 | 2002-04-01
High Desert | High Desert Power Plant LLC (Inland & Constellation) | Natural Gas Combined Cycle, either 678MW or 720MW. May develop steam, hot water or chilled water to industrial operations at project site in the future | Victorville, San Bernardino Co. | $250-$350 million | 25 acres at former Air Force base | SCE Victor Substation, 7.2 mile 230kV line | Southwest Gas Co. will build 2.75-mile pipeline to project, but additional connections being considered as well | 720 MW plant: 3 Class F CT's (160MW each) and 3 steam turbines (86.5MW each) 678 MW plant: 2 Class G CT's (236MW each) and 2 steam turbines (115MW each) | Mojave Desert APCD Dry Low NOx and SCR | Fresh water cooled, Water from CA Aqueduct supplied from Mojave Water Agency- 71 mile pipeline. Groundwater from Victor Valley Water District when CA Aqueduct water is unavailable. 720MW plant: 3,597 AF/yr., 678MW plant: 3,102 AF/yr. | proposed decision to approve project is pending | 1997-12-03 | 2000-02-01 | 2002-02-01
Sunrise Cogen | Sunrise Cogeneration and Power Company (subsidiary of Texaco, Inc.) | Natural Gas-Fired Cogeneration (for TEOR) 320MW | Fellows, Kern Co. | $175-$195 million | 16 acres oil reserve site | PG&E and DWR (new) Valley Acres substation, 15 mile 230 kV line | Texaco No. American Production, 60 ft. pipeline | 2 165 MW General Electric 7FA CTG's, 2 HRSG's | SJVUAPCDDry Low NOx SCR | From adjacent oil field operations | in hearings | 1999-02-17 | 2000-04-01 | 2002-04-01
Elk Hills | Elk Hills Power LLC (Sempra & Occidental) | Natural Gas Combined Cycle 500MW | Taft/ Buttonwillow, Kern Co. |  | 12 acres of Elk Hills Oil and Gas Field | Either new Tupman substation or Midway substation, 9 miles | 2,500 ft. pipeline | 2 153-166 MW CTG's, 1 HRSG, 1 171MW SG | SJUVAPCD Dry low NOx SCR | Fresh water from State Water Project, provided by Western Kern Water Dist, 9.8 mile pipeline | Deemed data adequate, now undergoing staff assessment | 1999-06-09 | 2000-08-01 | 2002-08-01
Three Mountain Power | Three Mountain Power LLC (Ogden Power Pacific) | Natural Gas Combined Cycle 500MW | Burney, Shasta Co. | $250 million | 40 acres, on industrial site with existing 10 MW wood-burning power plant | PG&E, 1,800 ft. 230 kV line, plus 88 miles of reconductoring, tie-in with PG&E 230 kV Pit River hydro transmission line | PG&E, 2,500 to 7,000 ft. pipeline | 2 170-MW "F" Class CTG's, 1 HRSG, 1 230-W SG | Shasta Co. AQMD | Groundwater from Burney Water District, 4,700 ft. pipeline, 2,900 AF/yr | Deemed data adequate, now undergoing staff assessment | 1999-06-23 | 2000-08-01 | 2002-08-01
Metcalf Energy Center | Calpine & Bechtel | Natural Gas Combined Cycle 600 MW | San Jose and Santa Clara County, Santa Clara Co. | $300-400 million | 14 acres, currently zoned agricultural/ campus industrial | PG&E, 200 ft. 230 kV to Metcalf substation | PG&E, 1 mile | 2 - 200MW CTCs, 2 HRSG, 1-235 MW SG | BAAQMD Dry low NOx, SCR, NOx @ 2.5 ppm | Recycled water from San Jose/Santa Clara Water Pollution Control Plant via 10.2-mile pipeline, 2.9 to 5.8 MGD | Deemed data adequate, now undergoing staff assessment | 1999-06-23 | 2000-08-01 | 2002-08-01
Moss Landing | Moss Landing LLC (Duke Energy) | Natural Gas Combined Cycle 1,090 MW | Moss Landing, Monterey Co. | $475 million | existing urban/ industrial (power plant) site | PG&E substation at site | PG&E gas pipelines already at site | 2-530 MW units: each with 2 CTG's, 2 HRSG's and 1 SG | Monterey Bay Unified APCD | Seawater, once-through cooling | Deemed data adequate, now undergoing staff assessment | 1999-08-11 | 2000-10-01 | 2002-10-01
Otay Mesa | PG&E Generating Co. | Natural Gas Combined Cycle 510MW | Otay Mesa, San Diego Co. | $500 million | 15 acres of "green field" | SDG&E, .1 mile 230 kV line to Miguel-Tijuana substation | SDG&E, 2 mile pipeline |  | San Diego APCD, Dry low NOx, SCONOx, NOx @ 1 ppm | Dry air condenser - not water, 2 mile pipeline to dispose wastewater to San Diego Co. | Deemed data adequate, now undergoing staff assessment | 1999-10-06 | 2000-12-01 | 2002-12-01
Pastoria | Pastoria Energy Facility LLP (Enron) | Natural Gas Combined Cycle 750 MW | Kern Co. | $300 million | 30 acres | SCE Pastoria substation, via 1.35 mile 230 kV | Kern River-Mojave Pipeline via 11.65 mile pipeline | 3-170 MW CT's, 2 HRSG, and 1-185 MW SG | SJVUAPCD, SONON or SCR | Wheeler Ridge-Maricopa Water Storage District, up to 7.2 MGD | Deemed data adequate, now undergoing staff assessment | 2000-01-26 | 2001-03-01 | 2003-03-01
Blythe Energy | Summit Energy Group | Natural Gas Combined Cycle 520MW | Blythe, Riverside Co. | $250 million | 15 acres of land zoned for industy | Western Area Power Admin., 600 ft. to Blythe Substation | Either El Paso-owned pipeline via 11.5 pipeline, or So. Cal Gas via .8 mile pipeline | 2-170 MW CTs, 2 HRSG and 1-180 MW SG | Mojave, Dry low NOx and SCR | Groundwater wells at project site, 3,000 AF/yr. | Deemed data adequate, now undergoing staff assessment | Projected Jan-00 | 2001-02-01 | 2003-02-01
Western Midway Sunset | ARCO Western Energy | Natural Gas Combined Cycle 500MW | McKittrick, Kern Co. | $300 million | 10 acres near existing power plant facility | PG&E, 19 mile 230 kV line to Midway substation | Will be connected to Kern-Mojave and So Cal Gas pipelines | 2 -170 MW CTs, 2 HRSG and 1-180 MW SG | SJVUAPCD, Dry low NOx, SCR | West Kern Water District to provide 3,260 AF/yr. | Filed 12/22/99 | Projected Feb-00 | 2001-03-01 | 2003-03-01
Contra Costa Modernization | Southern Energy Delta, LLC | Natural Gas Combined Cycle 530MW (Total generating capacity at facility: 1,210 MW) | 1 mile NE of Antioch, Contra Costa Co. | $250-$300 million | 20 acres on existing 200-acre power plant site | PG&E's Contract Costa Switchyard, located on site at 230 KV | Existing gas supply pipeline connected to PG&E Line 400 | Adding new "Unit 8" to existing plant: 2-175 MW GE Frame 7FA CGTs, 2 HRSG, 1-190 MW STG | BAAQMD, Dry low NOx burners, SCR, oxidation catalyst, 2.5 ppm of NOx | Reused San Joaquin River water, used first to cool Units 6 & 7, no new water lines needed, 7.3 - 7.5 MGD | Filed 1/31/2000 | Projected Mar-00 | 2001-04-01 | 2003-04-01
Mountainview | Mountainview Power Co., LLC (subsidiary of Thermo ECOtek) | Natural Gas Combined Cycle, 1056MW | Redlands (annexation pending), San Berno. Co. | $550 million | 16.3 acres of existing San Bernardino power plant site | Existing adjacent SCE-owned San Bernardino substation, no new t. lines needed | SoCalGas (Line 4000/4002), new 17 mile pipeline | Adding Units 3&4 to existing 132-MW power plant site (Units 1&2 @ 66 MW), 4-167 MW GE Model 7FA class CGT's, 4 HRSG's, 2-209 MW STG's, plus diesel engines | SCAQMD, Dry low NOx, SCR, oxidation catalyst, 2.5 ppm NOx | Water from either on-site and off-site wells, or secondary effluent from City of Redlands WWTP (if reclaimed water is used, will need 2.3 mi. water supply pipeline, 1,100 ft. wastewater discharge pipeline, Need 7.15 MGD | Filed 2/1/2000 | Projected Mar-00 | 2001-03-01 | 2003-03-01
Nueva Azalea | EM-One Power Station LLC (owned by Sunlaw) | Natural Gas Combined Cycle, 550 MW | South Gate, LA County | $256 million | 13.5 acres of existing commercial trucking facility | SCE, 1000 ft. of 230 kV line to both Mesa and Redondo substations | So Cal Gas, 1 mile pipeline | 2, 175-MW ABB KA24-1 CTs, and 2 100-MW ST's | SCAQMD, dry low-NOx combustors and SCONOX, <1 ppm | Reclaimed water purchased from City of South Gate, supplied by MWD, 2,100 GPM. Wastewater to City of South Gate sewers. | Filed 3/8/00 | Projected May-00 | 2001-06-01 | 2003-06-01
Morro Bay | Duke Energy | Natural Gas Combined Cycle 530MW | Morro Bay, San Luis Obispo Co. | $250 million | existing urban/ industrial (power plant) site | [5 empty] | withdrew application, will resubmit for "first phase" in April or May, 2000. Community wants plant to be modified, want more funds, city council person wants to reopen intake issue | Projected Feb-00 | 2001-03-01 | 2003-03-01
Antelope Valley | AES | Up to 1,000MW | California City, Kern Co. | $500 million |  |  |  |  | Antelope Valley |  | Expect application 1/00 or 2/00 | Projected Mar-00 | 2001-04-01 | 2003-04-01
Potrero Repwr | Southern Energy | 530MW | Portrero, Contra Costa Co. | [5 empty] | BAAQMD |  |  | Projected Feb-00 | 2001-03-01 | 2003-03-01
Long Beach | Enron | 500MW | Long Beach, LA County | [5 empty] | SCAQMD
South City | AES | 550MW | So. San Francisco, San Mateo Co. | [5 empty] | BAAQMD
Redondo Beach Repwr | AES | 700MW | Redondo Beach, LA County | [5 empty] | SCAQMD |  | Expect application in March/00

## OR
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: | OPUC, Jack Williams (503) 378-6634 |  | Jeff King, Central Power Council maintains comprehensive db of all plants to be built in
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Notes | Oregon Office of Energy, Dave (503) 378-4040
Vestas |  |  | 1 | 25 | 1999-03-01 | Completed |  | RDI |  | Vansycle Ridge, FPL Project, BPA, | Umatilla | 38 |  | Wind |  | OR | WSCC |  | 1996 PGE enetered into an agreement to buy net output of wind plant from Kentor Wind power.
Vestas |  |  | 1 | 100 | 2000-05-01 | 2001-12-01 |  | RDI |  | Vansycle Ridge, FPL Project, BPA, | Umatilla | ?? |  | Wind |  | OR | WSCC |  | Previously sited facility operated at 35% capacity over the course of the last year which is much better than expected. FPL should submit 100MW appl in June 2000
Klamath Cogen |  |  | 1 | 490 | Yes | 2001-06-01 |  | RDI | PIRA | Klamath Falls / Pacificorp | Klamath Falls | 2 | CG | NG |  | OR | WSCC |  | Increased to 500 April 17, 1998 - B&V is EPC. 40 yr lease signed with Collins Wood products for siting 3/99. Completion date chaged to 7/2001 from 5/2001, 2 Westinghouse turbines Frame Unit with ABB Steam Turbine, 4000 ft elevation HR 6900 HHV, 490 MW because of eleveation
Hermiston |  |  | 1 | 536 | Yes | 2002-05-01 |  | RDI | PIRA | Calpine / Ida Corp | Hermiston | 2 | CC | NG |  | OR | WSCC |  | Calpine bought rights from Ida-West. ABB GT24 turbines., SC granted, on-site investigation underway as of 4/27/2000. Calpine is not bound to original configuration as set forth by Idacorp. 6900 HR at HHV. 2-on-1 Frame unit\
Coyote Springs Phase 2 |  |  | 2 | 231 |  | 2002-03-01 |  |  | PIRA | Portland General | Boardman |  |  | NG |  | OR | WSCC |  | Plan to build filed under old need-for-power law. Must pay 2.5 million to climate Trust if built., SC approved, WWP Under review with ammenment
Little Sand Dam |  |  | 2 | -11 |  | 2004-06-01 |  | RDI |  | PGE |  |  |  | Hydro |  | OR | WSCC
Columbia County/Boise Cascade |  |  | 5 | 110 |  |  | Siting Office |  |  | Oregon Energy, Inc | St Helens | 3 |  | NG |  | OR | WSCC |  | Received high efficiency exemption for upto 110 MW next to Boise Cascade's St. Helens Plant. They have reached a tentative agreement to sell power and steam to Boise. This will require a new expansion in order to sell more steam.
Columbia County Cogen |  |  | 5 | 440 |  |  |  |  | PIRA | PowerLink | St Helens |  |  | NG |  | OR | WSCC |  | NOI expired, low probability of being built; good site though because of proximity to Trojan 500 KV line and near load center and will not require a BPA EIS
Umatilla |  |  | 5 | 481 |  | 2003-06-01 |  |  | PIRA | PG&E Gen | Umatilla |  |  | NG |  | OR | WSCC |  | On hold until market friendlier, acording to OR EFSB, Has pulled application
Newberry |  |  | 6 | 30 | [5 empty] | NW Geo |  |  |  | Geothermal |  | OR | WSCC |  | Never to be built. Drilling revealed hot/cold rock geology-->poor steam
Malin/Bonanza |  |  | 5 | 214 |  |  |  |  | PIRA | Tenaska Power Part | Malin |  |  | NG |  | OR | WSCC |  | Never to be built. Notice of intent expired. Physically to close to Klamath Falls
Nr Ore Pumped Strg |  |  | 6 | 15 |  |  |  |  | PIRA | Composite Power Corp | The Dalles |  |  | WAT |  | OR | WSCC |  | Part of large Montana coal project. 250 MW
|  |  | Sum of Capacity | Status
|  |  |  | 1 | 2 | 5 | 6
|  |  | Total | 525 | 756 | 1345 | 45
Sum of Capacity
|  |  | Possible On-line Date | Total
|  |  | Completed | 25
|  |  | 2001-01-01 | 100
|  |  | 2001-07-01 | 500
|  |  | 2002-07-01 | 536
|  |  | (blank) | -11
|  |  | 2002-03-01 | 231
|  |  | Grand Total | 1381
Note on A6: klande: EC- High Prob

## WA
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: | EFSEC Mike Mills (360) 956-2121 Only plants over 250 MW Allen Fixtall ext 2152 Mike Nelson, WSU 360-956-2148 BPA on tab for 15 miiliion Greenfield Energy Facility, could build a solar plant there and delay the remediation effort upt0 90 years.
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Notes | Paul Roberts / Jerry Everett Planning Phone: (425) 257-8731
Everett Delta |  | local review | 1 | 248 | 1997-10-03 | 2001-12-01 | CEC |  | PIRA | FPL Energy / PSPL Energy Services Formerly Northwest Power | Everett | 1 | CC | NG |  | WA | WSCC |  | Formerly (stalled) NWPE 220 MW project. FPL bought rights in 1/99. Construction to began 9/1/99 As of 4/25/00 Unit 1 not complete and gas line construction has been stalled. GE Fcycle units 6900 HR
Chehalis Power |  | Most likely to be built | 2 | 460 | 1997-03-01 | 2003-06-01 | EFSEC |  | PIRA | Tractebel | Chehalis |  | CC | NG |  | WA | WSCC |  | Const to begin spring 2001, proposed change would allow the use of higher efficiency turbines that would generate an additional 60 megawatts of electricity (from 460 to 520 MW). The proposed change in turbine technology also requires a modification of the air emission permit. Some changes to liscense.
Cowlitz Cogen |  |  | 2 | 405 |  | 2004-02-01 | CEC |  | PIRA | Mission / Weyerhauser | longview | 2 | CC | NG |  | WA | WSCC |  | SC granted
Northwest Regional PF |  |  | 2 * | 838 | 1996-09-20 |  | EFSEC |  | PIRA | Northwest Power Co | Spokane |  |  | NG |  | WA | WSCC |  | Same co doing star project, Began in early 1990's. Fundamental technical problems with this site concerning access to water and transmission--> Low Probability of being built No date for start of construction
Satsop |  |  | 2 * | 532 |  | 2003-12-01 | CEC |  | PIRA | WPPSS, Energy Northwest | Satsop | 2 | CC | NG |  | WA | WSCC |  | SC approved 10 year liscence 2006
Sumas Energy 2 |  |  | 3 | 660 | 1999-11-01 | 2003-06-01 | CEC, EFSEC |  | PIRA | NESCO Enterprises | Sumas |  | CC | NG |  | WA | WSCC |  | To be announced early 99. WAEFSB issued RFP to hire consultants for review of this and subsequent energy projects in Nov 98. 2x355 MW. As proposed, would take cooling water from BC - some opposition from local Labor.18-24 mo process
Starbuck Power Facility |  | PGT | 4 | 1100 |  | 2004-06-01 | EFSEC |  | PIRA | Northwest Power Co | Starbuck (SE WA) |  | CC | NG |  | WA | WSCC |  | Prelim site study, before app process
Hanford Wind Power | WSU Energy Extension Office |  |  | 0 |  |  | WSU |  | PIRA | Composite Power Corp | Hanford |  |  | WND |  | WA | WSCC |  | Part of large Montana coal project. 250 MW
Global Energy |  |  |  | 250 |  | 2003-06-01 |  |  |  | Snohomish
Condit - White Salmon |  |  | 2 | -23 |  | 2008-01-01
10 year liscenses done in 2007
|  |  | Sum of Capacity | Status
|  |  |  | 1 | 2 | 3 | 4 | (blank)
|  |  | Total | 248 | 2235 | 660 | 1100 | 0
BPA System Study
http://www.bpa.gov/corporate/kcc/reliability/nwppc/sld001.htm
Note on A4: klande: ST - High Prob
Note on A11: klande: EC - Low Prob

## ID, MT, UT, WY
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: | Ron Kuzel, MT DEQ, 406-444-2544 or Warren McCullough (406) 444-6791; Berney Daily WY,(307) 777-7391; Dan Selgado ID (208) 373-0431, Mark Casper, Cogentrix, (704) 525-3800
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Lynn Menlove, Utah Air Quality District (801) 536-4076; Mike Owens, EPA (303) 312-6312
Rathdrum |  |  | 1 | 270 | 1999-10-29 | 2001-08-01 | CEC | RDI | PIRA | Cogentrix / Avista | Rathdrum | 1 | CC | NG |  | ID | WSCC |  | Hope to finance by 6/99, begin construction by 11/99, complete by 11/01. Power sold to Avista. Air issued late fall. Under construction. Spoke to Mark Casper at Cogentrix(Environmental Issues) Plant is N of Cour d'Alaine uses pipeline and transmission wires from Pond O'Reille dam.. 1-on-1 GE F cycle, 6900 HR Combine Cycle
Foote Creek 4 |  |  | 1 | 16.8 |  | 2000-08-01 |  | RDI |  |  | Carbon Co. |  |  | Wind |  | WY |  |  | Currently 28.2 MW installedHoly placed a call with BPA 5/18/2000, Sold forward at $49/MWh
Glacier Internatioal Power (Blackfeet) |  |  | 5 | 160 |  | 2001-06-01 | CEC | RDI | PIRA | Adair Intl O&G/Blackfeet | Blackfeet Reservation |  | CC | NG |  | MT | WSCC |  | no set date yet
Quail Creek Hydro Plant #2 |  |  |  | 4 |  | 2001-06-01 |  | RDI |  | Washington County Water Conservacy |  |  |  | Water |  | UT | WSCC
Wygen 1 |  |  | 1 | 80 | Under Construction | 2003-12-01 |  | RDI | PIRA | Black Hills Corp | Gillette |  |  | Coal |  | WY | WSCC |  | air permits received, check www.blackhillscorp.com/ due in spring 2002, Vern Shields (307) 682-3771 ext 210 Preliminary construction has begun. Constructioin hiccups as of 5/10/2000 On-line date revised to 12/1/2003
Niel Simpson 2 |  |  | 1 | 80 |  | 1995-09-01 |  |  | PIRA | Calpine \ Blackhills Power & Light | Gillette |  |  | Coal |  | WY | WSCC
Two Elk CT Waste |  |  | 2 | 240 | Recent | Not under Construction 2 yrs to start |  |  | PIRA | North American Power | Two Elk |  | CT | Coal |  | WY | WSCC |  | Article in MW Daily
Eagle Ridge |  |  | 2 | 4 |  |  | Air Quality |  |  | Eagle Ridge | West of Provo |  |  |  |  | UT | WSCC |  | plan to build some distributed gen
Eastern Montana Steam (Carbon County, Bear Creek) |  |  | 5 | 2000 |  | 2003-12-31 | CEC | RDI | PIRA | Composite Power Corp | Carbon county |  | ST | Coal |  | MT | WSCC |  | 4x500 MW for sale in Wisconsin. Uses new transmission technology. Permits pending. Transmission to cost 850 million.
Butte-Silver Bow County |  |  | 4 | 230 |  |  | DEQ |  | PIRA | Continental Energy Services | Silver Bow |  |  | NG |  | MT | WSCC |  | submitted bid to acquire 20 acres of land, has made preliminary inquires with DEQ
Kootenai Falls Hydroelectric |  |  |  | 144 | [5 empty] | Northern Lights |  |  |  | Water |  | MT | WSCC
Shivwits Band Power |  |  | 4 | 215 |  |  | EPA |  | PIRA | FN Smith | St George |  |  | NG |  | UT | WSCC |  | Shivwits Indian(6x6 miles) Reservation 12 miles west of St. George, Utah. Air pollution regulated by EPA Region 8. 1994 letter from Enviroserv Assoc with Tasco to see what permits are required.
Murray City (UAMPS) |  |  | 4 | 40 |  |  | Air Quality |  |  |  | Salt Lake County |  |  | NG |  | UT | WSCC |  | enetered preliminary discussions on upgrading capacity.
MT plants over 250 go through reg process with DEQ
Left msg with Cogentrix
ID DEQ is looking into this
|  | Sum of Capacity | Status
|  |  | 1 | 2 | 4 | 5 | (blank)
|  | Total | 430 | 244 | 485 | 2160 | 148

## CO
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: | Melissa Petrone, Office Energy Management & Conservation, (303) 620-4292 ext 211
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Notes | Gary Schmidts, Public Utility Commission 303-894-2000, 800-456-0858
Manchief (Brush) |  |  | 1 | 265 | 200005 | 2000-06-01 | CEC | RDI | PIRA | Coastal [Fulton cogeneration Associates] | Brush |  |  | NG |  | CO | WSCC |  |  | Wendell Winger, CPUC 303-894-2874
Valmont Repowering |  |  | 1 | 11 | 200005 | 2000-05-25 | CEC | RDI | PIRA | Public Service of Colorado , New Centuries sold to Indec | Boulder |  |  | NG |  | CO | WSCC |  | 37 Mw in Boulder, 74 in Denver -finished turbines will be SOLD to highest bidder, scheduled in May 1st, but will be likely before June [called 1/31/00] Plant is recommended for additional development
Arapahoe Repowering |  |  | 1 | 115 |  | 2000-06-01 | CEC | RDI |  | Public Service of Colorado , New Centuries sold to Indec | Denver | 2 |  | Coal |  | CO | WSCC |  | Plant currently having permit problems, 3 LM6000 derated because 5,300 foot. Everything is set at site engineering infrastruicture. Agreed to shut down old turbines sold to Indec, Blackhills has rights
Ft St Vrain - Phase III |  |  | 2 | 235 | 200103 | 2001-06-01 | CEC |  | PIRA | New Century Energy, PSC Colorado | Boulder & Denver | 1 |  | NG |  | CO | WSCC |  | Third stage of nuke plant conversion. PSC to decide this fall. According to Wendell Winger CPUC this project has been approved
Powhatan 48 |  |  | 2 | 150 | 200206 | 2002-05-01 |  |  | PIRA | North American Power | DIA |  | CT | NG |  | CO | WSCC |  | 2X150 each unit- simple cycle- Denver International airport (initial phase)- origionally 6/2000. Same issues with air permits that Front Range faced American Power will only build one of its 2 plants because of this.
Ray Nixon (Phase 2) |  |  | 2 | 400 | 200206 | 2003-01-01 | CEC |  | PIRA | Colorado Springs Utilities / Coastal | Colorado Springs |  | CC | NG |  | CO | WSCC |  | Second phase. One half sold to market through Coastal, No one has taken the excess because of high offer. If CSU cannot sell excess power unit will not be built.
Fort Lupton (Front Range) |  |  | 3 | 160 | 200199 | 2001-05-01 | CEC | RDI | PIRA | KN Energy (Front Range Power Co) | Fort Lupton | 1 | CC | NG |  | CO | WSCC |  | in response to RFP from PSCo, currently on hold due to air permits See RFP. Cancelled because of Air Permits 5/31/2000
Monahan 48 |  |  | 5 | 150 | . | 2001-06-01 |  | RDI | PIRA | North American Power | DIA |  | CT | NG |  | CO | WSCC |  | 2X150 each unit- simple cycle- Denver International airport (initial phase)- origionally 6/2000
Metro Wastewater Cogen |  |  | 5 | 10 |  |  |  | RDI |  | Trigen-Colorado Energy |  |  |  | Unknown
Pawnee |  |  | 6 | 200 | 999999 |  |  |  | PIRA | Independent Energy | Denver |  | CT | NG |  | CO | WSCC |  | Existing Coal conversion to gas
Left message with Melissa of OEMC
PSC new RFP for 3,000 MW
|  |  | Sum of Capacity | Status
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6
|  |  | Total | 276 | 550 | 160 | 350 | 160 | 200
Sum of Capacity
|  |  | Possible On-line Date | Total
|  |  | 2000-06-01 | 265
|  |  | 2000-12-01 | 11
|  |  | 2002-05-01 | 150
|  |  | 2003-01-01 | 400
Note on A8: klande: ST - High Prob

## AZ
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: | ADEQ Barbara (602) 207-2283 Maricopa (602) 506-6010 Penal (520) 868-6915
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Notes
El Dorado |  |  | 1 | 492 |  | 2000-04-01 |  |  |  | Reliant | Boulder City, NV | 2 |  | NG |  | AZ | WSCC |  | HR 8000 $2 O&M many problems with unit no long term commitments only selling into CA Daily. Problem with turbine specs
South Point Power Plant [Mojave] |  |  | 1 | 545 | Construction Began 6/99 | 2001-05-01 | CEC | RDI | PIRA | Calpine | Fort Mojave Indian Reservation [Bullhead City] |  | CT | NG |  | AZ | WSCC |  | Construction started in June-99. Ouput to be sold to CA, NV and AZ. Approval received from BIA. Should be finished 3/01 added 5 MW to 545 MW. HR 7,250 Var O&M $1.00, Term Sheet shows 1.50 OM w/3% adj annual, 7100 HR Winter/7300 HR Summer, Min Run time 8 hours, max down time 30 hours 94%available winter 97%summer
Griffith Energy Project |  |  | 1 | 520 |  | 2001-05-01 | CEC | RDI | PIRA | Duke Energy / NP Energy / PP&L | Kingman | 2 | CC | NG |  | AZ | WSCC |  | NP Energy to market output. 520 nominal output, Duke acquired 50% of project from PP&L
Desert Basin Gnrtng |  |  | 1 | 500 |  | 2001-06-01 | CEC | RDI | PIRA | HIPG, Reliant | Casa Grande City |  | CC | NG |  | AZ | WSCC |  | Construction to start 3qtr 99. 40 yr sale/leaseback structure
43rd Avenue plant (Phase 1) West Phoenix - Repower |  |  | 1 | 70 |  | 2001-08-01 | CEC | RDI | PIRA | Pinnacle West Energy (APS/Calpine) Calpine maybe Reliant | West Phoenix |  | CC | NG |  | AZ | WSCC |  | Adding to existing simple cycle 130 MW Total 70MW Incremental. Repowering of existing simple cycle units.
West Phoenix 5 |  |  | 2 | 500 |  | 2001-12-01 | CEC | RDI | PIRA | Pinnacle West Energy (APS/Calpine) | West Phoenix |  | CC | NG |  | AZ | WSCC |  | 530 MW similar to Red Hawk Plant's turbines. 43rd Avenue plant (Phase 2) West Phoenix - Repower. Red Hawk's construction could affect this because they might take the turbines to use in the Red Hawk. 2 CC units
Harquahala Generating Project |  |  | 3 | 1000 |  | 2003-06-01 | CEC | RDI | PIRA | US Gen [PG&E] | Maricopa County |  | CC | NG |  | AZ | WSCC |  | interconnect expect with Palo Verde nuclear transmission switchyard
Red Hawk Plant |  |  | 3 | 530 |  | 2003-06-01 | CEC | RDI | PIRA | Pinnacle West Energy (APS) |  | 1 | CC | NG |  | AZ | WSCC |  | KW-indicated that 1,000 Mw is already fully permited and the site is preped and ready to begin construction
Red Hawk Plant |  |  | 3 | 530 |  | 2004-12-01 | CEC |  | PIRA | Pinnacle West Energy (APS) |  | 2 | CC | NG |  | AZ | WSCC
Red Hawk Plant |  |  | 3 | 530 |  | 2006-01-01 | CEC |  | PIRA | Pinnacle West Energy (APS) |  | 3 | CC | NG |  | AZ | WSCC
Red Hawk Plant |  |  | 3 | 530 |  | 2007-12-01 | CEC |  | PIRA | Pinnacle West Energy (APS) |  | 4 | CC | NG |  | AZ | WSCC
Salt River [Kyrene Generating station] |  |  | 4 | 825 |  | 2004-01-01 | CEC |  | PIRA | Dynergy / NRG Energy / SRP | Phoenix |  | CC | NG |  | AZ | WSCC |  | construction to begin in 2000 [Salt River Project- division of AZ state, 3r largest public utility in US- teamed with Dynergy&NRG] - 30% of power for utility
Arlington Valley |  |  | 5 | 550 |  | 2002-08-01 | CEC |  | PIRA | Duke Energy |  |  | CC | NG |  | AZ | WSCC |  | to be built 2 miles from Palo Verde Nuclear Station
Panda Gila LP 1 of 2 (Gila River) |  |  | 5 | 1000 |  | 2002-12-01 | CEC | RDI | PIRA | Panda Energy | Phoenix |  | CC | NG |  | AZ | WSCC |  | construction to begin late 2000
Panda Gila LP 2 of 2 (Gila River) |  |  | 5 | 1000 |  | 2002-12-01 | CEC | RDI | PIRA | Panda Energy | Phoenix |  | CC | NG |  | AZ | WSCC |  | construction to begin late 2000
Gila Bend |  |  | 5 | 750 |  | 2003-12-01 |  | RDI | PIRA | Power Development / Industrial Power Technology | Gila Bend |  |  | NG |  | AZ | WSCC |  | no indication when construction begins
Santan Generating Station |  |  | 5 | 825 |  |  | CEC | RDI | PIRA | Salt River Project |  |  | CC | NG |  | AZ | WSCC |  | Published on 04/25/2000 BYLINE: By Edythe Jensen, The Arizona Republic The Salt River Project will more than double the size of its Santan Generating Station in Gilbert by 2005, and the utility is taking parts of the expansion plan to the Town Council tonight.Although a similar SRP plant expansion in Tempe has generated heated protests, no organized opposition has surfaced in Gilbert.
White Tank |  |  | 5 | 1250 |  |  |  |  | PIRA | Arizona Independent Pwr | Maricopa |  | PS | WAT |  | AZ | WSCC |  | Just applied to FERC for preliminary permit. Pumped storage
North Loop 5 |  |  | 5 | 86 |  |  | WSCC |  |  | TEP | Marazan
Waiting for fax
left messages with maricopa and penal
| Sum of Capacity | Status
|  | 1 | 2 | 3 | 4 | 5
| Total | 1565 | 660 | 3120 | 825 | 5961
Sum of Capacity
| Possible On-line Date | Total
| 2001-05-01 | 1065
| 2001-06-01 | 500
| 2001-08-01 | 130
| 2001-12-01 | 530
Note on A5: klande: FV - High Prob
Note on A6: klande: FV - Med Prob
Note on A7: klande: KW - this is the only repower
Note on A8: klande: KW - this site is new build 500 MW same online date

## NV
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: Mark Harris, Carson City (775) 687-6001 DeAnn Parsons, State Energy Office (775) 687-4909
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Notes
Las Vegas CoGen Expansion |  |  | 2 | 220 | Pending | 2002-06-01 |  |  |  | Enron | Las Vegas |  |  | NG |  |  |  |  | Two, two-on-one combined cycle units. 4 GE LM6000 PC gas turbines with Enhanced Sprint, each rated 43MW 7,775 HR
Elko (Carlin) |  |  | 5 | 500 | 200109 | 2003-06-01 |  | RDI | PIRA | Coastal / El Paso | Elko |  | CC | NG |  | NV | WSCC |  | Article in MW Daily
Apex Industrial Park |  |  | 5 | 1000 |  | 2003-06-01 |  |  | PIRA | Southern Energy | Las Vegas |  | CC | NG |  | NV | WSCC
Fish Springs Ranch |  |  | 6 | 250 | [5 empty] | Calpine | Washoe County |  | CC | NG |  | NV | WSCC |  | Alturus 345 KV Line, gas off the Tuscarora pipeline
|  |  | 6 | 250 | [5 empty] | Calpine | Clark County |  | CC | NG |  | NV | WSCC |  | Require a phase shift transformer in order to sell into CA
Nevada Green Energy Project |  |  | 5 | 150 |  | 2002-12-01 | CEC |  |  | Composite Power Corp |  |  |  | Renewable |  | NV | WSCC
Nevada Green Energy Project |  |  | 5 | 50 |  | 2003-12-01 |  | RDI |  | Composite Power Corp |  |  |  | Other
Next Gen II |  |  | 4 | 30 |  | 2001-10-01 | CEC |  |  | Next Generation |  |  | CC | NG |  | NV | WSCC
Nevada Geen Energy |  |  | 4 | 1000 | 999999 |  |  |  | PIRA | Composite Power Corp | Amargosa Valley |  |  | NG |  | NV | WSCC |  | 1,000 MW planned in various phases
Clark County Pupm Storage |  |  | 5 | 150 |  | 2004-12-31 |  | RDI |  | Blue Diamond SPS Co., Inc. |  |  |  | Water
Clark County Sanitation District |  |  | 5 | 30 |  | 2002-12-01 |  | RDI |  | NTS Development Corp. |  |  |  | Water |  | NV | WSCC
Wednesday, March 15, 2000
Copyright © Las Vegas Review-Journal
Sum of Capacity | Status
| 4 | 5 | 6 | Power plant construction planned for Nevada
Total | 1280 | 1880 | 500
Associated Press
PHOENIX -- Pinnacle West Energy, a sister to Arizona Public Service Co., is joining a Houston company in construction of four power plants in Arizona and Nevada.
Pinnacle West Energy, like APS a subsidiary of Pinnacle West Capital Corp., is sharing the projects with Reliant Energy Power Generation, Inc.
One of the shared projects will be a plant already under construction west of Phoenix. Two others will be in the Las Vegas area and one other will be in northern Nevada, probably near Reno.
The intent is to market electricity to the Southwest under power deregulation, said Bill Post, Pinnacle West Capital president.
Each company is to own a half interest in the projects that include five generating units each capable of producing more than 500 megawatts.
In announcing the joint agreement on Monday, the Phoenix-based company said a definitive agreement is to be signed within six months.

## NM
1- Under Construction or Completed; 2 - Regulatory Approval Received; 3 - Application under review; 4-Starting app process; 5- Press Release only; 6 - Word of mouth | [17 empty] | Contact: | Public Regulation (505) 827-6940
Plant | Region to Sell into | Pipeline | Status | Capacity | Possible Permit Date | Possible On-line Date | Source 1 | Source 2 | Source 3 | Applicant | Location | Unit | Unit Type | Fuel | Estimated Cost | State | NERC/Reg | Status | Notes
Person |  |  | 1 | 140 | 200005 | 2000-05-01 | CEC | RDI | PIRA | Cobisa Person / MCN Energy (Sterling Energy) | Albuquerque | 1 | CT | NG |  | NM | WSCC |  | MCN Energy partner with Cobisa. Used to be US Gen. For sale to PNM - on schedule for summer, but unsure of exact commercial date, Almost ready to begin operation
|  |  | 5 | 112 | 200105 |  |  |  | PIRA | New Century Energy | Las Cruces |  | GT | NG |  | NM | WSCC |  | moving simple cycle turbine from Hobbs NM [SPP] to WSCC
Belen |  |  | 5 | 220 | 200307 |  | CEC | RDI | PIRA | Cobisa | Belen |  |  | NG |  | NM | WSCC |  | under negotiations w/ city; construction starting spring 2001
New Mexico |  |  | 5 | 300 | 999999 |  |  | RDI | PIRA | Adair Intl O&G |  |  |  | NG |  | NM | WSCC |  | no set date yet
Deming |  |  | 5 | 250 | 999999 |  |  | RDI | PIRA | Deming Power Partners | Deming |  | GT | NG |  | NM | WSCC
Alburquerque Solar |  |  | 5 | 5 |  |  | CEC |  |  | PSC New Mexico |  |  |  | Solar |  | NM | WSCC
Santa Teresa |  |  | 5 | 500 |  |  |  | RDI |  | Dynegy |  |  |  | NG |  | NM | WSCC
Farmington |  |  | 5 | 20 |  |  |  | RDI |  | Navajo Tribal Utility Authority |  |  |  | NG |  | NM | WSCC
Waiting for Fax
|  | Sum of Capacity | Status
|  |  | 1 | 5 | (blank) | Grand Total
|  | Total | 140 | 1407 |  | 1547
Note on A10: klande: FV - Low Prob

## RDI
Region | Plant Name | Company Name | Summer Capacity | Winter Capacity | Plant State | Plant NERC Region | Plant NERC Sub-Region | Planned Online Year | Prime Fuel Description | Record Type (A, F)
CA | AES South City | AES South City, L.L.C. | 170 | 170 | CA | WSCC | CANMX | 2001 | NATURAL GAS | FUTURE
CA | Antelope Valley | AES Corp. | 500 | 500 | CA | WSCC | CANMX | 2050 | NATURAL GAS | FUTURE
RO | Arapahoe | PSC of Colorado | 74 | 74 | CO | WSCC | RMPA | 2000 | NATURAL GAS | FUTURE
NW | Bearcreek | Composite Power Corp. | 500 | 500 | MT | WSCC | NWPA | 2004 | COAL (GENERIC) | FUTURE
SW | Belen | Cobisa Corp. | 220 | 220 | NM | WSCC | AZNMNV | 2003 | NATURAL GAS | FUTURE
NW | Blythe Energy Power Plant Project | Summit Energy Group, Ltd. | 300 | 300 | CA | WSCC | CANMX | 2001 | NATURAL GAS | FUTURE
RO | Brush | Fulton Cogeneration Associates, L.P. | 365 | 365 | CO | WSCC | RMPA | 2000 | NATURAL GAS | FUTURE
SW | Buckeye | Duke Energy Power Services, L.L.C. | 550 | 550 | AZ | WSCC | AZNMNV | 2003 | NATURAL GAS | FUTURE
NW | Cancarb | TransCanada Power, L.P. | 38 | 38 | AB | WSCCC | NWPACN | 2000 | WASTE HEAT | FUTURE
SW | Carlin | Coastal Power Co. | 500 | 500 | NV | WSCC | NWPA | 2050 | NATURAL GAS | FUTURE
SW | Clark County Pump Storage | Blue Diamond SPS Co., Inc. | 150 | 150 | NV | WSCC | NWPA | 2004 | WATER | FUTURE
NW | Clark County Santitation District | NTS Development Corp. | 30 | 30 | NV | WSCC | AZNMNV | 2002 | WASTE (GENERIC) | FUTURE
SW | Cobisa-Person Power Project | MCNIC Power Co. | 140 | 140 | NM | WSCC | AZNMNV | 2000 | NATURAL GAS | FUTURE
NW | Cold Lake | TransAlta Energy Corp. | 220 | 220 | AB | WSCCC | NWPACN | 2001 | NATURAL GAS | FUTURE
CA | Contra Costa | Southern Energy, Inc. | 530 | 530 | CA | WSCC | CANMX | 2003 | NATURAL GAS | FUTURE
NW | Cowlitz Cogneration | Weyerhaeuser Co. | 405 | 405 | WA | WSCC | NWPA | 2050 | NATURAL GAS | FUTURE
NW | Coyote Springs II | Portland General Electric Co. | 231 | 231 | OR | WSCC | NWPA | 2050 | NATURAL GAS | FUTURE
NW | Creston (NWPE) | Northwest Power Enterprise, Inc. | 838 | 838 | WA | WSCCC | NWPACN | 2003 | NATURAL GAS | FUTURE
NW | Crow Tribe Coal Reserve | Westmoreland Energy, Inc. | 260 | 260 | MT | WSCC | NWPA | 2002 | COAL (GENERIC) | FUTURE
CA | Delta Energy Center | Bechtel Generating Co., Inc. | 440 | 440 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
CA | Delta Energy Center | Calpine Corp. | 440 | 440 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
SW | Deming Power Partners | Deming Power Partners I | 250 | 250 | NM | WSCC | AZNMNV | 2050 | NATURAL GAS | FUTURE
SW | Desert Basin | Reliant Energy Power Generation, Inc. | 500 | 500 | AZ | WSCC | AZNMNV | 2001 | NATURAL GAS | FUTURE
RO | DIA Power Project | North American Power Group | 150 | 150 | CO | WSCC | RMPA | 2001 | NATURAL GAS | FUTURE
NW | Drywood Power | Canadian Gas & Electric Company, Ltd. | 6 | 6 | AB | WSCCC | NWPACN | 1999 | NATURAL GAS | FUTURE
NW | Dunvegan Hydro | Glacier Power, Ltd. | 40 | 40 | AB | WSCCC | NWPACN | 2001 | WATER | FUTURE
SW | El Dorado Energy Center | Reliant Energy Power Generation, Inc. | 246 | 246 | NV | WSCC | AZNMNV | 2000 | NATURAL GAS | FUTURE
SW | El Dorado Energy Center | Sempra Energy | 246 | 246 | NV | WSCC | AZNMNV | 2000 | NATURAL GAS | FUTURE
CA | Elk Hills Power Project | Occidental Energy Ventures Co. | 250 | 250 | CA | WSCC | CANMX | 2001 | NATURAL GAS | FUTURE
CA | Elk Hills Power Project | Sempra Energy Resources | 250 | 250 | CA | WSCC | CANMX | 2001 | NATURAL GAS | FUTURE
CA | EM-ONE Power Station | Sunlaw Energy Partners I, L.P. | 800 | 800 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
NW | Everett Delta Power Project | FPL Group, Inc. | 248 | 248 | WA | WSCCC | NWPACN | 2001 | NATURAL GAS | FUTURE
SW | Farmington | Navajo Tribal Utility Authority | 20 | 20 | NM | WSCC | AZNMNV | 2001 | NATURAL GAS | FUTURE
NW | Frederickson - Tenaska WA Partners II | Bonneville Power Administration | 248 | 248 | WA | WSCC | NWPA | 2050 | NATURAL GAS | FUTURE
RO | Front Range Power - Nixon | Coastal Power Co. | 240 | 240 | CO | WSCC | RMPA | 2002 | NATURAL GAS | FUTURE
RO | Front Range Power - Nixon | Colorado Springs Utilities | 240 | 240 | CO | WSCC | RMPA | 2002 | NATURAL GAS | FUTURE
RO | Ft Lupton Cogen | Front Range Power Co., L.L.C. | 160 | 160 | CO | WSCC | RMPA | 2000 | NATURAL GAS | FUTURE
SW | Gila Bend | Industrial Power Technology | 375 | 375 | AZ | WSCC | AZNMNV | 2003 | NATURAL GAS | FUTURE
SW | Gila Bend | Power Development Enterprises | 375 | 375 | AZ | WSCC | AZNMNV | 2003 | NATURAL GAS | FUTURE
NW | Glacier International Power | Native American Economic Enterprises, Inc. (NAEE) | 81.2 | 81.2 | MT | WSCC | NWPA | 2000 | NATURAL GAS | FUTURE
NW | Glacier International Power | Adair International Oil & Gas | 78.8 | 78.8 | MT | WSCC | NWPA | 2000 | NATURAL GAS | FUTURE
SW | Griffith Energy Project | Duke Energy North America | 260 | 260 | AZ | WSCC | AZNMNV | 2001 | NATURAL GAS | FUTURE
SW | Griffith Energy Project | PP&L Global, Inc. | 260 | 260 | AZ | WSCC | AZNMNV | 2001 | NATURAL GAS | FUTURE
SW | Harquahala Valley | PG&E Generating | 1000 | 1000 | AZ | WSCC | AZNMNV | 2003 | NATURAL GAS | FUTURE
NW | Hermiston Power Project | Ida West Energy Company | 298 | 298 | OR | WSCC | NWPA | 2001 | NATURAL GAS | FUTURE
NW | Hermiston Power Project | TransCanada PipeLine USA, Ltd. | 238 | 238 | OR | WSCC | NWPA | 2001 | NATURAL GAS | FUTURE
CA | High Desert | Constellation Energy, Inc. | 360 | 360 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
CA | High Desert | Inland Energy | 340 | 340 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
NW | Island Cogeneration Project | Fletcher Challenge Energy Canada, Inc. | 144 | 144 | BC | WSCCC | NWPACN | 2000 | NATURAL GAS | FUTURE
NW | Island Cogeneration Project | Westcoast Power, Inc. | 96 | 96 | BC | WSCCC | NWPACN | 2000 | NATURAL GAS | FUTURE
NW | Joffre Cogeneration | ATCO Power Canada, Ltd. | 210 | 210 | AB | WSCCC | NWPACN | 2000 | NATURAL GAS | FUTURE
NW | Joffre Cogeneration | EPCOR Power Development Corp. | 160 | 160 | AB | WSCCC | NWPACN | 2000 | NATURAL GAS | FUTURE
NW | Klamath Cogen Project | Klamath Falls, City of | 464 | 464 | OR | WSCC | NWPA | 2001 | NATURAL GAS | FUTURE
NW | Kootenai Falls Hydroelectric | Northern Lights, Inc. | 144 | 144 | MT | WSCC | NWPA | 2050 | WATER | FUTURE
SW | Kyrene Generating Station | Dynegy, Inc. | 272.25 | 272.25 | AZ | WSCC | AZNMNV | 2002 | NATURAL GAS | FUTURE
SW | Kyrene Generating Station | NRG Energy, Inc. | 272.25 | 272.25 | AZ | WSCC | AZNMNV | 2002 | NATURAL GAS | FUTURE
SW | Kyrene Generating Station | Salt River Project | 272.25 | 272.25 | AZ | WSCC | AZNMNV | 2002 | NATURAL GAS | FUTURE
CA | La Paloma | PG&E Generating | 1048 | 1048 | CA | WSCC | CANMX | 2003 | NATURAL GAS | FUTURE
CA | Long Beach District Energy Facility | Enron Capital & Trade Resources Corp. | 500 | 500 | CA | WSCC | CANMX | 2004 | NATURAL GAS | FUTURE
CA | Los Medanos Energy Center | Calpine Corp. | 510 | 510 | CA | WSCC | CANMX | 2001 | NATURAL GAS | FUTURE
CA | Metcalf Energy Center | Bechtel Enterprises, Inc. | 300 | 300 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
CA | Metcalf Energy Center | Calpine Corp. | 300 | 300 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
RO | Metro Wastewater Cogen | Denver Metropolitan Wastewater Reclamation Distric | 5 | 5 | CO | WSCC | RMPA | 2000 | UNKNOWN | FUTURE
RO | Metro Wastewater Cogen | Trigen-Colorado Energy Corp. | 5 | 5 | CO | WSCC | RMPA | 2000 | UNKNOWN | FUTURE
CA | Midway Sunset Cogen West | Edison International | 250 | 250 | CA | WSCC | CANMX | 2050 | NATURAL GAS | FUTURE
CA | Midway Sunset Cogen West | AERA Energy, L.L.C. | 250 | 250 | CA | WSCC | CANMX | 2050 | NATURAL GAS | FUTURE
NW | Millennium Cogeneration Project | TransAlta Energy Corp. | 230 | 230 | AB | WSCCC | NWPACN | 1999 | NATURAL GAS | FUTURE
CA | Moss Landing | Duke Energy Power Services, L.L.C. | 73 | 73 | CA | WSCC | CANMX | 2003 | NATURAL GAS | FUTURE
NW | Muskeg River Cogeneration | ATCO Power Canada, Ltd. | 170 | 170 | AB | WSCCC | NWPACN | 2002 | NATURAL GAS | FUTURE
SW | Nevada Green Energy Project | Composite Power Corp. | 50 | 50 | NV | WSCC | AZNMNV | 2003 | OTHER | FUTURE
CA | Newark Energy Center | Bechtel Enterprises, Inc. | 300 | 300 | CA | WSCC | CANMX | 2003 | NATURAL GAS | FUTURE
CA | Newark Energy Center | Calpine Corp. | 300 | 300 | CA | WSCC | CANMX | 2003 | NATURAL GAS | FUTURE
NW | Newberry Crater Project | Northwest Geothermal Co. | 30 | 30 | OR | WSCC | NWPA | 2050 | GEOTHERMAL STEAM | FUTURE
NW | Oldman | ATCO Energen, Ltd. | 32 | 32 | AB | WSCCC | NWPACN | 2001 | WATER | FUTURE
CA | Otay Mesa | PG&E Generating | 510 | 510 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
SW | Panda Gila River | Panda Energy International, Inc. | 2000 | 2000 | AZ | WSCC | AZNMNV | 2002 | NATURAL GAS | FUTURE
CA | Pastoria Power Project | Pastoria Power Project, L.L.C. | 960 | 960 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
NW | Pingston Creek | Canadian Hydro Developers, Inc. | 12.5 | 12.5 | BC | WSCCC | NWPACN | 2000 | WATER | FUTURE
NW | Pingston Creek | Great Lakes Power, Ltd. | 12.5 | 12.5 | BC | WSCCC | NWPACN | 2000 | WATER | FUTURE
NW | Port Alberni Cogeneration | ATCO Power Canada, Ltd. | 120 | 120 | BC | WSCCC | NWPACN | 2000 | NATURAL GAS | FUTURE
NW | Port Alberni Cogeneration | PanCanadian Petroleum, Ltd. | 120 | 120 | BC | WSCCC | NWPACN | 2000 | NATURAL GAS | FUTURE
CA | Potrero | Southern Energy, Inc. | 520 | 520 | CA | WSCC | CANMX | 2003 | NATURAL GAS | FUTURE
NW | Quail Creek Hydro Plant #2 | Washington County Water Conservancy District | 3.6 | 3.6 | UT | WSCC | NWPA | 2001 | WATER | FUTURE
NW | Rathdrum (Cogentrix) | Avista Power, L.L.C. | 135 | 135 | ID | WSCC | NWPA | 2001 | NATURAL GAS | FUTURE
NW | Rathdrum (Cogentrix) | Cogentrix, Inc. | 135 | 135 | ID | WSCC | NWPA | 2001 | NATURAL GAS | FUTURE
SW | Red Hawk | Pinnacle West Energy | 530 | 530 | AZ | WSCC | AZNMNV | 2003 | NATURAL GAS | FUTURE
CA | Redondo Beach | AES Redondo Beach, L.L.C. | 700 | 700 | CA | WSCC | CANMX | 2004 | UNKNOWN | FUTURE
NW | Rossdale | Edmonton Power, Inc. | 241 | 241 | AB | WSCCC | NWPACN | 2002 | NATURAL GAS | FUTURE
SW | Santa Teresa | Dynegy Power Corp. | 500 | 500 | NM | WSCC | AZNMNV | 2050 | NATURAL GAS | FUTURE
NW | Satsop Combined Cycle | Energy Northwest | 454 | 454 | WA | WSCC | NWPA | 2050 | NATURAL GAS | FUTURE
SW | South Point Power Plant | Calpine Mojave | 500 | 500 | AZ | WSCC | AZNMNV | 2000 | NATURAL GAS | FUTURE
NW | Sumas 2 Generation Facility | National Energy Systems Co. (NESCO) | 734 | 734 | WA | WSCC | NWPA | 2002 | NATURAL GAS | FUTURE
CA | Sunrise Cogeneration & Power Project | Texaco Global Gas & Power | 320 | 320 | CA | WSCC | CANMX | 2001 | NATURAL GAS | FUTURE
CA | Sutter Power Plant | Calpine Corp. | 500 | 500 | CA | WSCC | CANMX | 2000 | NATURAL GAS | FUTURE
NW | Taylor Hydroelectric Plant | Canadian Hydro Developers, Inc. | 6.38 | 6.38 | AB | WSCCC | NWPACN | 2000 | WATER | FUTURE
NW | Taylor Hydroelectric Plant | EPCOR Power Development Corp. | 6.38 | 6.38 | AB | WSCCC | NWPACN | 2000 | WATER | FUTURE
CA | Telephone Flat | California Energy General Corp. | 44 | 44 | CA | WSCC | NWPA | 2001 | GEOTHERMAL STEAM | FUTURE
CA | Three Mountain Power | Ogden Power Pacific, Inc. | 500 | 500 | CA | WSCC | CANMX | 2002 | NATURAL GAS | FUTURE
CA | Tracy | Tri-Valley Power Corp. | 25 | 25 | CA | WSCC | CANMX | 2050 | NATURAL GAS | FUTURE
NW | Two Elks Plant | Two Elk Power | 50 | 50 | WY | WSCC | RMPA | 2002 | WASTE COAL | FUTURE
NW | Umatilla Generating | PG&E Generating | 482 | 482 | OR | WSCC | NWPA | 2050 | NATURAL GAS | FUTURE
SW | West Phoenix | Calpine Corp. | 130 | 130 | AZ | WSCC | AZNMNV | 2001 | NATURAL GAS | FUTURE
NW | Wygen No. 1 | Black Hills Corp. | 80 | 80 | WY | WSCC | RMPA | 2002 | COAL (GENERIC) | FUTURE
NW | Chehalis Power Station | Tractabel Power, Inc. | 460 | 460 | WA | WSCC | NWPA
CA | California | Adair International Oil & Gas | 500 | 500 | CA | WSCC | CANMX
SW | New Mexico | Adair International Oil & Gas | 300 | 300 | NM | WSCC | AZNMNV
CA | Pioneer Power Plant Project | Bock Energy | 260 | 260 | CA | WSCC | CANMX
NW | St. Helen's Boise Cascade Project | Oregon Energy Company | 100 | 100 | OR | WSCC | NWPA
CA | Medecine Lake | Calpine Siskiyou Geothermal Partners | 45 | 45 | CA | WSCC | CANMX
CA | Pittsburg (Dow Chemical Co) | Calpine Corp. | 20 | 20 | CA | WSCC | CANMX
32865.11
33379

## PIRA
Company | Plant | MW | Unit | Fuel | CompDate | City | State | NERC/Reg | Status | Notes | Contact: Jimmy Kow (212) 686-6808
Coastal [Fulton cogeneration Associates] | Manchief | 265 |  | NG | 200005 | Brush | CO | WSCC | CON
Cobisa Person | Person | 140 | CT | NG | 200005 | Albuquerque | NM | WSCC | CON | MCN Energy partner with Cobisa. Used to be US Gen. For sale to PNM - on schedule for summer, but unsure of exact commercial date
Public Service of Colorado | Valmont & Arapahoe repowering | 111 |  | NG | 200005 | Boulder & Denver | CO | WSCC | CON | 37 Mw in Boulder, 74 in Denver -finished turbines will be SOLD to highest bidder, scheduled in May 1st, but will be likely before June [called 1/31/00]
IEP | Medicine Bow | 0 | WT | WND | 200099 | Rock River | WY | WSCC | CNL
Tenaska/BPA | Tenaska/Wash Partners II | 0 |  | NG | 200099 | Tacoma | WA | WSCC | CNL | BPA took over, sold turbines 240 mw capacity to CMS for $30 million ($125/kw)
Calpine | South Point Power Plant [Mojave] | 545 | CT | NG | 200103 | Fort Mojave [Bullhead City] | AZ | WSCC | CON | Construction started in May-99. Ouput to be sold to CA, NV and AZ. Approval received from BIA. Should be finished 3/01 added 5 mg to 545mg.
Calpine | Sutter County | 545 | CC | NG | 200106 | Yuba City | CA | WSCC | CON | under construction. Changed from 500 to 545 MG.
New Century Energy | Ft St Vrain - Phase III | 235 |  | NG | 200103 | Ft St Vrain | CO | WSCC | PLN | Third stage of nuke plant conversion. PSC to decide this fall.
Klamath Falls / Pacificorp | Klamath Cogen | 500 | CG | NG | 200107 | Klamath Falls | OR | WSCC | CON | Increased to 500 April 17, 1998 - B&V is EPC. 40 yr lease signed with Collins Wood products for siting 3/99. Completion date chaged to 7/2001 from 5/2001,
KN Energy |  | 0 | CC | NG | 200105 | Denver | CO | WSCC | CNL | Plan to build plants contiguous to pipeline, was 500 MW
New Century Energy |  | 112 | GT | NG | 200105 | Las Cruces | NM | WSCC | PLN | moving simple cycle turbine from Hobbs NM [SPP] to WSCC
Texaco | Sunrise Cogen | 320 | CG | NG | 200105 | Fellows | CA | WSCC | PLN | Construction to begin Feb 2000. Application accepted Feb '99 by CEC.
APS/Calpine | West Phoenix Repower 1 | 70 | CC | NG |  | West Phoenix | AZ | WSCC | CLN | Adding to existing simple cycle. Total to be 130 MW. Project on hold.
Calpine /City of Pittsburgh | Los Medanos [ formerly Pittsburgh DEF] | 500 | CC | NG | 200106 | Pittsburgh | CA | WSCC | CON | 85% to PX, 15% to mill, Calpine acquired plans from Enron
FPL Energy | Everett Delta | 248 | CC | NG | 200106 | Everett | WA | WSCC | PLN | Formerly (stalled) NWPE 220 MW project. FPL bought rights in 1/99. Construction to begin end 99/early 2000.
HIPG | Desert Basin Gnrtng | 500 | CC | NG | 200106 | Casa Grande City | AZ | WSCC | PLN | Construction to start 3qtr 99. 40 yr sale/leaseback structure
US Gen [PG&E] | La Paloma | 1048 | CC | NG | 200107 | McKittrick | CA | WSCC | CON | 4x250 turbines broke ground on 3/8/00
Coastal | Elko | 200 | ? CC | NG | 200109 | Elko | NV | WSCC | PLN | MW Daily listed as 500 MW
Duke Energy / NP Energy | Griffith Energy Project | 650 | CC | NG | 200110 | Kingman | AZ | WSCC | CON | NP Energy to market output. 520 nominal output, Duke acquired 50% of project from PP&L
Cogentrix / Avista | Rathdrum | 270 | CC | NG | 200111 | Rathdrum | ID | WSCC | PLN | Hope to finance by 6/99, begin construction by 11/99, complete by 11/01. Power sold to Avista.
CalEnergy | Telephone Flat | 48 |  | GEO | 200199 | Modoc Nat Forest | CA | WSCC | PLN
Calpine | Fort Mohave |  |  | NG | 200199 | Needles | CA | WSCC | PLN | This is the same plant as the South Point Power Plant in AZ. It si on the border of Ca & Az per Meredith at Calpine.
KN Energy | Fort Lupton | 160 |  | NG | 200199 | Fort Lupton | CO | WSCC | PLN | in response to RFP from PSCo, currently on hold due to air permits
North American Power | Two Elk CT Waste | 240 | CT | Coal | 200199 | Two Elk | WY | WSCC |  | Article in MW Daily
Southern Co | Contra Costa repowering | 530 | CC | NG | 200199 |  | CA | WSCC | PLN | increase by 530 to 1,210 MW
Southern Co | Potrero repowering | 520 | CC | NG | 200199 |  | CA | WSCC | PLN | increase by 520 to 880 MW
Tractebel | Chehalis Power | 460 | CC | NG | 200199 | Chehalis | WA | WSCC | PLN | SC approved
Calpine/Bechtel JV | Newark Energy Center | 600 | CC | NG | 200201 | Newark | CA | WSCC | PLN | Construction to begin end 2000.
Sunlaw Cogen Partner | EM-One | 850 |  | NG | 200201 | Vernon | CA | WSCC | PLN
Calpine | Modoc | 50 | ST | GEO | 200203 | Modoc Nat Forest | CA | WSCC | PLN
Constellation | High Desert Power Pro | 720 | CC | NG | 200204 | Victorville | CA | WSCC | PLN | 820 MW option no longer under consideration. Likely to be delayed
Calpine | Delta Energy Center | 535 |  | NG | 200206 | Pittsburgh | CA | WSCC | PLN | 500 to 700 MW size, construction starts 2000 at Dow Chemical
Colorado Springs Utilities | Ray Nixon | 400 | CC | NG | 200206 | Colorado Springs | CO | WSCC | PLN | Second phase. One half sold to market through Coastal
North American Power | DIA Cogen | 150 | CT | NG | 200206 | Denver | CO | WSCC | PLN | 2X150 each unit- simple cycle- Denver International airport (initial phase)- origionally 6/2000
Pastoria (Tejon Ranch) | Pastoria Power Project | 960 | CC | NG | 200206 | Bakersfield | CA | WSCC | PLN | Gas to come from Kern pipe. Apllication to be filed in May. 4x200+ MW turbines
Calpine/Bechtel JV | Metcalf Energy Center | 600 | CC | NG | 200207 | San Jose | CA | WSCC | PLN | Licensing to be concluded by Sept 2000.
Duke Energy | Arlington Valley | 550 | CC | NG | 200207 |  | AZ | WSCC | PLN | to be built 2 miles from Palo Verde Nuclear Station
Dynergy / NRG Energy | Salt River [Kyrene Generating station] | 500 | CC | NG | 200207 | Phoenix | AZ | WSCC | PLN | construction to begin in 2000 [Salt River Project- division of AZ state, 3r largest public utility in US- teamed with Dynergy&NRG] - 30% of power for utility
US Gen [PG&E] | Otay Mesa Generating project | 510 | CC | NG | 200207 | Otay Mesa | CA | WSCC | PLN | PGE claims to be on schedule despite siting delays
Calpine | Hermiston | 536 | CC | NG | 200208 | Hermiston | OR | WSCC | PLN | Calpine bought rights from Ida-West. ABB GT24 turbines., SC granted
APS/Calpine | West Phoenix Repower 2 | 500 | CC | NG | 200212 | West Phoenix | AZ | WSCC | PLN | Repower existing simple cycle units. Total to be 500 MW.
Black Hills Corp | Wygen 1 | 80 |  | Coal | 200299 | Gillette | WY | WSCC | PLN | air permits received, check www.blackhillscorp.com/ due in spring 2002
FN Smith | Shivwits Band Power | 215 |  | NG | 200299 | St George | UT | WSCC | PLN | 100 mi Northwest of Las Vegas (in NV?)
Ogden Power Pacific | Three Mountain Power | 500 | CC | NG | 200299 | Burney | CA | WSCC | PLN | Ogden operates a 10 MW waste adjacent to facility
Panda Energy | Panda Gila LP 1of2 | 1000 | CC | NG | 200299 | Phoenix | AZ | WSCC | PLN | construction to begin late 2000
Summit | Blythe Energy PP | 520 | CC | NG | 200299 | Blythe | CA | WSCC | PLN | changed from 400mw to 520 mw. Currently under review.
Coastal / Colorado Springs Utilities |  | 480 |  | NG | 200301 |  | CO | WSCC | PLN | 360 MW of capacity will be available for buyers
US Gen [PG&E] | Harquahala Generating Project | 1000 | CC | NG | 200303 | Maricopa County | AZ | WSCC | PLN | interconnect expect with Palo Verde nuclear transmission switchyard
North American Power | DIA Cogen | 150 | CT | NG | 200306 | Denver | CO | WSCC | PLN | 2X150 each unit- simple cycle- Denver International airport (initial phase)- origionally 6/2000
Cobisa | Belen | 220 |  | NG | 200307 | Belen | NM | WSCC | PLN | under negotiations w/ city; construction starting spring 2001
Power Development / Industrial Power Technology |  | 600 |  | NG | 200312 | Gila Bend | AZ | WSCC | PLN | no indication when construction begins
Northwest Power Co | Starbuck Power Facility | 1100 |  | NG | 200399 | Starbuck | WA | WSCC | PLN
Northwest Power Co | Northwest Regional PF | 838 |  | NG | 200399 | Spokane | WA | WSCC | PLN
Panda Energy | Panda Gila LP 2of2 | 1000 | CC | NG | 200399 | Phoenix | AZ | WSCC | PLN | construction to begin late 2000
Pinnacle West Energy |  | 130 | CC | NG | 200399 | West Phoenix | AZ | WSCC | PLN
Pinnacle West Energy | 43rd Avenue plant | 530 | CC | NG | 200399 |  | AZ | WSCC | PLN | similar to Red Hawk Plant's turbines
Composite Power Corp | Eastern Montana Steam | 2000 | ST | Coal | 200599 | Carbon county | MT | WSCC | PLN | 4x500 MW for sale in Wisconsin. Uses new transmission technology. Permits pending. Transmission to cost 850 million.
Pinnacle West Energy | Red Hawk Plant | 2120 | CC | NG | 200799 |  | AZ | WSCC | PLN | 4x530MW, first turbine online 2003
Adair Intl O&G |  | 540 |  |  | 999999 |  | CA | WSCC | PLN | plant announcement sometime later- still considering
Adair Intl O&G |  | 300 |  | NG | 999999 |  | NM | WSCC | PLN | no set date yet
Adair Intl O&G/Blackfeet | Glacier Internatioal Power | 160 | CC | NG | 999999 | Blackfeet Reservation | MT | WSCC | PLN | no set date yet
AES | South City | 550 | CC | NG | 999999 | South San Fran | CA | WSCC | PLN | To file in Feb 99
AES | Antelope | 1100 | CC | NG | 999999 | California City | CA | WSCC | PLN | To file in Feb 99
AES | Rendondo Beach | 750 | CC | NG | 999999 | Redondo Beach | CA | WSCC | PLN | Repower existing site purchased from SoCalEd, could be 1,100 MW.
Arizona Independent Pwr | White Tank | 1250 | PS | WAT | 999999 | Maricopa | AZ | WSCC | PLN | Just applied to FERC for preliminary permit. Pumped storage
Bock Energy | Pioneer / Livingston | 260 | CC | NG | 999999 | Livingston | CA | WSCC | PLN | Demo of the GE Kalina technology. Project suspended in March-99. Was due in 2000.
Calpine | Gillette | 80 |  | Coal | 999999 | Gillette | WY | WSCC
Composite Power Corp | Nevada Geen Energy |  |  |  | 999999 | Amargosa Valley | NV | WSCC | PLN | 1,000 MW planned in various phases
Composite Power Corp | Nr Ore Pumped Strg | 0 |  | WAT | 999999 | The Dalles | OR | WSCC | PLN | Part of large Montana coal project. 250 MW
Composite Power Corp | Hanford Wind Power | 0 |  | WND | 999999 | Hanford | WA | WSCC | PLN | Part of large Montana coal project. 250 MW
Deming Power Partners | Deming | 217 | GT | NG | 999999 | Deming | NM | WSCC | PLN
Duke Energy | Morro Bay | 530 | CC | NG | 999999 | Morro Bay | CA | WSCC | PLN | retiring units 1&2, postponed upgrades temporarily. Application has been temporarily withdrawn.
Duke Energy | Moss Landing | 1220 | CC | NG | 999999 | Moss Landing | CA | WSCC | PLN | Permits expected in mid 2000 at which time construction to begin. Currently under review by the CEC.
Enron Capital & Trade | Pittsburg District Enegy | 500 |  | NG | 999999 | Pittsburgh | CA | WSCC | PLN
Enron Capital & Trade | Tejon Tehachapi J/V Merchant | 750 | CC | NG | 999999 | Tejon Ranch | CA | WSCC | PLN | Could be up to 1000 MW.
Independent Energy |  | 200 | CT | NG | 999999 |  | CO | WSCC | PLN
Midway Sunset Cogen | Midway Sunset Cogen | 500 | CG | NG | 999999 | Fellows | CA | WSCC | PLN | To file in '99. Adjacent to existing PG&E 200 MW QF. J/V is Mission, Shell/Mobil. Application amended, trading off silent operations for low nox burner installation
Mission / Weyerhauser | Cowlitz Cogen | 395 | CC | NG | 999999 | longview | WA | WSCC | PLN | SC granted
NESCO Enterprises | Sumas Energy 2 | 710 | CC | NG | 999999 | Sumas | WA | WSCC | PLN | To be announced early 99. WAEFSB issued RFP to hire consultants for review of this and subsequent energy projects in Nov 98. 2x355 MW. As proposed, would take cooling water from BC - some opposition from local Labor.
Portland General | Coyote Springs Phase 2 | 231 |  | NG | 999999 | Boardman | OR | WSCC | PLN | Plan to build filed under old need-for-power law. Must pay 2.5 million to climate Trust if built., SC approved
PowerLink | Columbia County Cogen | 440 |  | NG | 999999 | St Helens | OR | WSCC | PLN | NOI Extended to 2/98
Salt River Project | Santan Generating Station | 825 | CC | NG | 999999 |  | AZ | WSCC | PLN
Sempra / Oxy | Elk Hills | 500 | CC | NG | 999999 | Bakersfield | CA | WSCC | PLN | STILL under review by CA, competing for site
Tenaska Power Part | Malin/Bonanza | 214 |  | NG | 999999 | Malin | OR | WSCC | PLN | NOI Expired
US Gen | Fellows | 340 |  | NG | 999999 | Bakersfield | CA | WSCC | PLN
US Gen | Umatilla | 481 |  | NG | 999999 | Umatilla | OR | WSCC | PLN | On hold until market friendlier, acording to OR EFSB
US Gen | Sumas | 0 | CC | NG | 999999 | Sumas | WA | WSCC | CNL | No longer persuing project. Was 240 MW
WPPSS | Satsop | 500 | CC | NG | 999999 | Satsop | WA | WSCC | PLN | SC approved
WWP |  | 250 |  | NG | 999999 |  | WA | WSCC | PLN | To be announced in mid-Dec.
Bechtel/Calpine | Delta Energy | 880 |  | NG | 200206 | Pittsburg | CA | WSCC | PLN
Southern Energy | Apex Industrial Park | 1000 | CC | NG | 200399 | Las Vegas | NV | WSCC | PLN
Continental Energy Services | Butte-Silver Bow County | 230 |  | NG | 999999 | Butte | MT | WSCC | PLN | submitted bid to acquire 20 acres of land

## PIRA Summary
WSCC Capacity Additions (000 MW)
|  | 1999-07-01 | 2000-07-01 | 2001-07-01
|  | 2000-06-30 | 2001-06-30 | 2002-06-30
CA |  | 0 | 1.6 | 1.6
AZ/NM/NV |  | 0.6 | 1.1 | 0.7
RMPA |  | 0.4 | 0.3 | 0.6
NWPP |  | 0 | 0.5 | 0.5
US |  | 1 | 3.5 | 3.4
CFE |  | 0 | 0.5 | 0
BC |  | 0.1 | 0.2 | 0.1
AB |  | 0.8 | 0.3 | 0.2
Total |  | 1.9 | 4.5 | 3.7
Available Resources (000 MW)
| 1999-07-01 | 2000-07-01 | 2001-07-01 | 2002-07-01
CA | 54 | 54 | 55.6 | 57.2
AZ/NM/NV | 20.1 | 20.7 | 21.8 | 22.5
RMPA | 10.3 | 10.7 | 11 | 11.6
NWPP | 46.4 | 46.4 | 46.9 | 47.4
WSCC US | 130.8 | 131.8 | 135.3 | 138.7
CFE | 1.5 | 1.5 | 2 | 2
BC | 11.8 | 11.9 | 12.1 | 12.2
AB | 8 | 8.8 | 9.1 | 9.3
Total | 152.1 | 154 | 158.5 | 162.2
Summer Peak Demand (000 MW)
| 1999 | 2000 | 2001 | 2002
CA | 53 | 54.7 | 56 | 56.8
AZ/NM/NV | 20.5 | 21.4 | 22.2 | 22.9
RMPA | 8.1 | 8.4 | 8.7 | 8.9
NWPP | 34 | 35 | 35.7 | 36.3
WSCC US | 115.6 | 119.5 | 122.6 | 124.9
CFE | 1.5 | 1.6 | 1.7 | 1.8
BC | 7.5 | 7.7 | 7.9 | 8.1
AB | 6.8 | 7 | 7.2 | 7.4
Total | 131.4 | 135.8 | 139.4 | 142.2
Average Energy Demand (000 MW)
| 1999 | 2000 | 2001 | 2002
CA | 31.6 | 33.1 | 34.1 | 35
AZ/NM/NV | 11.8 | 12.4 | 12.9 | 13.3
RMPA | 5.5 | 5.8 | 6 | 6.2
NWPP | 27.3 | 27.9 | 28.4 | 28.8
WSCC US | 76.2 | 79.2 | 81.4 | 83.3
CFE | 0.8 | 0.9 | 1 | 1.1
BC | 6.8 | 7 | 7.2 | 7.4
AB | 5.8 | 6 | 6.2 | 6.4
Total | 89.6 | 93.1 | 95.8 | 98.2