## Sheet1
Row | Peak Season (FR Only) | TNMA Area | EPNG Area | Shipper | FR Converting Shipper Max NCP Qtys Last 5 Years | Winter Primary Daily Delivery Capacity (Avg of Study 6a and 6b CD & 5Yr NCP/ 2000 NCP both Wntr) | Winter East-West using % sharing of Short fall in Winter | Qty not Assng Wntr w/ Sharing of % deficiency | Qty not Assng Smmr w/ Sharing of % deficiency | Summer East-West using % sharing of Short fall in Summer | Summer Primary Daily Delivery Capacity (Avg of Study 6a and 6b CD & 5Yr NCP/ 2000 NCP both Smmr) | CD & FR Pct Wntr Shortfall against CD & Avg 5 Yr NCP/2000 NCP | CD & FR Pct Smmr Shortfall against CD & Avg 5 Yr NCP/2000 NCP | On Pk Pct Below High day of last 5 Yrs (Red)
1 | Summer | East End | FR | Navajo Tribal Utility Authority | 21073 | 14675.2 | 13662.6112 | 1012.5888 | 725.5336 | 11783.6664 | 12509.2 | 6.9% | 5.8% | -44.08%
2 | Summer | East End | FT2 | North Bailey Cooperative Society | 109 | 21.5 | 20.0165 | 1.4835 | 4.553 | 73.947 | 78.5 | 6.9% | 5.8% | -32.16%
3 |  |  |  |  | 21182 | 14696.7 | 13682.6277 | 1014.0723 | 730.0866 | 11857.6134 | 12587.7 | 6.9% | 5.8% | -44.02%
4
5 | Summer | West End | FR | Arizona Electric Power Cooperative, Inc. | 46590 | 32487 | 30245.397 | 2241.603 | 2059.232 | 33444.768 | 35504 | 6.9% | 5.8% | -35.08%
6 | Summer | West End | FR | Arizona Public Service Company | 241097 | 160033 | 148990.723 | 11042.277 | 11992.834 | 194780.166 | 206773 | 6.9% | 5.8% | -19.21%
7 | Summer | West End | FR | BHP Copper Inc. | 20026 | 7693.5 | 7162.6485 | 530.8515 | 389.934 | 6333.066 | 6723 | 6.9% | 5.8% | -68.38%
8 | Summer | West End | FR | El Paso Electric Company | 123069 | 99176 | 92332.856 | 6843.144 | 7025.134 | 114097.866 | 121123 | 6.9% | 5.8% | -7.29%
9 | Summer | West End | FR | MGI Supply, Ltd. (Naco) 1/ | 43000 | 39217 | 36511.027 | 2705.973 | 2424.081 | 39370.419 | 41794.5 | 6.9% | 5.8% | -8.441%
10 | Summer | West End | FR | Salt River Project | 262891 | 167348.5 | 155801.4535 | 11547.0465 | 12350.955 | 200596.545 | 212947.5 | 6.9% | 5.8% | -23.7%
11 | Summer | West End | FT2 | Apache Nitrogen Products, Inc. | 2050 | 1810.5 | 1685.5755 | 124.9245 | 109.127 | 1772.373 | 1881.5 | 6.9% | 5.8% | -13.54%
12 | Summer | West End | FT2 | Rio Grande Natural Gas Association | 25059 | 7580.5 | 7057.4455 | 523.0545 | 254.765 | 4137.735 | 4392.5 | 6.9% | 5.8% | -83.49%
13 |  |  |  |  | 763782 | 515346 | 479787.126 | 35558.874 | 36606.062 | 594532.938 | 631139 | 6.9% | 5.8% | -22.16%
14
15 | Winter | East End | FR | PNM Gas Services, A Division of Public | 84448 | 88776.93 | 82651.3218 | 6125.6082 | 3123.3418 | 50727.3782 | 53850.72 | 6.9% | 5.8% | -2.128%
16 | Winter | East End | FR | Southern Union Gas Company 1/ | 25000 | 22904.25 | 21323.8568 | 1580.3932 | 577.8931 | 9385.7818 | 9963.675 | 6.9% | 5.8% | -14.7%
17 | Winter | East End | FT2 | City of Big Lake, Texas | 1081 | 811.5 | 755.5065 | 55.9935 | 22.591 | 366.909 | 389.5 | 6.9% | 5.8% | -30.11%
18 | Winter | East End | FT2 | City of Denver City, Texas | 1774 | 1434.5 | 1335.5195 | 98.9805 | 43.732 | 710.268 | 754 | 6.9% | 5.8% | -24.72%
19 | Winter | East End | FT2 | City of Goldsmith, Texas | 108 | 98 | 91.238 | 6.762 | 2.581 | 41.919 | 44.5 | 6.9% | 5.8% | -15.52%
20 | Winter | East End | FT2 | City of Morton, Texas | 956 | 811 | 755.041 | 55.959 | 26.825 | 435.675 | 462.5 | 6.9% | 5.8% | -21.02%
21 | Winter | East End | FT2 | City of Plains, Texas | 685 | 541.5 | 504.1365 | 37.3635 | 16.849 | 273.651 | 290.5 | 6.9% | 5.8% | -26.4%
22 | Winter | East End | FT2 | City of Spur, Texas | 384 | 379 | 352.849 | 26.151 | 10.179 | 165.321 | 175.5 | 6.9% | 5.8% | -8.112%
23 | Winter | East End | FT2 | City of Whiteface, Texas | 181 | 165.5 | 154.0805 | 11.4195 | 2.9 | 47.1 | 50 | 6.9% | 5.8% | -14.87%
24 | Winter | East End | FT2 | Dumas, Texas, City of | 5590 | 5261.5 | 4898.4565 | 363.0435 | 154.541 | 2509.959 | 2664.5 | 6.9% | 5.8% | -12.37%
25 | Winter | East End | FT2 | McLean, Texas, City of | 740 | 544.5 | 506.9295 | 37.5705 | 14.239 | 231.261 | 245.5 | 6.9% | 5.8% | -31.5%
26 | Winter | East End | FT2 | Natural Gas Processing Co. 1/ | 6647 | 8525.5 | 7937.2405 | 588.2595 | 383.119 | 6222.381 | 6605.5 | 6.9% | 5.8% | 19.41%
27 | Winter | East End | FT2 | Sterling Natural Gas, Inc. | 1956 | 255 | 237.405 | 17.595 | 10.585 | 171.915 | 182.5 | 6.9% | 5.8% | -87.86%
28 | Winter | East End | FT2 | Zia Natural Gas Company | 583 | 561.5 | 522.7565 | 38.7435 | 20.097 | 326.403 | 346.5 | 6.9% | 5.8% | -10.33%
29 |  |  |  |  | 130133 | 131070.18 | 122026.3376 | 9043.8424 | 4409.4729 | 71615.9221 | 76025.395 | 6.9% | 5.8% | -6.23%
30
31 | Winter | West End | FR | ASARCO Incorporated | 12002 | 10385 | 9668.435 | 716.565 | 589.193 | 9569.307 | 10158.5 | 6.9% | 5.8% | -19.44%
32 | Winter | West End | FR | Chemical Lime Company of Arizona | 4250 | 1791.5 | 1667.8865 | 123.6135 | 163.125 | 2649.375 | 2812.5 | 6.9% | 5.8% | -60.76%
33 | Winter | West End | FR | Citizens Utilities 1/ | 100000 | 93606 | 87147.186 | 6458.814 | 3861.785 | 62720.715 | 66582.5 | 6.9% | 5.8% | -12.85%
34 | Winter | West End | FR | City of Las Cruces, New Mexico | 24921 | 24224.5 | 22553.0095 | 1671.4905 | 699.915 | 11367.585 | 12067.5 | 6.9% | 5.8% | -9.502%
35 | Winter | West End | FR | City of Lordsburg, New Mexico | 1027 | 749 | 697.319 | 51.681 | 22.707 | 368.793 | 391.5 | 6.9% | 5.8% | -32.1%
36 | Winter | West End | FR | City of Mesa, Arizona | 23004 | 21955.5 | 20440.5705 | 1514.9295 | 875.974 | 14227.026 | 15103 | 6.9% | 5.8% | -11.14%
37 | Winter | West End | FR | Navajo Tribal Utility Authority | 5327 | 3668.8 | 3415.6528 | 253.1472 | 181.3834 | 2945.9166 | 3127.3 | 6.9% | 5.8% | -35.88%
38 | Winter | West End | FR | Phelps Dodge Corporation | 47487 | 45982 | 42809.242 | 3172.758 | 2623.282 | 42605.718 | 45229 | 6.9% | 5.8% | -9.851%
39 | Winter | West End | FR | PNM Gas Services, A Division of Public 1/ | 48000 | 45733.57 | 42577.9537 | 3155.6163 | 1608.9942 | 26132.2858 | 27741.28 | 6.9% | 5.8% | -11.3%
40 | Winter | West End | FR | Southdown, Inc. | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0%
41 | Winter | West End | FR | Southern Union Gas Company 1/ | 140000 | 129790.75 | 120835.1883 | 8955.5617 | 3274.7279 | 53186.0971 | 56460.825 | 6.9% | 5.8% | -13.69%
42 | Winter | West End | FR | Southwest Gas Corporation 1/ | 585000 | 534907 | 497998.417 | 36908.583 | 15048.361 | 244406.139 | 259454.5 | 6.9% | 5.8% | -14.87%
43 | Winter | West End | FT2 | Black Mountain Gas Company | 2287 | 2219.5 | 2066.3545 | 153.1455 | 96.135 | 1561.365 | 1657.5 | 6.9% | 5.8% | -9.648%
44 | Winter | West End | FT2 | City of Benson, Arizona | 1148 | 961.5 | 895.1565 | 66.3435 | 34.568 | 561.432 | 596 | 6.9% | 5.8% | -22.02%
45 | Winter | West End | FT2 | City of Deming, Texas | 4182 | 3479.5 | 3239.4145 | 240.0855 | 131.312 | 2132.688 | 2264 | 6.9% | 5.8% | -22.54%
46 | Winter | West End | FT2 | City of Safford, Arizona | 2146 | 2013 | 1874.103 | 138.897 | 54.172 | 879.828 | 934 | 6.9% | 5.8% | -12.67%
47 | Winter | West End | FT2 | City of Socorro, New Mexico | 2813 | 2445 | 2276.295 | 168.705 | 70.441 | 1144.059 | 1214.5 | 6.9% | 5.8% | -19.08%
48 | Winter | West End | FT2 | City of Willcox, Arizona | 1441 | 1083.5 | 1008.7385 | 74.7615 | 33.785 | 548.715 | 582.5 | 6.9% | 5.8% | -30%
49 | Winter | West End | FT2 | Corona, New Mexico, Village of | 72 | 69 | 64.239 | 4.761 | 3.103 | 50.397 | 53.5 | 6.9% | 5.8% | -10.78%
50 | Winter | West End | FT2 | Duncan Rural Services Corporation | 519 | 465 | 432.915 | 32.085 | 19.343 | 314.157 | 333.5 | 6.9% | 5.8% | -16.59%
51 | Winter | West End | FT2 | Graham County Utilities, Inc. | 3833 | 2480 | 2308.88 | 171.12 | 69.687 | 1131.813 | 1201.5 | 6.9% | 5.8% | -39.76%
52 | Winter | West End | FT2 | Town of Mountainair, New Mexico | 538 | 218 | 202.958 | 15.042 | 8.178 | 132.822 | 141 | 6.9% | 5.8% | -62.28%
53 |  |  |  |  | 1010000 | 928227.62 | 864179.9142 | 64047.7058 | 29470.1715 | 478636.2335 | 508106.405 | 6.9% | 5.8% | -14.44%
54
55 |  |  |  | West FR Winter Pkr NCP Total | 1010000 | 928227.62 | 864179.9142 | 64047.7058 | 29470.1715 | 478636.2335 | 508106.405 |  |  | -14.44%
56 |  |  |  | West FR Smmr Pkr NCP Total | 763782 | 515346 | 479787.126 | 35558.874 | 36606.062 | 594532.938 | 631139 |  |  | -37.18%
57 |  |  |  | West FR Total | 1773782 | 1443573.62 | 1343967.0402 | 99606.5798 | 66076.2335 | 1073169.1715 | 1139245.405 |  |  | -24.23%
58
59 |  |  |  | Winter West FR Winter Pkr NCP Total |  | 928227.62 | 864179.9142 | 64047.7058
60 |  |  |  | Winter West FR Smmr Pkr NCP Total |  | 515346 | 479787.126 | 35558.874
61 |  |  |  | Winter West FR Total |  | 1443573.62 | 1343967.0402 | 99606.5798
62
63 |  |  |  | Summer West FR Winter Pkr NCP Total |  |  |  |  | 29470.1715 | 478636.2335 | 508106.405
64 |  |  |  | Summer West FR Smmr Pkr NCP Total |  |  |  |  | 36606.062 | 594532.938 | 631139
65 |  |  |  | Summer West FR Total |  |  |  |  | 66076.2335 | 1073169.1715 | 1139245.405
66 |  |  |  |  | Winter Capacity From 6a |  | 4486912
67 |  |  |  |  | Summer Capacity from 6b |  | 4431717
68 |  |  |  |  | Switch 1= EPNG | 0
69
70 |  |  |  |  | Winter Capacity From Study |  | 4600699
71 |  |  |  |  | Summer Capacity from Study |  | 4369571
72
73 |  |  |  |  | Winter Capacity Used Appendix A |  | 4600699
74 |  |  |  |  | Summer Capacity Used Appendix A |  | 4369571
75 |  |  |  |  | Pct Rcpt Qty Assgnd to both FR and CD Winter |  | 93.1%
76 |  |  |  |  | Pct Rcpt Qty Assgnd to both FR and CD Summer |  | 94.2%
77 |  |  | 1/ | Max NCP based upon Consultant Estimate as most recent data not available from EPNG at level of detail necessary to permit greater precision
78

## Sheet2
| NCP | CONV. FR | MAINLNE |  | %CD/NCP | %SHORTFALL/NCP
|  | CD DEL ALLOC | ALLOCATION | SHORTFALL
SUMMER EAST END | 21073 | 14675.2 | 13662.6112 | 1012.5888 | 69.64% | 4.805%
SUMMER FT-2 | 109 | 21.5 | 20.0165 | 1.4835 | 19.72% | 1.361%
SUMMER WEST END | 690083 | 473468 | 440798.708 | 32669.292 | 68.61% | 4.734%
SUMMER FT-2 | 27109 | 9391 | 8743.021 | 647.979 | 34.64% | 2.39%
WINTER EAST END | 109448 | 111681.18 | 103975.1786 | 7706.0014 | 102% | 7.041%
WINTER FT-2 | 20685 | 19389 | 18051.159 | 1337.841 | 93.73% | 6.468%
WINTER WEST END | 991021 | 912793.62 | 849810.8602 | 62982.7598 | 92.11% | 6.355%
WINTER FT-2 | 18979 | 15434 | 14369.054 | 1064.946 | 81.32% | 5.611%