## Page1
BRAZIL POWER TRADING AND RISK MANAGEMENT DAILY REPORT
Date as of January 17, 2001
1 - Balance of Energy - Average MW |  |  |  | 5 - Reservoir Levels | [7 empty] | 7 - Storage Energy (%)
|  |  |  | RIVER |  | LEVEL (m) | VOLUME | FLOW - M3/S
SOUTHEAST | [5 empty] | 12:00 PM | (%) | INFLOW | OUTFLOW | NET INFLOW | SHED | SOUTH + SOUTHEAST
Itens | Schedule | Actual | Dif % | Southeast | [7 empty] | Month | 1999 | 2000 | Dif(%)
Hydro Gen | 15494 | 16627.2458 | 7.3141 | GRANDE | FURNAS | 756.15 | 23.6 | 722 | 722 | 0 | 0 | JAN | 57.6 | 30.62 | -46.84%
Thermo Gen | 836 | 780 | -6.6986 |  | M.MORAES | 663.78 | 77.87 | 745 | 798 | -53 | 0 | FEB | 61 | 45.1672 | -25.96%
Angra Gen | 600 | 574 | -4.3333 |  | MARIMBONDO | 432.92 | 20.24 | 1412 | 1734 | -322 | 0 | MAR | 71.2 | 58.0492 | -18.47%
Total Gen | 16930 | 17981.2458 | 6.2094 |  | AGUA VERMELHA | 376.35 | 25.03 | 1933 | 2146 | -213 | 0 | APR | 70.4 | 57.9894 | -17.63%
Itaipu | 9563 | 9255.9208 | -3.2111 | PARANAÍBA | EMBORCAÇÃO | 631 | 23.97 | 310 | 197 | 113 | 0 | MAY | 65.3 | 52.41 | -19.74%
Load | 27841 | 28388.5375 | 1.9667 |  | NOVA PONTE | 787.41 | 18.62 | 222 | 199 | 23 | 0 | JUN | 61.4 | 46.16 | -24.82%
Interc. SE to S | -817 | -705.1958 | -13.6847 |  | ITUMBIARA | 504.1 | 25.18 | 940 | 1487 | -547 | 0 | JUL | 57 | 40.48 | -28.98%
Interc. SE to N | -531 | -446.175 | -15.9746 |  | SÃO SIMÃO | 396.26 | 50.95 | 2527 | 2592 | -65 | 0 | AUG | 47.4 | 33.49 | -29.35%
Interc. SE to NE | 0 | 1.3074e-12 | n/m | PARANÁ | ILHA SOLTEIRA | 324.64 | 30.82 | 5563 | 5686 | -123 | 0 | SEP | 39 | 35.26 | -9.59%
[5 empty] | JUPIÁ | 279.72 | 89.86 | 7209 | 7134 | 75 | 0 | OCT | 30.6 | 28.99 | -5.261%
SOUTH |  |  |  |  | ITAIPU | 220.24 | 0 | 13952 | 15054 | -1102 | 4924 | NOV | 23.6 | 27.9021 | 18.23%
Itens | Schedule | Actual | Dif % | TIETE | BARRA BONITA | 447.86 | 60.45 | 546 | 661 | -115 | 32 | DEC | 20.5 | 33.5129 | 63.48%
Hydro Gen | 7364 | 7154.375 | -2.8466 |  | PROMISSÃO | 382.59 | 65.64 | 971 | 795 | 176 | 0
Thermo Gen | 1300 | 1422 | 9.3846 |  | TRÊS IRMÃOS | 324.76 | 32.94 | 615 | 692 | -77 | 0 | NORTH + NORTHEAST
Total Gen | 8664 | 8576.375 | -1.0114 | PARANAPANEMA | JURUMIRIM | 564.7 | 56.27 | 183 | 93 | 90 | 0 | Month | 1999 | 2000 | Dif(%)
Load | 7874 | 7916.4583 | 0.53922 |  | CHAVANTES | 469.02 | 39.51 | 223 | 184 | 39 | 0 | JAN | 52.6 | 42.68 | -18.86%
Interc S to SE | 837 | 705.1958 | -15.7472 |  | CAPIVARA | 330.43 | 66.7 | 1219 | 1332 | -113 | 0 | FEB | 48.8 | 58.7636 | 20.42%
Intern. Interc. to S | 47 | 45.2792 | -3.6613 | South | [7 empty] | MAR | 62.6 | 69.0331 | 10.28%
|  |  |  | IGUAÇU | G.B.MUNHOZ | 741.12 | 96.85 | 1143 | 1033 | 110 | 0 | APR | 62.1 | 73.3915 | 18.18%
NORTH * |  |  |  |  | SALTO SANTIAGO | 505.72 | 98.58 | 1222 | 1006 | 216 | 0 | MAY | 58.4 | 69.93 | 19.74%
Itens | Schedule | Actual | Dif % | Northeast | [7 empty] | JUN | 52.8 | 65.19 | 23.47%
Hydro Gen | 3530 | 3469.425 | -1.716 | S.FRANCISCO | TRES MARIAS | 561.01 | 38 | 357 | 586 | -229 | 0 | JUL | 45.4 | 58.49 | 28.83%
Thermo Gen | 0 | 0 | n/m |  | SOBRADINHO | 387.54 | 43.03 | 2850 | 2076 | 774 | 0 | AUG | 37.1 | 49.34 | 32.99%
Total Gen | 3530 | 3469.425 | -1.716 |  | LUIZ GONZAGA | 301.8 | 52.42 | 1684 | 2019 | -335 | 0 | SEP | 28.6 | 40.42 | 41.33%
Load | 2550 | 2570.3333 | 0.79739 | Midwest | [7 empty] | OCT | 19.4 | 29.45 | 51.8%
Interc. N to NE | 419 | 452.9167 | 8.0947 | TOCANTINS | SERRA DA MESA | 440.3 | 37.63 | 453 | 1078 | -625 | 0 | NOV | 17.4 | 27.8019 | 59.78%
Interc. N to SE | 531 | 446.175 | -15.9746 |  | TUCURUI | 71.14 | 94.57 | 14535 | 13783 | 752 | 0 | DEC | 25.9 | 40.7721 | 57.42%
Check
NORTHEAST |  |  |  | 6 - Historical Generation | [7 empty] | 8 - Historical Load - GWh
Itens | Schedule | Actual | Dif % | Hydro Generation - GWh |  |  |  | Thermo Generation - GWh
Hydro Gen | 5932 | 5810.1375 | -2.0543
Thermo Gen | 0 | 0 | n/m | Interconnected System |  |  |  | Interconnected System |  |  |  | Interconnected System
Total Gen | 5932 | 5810.1375 | -2.0543 | Month | 1999 | 2000 | Dif(%) | Month | 1999 | 2000 | Dif(%) | Month | 1999 | 2000 | Dif(%)
Load | 6351 | 6263.0542 | -1.3848 | JAN | 27057.6 | 27687 | 2.326% | JAN | 1226.9 | 1871 | 52.5% | JAN | 28284.5 | 29600 | 4.651%
Interc. NE to N | -419 | -452.9167 | 8.0947 | FEB | 25137 | 26907 | 7.041% | FEB | 1207 | 1775 | 47.06% | FEB | 26344 | 28701.1875 | 8.948%
Interc. NE to SE | 0 | -1.3074e-12 | n/m | MAR | 28507 | 28799 | 1.024% | MAR | 1319 | 1681 | 27.45% | MAR | 29826 | 30509.9326 | 2.293%
|  |  |  | APR | 26917 | 27799 | 3.277% | APR | 1239 | 1415 | 14.21% | APR | 28156 | 27799 | -1.268%
| Actual |  |  | MAY | 27147 | 28801 | 6.093% | MAY | 1340 | 1335 | -0.3731% | MAY | 28528.245 | 30294.6867 | 6.192%
Itaipu 50 Hz | 5420.8625 |  |  | JUN | 26576 | 27362 | 2.958% | JUN | 1272 | 1413 | 11.08% | JUN | 27875.0342 | 29204.7407 | 4.77%
Itaipu 60 Hz | 3835.0583 |  |  | JUL | 27818 | 27666 | -0.5464% | JUL | 988 | 1351 | 36.74% | JUL | 28840 | 29739 | 3.117%
Interc. SE to S | -705.1958 |  |  | AUG | 27884 | 27797.48 | -0.3103% | AUG | 1315 | 1982.83 | 50.79% | AUG | 29228.8609 | 30567.1849 | 4.579%
* North submarket is unbalanced due to an inconsistency in ONS report |  |  |  | SEP | 27287 | 27472 | 0.678% | SEP | 1378 | 1178 | -14.51% | SEP | 28692.314 | 29592.6392 | 3.138%
|  |  |  | OCT | 27759 | 30031 | 8.185% | OCT | 1491 | 1500 | 0.6036% | OCT | 29280.6865 | 31630 | 8.023%
2 - Available generation per system (MW) |  |  |  | NOV | 26734 | 27567 | 3.116% | NOV | 1647 | 2261 | 37.28% | NOV | 28449.4332 | 30100.8829 | 5.805%
System | Hydro | Thermo | Total | DEC | 27700.647 | 27569.8487 | -0.4722% | DEC | 1846.2556 | 2635.0738 | 42.73% | DEC | 29613.1733 | 30892.0917 | 4.319%
S | 9010 | 1605 | 10615 | [8 empty] | TOTAL | 343118.2472 | 358631.3461 | 4.521%
SE + MW | 35336 | 1454 | 36790
S + SE + MW | 44346 | 3059 | 47405
N | 3764 | - | 3764
NE | 8230 | 0 | 8230
N + NE | 11994 | 0 | 11994
Total | 56340 | 3059 | 59399
3 - International Interconnections (MW)
Paraguai to Copel | 45.2792
Argentina to Eletrosul | 0
Total | 45.2792
4 - Transmission Capacity (MW)
Average |  | Heavy Load
Medium Load |  | Light Load
2000
1999
2000
2000
2000
2000
2000
1999
1999
1999
1999
1999
N
NE
S
938
700
1600
676
1600
491
SE
3323
416
N
NE
S
901
600
1620
601
1000
350
SE
3498
0
N
NE
S
901
600
1408
601
1200
540
SE
3448
0
N
NE
S
1001
600
1074
802
1200
560
SE
3093
102

## Page2
9 - Generation
9.1. Hydro generation and availability per plant | [10 empty] | 9.2. Thermo generation
Plant | Plant | % | Inst Cap | Availab Cap | Schedule | Actual | Dif (MW) | Exc Inst Cap | Exc Av Cap |  | Plant |  | % | Inst Cap | Availab Cap | Schedule | Actual | Dif (MW) | Exc Inst Cap | Exc Av Cap | Cost(R$/MWh)
PCH CEB | PUS CEB | 50.7042 | 35.5 | 18 | 18 | 18 | 0 | 17.5 | 0 |  | Angra | Angra | 87.519 | 1850 | 575 | 600 | 574.3375 | -25.6625 | 1275.6625 | 0.6625 | 8.5
CAMARGOS | CAMARGOS | 58.3333 | 48 | 28 | 10.6667 | 13.3708 | 2.7042 | 34.6292 | 14.6292 |  | P.Médici | P.Médici | 62.1076 | 446 | 277 | 280 | 252.4583 | -27.5417 | 193.5417 | 24.5417 | 28.6
EMBORCAÇÃO | EMBORCAÇÃO | 49.8322 | 1192 | 594 | 130 | 179.2667 | 49.2667 | 1012.7333 | 414.7333 |  | Uruguaiana | Uruguaiana*** | - | 450 | 550 | 550 | 550 | 0 | -100 | 0 | 38.95 | X
G.AMORIM | G.AMORIM | 102.8571 | 140 | 144 | 53.8125 | 110.2917 | 56.4792 | 29.7083 | 33.7083 | X | J.Lacerda C | J.Lacerda C | 97.7961 | 363 | 355 | 180 | 263.1292 | 83.1292 | 99.8708 | 91.8708 | 45.4
IGARAPAVA | IGARAPAVA | 100 | 210 | 210 | 107.8125 | 121.0208 | 13.2083 | 88.9792 | 88.9792 |  | J.Lacerda B | J.Lacerda B | 95.4198 | 262 | 250 | 160 | 207.6792 | 47.6792 | 54.3208 | 42.3208 | 53.31
ITUTINGA | ITUTINGA | 98.0769 | 52 | 51 | 18 | 23.1 | 5.1 | 28.9 | 27.9 |  | J.Lacerda A | J.Lacerda A | 57.3276 | 232 | 133 | 91 | 111.875 | 20.875 | 120.125 | 21.125 | 57.3
JAGUARA | JAGUARA | 85.1415 | 424 | 361 | 252.7083 | 282.6875 | 29.9792 | 141.3125 | 78.3125 |  | Charqueadas | Charqueadas | 40.2778 | 72 | 29 | 25 | 27.5875 | 2.5875 | 44.4125 | 1.4125 | 57.65
MIRANDA | MIRANDA | 66.6667 | 408 | 272 | 118.3333 | 142.6417 | 24.3083 | 265.3583 | 129.3583 |  | Campos | Campos | 87.5 | 32 | 28 | 30 | 28 | -2 | 4 | 0 | 69.35
NOVA PONTE | NOVA PONTE | 82.3529 | 510 | 420 | 125 | 169.4542 | 44.4542 | 340.5458 | 250.5458 |  | Igarapé | Igarapé | 99.7715 | 131.3 | 131 | 131 | 130.8208 | -0.17917 | 0.47917 | 0.17917 | 78.13
PCH CEMIG | PCH CEMIG | 50.8867 | 129.7 | 66 | 52.9167 | 53.5958 | 0.67917 | 76.1042 | 12.4042 |  | Figueira | Figueira | 30 | 20 | 6 | 6 | 4.4917 | -1.5083 | 15.5083 | 1.5083 | 78.52
S.GRANDE | S.GRANDE | 100 | 102 | 102 | 69.6875 | 70 | 0.3125 | 32 | 32 |  | S.Jerônimo | SÃO JERÔNIMO | 29.4118 | 17 | 5 | 5 | 0 | -5 | 17 | 5 | 87.33
S.SIMÃO | S.SIMÃO | 93.9766 | 1710 | 1607 | 1528.75 | 1541.9417 | 13.1917 | 168.0583 | 65.0583 |  | Sta Cruz | Sta Cruz | 64.9671 | 608 | 395 | 430 | 388.9958 | -41.0042 | 219.0042 | 6.0042 | 97.11
SOBRAGI | SOBRAGI | 65.3595 | 61.2 | 40 | 26 | 25.0458 | -0.95417 | 36.1542 | 14.9542 |  | Piratininga | Piratininga | 68.0851 | 470 | 320 | 245 | 231.9708 | -13.0292 | 238.0292 | 88.0292 | 115.27
T.MARIAS | T.MARIAS | 86.3636 | 396 | 342 | 168.9583 | 218.7833 | 49.825 | 177.2167 | 123.2167 |  | Alegrete | Alegrete | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128.24
V.GRANDE | V.GRANDE | 100 | 380 | 380 | 170 | 210.175 | 40.175 | 169.825 | 169.825 |  | Carioba | Carioba* | 13.8889 | 36 | 5 | 0 | n/a | n/a | n/a | n/a | 142.88 | X
PCH CELG | PUS CELG | 85.6653 | 17.51 | 15 | 8.975 | 8.975 | 0 | 8.535 | 6.025 |  | Cuiabá | Cuiabá | 0 | 480 | 0 | 0 | 0 | 0 | 480 | 0 | 160.06
PCH CPFL | PCH CPFL | 49.151 | 111.9 | 55 | 54.7917 | 54.7917 | 0 | 57.1083 | 0.20833 |  | Nutepa | Nutepa | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 204.96
PCH CERJ | PCH CERJ | 87.3434 | 60.68 | 53 | 33.5292 | 33.5292 | 0 | 27.1508 | 19.4708 |  | Camaçari | Camaçari | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 247.78
A.VERMELHA | A.VERMELHA | 89.4134 | 1398.0001 | 1250 | 879.1667 | 925.9375 | 46.7708 | 472.0626 | 324.0625 |  | W.Arjona | W.Arjona | 0 | 0 | 0 | 2.9167 | 0 | -2.9167 | 0 | 0 | 324.06
B.BONITA | B.BONITA | 82.8571 | 140 | 116 | 116 | 105.3958 | -10.6042 | 34.6042 | 10.6042 |  | TOTAL |  | 64.9645 | 5469.3 | 3059 | 2735.9167 | 2771.3458 | 35.4292 | 2661.9542 | 282.6542
BARIRI | BARIRI | 91.6667 | 144 | 132 | 130 | 125.0875 | -4.9125 | 18.9125 | 6.9125
CACONDE | CACONDE | 75 | 80 | 60 | 60 | 58.4583 | -1.5417 | 21.5417 | 1.5417 |  | Note: Angra considers both Angra I and II thermoplants
CHAVANTES | CHAVANTES | 89.4231 | 416 | 372 | 81.1667 | 92.0833 | 10.9167 | 323.9167 | 279.9167 |  | Includes 200 MW of Uruguaiana thermoplant (unit 3) on commission
CAPIVARA | CAPIVARA | 88.2812 | 640 | 565 | 535 | 522.7333 | -12.2667 | 117.2667 | 42.2667
CANOAS I | CANOAS I | 65.4545 | 82.5 | 54 | 54 | 54 | 0 | 28.5 | 0
CANOAS II | CANOAS II | 102.0408 | 73.5 | 75 | 45 | 44.6875 | -0.3125 | 28.8125 | 30.3125 | X |  |  | Legend
E.CUNHA | E.CUNHA | 88.8889 | 108 | 96 | 68.3333 | 67.6292 | -0.70417 | 40.3708 | 28.3708 |  |  |  |  | Southeast |  |  | Northeast
IBITINGA | IBITINGA | 97.7273 | 132 | 129 | 126 | 123.2958 | -2.7042 | 8.7042 | 5.7042
I.SOLTEIRA | I.SOLTEIRA | 90.1858 | 3444 | 3106 | 2039.5833 | 2065.0917 | 25.5083 | 1378.9084 | 1040.9083 |  |  |  |  | South |  |  | North
JAGUARI | JAGUARI | 71.4286 | 28 | 20 | 4 | 3.9542 | -0.045833 | 24.0458 | 16.0458
JUPIA | JUPIA | 87.674 | 1551.2002 | 1360 | 1189.5833 | 1244.1667 | 54.5833 | 307.0335 | 115.8333
JURUMIRIM | JURUMIRIM | 91.8367 | 98 | 90 | 24.3333 | 25.0833 | 0.75 | 72.9167 | 64.9167
LIMOEIRO | LIMOEIRO | 100 | 32 | 32 | 20.8333 | 20.4333 | -0.4 | 11.5667 | 11.5667
N. AVANHAN | N. AVANHAN | 99.3091 | 347.4 | 345 | 243.3333 | 250.7083 | 7.375 | 96.6917 | 94.2917
PARAIBUNA | PARAIBUNA | 81.3953 | 86 | 70 | 10 | 12.5542 | 2.5542 | 73.4458 | 57.4458
P.PRIMAVERA | P.PRIMAVERA | 65.1042 | 806.3999 | 525 | 525 | 520.9708 | -4.0292 | 285.4291 | 4.0292
PROMISSÃO | PROMISSÃO | 96.5909 | 264 | 255 | 162.9167 | 165.6958 | 2.7792 | 98.3042 | 89.3042
ROSANA | ROSANA | 98.6559 | 372 | 367 | 277.5 | 288.7792 | 11.2792 | 83.2208 | 78.2208
S. GRANDE | S. GRANDE | 73.6111 | 72 | 53 | 45.125 | 44.6875 | -0.4375 | 27.3125 | 8.3125
TAQUARUÇU | TAQUARUÇU | 80.5054 | 554 | 446 | 314.7917 | 337.5375 | 22.7458 | 216.4625 | 108.4625
T.IRMÃOS | T.IRMÃOS | 80 | 810 | 648 | 148.9583 | 254.7792 | 105.8208 | 555.2208 | 393.2208
PCH CEMAT | PUS CEMAT | 27.7791 | 421.18 | 117 | 94.5542 | 94.5542 | 0 | 326.6258 | 22.4458
MASCARENHAS | MASCARENHAS | 102.3622 | 127 | 130 | 130 | 130 | 0 | -3 | 0 | X
PCH ESCELSA | PCH ESCELSA (*) | 39.4011 | 139.59 | 55 | 55 | 55 | 0 | 84.59 | 0
H.BORDEN Ext | H.BORDEN Ext | 85.5011 | 469 | 401 | 62.4583 | 119.4208 | 56.9625 | 349.5792 | 281.5792
H.BORDEN Sub. | H.BORDEN Sub | 66.6667 | 420 | 280 | 0 | 69.9833 | 69.9833 | 350.0167 | 210.0167
PCH EPAULO | PCH EPAULO | 41.0678 | 48.7 | 20 | 20 | 20 | 0 | 28.7 | 0
P.COLOMBIA | P.COLOMBIA | 97.561 | 328 | 320 | 158.3333 | 186.0083 | 27.675 | 141.9917 | 133.9917
CORUMBÁ | CORUMBÁ | 100 | 375 | 375 | 375 | 373.6417 | -1.3583 | 1.3583 | 1.3583
FUNIL | FUNIL | 83.7838 | 222 | 186 | 118.3333 | 131.7875 | 13.4542 | 90.2125 | 54.2125
FURNAS | FURNAS | 72.561 | 1312 | 952 | 404.1667 | 490.1083 | 85.9417 | 821.8917 | 461.8917
ITUMBIARA | ITUMBIARA | 65.7895 | 2280 | 1500 | 816.6667 | 900.8375 | 84.1708 | 1379.1625 | 599.1625
ESTREITO | ESTREITO | 95.1087 | 1104 | 1050 | 302.0833 | 358.7208 | 56.6375 | 745.2792 | 691.2792
MANSO | MANSO | 45.7143 | 52.5 | 24 | 24 | 24 | 0 | 28.5 | 0
M.MORAES | M.MORAES | 89.1213 | 478 | 426 | 260.4167 | 289.7833 | 29.3667 | 188.2167 | 136.2167
MARIMBONDO | MARIMBONDO | 65.8602 | 1488 | 980 | 690.8333 | 740.6083 | 49.775 | 747.3917 | 239.3917
S. MESA | SERRA MESA | 81.3953 | 1290 | 1050 | 1027.0833 | 1029.9875 | 2.9042 | 260.0125 | 20.0125
C.DOURADA | C.DOURADA | 81.307 | 658 | 535 | 348.125 | 406.9125 | 58.7875 | 251.0875 | 128.0875
FONTES | FONTES | 100 | 132 | 132 | 106.7917 | 105.3625 | -1.4292 | 26.6375 | 26.6375
I. POMBOS | I. POMBOS | 86.2069 | 174 | 150 | 68.875 | 67.1583 | -1.7167 | 106.8417 | 82.8417
N.PEÇANHA | N.PEÇANHA | 100 | 380 | 380 | 325.8333 | 341.3875 | 15.5542 | 38.6125 | 38.6125
P.PASSOS | P.PASSOS | 100 | 100 | 100 | 44.7917 | 49.5583 | 4.7667 | 50.4417 | 50.4417
STA BRANCA | S.BRANCA | 21.0526 | 57 | 12 | 12 | 12.025 | 0.025 | 44.975 | -0.025
ITAIPU 50 Hz | ITAIPU 50 Hz | 88.2064 | 6299.9998 | 5557 | 5483.3333 | 5420.8625 | -62.4708 | 879.1373 | 136.1375
ITAIPU 60 Hz | ITAIPU 60 Hz | 90.1587 | 6300 | 5680 | 4079.1667 | 3835.0583 | -244.1083 | 2464.9417 | 1844.9417
SUB-TOTAL |  | 85.6275 | 42323.4601 | 35336 | 25056.4125 | 25883.1875 | 826.775 | 16440.2726 | 9452.8125
PCH CEEE | PCH CEEE | 106.5831 | 31.9 | 34 | 106.5831 | 33.85 | -72.7331 | -1.95 | 0.15 | X
CANASTRA | CANASTRA | 79.5455 | 44 | 35 | 79.5455 | 15.6583 | -63.8871 | 28.3417 | 19.3417
ITAUBA | ITAUBA | 100 | 500 | 500 | 100 | 402.0875 | 302.0875 | 97.9125 | 97.9125
JACUI | JACUI | 100 | 180 | 180 | 100 | 175.5417 | 75.5417 | 4.4583 | 4.4583
PASSO REAL | PASSO REAL | 100 | 155 | 155 | 100 | 151.3917 | 51.3917 | 3.6083 | 3.6083
GBM | GBM | 99.821 | 1676.0001 | 1673 | 99.821 | 1202.0083 | 1102.1873 | 473.9917 | 470.9917
GPS | GPS | 100 | 260 | 260 | 100 | 165.2208 | 65.2208 | 94.7792 | 94.7792
PCH COPEL | PCH COPEL | 0 | n/a | 101 | 0 | 55.7417 | 55.7417 | n/a | 45.2583 | X
S.CAXIAS | S.CAXIAS | 100 | 1240 | 1240 | 100 | 1058.0333 | 958.0333 | 181.9667 | 181.9667
SEGREDO | SEGREDO | 87.6984 | 1260 | 1105 | 87.6984 | 928.225 | 840.5266 | 331.775 | 176.775
ITÁ | ITÁ | 101.3793 | 1160 | 1176 | 101.3793 | 1155.2 | 1053.8207 | 4.8 | 20.8 | X
P.FUNDO | P.FUNDO | 100 | 226 | 226 | 100 | 101.5917 | 1.5917 | 124.4083 | 124.4083
S.OSÓRIO | S.OSORIO | 76.0589 | 1086 | 826 | 76.0589 | 665.1583 | 589.0994 | 420.8417 | 160.8417
S.SANTIAGO | S.SANTIAGO | 100 | 1420 | 1420 | 100 | 967.5417 | 867.5417 | 452.4583 | 452.4583
PCH ENERSUL | PUS ENERSUL | 90.0621 | 32.2 | 29 | 90.0621 | 31.4 | -58.6621 | 0.8 | -2.4
PCH CELESC | PCH CELESC | 67.6865 | 73.87 | 50 | 67.6865 | 45.6542 | -22.0323 | 28.2158 | 4.3458
SUB-TOTAL |  | 95.0564 | 9344.9701 | 9010 | 1408.8348 | 7154.3042 | 5745.4694 | 2246.4076 | 1855.6958
PCH CHESF | PCH CHESF | 69.5652 | 57.5 | 40 | 41 | 33.2208 | -7.7792 | 24.2792 | 6.7792
A SALLES | APOLÔNIO SALLES | 75 | 400 | 300 | 161.3333 | 165.6292 | 4.2958 | 234.3708 | 134.3708
B. ESPERANÇA | BOA ESPERANÇA | 100 | 225 | 225 | 161 | 161 | 0 | 64 | 64
L.GONZAGA | LUIS GONZAGA | 79 | 1500 | 1185 | 945.8333 | 943.4792 | -2.3542 | 556.5208 | 241.5208
SOBRADINHO | SOBRADINHO | 81.2381 | 1050 | 853 | 451.6667 | 453.6167 | 1.95 | 596.3833 | 399.3833
P.AFONSO 1 | P.AFONSO 1 | 66.6667 | 180 | 120 | 120 | 117.3542 | -2.6458 | 62.6458 | 2.6458
P.AFONSO 2 | P.AFONSO 2 | 49.8876 | 445 | 222 | 210 | 199.2125 | -10.7875 | 245.7875 | 22.7875
P.AFONSO 3 | P.AFONSO 3 | 75 | 800 | 600 | 351.25 | 367.475 | 16.225 | 432.525 | 232.525
P.AFONSO 4 | P.AFONSO 4 | 83.3333 | 2459.9999 | 2050 | 1220.75 | 1125.3083 | -95.4417 | 1334.6916 | 924.6917
XINGÓ | XINGÓ | 83.3333 | 3161.9999 | 2635 | 2268.75 | 2243.8875 | -24.8625 | 918.1124 | 391.1125
SUB-TOTAL |  | 80.8245 | 10279.4998 | 8230 | 5931.5833 | 5810.1833 | -121.4 | 4469.3165 | 2419.8167
TUCURUÍ | TUCURUI | 88 | 4200 | 3696 | 3500 | 3500 | 0 | 700 | 196
AUX. TUCURUI | AUX. TUCURUI | 95 | 40 | 38 | n/a | n/a | n/a | n/a | n/a | X
CURUÁ-UNA | CURUA-UNA | 100 | 30 | 30 | 30 | 30 | 0 | 0 | 0
SUB-TOTAL |  | 88.1663 | 4270 | 3764 | 3530 | 3530 | 0 | 700 | 196
TOTAL | TOTAL | 86.6034 | 66217.93 | 56340 | 35926.8306 | 42377.675 | 6450.8444 | 23855.9967 | 13924.325
Note: PCH Escelsa includes 40 MW from auto producers
PCH Copel includes 47 MW from Acaray
Note on O5: Guy Ishikawa: According Supply Database Angra I e II
Note on O7: Guy Ishikawa: According to supply data base - Uruguaiana (Phase 1)

## Page3
|  |  | Southeast Submarket |  | Generation | Load | EAR | Max EAR (MW) |  | Northeast Submarket | Generation | Load | EAR | Max EAR (MW)
|  |  | (% National System) |  | 66.7% | 63% | 68.1% | 160269 |  | (% National System) | 13.1% | 14.5% | 21.3% | 50192
|  |  | South Submarket |  | Generation | Load | EAR | Max EAR (MW) |  | North Submarket | Generation | Load | EAR | Max EAR (MW)
|  |  | (% National System) |  | 12.9% | 16.2% | 6.1% | 14319 |  | (% National System) | 7.3% | 6.3% | 4.5% | 10692
Legend
|  | TMO (Tarifa Marginal da Operação - R$) |  |  |  |  | ENA (Energia Natural Afluente as of % Média Longo Termo) |  | EAR (Energia Armazenada) |  | Heavy load price |  | Medium load price |  | Light load price
DO NOT PRINT THIS CHECK LIST
| Generation | Load | EAR | Max EAR (MW)
Check | Ok | Ok | Ok | Ok

## Page4 (hidden)
EAR (Storage Energy) | [12 empty] | EAR (Storage Energy - YoY change)
| Southeast |  |  | South |  |  | Northeast |  |  | North |  |  |  | Southeast |  |  | South |  |  | Northeast |  |  | North
| 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 |  | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000
JAN | 68.8% | 56.8% | 29.3% | 97.8% | 79.2% | 47.5% | 79.4% | 44.4% | 35.7% | 96.1% | 74.2% | 75.5% | JAN | - | -12% | -27.5% | - | -18.6% | -31.7% | - | -35% | -8.7% | - | -21.9% | 1.3%
FEB | 79% | 62.2% | 45% | 98.9% | 84.4% | 47.3% | 85.7% | 42.6% | 54.1% | 97% | 80.2% | 80.7% | FEB | - | -16.8% | -17.2% | - | -14.5% | -37.1% | - | -43.1% | 11.5% | - | -16.8% | 0.5%
MAR | 83.1% | 71% | 58.5% | 95.7% | 74.9% | 52.3% | 81.6% | 58.6% | 66% | 95.5% | 81% | 83.3% | MAR | - | -12.1% | -12.5% | - | -20.8% | -22.6% | - | -23% | 7.4% | - | -14.5% | 2.3%
APR | 81.8% | 69.8% | 59.4% | 92.8% | 72.7% | 40% | 84.1% | 57.4% | 71.2% | 104% | 83.2% | 83.7% | APR | - | -12% | -10.4% | - | -20.1% | -32.7% | - | -26.7% | 13.8% | - | -20.8% | 0.5%
MAY | 80.2% | 65.4% | 54.1% | 93.6% | 60.8% | 30.2% | 78.6% | 52.9% | 67.3% | 105.1% | 83.7% | 82.1% | MAY | - | -14.8% | -11.3% | - | -32.8% | -30.6% | - | -25.7% | 14.4% | - | -21.4% | -1.6%
JUN | 75.7% | 60.1% | 47.3% | 85.1% | 76.1% | 41% | 72.8% | 46.4% | 61.8% | 96.8% | 81% | 81.1% | JUN | - | -15.6% | -12.8% | - | -9% | -35.1% | - | -26.4% | 15.4% | - | -15.8% | 0.1%
JUL | 67.8% | 54.2% | 40.6% | 95.9% | 87.9% | 44.1% | 63.8% | 39.6% | 55.7% | 81.9% | 71.4% | 75.5% | JUL | - | -13.6% | -13.6% | - | -8% | -43.8% | - | -24.2% | 16.1% | - | -10.5% | 4.1%
AUG | 60.5% | 45% | 31.8% | 93.4% | 70.5% | 46.2% | 55.1% | 31.9% | 47% | 63.7% | 58.5% | 61.5% | AUG | - | -15.5% | -13.2% | - | -22.9% | -24.3% | - | -23.2% | 15.1% | - | -5.2% | 3%
SEP | 52.5% | 36.7% | 30.7% | 93.6% | 61.6% | 86.7% | 44.2% | 25.2% | 39.3% | 44.8% | 43.8% | 45% | SEP | - | -15.8% | -6% | - | -32% | 25.1% | - | -19% | 14.1% | - | -1% | 1.2%
OCT | 47.8% | 26.4% | 23% | 97.5% | 79.2% | 96.2% | 34.4% | 17% | 28.9% | 27.4% | 28.7% | 32.1% | OCT | - | -21.4% | -3.4% | - | -18.3% | 17% | - | -17.4% | 11.9% | - | 1.3% | 3.4%
NOV | 43.5% | 19.7% | 22.09% | 87.9% | 66.2% | 92.9% | 33.7% | 15.9% | 27.54% | 27.4% | 24% | 29.02% | NOV | - | -23.8% | 2.39% | - | -21.7% | 26.7% | - | -17.8% | 11.64% | - | -3.4% | 5.02%
DEC | 46.3% | 18.1% | 28.52% | 82.5% | 52.9% | 89.37% | 39.1% | 21.8% | 36.81% | 45.8% | 45.7% | 59.33% | DEC | - | -28.2% | 10.42% | - | -29.6% | 36.47% | - | -17.3% | 15.01% | - | -0.1% | 13.63%
ENA (Water Inflow as a % of MLT) | [12 empty] | ENA (Water Inflow - YoY change)
| Southeast |  |  | South |  |  | Northeast |  |  | North |  |  |  | Southeast |  |  | South |  |  | Northeast |  |  | North
| 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 |  | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000 | 1998 | 1999 | 2000
JAN | 78.44% | 111% | 97% | 244.4% | 96% | 82% | 67.38% | 69% | 89% | 64.36% | 79% | 142% | JAN | - | 32.56% | -14% | - | -148.4% | -14% | - | 1.623% | 20% | - | 14.64% | 63%
FEB | 95.91% | 88% | 115% | 236.8% | 141% | 108% | 64.14% | 34% | 110% | 66.01% | 56% | 117% | FEB | - | -7.914% | 27% | - | -95.77% | -33% | - | -30.14% | 76% | - | -10.01% | 61%
MAR | 98.64% | 109% | 109% | 252.2% | 103% | 125% | 72.85% | 89% | 91% | 77.79% | 79% | 127% | MAR | - | 10.36% | 0% | - | -149.2% | 22% | - | 16.15% | 2% | - | 1.21% | 48%
APR | 116.4% | 81% | 85% | 554.6% | 133% | 63% | 47.29% | 59% | 90% | 54.96% | 65% | 111% | APR | - | -35.36% | 4% | - | -421.6% | -70% | - | 11.71% | 31% | - | 10.04% | 46%
MAY | 119.8% | 85% | 74% | 259.5% | 56% | 55% | 56.4% | 56% | 73% | 45.35% | 82% | 116% | MAY | - | -34.8% | -11% | - | -203.5% | -1% | - | -0.4022% | 17% | - | 36.65% | 34%
JUN | 107.3% | 92% | 77% | 74.22% | 117% | 55% | 74.46% | 64% | 76% | 41.9% | 63% | 83% | JUN | - | -15.3% | -15% | - | 42.78% | -62% | - | -10.46% | 12% | - | 21.1% | 20%
JUL | 99.29% | 107% | 86% | 137.5% | 204% | 92% | 74.45% | 72% | 78% | 60.73% | 68% | 89% | JUL | - | 7.708% | -21% | - | 66.54% | -112% | - | -2.454% | 6% | - | 7.271% | 21%
AUG | 133.5% | 83% | 97% | 282.1% | 42% | 67% | 79.51% | 63% | 73% | 59.53% | 73% | 97% | AUG | - | -50.48% | 14% | - | -240.1% | 25% | - | -16.51% | 10% | - | 13.47% | 24%
SEP | 137.9% | 96% | 95% | 241.2% | 47% | 210% | 81.16% | 60% | 83% | 63.97% | 72% | 88% | SEP | - | -41.9% | -1% | - | -194.2% | 163% | - | -21.16% | 23% | - | 8.032% | 16%
OCT | 177% | 61% | 92% | 292.1% | 116% | 184% | 68.04% | 57% | 69% | 66.43% | 80% | 88% | OCT | - | -116% | 31% | - | -176.1% | 68% | - | -11.04% | 12% | - | 13.57% | 8%
NOV | 100.8% | 70% | 109% | 96.5% | 58% | 85% | 107.6% | 75% | 90% | 76.17% | 93% | 108% | NOV | - | -30.77% | 39% | - | -38.5% | 27% | - | -32.6% | 15% | - | 16.83% | 15%
DEC | 98.11% | 68% | 107% | 98.48% | 59% | 78% | 91.91% | 92% | 107% | 84.42% | 117% | 135% | DEC | - | -30.11% | 39% | - | -39.48% | 19% | - | 0.08846% | 15% | - | 32.58% | 18%

## Data (hidden)
| Southeast | [5 empty] | South | [5 empty] | Northeast | [5 empty] | North
| ENA | %MLT | EAR | Heavy | Medium | Light | ENA | %MLT | EAR | Heavy | Medium | Light | ENA | %MLT | EAR | Heavy | Medium | Light | ENA | %MLT | EAR | Heavy | Medium | Light
1998-11-01 | 20887 | 101% | 43.2% | [9 empty] | 5895 | 108% | 33.7%
1998-12-01 | 30440 | 93% | 46.3% | [9 empty] | 8977 | 92% | 39.1%
1999-01-01 | 49147 | 111% | 56.8% | 56.21 | 56.21 | 56.21 | 2937 | 96% | 79.2% | 56.21 | 56.21 | 56.21 | 9393 | 69% | 44.4% | 39.49 | 39.49 | 39.49 | 6138 | 79% | 74.2% | 39.49 | 39.49 | 39.49
1999-02-01 | 41601 | 88% | 62.2% | 50.05 | 50.05 | 50.05 | 4771 | 141% | 84.4% | 50.05 | 50.05 | 50.05 | 4989 | 34% | 42.6% | 26.07 | 26.07 | 26.07 | 5882 | 56% | 80.2% | 26.07 | 26.07 | 26.07
1999-03-01 | 48054 | 109% | 71% | 46.78 | 46.78 | 46.78 | 3215 | 103% | 74.9% | 46.78 | 46.78 | 46.78 | 12559 | 89% | 58.6% | 28.48 | 28.48 | 28.48 | 9633 | 79% | 81% | 28.48 | 28.48 | 28.48
1999-04-01 | 26652 | 81% | 69.8% | 43.89 | 43.89 | 43.89 | 3615 | 133% | 72.7% | 43.89 | 43.89 | 43.89 | 6592 | 59% | 57.4% | 26.91 | 26.91 | 26.91 | 7834 | 65% | 83.2% | 26.91 | 26.91 | 26.91
1999-05-01 | 20671 | 85% | 65.4% | 48.63 | 48.63 | 48.63 | 2055 | 56% | 60.8% | 48.63 | 48.63 | 48.63 | 3859 | 56% | 52.9% | 30.95 | 30.95 | 30.95 | 6424 | 82% | 83.7% | 30.95 | 30.95 | 30.95
1999-06-01 | 19246 | 92% | 60.1% | 49.99 | 49.99 | 49.99 | 5102 | 117% | 76.1% | 49.99 | 49.99 | 49.99 | 3037 | 64% | 46.4% | 45.24 | 45.24 | 45.24 | 2409 | 63% | 81% | 45.24 | 45.24 | 45.24
1999-07-01 | 18391 | 107% | 54.2% | 61.72 | 61.72 | 61.72 | 8920 | 204% | 87.9% | 61.72 | 61.72 | 61.72 | 2856 | 72% | 39.6% | 38.02 | 38.02 | 38.02 | 1527 | 68% | 71.4% | 38.02 | 38.02 | 38.02
1999-08-01 | 11889 | 83% | 45% | 49.62 | 49.62 | 49.62 | 1869 | 42% | 70.5% | 49.62 | 49.62 | 49.62 | 2128 | 63% | 31.9% | 52.05 | 52.05 | 52.05 | 1265 | 73% | 58.5% | 52.05 | 52.05 | 52.05
1999-09-01 | 13771 | 96% | 36.7% | 72.97 | 72.97 | 72.97 | 2385 | 47% | 61.6% | 72.97 | 72.97 | 72.97 | 1794 | 60% | 25.2% | 71.47 | 71.47 | 71.47 | 975 | 72% | 43.8% | 71.47 | 71.47 | 71.47
1999-10-01 | 10561 | 61% | 26.4% | 91.94 | 91.94 | 91.94 | 6932 | 116% | 79.2% | 91.94 | 91.94 | 91.94 | 1915 | 57% | 17% | 90.75 | 90.75 | 90.75 | 1211 | 80% | 28.7% | 90.75 | 90.75 | 90.75
1999-11-01 | 15333 | 70% | 19.7% | 155.51 | 155.51 | 155.51 | 2686 | 58% | 66.2% | 155.51 | 155.51 | 155.51 | 4093 | 75% | 15.9% | 161.1 | 161.1 | 161.1 | 2320 | 93% | 24% | 161.1 | 161.1 | 161.1
1999-12-01 | 22287 | 68% | 18.1% | 213.93 | 213.93 | 213.93 | 2227 | 59% | 52.9% | 213.93 | 213.93 | 213.93 | 8977 | 92% | 21.8% | 211.22 | 211.22 | 211.22 | 5641 | 117% | 45.7% | 211.22 | 211.22 | 211.22
2000-01-01 | 43025 | 97% | 29.3% | 285.5 | 285.5 | 285.5 | 3076 | 82% | 47.5% | 285.5 | 285.5 | 285.5 | 12148 | 89% | 35.7% | 187.58 | 187.58 | 187.58 | 12057 | 142% | 75.5% | 187.58 | 187.58 | 187.58
2000-02-01 | 53942 | 115% | 45% | 190.88 | 190.88 | 190.88 | 4419 | 108% | 47.3% | 190.88 | 190.88 | 190.88 | 15942 | 110% | 54.1% | 158.55 | 158.55 | 158.55 | 13406 | 117% | 80.7% | 158.55 | 158.55 | 158.55
2000-03-01 | 47730 | 109% | 58.5% | 86.56 | 86.56 | 86.56 | 4685 | 125% | 52.3% | 86.56 | 86.56 | 86.56 | 12727 | 91% | 66% | 63.93 | 63.93 | 63.93 | 16985 | 127% | 83.3% | 63.93 | 63.93 | 63.93
2000-04-01 | 28030 | 85% | 59.4% | 56.67 | 56.67 | 56.67 | 2040 | 63% | 40% | 56.67 | 56.67 | 56.67 | 9993 | 90% | 71.2% | 33.3 | 33.3 | 33.3 | 14787 | 111% | 83.7% | 33.3 | 33.3 | 33.3 |  | Generation | Load | EAR | EAR (MW)
2000-05-01 | 18146 | 74% | 54.1% | 86.08 | 86.08 | 86.08 | 2330 | 55% | 30.2% | 86.08 | 86.08 | 86.08 | 5088 | 73% | 67.3% | 47.84 | 47.84 | 47.84 | 10046 | 116% | 82.1% | 47.84 | 47.84 | 47.84 | North | 7.3% | 6.3% | 4.541% | 10692
2000-06-01 | 15987 | 77% | 47.3% | 137.16 | 137.16 | 137.16 | 2812 | 55% | 41% | 137.16 | 137.16 | 137.16 | 3607 | 76% | 61.8% | 69.51 | 69.51 | 69.51 | 3539 | 83% | 81.1% | 69.51 | 69.51 | 69.51 | Northeast | 13.1% | 14.5% | 21.32% | 50192
2000-07-01 | 15295 | 86% | 40.6% | 145.73 | 145.73 | 145.73 | 4736 | 92% | 44.1% | 145.73 | 145.73 | 145.73 | 2925 | 78% | 55.7% | 99.53 | 99.53 | 99.53 | 2190 | 89% | 75.5% | 99.53 | 99.53 | 99.53 | South | 12.9% | 16.2% | 6.081% | 14319
2000-08-01 | 14714 | 97% | 31.8% | 129.8 | 129.8 | 129.8 | 2903 | 67% | 46.2% | 129.8 | 129.8 | 129.8 | 2498 | 73% | 47% | 89.72 | 89.72 | 89.72 | 1677 | 97% | 61.5% | 89.72 | 89.72 | 89.72 | Southeast | 66.7% | 63% | 68.06% | 160269
2000-09-01 | 16482 | 95% | 30.7% | 156.11 | 156.11 | 156.11 | 12561 | 210% | 86.7% | 175.99 | 175.99 | 156.11 | 2791 | 83% | 39.3% | 101.49 | 101.49 | 101.49 | 1333 | 88% | 45% | 101.49 | 101.49 | 66.06 | Total | 100% | 100% | 100% | 235472
2000-10-01 | 15963 | 92% | 23% | 93.02 | 93.02 | 93.02 | 13578 | 184% | 96.2% | 93.02 | 93.02 | 27.45 | 2308 | 69% | 28.9% | 76.07 | 76.07 | 76.07 | 1336 | 88% | 32.1% | 76.07 | 76.07 | 76.07
2000-11-01 | 23973 | 109% | 22.09% | 149.7 | 149.7 | 149.7 | 4701 | 85% | 92.9% | 149.7 | 149.7 | 147.15 | 4889 | 90% | 27.54% | 127.3 | 127.3 | 127.3 | 2693 | 108% | 29.02% | 149.7 | 127.3 | 127.3
2000-12-01 | 35177 | 107% | 28.5% | 103.54 | 103.54 | 103.54 | 3495 | 78% | 89.4% | 103.54 | 103.54 | 101.77 | 10389 | 107% | 36.8% | 72.16 | 72.16 | 72.16 | 6510 | 135% | 59.3% | 103.54 | 103.54 | 103.54
2001-01-01 |  |  |  | 56.92 | 56.92 | 56.92 |  |  |  | 56.92 | 56.92 | 56.92 |  |  |  | 33.87 | 33.87 | 33.87 |  |  |  | 33.87 | 33.87 | 33.87
EAR (Energia Armazenada)
| Southeast |  | South |  | Northeast |  | North
| 1999 | 2000 | 1999 | 2000 | 1999 | 2000 | 1999 | 2000
JAN | 56.8% | 29.3% | 79.2% | 47.5% | 44.4% | 35.7% | 74.2% | 75.5%
FEB | 62.2% | 45% | 84.4% | 47.3% | 42.6% | 54.1% | 80.2% | 80.7%
MAR | 71% | 58.5% | 74.9% | 52.3% | 58.6% | 66% | 81% | 83.3%
APR | 69.8% | 59.4% | 72.7% | 40% | 57.4% | 71.2% | 83.2% | 83.7%
MAY | 65.4% | 54.1% | 60.8% | 30.2% | 52.9% | 67.3% | 83.7% | 82.1%
JUN | 60.1% | 47.3% | 76.1% | 41% | 46.4% | 61.8% | 81% | 81.1%
JUL | 54.2% | 40.6% | 87.9% | 44.1% | 39.6% | 55.7% | 71.4% | 75.5%
AUG | 45% | 31.8% | 70.5% | 46.2% | 31.9% | 47% | 58.5% | 61.5%
SEP | 36.7% | 30.7% | 61.6% | 86.7% | 25.2% | 39.3% | 43.8% | 45%
OCT | 26.4% | 23% | 79.2% | 96.2% | 17% | 28.9% | 28.7% | 32.1%
NOV | 19.7% | 22.09% | 66.2% | 92.9% | 15.9% | 27.54% | 24% | 29.02%
DEC | 18.1% | 28.52% | 52.9% | 89.37% | 21.8% | 36.81% | 45.7% | 59.33%
|  | 10.42% |  | 36.47% |  | 15.01% |  | 13.63%
|  |  | JUN | JUL | AUG | SEP | OCT
|  | SE | 47.3 | 40.6 | 31.8 | 30.7 | 23
|  | S | 41 | 44.1 | 46.2 | 86.7 | 96.2
|  | NE | 61.8 | 55.7 | 47 | 39.3 | 28.9
|  | N | 81.1 | 75.5 | 61.5 | 45 | 32.1
Note on E21: Valor d'Água Sudeste Igual a TMO fora de ponta
Note on K21: Valor d'Água Sudeste Igual a TMO fora de ponta