## ASS
ASSUMPTIONS |  |  | #REF! | [8 empty] | #REF!
#REF!
BASE MODEL
Power Line Data |  |  | 2000 |  | Taxes | [7 empty] | Amount | Project and Enron Economics ($000) |  | Disc Rate | IRR | NPV |  |  | Converge of Numbers | Values | Inputs | Difference
Capacity |  |  | 475 | MW | Project Company Tax Position |  |  | ASSUME EXEMPT |  | Project Costs ($000) |  |  | 2000 | [7 empty] | IDC | 2397.2819 | 245.375 | -2151.9069
Availability |  |  | 100% |  | AL Corporate Net Income Tax |  | 5% |  |  | Major Mechanical & Elec. Equip. |  |  | 0 | PROJECT |  | 10% | 20.99% | 2444.1824 |  | IRR LOOPFACTOR | Withholding Tax on IDC | 0 | #REF! | #REF!
Heat Rate |  | HHV | 12500 | Btu/kWh | Gross Receipts Tax |  | 0% |  |  | Electrical Equip. |  |  | 0 |  |  |  | 10% | Target IRR |  | 1 | Financing Costs | 554.2817 | 0 | 0
Dispatch |  |  | 100% | [6 empty] | Import Duties |  |  | 0 | [7 empty] | Commitment Fee | 0 | #DIV/0! | #DIV/0!
Line Loss (Cross-Sound Cable Only) |  |  | 3% |  | US Taxes |  |  |  |  | TOTAL POWER PLANT EQUIPMENT, DUTIES & VAT |  |  | 0 | Enron |  | 10% | 20.99% | 2444.1824 |  |  | Development Fees | 2558.2138 | 390 | -2168.2138
[5 empty] | Enron's Tax Position |  |  |  |  | Operations Mobilization |  |  | 0 | TOTAL PARTNERS |  |  |  | 2444.1824 |  |  | TOTAL PROJECT COSTS | 85273.7925 | 13000 | -72273.7925
Project Operations |  |  |  |  | State Corporate Tax |  | 5% |  |  | TOTAL CONSTRUCTION COSTS |  |  | 0 | [7 empty] | Tranche 1: | 55427.9651 | 0 | -55427.9651
Start of Construction |  |  | 2000-12-01 | 2000 | Federal Income Tax |  | 35% |  |  | Transmission Line |  |  | 0 | Plus: Withholding Tax on Dividends |  |  |  | #REF! |  |  | Tranche 2: | 0 | 0 | 0
Term of Construction (Mos) |  |  |  | 6 | [5 empty] | Construction Costs |  |  | 13000 | Less: Development Fees |  |  |  | #REF! |  |  | Tranche 3: Other | 0 | 0 | 0
Start of Operations - Month / Year |  |  | 6 | 2001 | Depreciation Assumptions |  | Basis ($000) | Life (Yrs) | Method | Transmission Mobilization |  |  | 0 | Less: Tax Cost/(Benefit) on (1)s above |  |  |  | #REF! |  |  | Tranche 4: Other | 0 | 0 | 0
Term of Contract (Yrs) |  |  |  | ? | [5 empty] | TOTAL TRANSMISSION LINE COSTS |  |  | 13000 | Sub-total Partner Level Adjustments |  |  |  | #REF! |  |  | Tranche 5: Other | 0 | 0 | 0
Type of Contract |  |  |  | BOO | Tax: | Asset | 13000 | 20 | MACRS | Mainline Pipe - 20" |  |  | 0 | [7 empty] | Tranche 6: Other | 0 | 0 | 0
| 20.99% | 32.38 | 32.36 | 32.37 | [5 empty] | Lateral Pipe |  |  | 0 | RECONCILED PROJECT NPV |  |  |  | #REF!
Pricing |  | 2000 |  | Escalation | Book: | Asset | 13000 | 28.5 | S/L | Pipeline Mobilization |  |  | 0 | Unlocated Difference |  |  |  | #REF!
Margin to SOCO/FL |  | hardcoded | [7 empty] | TOTAL PIPELINE COSTS |  |  | 0 | [11 empty] | Loop Factor
Lower transmission costs |  | hardcoded |  |  | US GAAP: | Asset | 13000 | 28.5 | S/L | IDC (Interest During Construction) |  |  |  | DS Coverage Ratios: | Pre-Tax | After-Tax | After-Tax | [7 empty] | #REF!
Decrease transmission losses |  | hardcoded | [7 empty] | Withholding Tax on IDC |  |  | 0 | Minimum | 0 | 0 |  | Target | #DIV/0!
Capacity Payments: |  |  |  |  | Project Ownership |  | % of Equity | % of Cash Flow | Equity $s | Financing Costs |  |  | 0 | Average | 0 | 0 |  | Target
Fixed Capacity |  |  | /kW-Mon | 2% | Enron |  | 100% | 100% | 13000 | Misc Lenders' Expenses |  |  | 0
(includes ROE, Taxes, Debt Service, Fixed O&M) |  |  |  |  | Total |  | 100% | 100% | 13000 | Commitment Fee |  |  | 0 | Financing ($000)
Energy (Variable) Payments: | [9 empty] | Bank Environmental Consultant |  |  | 0 | W Avg Cost of Financing... | #DIV/0! | #DIV/0! |  | #DIV/0!
Variable O&M |  | 0 | /kWh | 2% | [5 empty] | Bank Independent Engineer |  |  | 0 |  | Cost of Funds | Margin
Misc |  | 0 | /kWh | 2% | [5 empty] | Completion Bond |  |  | 0 | Tranche 1: |  |  |  | 1=SL 2=MTG | #DIV/0!
Other |  | 0 | /kWh | 2% | [5 empty] | Overheads |  |  | 0 | Amount |  |  |  | 0
All-in-Cost |  |  | Cents/kWh | [6 empty] | Insurance -Builders Risk (30 BP on Total Cost) and delay of operation (.25 of 1st yr DS) |  |  | 0 | Term - Years
[10 empty] | Permits & Licenses |  |  | 0 | Average Life of Loan (including Construction) |  |  |  | 0
Conn. Line Data |  |  | 2000 | [6 empty] | Legal Fees |  |  | 0 | Grace Period (excluding construction) |  |  | Payments | 0
Capacity |  |  | 500 | kv | [5 empty] | TOTAL THIRD PARTY DEVMT/FINANCING COSTS |  |  | 0 | Rate |  |  |  | 0%
Availability | [9 empty] | Development Fees |  | 3% |  | Financing Fees |  |  |  |  | #DIV/0!
Historical Dispatch | [9 empty] | Development Costs |  |  | 0 | Commitment Fees
[10 empty] | Financial Advisor | 0% |  | 0 | Tranche 2: |  |  |  | 1=SL 2=MTG
Operating Expenses ($000) |  |  | CPI Rate: | 2% | [5 empty] | Profit |  |  | 0 | Amount | (U.S. Content) |  |  | 0
[10 empty] | Commission & Startup (Operator) |  |  | 0 | Term - Years
Fixed: |  | 2000 |  | Escalation | [5 empty] | TOTAL ENRON COSTS |  |  | 0 | Average Life of Loan (including Construction) |  |  |  | 0
Miscellaneous O&M |  | 0 |  | 2% | [5 empty] | Vendor Reps |  |  | 0 | Grace Period (excluding construction) |  |  | Payments |  | #DIV/0!
Miscellaneous G&A |  | 0 |  | 2% | [5 empty] | Owner's Engineer Services |  |  | 0 | Rate |  |  |  | 0%
Maintenance Reserve |  | 0 |  | 2% | [5 empty] | TOTAL TURNKEY OTHER COSTS |  |  | 0 | Financing Fees
Plant Insurance |  | 0 |  | 2% | [5 empty] | Working Capital |  |  | 0 | Commitment Fees
Payroll |  | 0 |  | 2% | [5 empty] | Spare Parts & Other Costs | 0 |  | 0 | Tranche 3: Other |  |  |  | 1=SL 2=MTG
Spare Parts |  | 0 |  | 2% | [5 empty] | TOTAL OTHER COSTS |  |  | 0 | Amount |  |  |  | 0
Water & Chemicals |  | 0 |  | 2% | [5 empty] | Contingency - |  | 776012.5695 | 0 | Term - Years |  |  |  |  | #DIV/0!
Plant Operations (O&M Fee) |  | 0 |  | 2% | [5 empty] | Contingency - |  |  | 0 | Average Life of Loan (including Construction) |  |  |  | 0
Transmission Capacity Pmt. |  | 0 |  | 2% | [5 empty] | Contingency - |  |  | 0 | Grace Period (excluding construction) |  |  | Payments
Pipeline Operations |  | 0 |  | 2% | [5 empty] | TOTAL CONTINGENCY |  |  | 0 | Rate |  |  |  | 0%
Other |  | 45 |  | 2% | [5 empty] | TOTAL PROJECT COSTS |  |  | 13000 | Financing Fees
Property Tax |  | 0 |  | 2% | [9 empty] | Commitment Fees
Total Fixed O&M |  | 45 |  | 2% | [5 empty] | TOTAL PROJECT COSTS ($/kw) |  |  | 27.3684 | Tranche 4: Other |  |  |  | 1=SL 2=MTG | #DIV/0!
[14 empty] | Amount |  |  |  | 0
Variable: |  | 0 |  | 2% | [9 empty] | Term - Years
Power Cost |  | 0 |  | 2% | [9 empty] | Average Life of Loan (including Construction) |  |  |  | 0
Maintenance Reserve |  | 0 |  | 2% | [9 empty] | Grace Period (excluding construction) |  |  | Payments
Maintenance Excluding (Major Maint) |  | 0 |  | 2% | [9 empty] | Rate (5 Yr) |  |  |  | 0%
Other |  | 0 |  | 2% | [9 empty] | Financing Fees
Commitment Fees
Interest on Maintenance Reserve Account |  |  | 4% | [10 empty] | Tranche 5: Other |  |  |  | 1=SL 2=MTG | #DIV/0!
[14 empty] | Amount |  |  |  | 0
Term - Years
[14 empty] | Average Life of Loan (including Construction) |  |  |  | 0
[14 empty] | Grace Period (excluding construction) |  |  | Payments
[14 empty] | Rate |  |  |  | 0%
Financing Fees
Commitment Fees
[14 empty] | Tranche 6: Other |  |  |  | 1=SL 2=MTG
[14 empty] | Amount |  |  |  | 0
Term - Years
[14 empty] | Average Life of Loan (including Construction) |  |  |  | 0
[14 empty] | Grace Period (excluding construction) |  |  | Payments
[14 empty] | Rate (5 Yr) |  |  |  | 0%
Financing Fees
Commitment Fees
[14 empty] | Debt/Equity Structure | (pari-passu, equity last, etc.)
[14 empty] | Debt |  | 0% |  | 0
[14 empty] | Equity |  | 100% |  | 13000
[14 empty] | Total Investment |  | 100% |  | 13000
:pss9~qlbcaqqrsROI~g
:pss10~qlbcaqqrsNDC~g
:pss11~qlbcaqqrsFIN~g
2
3
4
5
6
7
8
CONVERGE
PRINT ALL
Note on R16: cwatts: Includes land options, circuit breaker options, tower, and circuit breakers
Note on E18: cwatts: This needs to be verified by the development group. No official legal contract exists.
Note on H19: cwatts: Includes breakers, transformers and lines. Consistent depreciation rates apply to all (see Patrick Maloy's email 8-31-00)
Note on J19: cwatts: see Patrick Malloy's voice mail 8-31-00.
Note on H21: cwatts: transformers and lines. Consistent depreciation rates apply to all (see Patrick Maloy's email 8-31-00)
Note on J21: cwatts: Patrick Malloy states that the depreciable life for book and GAAP purposes will exceed MACRS (8-31-00). Jody Pierce states that convention is to depreciate the assets over the remaining life of the plant with a 10% salvage value.
Note on H23: cwatts: transformers and lines. Consistent depreciation rates apply to all (see Patrick Maloy's email 8-31-00)
Note on J23: cwatts: Patrick Malloy states that the depreciable life for book and GAAP purposes will exceed MACRS (8-31-00). Jody Pierce states that convention is to depreciate the assets over the remaining life of the plant with a 10% salvage value.
Note on C26: cwatts: fixed capacity payment needs to be confirmed.
Note on A36: cwatts: confirm data with Ron Tapscott
Note on C50: Todd Neugebauer: Not used curretly-Rate is hard coded on CF page

## CF
CASH FLOW - PROJECT
0
BASE MODEL
Current Year |  |  | 1 | 2 | 3
Calendar Year |  |  | 2001 | 2002 | 2003 | Totals
Months of Operation |  |  | 12 | 12 | 12
Capacity (MW) - Gross |  |  | 475 | 475 | 475
Units Produced (MWhr) |  |  | 4161000 | 4161000 | 4161000
REVENUES:
Margin TVA to SOCO |  |  | 3200 | 2400 | 1600
Lower Transmission Costs |  |  | 3300 | 3300 | 3300
Benefit Transmission Losses |  |  | 600 | 500 | 400
Total Benefits |  |  | 7100 | 6200 | 5300
Interest Income |  |  | 0 | 0 | 0
TOTAL REVENUES (+int inc.) |  |  | 7100 | 6200 | 5300 | 18600
EXPENSES:
Operation and Maintenance:
Fixed O&M:
Miscellaneous O&M |  |  | 0 | 0 | 0 | 0
Miscellaneous G&A |  |  | 0 | 0 | 0 | 0
Maintenance Reserve |  |  | 0 | 0 | 0 | 0
Plant Insurance |  |  | 0 | 0 | 0 | 0
Payroll |  |  | 0 | 0 | 0 | 0
Spare Parts |  |  | 0 | 0 | 0 | 0
Water & Chemicals |  |  | 0 | 0 | 0 | 0
Plant Operations (O&M Fee) |  |  | 0 | 0 | 0 | 0
Transmission Capacity Pmt. |  |  | 0 | 0 | 0 | 0
Pipeline Operations |  |  | 0 | 0 | 0 | 0
Other |  |  | 45.9 | 46.818 | 47.7544 | 140.4724
Property Tax |  |  | 0 | 0 | 0 | 0
Total Fixed O&M |  |  | 45.9 | 46.818 | 47.7544 | 140.4724
Variable O&M:
Maintenance Reserve |  |  | 0 | 0 | 0 | 0
Maintenance Excluding (Major Maint) |  |  | 0 | 0 | 0 | 0
Other |  |  | 0 | 0 | 0 | 0
Total Variable O&M |  |  | 0 | 0 | 0 | 0
Total Operations & Maintenance |  |  | 45.9 | 46.818 | 47.7544 | 140.4724
TOTAL EXPENSES |  |  | 45.9 | 46.818 | 47.7544 | 140.4724
Project Earnings Before Depr, Int & Taxes (EBDIT) |  | =D27-D56 | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
Less: Book Depreciation Expense |  |  | 0 | 0 | 0 | 0 | WARNING: CHECK DEPRECIATION
Earnings Before Int & Taxes (EBIT) |  |  | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
Less: Interest Expense (before W/H Tax) |  |  | 0 | 0 | 0 | 0
Earnings Before Taxes (EBT) |  |  | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
Less: Book Provision for Income Taxes |  |  | 0 | 0 | 0 | 0
PROJECT BOOK INCOME |  |  | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
Plus: Book Depreciation |  |  | 0 | 0 | 0 | 0
Plus: Spare Parts |  |  | 0 | 0 | 0 | 0
Plus: Liquidation Proceeds | (Working Capital) |  | 0 | 0 | 0 | 0
Plus: Book Provision for Income Taxes |  |  | 0 | 0 | 0 | 0
Less: Major Maintenance Margin |  |  | 0 | 0 | 0 | 0
Major Maintenance Margin Adjustment |  |  | 0 | 0 | 0 | 0
Less: Cash Taxes |  |  | 0 | 0 | 0 | 0 | CHECK: TOTAL CASH TAXES DOES NOT MATCH TOTAL CASH TAXES CALCD
Less: Principal Payments |  |  | 0 | 0 | 0 | 0
NET A-T CASH FLOW DISTRIBUTED |  |  | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
Pre-Tax Debt Coverage | (EBDIT/(Debt Serv+W/H Tax)) |  | 0 | 0 | 0
After-Tax Debt Coverage | ((EBDIT-Taxes)/(Debt Serv+W/H Tax)) |  | 0 | 0 | 0
Note on A71: Todd Neugebauer: Both Coverage ratios add back maintenance expense because there is a reserve for it.

## RETURNS
RETURNS
0
BASE MODEL
Current Year |  |  | 0 | 1 | 2 | 3
Calendar Year |  |  | 2000 | 2001 | 2002 | 2003 | Totals
PROJECT RETURNS
| Equity Injection |  | -13000 | 0 | 0 | 0 | -13000
| Net A-T Cash Flow |  | 0 | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
| Total Cash Flow |  | -13000 | 7054.1 | 6153.182 | 5252.2456 | 5459.5276
| 20 Year Running NPV |  | -13000 | -6587.1818 | -1501.9074 | 2444.1824 | -18644.9068
| 20 Year Running IRR |  | #NUM! | -45.74% | 1.086% | 20.99%
| Project NPV discount rate = | 10% | 2444.1824
| Project IRR |  | 20.99%
| Discounted Payback Year |  | 2 | 0 | 0 | 2 | 2
ENRON RETURNS
100% | Equity Injection |  | -13000 | 0 | 0 | 0 | -13000
100% | Net A-T Cash Flow |  | 0 | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
| Total Cash Flow |  | -13000 | 7054.1 | 6153.182 | 5252.2456 | 5459.5276
| 20 Year Running NPV |  | -13000 | -6587.1818 | -1501.9074 | 2444.1824 | -18644.9068
| 20 Year Running IRR |  | #NUM! | -45.74% | 1.086% | 20.99%
| Enron NPV discount rate = | 10% | 2444.1824
| Enron IRR |  | 20.99%
| Discounted Payback Year |  | 2 | 0 | 0 | 2 | 2

## DRAWDOWN
DRAWDOWN SCHEDULE
0
BASE MODEL
| Total Cost Excluding IDC |  | 13000
PROJECT COSTS
|  |  |  | Monthly | Monthly | Cumulative
|  | Description |  | % of | Cost | Cost
| Month | of Activity |  | Total Cost | ($ 000's) | ($ 000's)
1 | 2000-08-01 | Circuit breaker option |  | 3% | 390 | 390
2 | 2000-09-01 | Towers, breakers, land options |  | 20% | 2600 | 2990
3 | 2000-10-01 | n/a |  | 0% | 0 | 2990
4 | 2000-11-01 | Circuit breaker purchase |  | 6% | 780 | 3770
5 | 2000-12-01 | Breakers, ROW, E&C, switchyard |  | 70% | 9100 | 12870
6 | 2001-01-01 | Construction |  | 0% | 0 | 12870
7 | 2001-02-01 | Construction |  | 0% | 0 | 12870
8 | 2001-03-01 | Construction |  | 0% | 0 | 12870
9 | 2001-04-01 | Construction |  | 0% | 0 | 12870
10 | 2001-05-01 | Construction |  | 0% | 0 | 12870
11 | 2001-06-01 | Operations |  | 0% | 0 | 12870
12 | 2001-07-01 | Operations |  | 0% | 0 | 12870
13 | 2001-08-01 | Operations |  | 0% | 0 | 12870
14 | 2001-09-01 | Operations |  | 0% | 0 | 12870
15 | 2001-10-01 | Operations |  | 0% | 0 | 12870
16 | 2001-11-01 | Operations |  | 0% | 0 | 12870
17 | 2001-12-01 | Operations |  | 0% | 0 | 12870
18 | 2002-01-01 | Operations |  | 0% | 0 | 12870
19 | 2002-02-01 | Operations |  | 0% | 0 | 12870
20 | 2002-03-01 | Operations |  | 0% | 0 | 12870
21 | 2002-04-01 | Operations |  | 0% | 0 | 12870
22 | 2002-05-01 | Operations |  | 0% | 0 | 12870
23 | 2002-06-01 | Operations |  | 0% | 0 | 12870
24 | 2002-07-01 | Operations |  | 0% | 0 | 12870
25 | 2002-08-01 | Operations |  | 0% | 0 | 12870
26 | 2002-09-01 | Operations |  | 0% | 0 | 12870
27 | 2002-10-01 | Operations |  | 0% | 0 | 12870
28 | 2002-11-01 | Operations |  | 0% | 0 | 12870
29 | 2002-12-01 | Operations |  | 0% | 0 | 12870
30 | 2003-01-01 | Operations |  | 0% | 0 | 12870
31 | 2003-02-01 | Operations |  | 0% | 0 | 12870
32 | 2003-03-01 | Operations |  | 0% | 0 | 12870
33 | 2003-04-01 | Operations |  | 0% | 0 | 12870
34 | 2003-05-01 | Operations |  | 0% | 0 | 12870
35 | 2003-06-01 | Operations |  | 0% | 0 | 12870
36 | 2003-07-01 | Operations |  | 0% | 0 | 12870
37 | 2003-08-01 | Operations |  | 0% | 0 | 12870
38 | 2003-09-01 | Operations |  | 0% | 0 | 12870
39 | 2003-10-01 | Operations |  | 0% | 0 | 12870
40 | 2003-11-01 | Operations |  | 0% | 0 | 12870
41 | 2003-12-01 | Operations |  | 0% | 0 | 12870
42 | 2004-01-01 |  |  | 0% | 0 | 12870
43 | 2004-02-01 |  |  | 0% | 0 | 12870
44 | 2004-03-01 |  |  | 0% | 0 | 12870
45 | 2004-04-01 |  |  | 0% | 0 | 12870
46 | 2004-05-01 |  |  | 0% | 0 | 12870
47 | 2004-06-01 |  |  | 0% | 0 | 12870
48 | 2004-07-01 |  |  | 0% | 0 | 12870
49 | 2004-08-01 |  |  | 0% | 0 | 12870
50 | 2004-09-01 |  |  | 0% | 0 | 12870
51 | 2004-10-01 |  |  | 0% | 0 | 12870
52 | 2004-11-01 |  |  | 0% | 0 | 12870
53 | 2004-12-01 |  |  | 0% | 0 | 12870
54 | 2005-01-01 |  |  | 0% | 0 | 12870
55 | 2005-02-01 |  |  | 0% | 0 | 12870
56 | 2005-03-01 |  |  | 0% | 0 | 12870
57 | 2005-04-01 |  |  | 0% | 0 | 12870
58 | 2005-05-01 |  |  | 0% | 0 | 12870
59 | 2005-06-01 |  |  | 0% | 0 | 12870
60 | 2005-07-01 |  |  | 0% | 0 | 12870
| TOTAL |  |  | 99% | 12870
1 | 2 | 3 | 4 | 5 | 6 | 7

## IDC (hidden)
INTEREST DURING CONSTRUCTION
0
BASE MODEL
Current Month |  |  | 1 | 2 | 3 | 4 | 5 | 6
Calendar Month |  |  | August | September | October | November | December | January | TOTAL | 1
2
3
| (excl IDC) | Total | [7 empty] | 4
Project Cost | 13000 | 13000 | [7 empty] | 5
Interest Rate |  | 10% | [7 empty] | 6
Debt/Equity Structure | [9 empty] | 7
8
9
Construction Balance | [9 empty] | 10
Beginning Construction Balance |  |  | 0 | 390 | 2990 | 2990 | 3770 | 12870 |  | 11
Construction Drawdown |  |  | 390 | 2600 | 0 | 780 | 9100 | 0 | 12870 | 12
Ending Construction Balance |  |  | 390 | 2990 | 2990 | 3770 | 12870 | 12870 |  | 13
Cumulative % complete (excl IDC & Prepayment) |  |  | 3% | 23% | 23% | 29% | 99% | 99% |  | 14
All-In Cumulative % Complete (excl Prepayment) |  |  | 3% | 23% | 23% | 29% | 99% | 99% |  | 15
16
Debt Balance | [9 empty] | 17
Beginning Debt Balance |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 18
Plus: Debt Proceeds |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19
Ending Balance Debt Only |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 20
21
Interest During Construction -- Monthly |  |  | 1.625 | 14.0833 | 24.9167 | 28.1667 | 69.3333 | 107.25 | 245.375 | 22
23
Equity Balance | [9 empty] | 24
Beginning Equity Balance |  |  | 0 | 390 | 2990 | 2990 | 3770 | 12870 |  | 25
Plus: Equity Proceeds |  |  | 390 | 2600 | 0 | 780 | 9100 | 0 | 12870 | 26
Ending Equity Balance |  |  | 390 | 2990 | 2990 | 3770 | 12870 | 12870 |  | 27
Total Interest During Construction |  | 245.375

## FIN
FINANCING
0
BASE MODEL
|  |  | 1 | 3 | 5 | 7 | 9 | 11 | 13 | 15 | 17 | 19 | 21 | 23 | 25 | 27 | 29 | 31 | 33 | 35 | 37 | 39 | 41 | 43 | 45 | 47 | 49 | 51
Current Year |  |  | 1: 1; 3: 2; 5: 3
Calendar Year |  |  | 1: 2001; 3: 2002; 5: 2003; 7: Totals
Months of Operation |  |  | 1: 12; 3: 12; 5: 12
DEBT SERVICE
Interest |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Debt Service |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PRINCIPAL |  | Tranche 1: | 7: Tranche 2:; 15: Tranche 3: Other; 23: Tranche 4: Other; 31: Tranche 5: Other; 39: Tranche 6: Other
REPAYMENT |  | Amount | 3: 0; 7: Amount; 11: 0; 15: Amount; 19: 0; 23: Amount; 27: 0; 31: Amount; 35: 0; 39: Amount; 43: 0
|  | Term |  | 0 | Years | Term |  | 0 | Years | Term |  | 0 | Years | Term |  | 0 | Years | Term |  | 0 | Years | Term |  | 0 | Years
|  | Interest Rate | 3: 0%; 7: Interest Rate; 11: 0%; 15: Interest Rate; 19: 0%; 23: Interest Rate; 27: 0%; 31: Interest Rate; 35: 0%; 39: Interest Rate; 43: 0%
|  | Grace Period: |  | 0 | Payments | Grace Period: |  | 0 | Payments | Grace Period: |  | 0 | Payments | Grace Period: |  | 0 | Payments | Grace Period: |  | 0 | Payments | Grace Period: |  | 0 | Payments
|  | CHECK | 7: CHECK; 15: CHECK; 23: CHECK; 31: CHECK; 39: CHECK; 47: Total; 49: Total
Year | Period | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Begin Bal | Interest | Principal | End Bal | Interest | Principal
2001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2002 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2002 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2003 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2003 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2004 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2004 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2005 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2005 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2006 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2008 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2008 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2009 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2009 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2010 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2010 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2011 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2011 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2013 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2014 | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2015 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTALS |  |  | 1: 0; 3: 0; 9: 0; 11: 0; 17: 0; 19: 0; 25: 0; 27: 0; 33: 0; 35: 0; 41: 0; 43: 0; 47: 0; 49: 0

## TAXES_FEES
CASH TAXES, COMMITMENT FEE
0
BASE MODEL
Current Year |  |  | 1 | 2 | 3
Calendar Year |  |  | 2001 | 2002 | 2003 | Totals
Months of Operation |  |  | 12 | 12 | 12
CASH TAXES
EBDIT |  |  | 7054.1 | 6153.182 | 5252.2456 | 18459.5276
Less: Tax Depreciation |  |  | -487.5 | -938.47 | -866.71 | -2292.68 | CHECK: DOES NOT MATCH TOTAL TAX DEPRECIABLE BASIS
Less: Interest Expense (before W/H Tax) |  |  | 0 | 0 | 0 | 0
Taxable Income |  |  | 6566.6 | 5214.712 | 4385.5356 | 16166.8476
Times: Tax Rate |  |  | 5% | 5% | 5%
TOTAL CASH TAXES PAID |  |  | 328.33 | 260.7356 | 219.2768 | 808.3424
COMMITMENT FEE
|  |  |  | Plus | Less
|  |  | Beginning | Amount | Amount | Ending | Commitment
| Weighted Avg | Month | Committed $'s | Committed | Advanced | Committed $'s | Fee
Fee Rate | #DIV/0! | 1 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 2 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 3 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 4 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 5 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 6 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 7 | 0 | 0 | 0 | 0 | #DIV/0!
Total Commitment Fee |  | 8 | 0 | 0 | 0 | 0 | #DIV/0!
| #DIV/0! | 9 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 10 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 11 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 12 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 13 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 14 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 15 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 16 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 17 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 18 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 19 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 20 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 21 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 22 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 23 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 24 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 25 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 26 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 27 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 28 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 29 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 30 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 31 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 32 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 33 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 34 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 35 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 36 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 37 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 38 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 39 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 40 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 41 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 42 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 43 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 44 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 45 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 46 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 47 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 48 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 49 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 50 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 51 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 52 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 53 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 54 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 55 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 56 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 57 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 58 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 59 | 0 | 0 | 0 | 0 | #DIV/0!
|  | 60 | 0 | 0 | 0 | 0 | #DIV/0!
|  |  |  | 0 | 0 |  | #DIV/0!

## DEPR
DEPRECIATION CALCULATIONS
0
BASE MODEL |  |  |  |  | =IF(ASS!$J$23=0, 0,IF(F12<ASS!$J$23+1, SLN(ASS!$I$23,0,ASS!$J$23)*F14/12, IF(F12=ASS!$J$23+1, SLN(ASS!$I$23,0,ASS!$J$23)*(12-F14)/12, 0))) | =IF(ASS!$J$23=0, 0, IF(G12=ASS!$J$23,$E$18-SUM($F$18:F18),IF(G12>TERM,0,IF(G12<ASS!$J$23+1, SLN(ASS!$I$23,0,ASS!$J$23)*G14/12, IF(G12=ASS!$J$23+1, SLN(ASS!$I$23,0,ASS!$J$23)*(12-G14)/12, 0)))))
|  | Tax | Book | US GAAP
Total Project Cost |  | 13000 | 13000 | 13000
Less: Spare Parts |  | 0 | 0 | 0 | MACRS Schedule
Less: Working Capital |  | 0 | 0 | 0 | 3.75% | 7.219% | 6.667% | 6.177% | 5.713% | 5.285% | 4.888% | 4.522% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 2.231%
Total Depreciable Basis |  | 13000 | 13000 | 13000 | 3.75% | 7.219% | 6.667% | 6.177% | 5.713% | 5.285% | 4.888% | 4.522% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 4.462% | 4.461% | 2.231% | 0.01% | 0% | 0% | 0% | 0%
Current Year |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
Calendar Year |  |  |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | Totals
Months of Operation |  |  |  |  | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Tax Depreciation: |  |  |  | Original
Current Tax Depreciation: |  |  |  | Basis
| Asset 1 |  |  | 13000 | 487.5 | 938.47 | 866.71 | 803.01 | 742.69 | 687.05 | 635.44 | 587.86 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 290.03 | 1.3 | 0 | 0 | 0 | 0 | 13000
| Total Current Tax Depreciation |  |  | 13000 | 487.5 | 938.47 | 866.71 | 803.01 | 742.69 | 687.05 | 635.44 | 587.86 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 580.06 | 579.93 | 290.03 | 1.3 | 0 | 0 | 0 | 0 | 13000
| Accumulated Tax Depreciation |  |  |  | 487.5 | 1425.97 | 2292.68 | 3095.69 | 3838.38 | 4525.43 | 5160.87 | 5748.73 | 6328.79 | 6908.72 | 7488.78 | 8068.71 | 8648.77 | 9228.7 | 9808.76 | 10388.69 | 10968.75 | 11548.68 | 12128.74 | 12708.67 | 12998.7 | 13000 | 13000 | 13000 | 13000 | 13000
| Beginning Tax Basis |  |  |  | 0 | 12512.5 | 11574.03 | 10707.32 | 9904.31 | 9161.62 | 8474.57 | 7839.13 | 7251.27 | 6671.21 | 6091.28 | 5511.22 | 4931.29 | 4351.23 | 3771.3 | 3191.24 | 2611.31 | 2031.25 | 1451.32 | 871.26 | 291.33 | 1.3 | 5.1443e-12 | 5.1443e-12 | 5.1443e-12 | 5.1443e-12
| Plus: New Additions |  |  |  | 13000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13000
| Less: Current Depreciation |  |  |  | -487.5 | -938.47 | -866.71 | -803.01 | -742.69 | -687.05 | -635.44 | -587.86 | -580.06 | -579.93 | -580.06 | -579.93 | -580.06 | -579.93 | -580.06 | -579.93 | -580.06 | -579.93 | -580.06 | -579.93 | -290.03 | -1.3 | 0 | 0 | 0 | 0 | -13000
| Ending Tax Basis |  |  |  | 12512.5 | 11574.03 | 10707.32 | 9904.31 | 9161.62 | 8474.57 | 7839.13 | 7251.27 | 6671.21 | 6091.28 | 5511.22 | 4931.29 | 4351.23 | 3771.3 | 3191.24 | 2611.31 | 2031.25 | 1451.32 | 871.26 | 291.33 | 1.3 | 5.1443e-12 | 5.1443e-12 | 5.1443e-12 | 5.1443e-12 | 5.1443e-12
Book Depreciation:
Current Book Depreciation:
| Asset 1 |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 11859.6491
| Total Current Book Depreciation |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 11859.6491
| Accumulated Book Depreciation |  |  |  | 456.1404 | 912.2807 | 1368.4211 | 1824.5614 | 2280.7018 | 2736.8421 | 3192.9825 | 3649.1228 | 4105.2632 | 4561.4035 | 5017.5439 | 5473.6842 | 5929.8246 | 6385.9649 | 6842.1053 | 7298.2456 | 7754.386 | 8210.5263 | 8666.6667 | 9122.807 | 9578.9474 | 10035.0877 | 10491.2281 | 10947.3684 | 11403.5088 | 11859.6491
| Beginning Book Basis |  |  |  | 0 | 12543.8596 | 12087.7193 | 11631.5789 | 11175.4386 | 10719.2982 | 10263.1579 | 9807.0175 | 9350.8772 | 8894.7368 | 8438.5965 | 7982.4561 | 7526.3158 | 7070.1754 | 6614.0351 | 6157.8947 | 5701.7544 | 5245.614 | 4789.4737 | 4333.3333 | 3877.193 | 3421.0526 | 2964.9123 | 2508.7719 | 2052.6316 | 1596.4912
| Plus: New Additions |  |  |  | 13000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13000
| Less: Current Depreciation |  |  |  | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -11859.6491
| Ending Book Basis |  |  |  | 12543.8596 | 12087.7193 | 11631.5789 | 11175.4386 | 10719.2982 | 10263.1579 | 9807.0175 | 9350.8772 | 8894.7368 | 8438.5965 | 7982.4561 | 7526.3158 | 7070.1754 | 6614.0351 | 6157.8947 | 5701.7544 | 5245.614 | 4789.4737 | 4333.3333 | 3877.193 | 3421.0526 | 2964.9123 | 2508.7719 | 2052.6316 | 1596.4912 | 1140.3509
US GAAP Depreciation:
Current Book Depreciation:
| Asset 1 |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 11859.6491
| Total Current Book Depreciation |  |  | 13000 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 11859.6491
| Accumulated Book Depreciation |  |  |  | 456.1404 | 912.2807 | 1368.4211 | 1824.5614 | 2280.7018 | 2736.8421 | 3192.9825 | 3649.1228 | 4105.2632 | 4561.4035 | 5017.5439 | 5473.6842 | 5929.8246 | 6385.9649 | 6842.1053 | 7298.2456 | 7754.386 | 8210.5263 | 8666.6667 | 9122.807 | 9578.9474 | 10035.0877 | 10491.2281 | 10947.3684 | 11403.5088 | 11859.6491
| Beginning Book Basis |  |  |  | 0 | 12543.8596 | 12087.7193 | 11631.5789 | 11175.4386 | 10719.2982 | 10263.1579 | 9807.0175 | 9350.8772 | 8894.7368 | 8438.5965 | 7982.4561 | 7526.3158 | 7070.1754 | 6614.0351 | 6157.8947 | 5701.7544 | 5245.614 | 4789.4737 | 4333.3333 | 3877.193 | 3421.0526 | 2964.9123 | 2508.7719 | 2052.6316 | 1596.4912
| Plus: New Additions |  |  |  | 13000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13000
| Less: Current Depreciation |  |  |  | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -456.1404 | -11859.6491
| Ending Book Basis |  |  |  | 12543.8596 | 12087.7193 | 11631.5789 | 11175.4386 | 10719.2982 | 10263.1579 | 9807.0175 | 9350.8772 | 8894.7368 | 8438.5965 | 7982.4561 | 7526.3158 | 7070.1754 | 6614.0351 | 6157.8947 | 5701.7544 | 5245.614 | 4789.4737 | 4333.3333 | 3877.193 | 3421.0526 | 2964.9123 | 2508.7719 | 2052.6316 | 1596.4912 | 1140.3509
Note on F8: cwatts: Depreciation schedule as per Patrick Malloy's email 8-31-00

## BS_IS
BALANCE SHEET
0
BASE MODEL
|  |  | Opening | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
($ in 000s) |  |  | Balance | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | Totals
Assets:
| Cash and cash equivalents |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Maintenance Reserve |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Accounts Receivable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Inventory |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Construction in progress |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property, plant and equipment
|  | Cost | 0 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 273000
|  | Accumulated depreciation | 0 | 456.1404 | 912.2807 | 1368.4211 | 1824.5614 | 2280.7018 | 2736.8421 | 3192.9825 | 3649.1228 | 4105.2632 | 4561.4035 | 5017.5439 | 5473.6842 | 5929.8246 | 6385.9649 | 6842.1053 | 7298.2456 | 7754.386 | 8210.5263 | 8666.6667 | 9122.807 | 9578.9474 | 10035.0877 | 10491.2281 | 10947.3684 | 11403.5088 | 11859.6491 | 105368.4211
|  | Property, plant, and equipment, net | 0 | 12543.8596 | 12087.7193 | 11631.5789 | 11175.4386 | 10719.2982 | 10263.1579 | 9807.0175 | 9350.8772 | 8894.7368 | 8438.5965 | 7982.4561 | 7526.3158 | 7070.1754 | 6614.0351 | 6157.8947 | 5701.7544 | 5245.614 | 4789.4737 | 4333.3333 | 3877.193 | 3421.0526 | 2964.9123 | 2508.7719 | 2052.6316 | 1596.4912 | 1140.3509 | 167631.5789
| Land |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
Total Assets |  |  | 0 | 12543.8596 | 12087.7193 | 11631.5789 | 11175.4386 | 10719.2982 | 10263.1579 | 9807.0175 | 9350.8772 | 8894.7368 | 8438.5965 | 7982.4561 | 7526.3158 | 7070.1754 | 6614.0351 | 6157.8947 | 5701.7544 | 5245.614 | 4789.4737 | 4333.3333 | 3877.193 | 3421.0526 | 2964.9123 | 2508.7719 | 2052.6316 | 1596.4912 | 1140.3509 | 167631.5789
Liabilities:
| Accounts Payable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Payable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Income taxes payable |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Long-term debt |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Other liabilities |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total liabilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stockholders' equity:
| Capital Stock |  | 0 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 13000 | 273000
| Dividends |  | 0 | -7054.1 | -13207.282 | -18459.5276 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Retained earnings |  | 0 | 6268.0617 | 11680.2512 | 16236.5513 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Total stockholders' equity |  | 0 | 12213.9617 | 11472.9692 | 10777.0236 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total liabilities and stockholders' equity |  |  | 0 | 12213.9617 | 11472.9692 | 10777.0236 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Balance Check: |  |  | 0 | 329.898 | 614.7501 | 854.5553 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
INCOME STATEMENT
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
|  |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | Totals
Sales/Revenues (includes int. inc.) |  |  |  | 7100 | 6200 | 5300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Fixed O&M |  |  |  | 45.9 | 46.818 | 47.7544 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Variable O&M |  |  |  | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Depreciation |  |  |  | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 456.1404 | 11859.6491
Interest expense |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total expenses |  |  |  | 502.0404 | 502.9584 | 503.8947 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Income before income taxes |  |  |  | 6597.9596 | 5697.0416 | 4796.1053 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Provision for income taxes (income & surtax) |  |  |  | 329.898 | 284.8521 | 239.8053 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
0
Net income |  |  |  | 6268.0617 | 5412.1896 | 4556.3 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
STATEMENT OF CASH FLOWS
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26
|  |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | Totals
Cash flows from operating activities:
| Cash received from customers |  |  | 7100 | 6200 | 5300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Cash paid to suppliers and employees |  |  | -45.9 | -46.818 | -47.7544 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Spare Parts |  |  | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Major Maintenance Reserve |  |  | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Interest paid |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Income taxes paid |  |  | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Net cash provided by operating activities |  | 7054.1 | 6153.182 | 5252.2456 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cash flows from financing activities:
| Principal payments under long-term debt obligations |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Proceeds from issuance of long-term debt |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Proceeds from refinancing of long-term debt |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Loans to Shareholders - Trapped Cash |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Loans to Shareholders - Legal Reserve |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Interest Income - Loans to Shareholders |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Increase/(Decrease) in Labor Liability |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Capital contributions |  |  | 13000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13000
| Construction in progress |  |  | -13000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -13000
| Dividends paid |  |  | -7054.1 | -6153.182 | -5252.2456 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  | Net cash provided by financing activities |  | -7054.1 | -6153.182 | -5252.2456 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Net increase in cash and cash equivalents |  |  |  | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cash and cash equivalents at beginning of year |  |  |  | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Cash and cash equivalents at end of year |  |  |  | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!