## Terra
|  |  | City of Austin | City of Austin |  |  | Terra |  | Terra bare bones
UNITS |  |  | 4 | 4 |  |  | 2 |  | 2
|  |  | NEPCO | NEPCO |  |  | adjusted by Bruce |  | adjusted by Bruce
|  |  | 2000-04-07 | 2000-04-07 |  |  | 2000-04-11 |  | 2000-04-11
Project Management
| Home office |  | 600670 | 600670 |  | 55% | 330368.5 |  | 330368.5
| salaried staff |  | 789909 | 789909 |  | 55% | 434449.95 |  | 434449.95
| hourly staff |  | 182297 | 182297 |  | 55% | 100263.35 |  | 100263.35
|  |  | 1572876 | 1572876 |  |  | 865081.8 |  | 865081.8
Indirect Costs
| equipment rental |  | 529716 | 529716 |  | 55% | 291343.8 |  | 291343.8
| small tools |  | 212087 | 212087 |  | 60% | 127252.2 |  | 127252.2
| temp facilities |  | 209897 | 209897 |  | 80% | 167917.6 |  | 167917.6
| GC other |  | 662015 | 662015 |  | 60% | 397209 |  | 397209
| per diems |  | 450000 | 450000 |  | 60% | 270000 |  | 270000
| tax/bond |  | 6750 | 6750 |  | 100% | 6750 |  | 6750
|  |  | 2070465 | 2070465 |  |  | 1260472.6 |  | 1260472.6
Engineering
| Engr labor |  | 528328 | 528328 |  | 90% | 475495.2 |  | 475495.2
|  |  | 528328 | 528328 |  |  | 475495.2 |  | 475495.2
Procurement
Major Equipment
| CTG's |  | 61246776 | 57360000 | see detail sheet attached | 50% | 29276000 |  | 29276000
| dual fuel |  | 0 | 0 |  | 0% | 0 |  | 0
| inlet heater |  | 0 | 907536 |  | 0% | 50000 | Bruce wild guess | 0
| inlet heater freight |  | 0 | 27240 |  | 0% | 2000 |  | 0
| CTG freight |  | 0 | 240000 |  | 55% | 132000 |  | 132000
|  |  | 61246776 | 58534776 |  |  | 29460000 |  | 29408000
Engineered Equipment
| buildings |  | 262500 | 262500 |  | 90% | 236250 |  | 236250
| valves and specials |  | 284762 | 284762 |  | 60% | 170857.2 |  | 170857.2
| bus duct |  | 350000 | 350000 |  | 50% | 175000 |  | 175000
| dry xfmrs |  | 12440 | 12440 |  | 55% | 6842 |  | 6842
| step-up transformers |  | 1318000 | 1886000 | ABB Quote for 80/106/132 MVA 138 kV | 50% | 943000 |  | 943000
| pwr dist xfrms |  | 580022 | 580022 | check quantities | 55% | 319012.1 |  | 319012.1
| 600V MCC |  | 70253 | 70253 |  | 55% | 38639.15 |  | 38639.15
| 600V swgr |  | 69753 | 69753 |  | 55% | 38364.15 |  | 38364.15
| 5kV MCC |  | 0 | 0 |  | 55% | 0 |  | 0
| 5kV swgr |  | 123756 | 123756 |  | 55% | 68065.8 |  | 68065.8
| 15kV swgr |  | 840032 | 840032 |  | 50% | 420016 |  | 420016
| control panel |  | 233300 | 233300 |  | 60% | 139980 |  | 139980
| HV device |  | 33032 | 33032 |  | 100% | 33032 |  | 33032
| DCS |  | 203700 | 203700 |  | 80% | 162960 |  | 162960
| spec systems |  | 0 | 0 |  | 100% | 0 |  | 0
| UPS |  | 20779 | 20779 |  | 90% | 18701.1 |  | 18701.1
| DC system |  | 0 | 0 |  | 100% | 0 |  | 0
| fld mntd instr |  | 73293 | 73293 | this is gas metering | 60% | 43975.8 |  | 43975.8
| CEMS |  | 461600 | 461600 |  | 0% | 0 |  | 0
| control valves |  | 47500 | 47500 |  | 50% | 23750 |  | 23750
| pumps |  | 201233 | 201233 |  | 50% | 100616.5 |  | 100616.5
| cooling tower |  | 634000 | 320000 | HRT Power quote | 50% | 160000 |  | 160000
| fin fan coolers |  | 260400 | 248000 | included in CTG | 0% | 0 |  | 0
| APC equipment |  | 5092500 | 5092500 | need to add attemp system | 0% | 0 |  | 0
| Gas Compression |  | 620000 | 320000 | single 100% compressor | 0% | 0 |  | 0
| fuel gas filter |  | 84000 | 84000 |  | 60% | 50400 |  | 50400
| ht exchanger |  | 3914000 | 0 |  | 0% | 0 |  | 0
| chillers |  | 0 | 3400000 | HRT Power | 50% | 1700000 |  | 1700000
| wtr treatment |  | 453220 | 210000 |  | 50% | 105000 |  | 0
| oil/water separator |  | 36600 | 36600 |  | 0% | 0 |  | 0
| vendor reps |  | 182375 | 182375 |  | 50% | 91187.5 |  | 91187.5
| chem feed skids |  | 0 | 0 |  | 100% | 0 |  | 0
| FLD/shop vessels |  | 355000 | 325000 |  | 120% | 390000 |  | 390000
| other |  | 141636 | 141636 |  | 100% | 141636 |  | 141636
|  |  | 16959686 | 16114066 |  |  | 5577285.3 |  | 5472285.3
Bulk Material
| Bulk Material |  | 2802357 | 2802357 |  | 60% | 1681414.2 |  | 1681414.2
|  |  | 2802357 | 2802357 |  |  | 1681414.2 |  | 1681414.2
| Procurement Subtotal |  | 81008819 | 77451199 |  |  | 36718699.5 |  | 36561699.5
Construction
| site |  | 404846 | 404846 |  | 60% | 242907.6 |  | 242907.6
| u/g electrical |  | 469736 | 469736 |  | 60% | 281841.6 |  | 281841.6
| u/g piping |  | 317869 | 317869 |  | 60% | 190721.4 |  | 190721.4
| concrete |  | 752981 | 752981 |  | 60% | 451788.6 |  | 451788.6
| grout |  | 41482 | 41482 |  | 60% | 24889.2 |  | 24889.2
| steel |  | 44805 | 44805 |  | 60% | 26883 |  | 26883
| architectural |  | 2724 | 2724 |  | 60% | 1634.4 |  | 1634.4
| buildings |  | 105033 | 105033 |  | 90% | 94529.7 |  | 94529.7
| a/g piping |  | 795979 | 795979 |  | 60% | 477587.4 |  | 477587.4
| a/g electrical |  | 804952 | 804952 |  | 60% | 482971.2 |  | 482971.2
| instrumentatiion |  | 155089 | 155089 |  | 60% | 93053.4 |  | 93053.4
| insulation |  | 164407 | 164407 |  | 200% | 328814 |  | 328814
| painting |  | 20209 | 20209 |  | 60% | 12125.4 |  | 12125.4
| mech equipment |  | 672551 | 672551 |  | 65% | 437158.15 |  | 437158.15
|  |  | 4752663 | 4752663 |  |  | 3146905.05 |  | 3146905.05
Startup
| startup |  | 632940 | 632940 |  | 60% | 379764 |  | 379764
| oper training |  | 10000 | 10000 |  | 100% | 10000 |  | 10000
| initial fill/spares |  | 85000 | 85000 |  | 60% | 51000 |  | 51000
| manuals |  | 28000 | 28000 |  | 100% | 28000 |  | 28000
| startup support |  | 82976 | 82976 |  | 60% | 49785.6 |  | 49785.6
|  |  | 838916 | 838916 |  |  | 518549.6 |  | 518549.6
Warranty
| warranty |  | 25000 | 25000 |  | 100% | 25000 |  | 25000
|  |  | 25000 | 25000 |  |  | 25000 |  | 25000
Specials/offsites
| fuel oil unloading/tank |  | 0 | 0 |  |  | 0 |  | 0
| gas pipeline |  | 0 | 0 |  |  | 2500000 |  | 0
| spare parts |  | 0 | 0 |  |  | 0 |  | 0
| HV switchyard extension |  | 0 | 0 |  |  | 375000 |  | 0
|  |  | 0 | 0 |  |  | 2875000 |  | 0
Subtotal Cost |  |  | 90797067 | 87239447 |  |  | 45885203.75 |  | 42853203.75
| fixed G&A | 2% | 1815941.34 | 1744788.94 |  |  | 917704.075 |  | 857064.075
Total Cost |  |  | 92613008.34 | 88984235.94 |  |  | 46802907.825 |  | 43710267.825
| contingency | 1% | 926130.0834 | 889842.3594 |  |  | 468029.0783 |  | 437102.6783
| margin | 3% | 2778390.2502 | 2669527.0782 |  |  | 1404087.2348 |  | 1311308.0348
TOTAL PROJECT EPC |  |  | 96317528.6736 | 92543605.3776 |  |  | 48675024.138 |  | 45458678.538
TOTAL PROJECT $M/UNIT |  |  | 24.0794 | 23.1359 |  |  | 24.3375 |  | 22.7293
MARGIN on NON-CTG SCOPE |  |  | 8.858% | 8.767% |  |  | 8.096% |  | 9.169%

## CTGprice
yes
Madison deal
|  |  |  | units | 4
included
LM6000 |  |  | 13500000 | yes | 54000000
WestLB |  |  | 310000 | yes | 1240000
Sprint |  |  | 450000 | yes | 1800000
fin fan |  |  | 62000 | yes | 248000
chiller |  |  | 950000 | no | 0
cooling tower |  |  | 150000 | no | 0
water injection metering |  |  | 57000 | yes | 228000
additional CT's |  |  | 23000 | yes | 92000
60ft stack |  |  | 236000 | yes | 944000 | included in SCR
dual fuel |  |  | 280000 | no | 0 | gas fuel only
gas heater |  |  | 247000 | no | 0 | gas compression so no heating required
vendor TDI |  |  | 48000 | no | 0 | 240 mnhrs/unit included in base price
freight for stack |  |  | 18500 | no | 0
freight for CTG |  |  | 150000 | no | 0
|  |  | 16481500 |  | 58552000
14638000
OPTIONS
dual fuel |  |  | 280000
stack 45 ft standard |  |  | 198000
stack 45 ft heavy |  |  | 233000
chiller |  |  | 950000
LM6000 |  |  | 13500000
WestLB |  |  | 310000
Sprint |  |  | 450000
fin fan |  |  | 62000
chiller |  |  | 950000
cooling tower |  |  | 150000
15 kV swutchgear |  |  | 206258
15 kV to 4160 V transformer |  |  | 68753
4160 switchgear |  |  | 34376
4160 V to 480 V transformer |  |  | 34376
480 V distribution/switchpanel |  |  | 41252
BOP distribution panel/MCC |  |  | 34376
air compressor |  |  | 56377
liquid fuel tank heater | 2 | 50% | 154006
liquid fuel unloading station |  |  | 137506
liquid fuel treatment |  |  | 495020
liquid fuel forwarding skid |  |  | 61878
liquid fuel duplex filter |  |  | 36164
gas fuel filter skid |  |  | 99334
gas fuel scubber/heater |  |  | 199383
raw water forwarding skid |  |  | 44002
demin forwarding |  |  | 90794
oily water separator |  |  | 165007
anti-ice air to air |  |  | 226884

## calcs
unit capacity | kW | 47500
power factor |  | 0.9
unit output | kVA | 52777.7778
voltage | V | 13800
| A | 2208.0626
gas pipeline | mile | 3
gas pipeline diameter | in | 24
unit cost | US$/in-mile | 35000
line cost |  | 2520000