## Sheet1
ETS WEEKLY OUTAGE REPORT
NORTHERN NATURAL GAS
| Location | Date | Scope | Comments
NNG | Garner | 12/04/01 to 04/30/02 | Refrigerant compressor is being shipped to York International for repairs. | Est. Flow affect - Not able to to liquifey and gas during this outage. The tank is about 80% full going into January.
NNG | Bushton 24 | 02/04/02 to 02/08/02 | Replace piston wrist pen, remove piston and head. | Flow affect = 0 mmcfd.