## Coal Model
Coal Plant Model - First Year of Operation
| Expected Case |  | Best Case
Plant Info
Capacity | 525 | MW | 525 | MW
Capacity Factor | 85% |  | 85%
Heat Rate | 10000 | Btu/Kwh | 9800 | Btu/Kwh
Delivered Fuel Costs | 1.25 | $/MMBtu | 1.15 | $/MMBtu
Financing Info
Assumed \Pre-tax WACC | 10% |  | 9%
Amortization Period | 20 | Years | 20 | Years
Financing Results | 169.7292 | $/Kw-yr | 158.2947 | $/Kw-yr
O&M
Variable O&M | 3 | $/Mwh | 3 | $/Mwh
Fixed O&M ($/Kw-yr) | 29 | $/Kw-yr | 27 | $/Kw-yr
Construction Costs | $/Kw | $000's | $/Kw | $000's
EPC Costs | 1150 | 603750 | 1100 | 577500
Development Costs | 20 | 10500 | 20 | 10500
Spare Parts | 25 | 13125 | 25 | 13125
Construction Insurance, Misc | 25 | 13125 | 25 | 13125
Construction Contingency | 25 | 13125 | 25 | 13125
Interest During Construction | 150 | 78750 | 135 | 70875
Land, Transmission, etc | 50 | 26250 | 50 | 26250
Total Construction Cost | 1445 | 758625 | 1380 | 724500
Fixed O&M ($/Mwh) | 3.8947 | $/Mwh | 3.6261 | $/Mwh
Total O&M Cost | 6.8947 | $/Mwh | 6.6261 | $/Mwh
Fuel Cost | 12.5 | $/Mwh | 11.27 | $/Mwh
Cost of Capital | 22.7947 | $/Mwh | 20.3027 | $/Mwh
Total Cost | 42.1894 | $/Mwh | 38.1988 | $/Mwh
Enron's Indicative Offer
| Assumed CPI |  | 2.75%
| Escalator Factor |  | 1/2 CPI
| Escalator Rate |  | 1.375%
| 10 Year Average |  | 37.247 | $/Mwh
| Equivalent Year 2005 Offer |  | 35 | $/Mwh
| Capacity Factor |  | 100%
| Product |  | Firm LD, 7x24
| Calendar Years |  | 2005 - 2014