## San Juan 03
Owner Name | Public Service Co. of NM
Station Name | San Juan Generating Station
Unit Name | San Juan 03
NERC Region | WSCC
State | NM
Fuel Type | Coal
Capacity | 534 MW
Start Date | 2001-08-11
End Date | 2001-09-19
Prv. Start Date | 2001-08-11
Prv. End Date | 2001-09-08
Comments | Reheater/Turb. Is in the process of firing up the boiler, will be on line tonight.
SIC | 4911
Plant ID | 1016385
Unit ID | 1007771
Outage ID | 16884

## Seminole 01
Owner Name | OG&E Electric Service
Station Name | Seminole Power Station
Unit Name | Seminole 01
NERC Region | SPP
State | OK
Fuel Type | Natural Gas
Capacity | 567 MW
Start Date | 2001-10-26
End Date | 2001-11-29
Prv. Start Date | 2001-09-20
Prv. End Date | 2001-10-24
Comments | Generator work; can't fit it into the schedule for this month
SIC | 4911
Plant ID | 1009138
Unit ID | 1006525
Outage ID | 15012

## Genoa 03
Owner Name | Dairyland Power Cooperative
Station Name | Genoa Power Station #3
Unit Name | Genoa 03
NERC Region | MAPP
State | WI
Fuel Type | Coal
Capacity | 346 MW
Start Date | 2001-09-02
End Date | 2001-09-23
Prv. Start Date | 2001-09-02
Prv. End Date | 2001-09-19
Comments
SIC | 4911
Plant ID | 1012352
Unit ID | 1004639
Outage ID | 11194

## Indian River 04
Owner Name | NRG Energy Incorporated
Station Name | Indian River Power Station
Unit Name | Indian River 04
NERC Region | MAAC
State | DE
Fuel Type | Coal
Capacity | 442 MW
Start Date | 2001-10-19
End Date | 2001-11-29
Prv. Start Date | 2001-11-02
Prv. End Date | 2001-12-13
Comments | Boiler Feedpump work
SIC | 4931
Plant ID | 1515051
Unit ID | 1008236
Outage ID | 17128

## Clay Boswell 04
Owner Name | Minnesota Power & Light Company
Station Name | Clay Boswell Power Station
Unit Name | Clay Boswell 04
NERC Region | MAPP
State | MN
Fuel Type | Coal
Capacity | 558 MW
Start Date | 2001-09-28
End Date | 2001-10-25
Prv. Start Date | 2001-10-06
Prv. End Date | 2001-11-02
Comments | Chemical Cleanout
SIC | 4911
Plant ID | 1015045
Unit ID | 1006421
Outage ID | 16276