## TWAllocationsSchdVsOperational
Group Number | Gas Date | Net Schd | Operational | Role |  |  | Cycle | Allocations
24 | 2000-10-01 | 1073010 | 1090000 | D | -16990
24 | 2000-10-02 | 1076504 | 1090000 | D | -13496
24 | 2000-10-03 | 1091467 | 1090000 | D | 1467 | Flow rate calculation | 2 | Nominations Exceed Capacity
24 | 2000-10-04 | 1082409 | 1090000 | D | -7591 |  | 3 | Nominations Exceed Capacity
24 | 2000-10-05 | 1058395 | 1090000 | D | -31605
24 | 2000-10-06 | 1090910 | 1090427 | D | 483 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-10-07 | 1087788 | 1090000 | D | -2212
24 | 2000-10-08 | 1006331 | 1090000 | D | -83669
24 | 2000-10-09 | 1060678 | 1090000 | D | -29322
24 | 2000-10-10 | 1037974 | 1090000 | D | -52026
24 | 2000-10-11 | 944784 | 975000 | D | -30216
24 | 2000-10-12 | 1060820 | 1090000 | D | -29180
24 | 2000-10-13 | 1058152 | 1090000 | D | -31848
24 | 2000-10-14 | 1075614 | 1090000 | D | -14386
24 | 2000-10-15 | 1068941 | 1090000 | D | -21059
24 | 2000-10-16 | 1067441 | 1090000 | D | -22559
24 | 2000-10-17 | 1065601 | 1090000 | D | -24399
24 | 2000-10-18 | 876754 | 875000 | D | 1754 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-10-19 | 896069 | 875000 | D | 21069 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-10-20 | 1068207 | 1090000 | D | -21793
24 | 2000-10-21 | 1053477 | 1090000 | D | -36523
24 | 2000-10-22 | 1052430 | 1090000 | D | -37570
24 | 2000-10-23 | 1060352 | 1090000 | D | -29648
24 | 2000-10-24 | 1068621 | 1090000 | D | -21379
24 | 2000-10-25 | 1093154 | 1090224 | D | 2930 | Flow rate calculation | 2 | Nominations Exceed Capacity
24 | 2000-10-26 | 1085429 | 1099084 | D | -13655
24 | 2000-10-27 | 1090000 | 1089960 | D | 40 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-10-28 | 1090025 | 1090000 | D | 25 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-10-29 | 1090024 | 1090000 | D | 24 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-10-30 | 775630 | 509952 | D | 265678 | Flow rate calculation | 4 | Force Majeure
24 | 2000-10-31 | 851870 | 850000 | D | 1870 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-01 | 625370 | 850000 | D | -224630
24 | 2000-11-02 | 833284 | 850000 | D | -16716
24 | 2000-11-03 | 816270 | 850000 | D | -33730
24 | 2000-11-04 | 801473 | 875000 | D | -73527 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-05 | 875015 | 875000 | D | 15 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-06 | 875017 | 875000 | D | 17 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-07 | 961300 | 950000 | D | 11300 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-08 | 950029 | 950000 | D | 29 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-09 | 950715 | 950000 | D | 715 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-10 | 950282 | 949926 | D | 356 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-11 | 950431 | 950000 | D | 431 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-12 | 953577 | 950000 | D | 3577 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-13 | 955255 | 950000 | D | 5255 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-14 | 950041 | 950000 | D | 41 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-15 | 935495 | 950000 | D | -14505 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-16 | 939186 | 964496 | D | -25310
24 | 2000-11-17 | 953337 | 949924 | D | 3413 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-18 | 949212 | 950000 | D | -788 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-19 | 949878 | 950000 | D | -122 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-20 | 949419 | 950012 | D | -593 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-21 | 936097 | 949882 | D | -13785 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-22 | 938549 | 949842 | D | -11293 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-23 | 936111 | 950000 | D | -13889 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-24 | 939996 | 950000 | D | -10004 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-25 | 932130 | 950000 | D | -17870 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-26 | 1030235 | 1040000 | D | -9765 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-27 | 1032599 | 1040056 | D | -7457 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-28 | 1041151 | 1040068 | D | 1083 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-11-29 | 1039719 | 1040980 | D | -1261 |  | 4 | Nominations Exceed Capacity
24 | 2000-11-30 | 1040124 | 1021566 | D | 18558 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-12-01 | 1084280 | 1100000 | D | -15720 |  | 3 | Nominations Exceed Capacity
24 | 2000-12-02 | 1101296 | 1100000 | D | 1296 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-12-03 | 1111503 | 1100000 | D | 11503 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-12-04 | 1100021 | 1100000 | D | 21 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-12-05 | 1102312 | 1099950 | D | 2362 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-12-06 | 1109094 | 1099938 | D | 9156 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2000-12-07 | 1089680 | 1100000 | D | -10320 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-08 | 1086799 | 1100000 | D | -13201 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-09 | 1088891 | 1099946 | D | -11055 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-10 | 1089910 | 1099948 | D | -10038 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-11 | 1089033 | 1100000 | D | -10967 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-12 | 1090378 | 1100000 | D | -9622 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-13 | 1086123 | 1100000 | D | -13877 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-14 | 1087981 | 1099939 | D | -11958 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-15 | 1087566 | 1100000 | D | -12434 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-16 | 1089311 | 1099942 | D | -10631 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-17 | 1087086 | 1101958 | D | -14872 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-18 | 1089912 | 1101934 | D | -12022 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-19 | 1069040 | 1100000 | D | -30960 |  | 3 | Nominations Exceed Capacity
24 | 2000-12-20 | 1079350 | 1090770 | D | -11420 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-21 | 1087907 | 1131944 | D | -44037 |  | 2 | Nominations Exceed Capacity
24 | 2000-12-22 | 1086022 | 1100000 | D | -13978 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-23 | 1084585 | 1100000 | D | -15415 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-24 | 1086042 | 1100000 | D | -13958 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-25 | 1086022 | 1100000 | D | -13978 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-26 | 1085440 | 1100000 | D | -14560 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-27 | 1069072 | 1113562 | D | -44490 |  | 2 | Nominations Exceed Capacity
24 | 2000-12-28 | 1058843 | 1100000 | D | -41157 |  | 1 | Nominations Exceed Capacity
24 | 2000-12-29 | 1087084 | 1100000 | D | -12916 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-30 | 1086598 | 1099938 | D | -13340 |  | 4 | Nominations Exceed Capacity
24 | 2000-12-31 | 1084633 | 1100000 | D | -15367 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-01 | 1096022 | 1110000 | D | -13978 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-02 | 1046768 | 1011378 | D | 35390 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-01-03 | 1106977 | 1109954 | D | -2977 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-04 | 1099466 | 1109944 | D | -10478 |  | 3 | Nominations Exceed Capacity
24 | 2001-01-05 | 1109872 | 1109944 | D | -72 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-06 | 1116268 | 1122002 | D | -5734 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-07 | 1109984 | 1109944 | D | 40 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-01-08 | 1110000 | 1109866 | D | 134 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-01-09 | 1109999 | 1109956 | D | 43 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-01-10 | 1094380 | 1110000 | D | -15620 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-11 | 1094716 | 1113196 | D | -18480 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-12 | 1098134 | 1111166 | D | -13032 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-13 | 1099685 | 1128396 | D | -28711 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-14 | 1093090 | 1112296 | D | -19206 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-15 | 1093611 | 1112310 | D | -18699 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-16 | 1094297 | 1112142 | D | -17845 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-17 | 1096027 | 1109954 | D | -13927 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-18 | 1091375 | 1109972 | D | -18597 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-19 | 1090056 | 1110000 | D | -19944 |  | 2 | Nominations Exceed Capacity
24 | 2001-01-20 | 1095348 | 1109974 | D | -14626 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-21 | 1096000 | 1109974 | D | -13974 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-22 | 1096197 | 1110000 | D | -13803 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-23 | 1095919 | 1109972 | D | -14053 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-24 | 1097343 | 1109954 | D | -12611 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-25 | 1096000 | 1109948 | D | -13948 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-26 | 1095991 | 1109942 | D | -13951 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-27 | 1096243 | 1110000 | D | -13757 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-28 | 1096330 | 1109940 | D | -13610 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-29 | 1089962 | 1089940 | D | 22 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-01-30 | 1088392 | 1089936 | D | -1544 |  | 4 | Nominations Exceed Capacity
24 | 2001-01-31 | 1095999 | 1109938 | D | -13939 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-01 | 1113840 | 1124968 | D | -11128 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-02 | 987418 | 1135190 | D | -147772 |  | 2 | Nominations Exceed Capacity
24 | 2001-02-03 | 1127406 | 1134954 | D | -7548 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-04 | 1121490 | 1135000 | D | -13510 |  | 3 | Nominations Exceed Capacity
24 | 2001-02-05 | 1127503 | 1135332 | D | -7829 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-06 | 1150022 | 1125690 | D | 24332 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-07 | 1137848 | 1127456 | D | 10392 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-08 | 1137529 | 1124956 | D | 12573 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-09 | 1125095 | 1134954 | D | -9859 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-10 | 1121000 | 1134952 | D | -13952 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-11 | 1120974 | 1134952 | D | -13978 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-12 | 1110864 | 1134936 | D | -24072 |  | 3 | Nominations Exceed Capacity
24 | 2001-02-13 | 1131617 | 1122060 | D | 9557 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-14 | 1114426 | 1135000 | D | -20574 |  | 3 | Nominations Exceed Capacity
24 | 2001-02-15 | 1121018 | 1134950 | D | -13932 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-16 | 1119500 | 1134952 | D | -15452 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-17 | 1135146 | 1134952 | D | 194 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-18 | 1131855 | 1134956 | D | -3101 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-19 | 1136579 | 1134954 | D | 1625 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-20 | 1104017 | 1135000 | D | -30983 |  | 3 | Nominations Exceed Capacity
24 | 2001-02-21 | 1128381 | 1148634 | D | -20253 |  | 0 | Nominations Exceed Capacity
24 | 2001-02-22 | 1135010 | 1134952 | D | 58 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-02-23 | 1120668 | 1159440 | D | -38772
24 | 2001-02-24 | 1128475 | 1134958 | D | -6483 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-25 | 1132249 | 1134958 | D | -2709 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-26 | 1133124 | 1134958 | D | -1834 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-27 | 1134999 | 1135010 | D | -11 |  | 4 | Nominations Exceed Capacity
24 | 2001-02-28 | 1065001 | 1064920 | D | 81 | Flow rate calculation | 4 | Force Majeure
24 | 2001-03-01 | 1125555 | 1125000 | D | 555 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-02 | 1113421 | 1124992 | D | -11571 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-03 | 1111001 | 1124974 | D | -13973 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-04 | 1111001 | 1125022 | D | -14021 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-05 | 1095674 | 1159698 | D | -64024 |  | 2 | Nominations Exceed Capacity
24 | 2001-03-06 | 890286 | 899934 | D | -9648 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-07 | 1124783 | 1125000 | D | -217 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-08 | 1125000 | 1125738 | D | -738 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-09 | 1125015 | 1124950 | D | 65 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-10 | 1125026 | 1125000 | D | 26 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-11 | 1125026 | 1125000 | D | 26 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-12 | 1119367 | 1125000 | D | -5633 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-13 | 1125034 | 1125000 | D | 34 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-14 | 1124725 | 1124925 | D | -200 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-15 | 1110226 | 1125000 | D | -14774 |  | 0 | Nominations Exceed Capacity
24 | 2001-03-16 | 1105668 | 1125000 | D | -19332 |  | 0 | Nominations Exceed Capacity
24 | 2001-03-17 | 1110159 | 1125000 | D | -14841 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-18 | 1110577 | 1124946 | D | -14369 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-19 | 1107994 | 1125000 | D | -17006 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-20 | 1096411 | 1125000 | D | -28589 |  | 2 | Nominations Exceed Capacity
24 | 2001-03-21 | 1112378 | 1125000 | D | -12622
24 | 2001-03-22 | 1113132 | 1125000 | D | -11868
24 | 2001-03-23 | 1125040 | 1125000 | D | 40 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-24 | 1125034 | 1125000 | D | 34 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-25 | 1124286 | 1125000 | D | -714 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-26 | 1125024 | 1125000 | D | 24 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-27 | 1125026 | 1125000 | D | 26 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-03-28 | 1121667 | 1124948 | D | -3281 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-29 | 1110032 | 1125000 | D | -14968 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-30 | 1109187 | 1125000 | D | -15813 |  | 4 | Nominations Exceed Capacity
24 | 2001-03-31 | 1125000 | 1124946 | D | 54 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-04-01 | 1074404 | 1090000 | D | -15596 |  | 3 | Nominations Exceed Capacity
24 | 2001-04-02 | 800029 | 800000 | D | 29 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-04-03 | 830785 | 850000 | D | -19215 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-04 | 830026 | 850000 | D | -19974 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-05 | 863008 | 924934 | D | -61926 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-06 | 884862 | 914896 | D | -30034 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-07 | 880000 | 899942 | D | -19942 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-08 | 879979 | 899944 | D | -19965 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-09 | 897515 | 906098 | D | -8583 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-10 | 899644 | 899932 | D | -288 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-11 | 860000 | 909658 | D | -49658 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-12 | 853946 | 899928 | D | -45982 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-13 | 834125 | 899938 | D | -65813 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-14 | 860000 | 899936 | D | -39936 |  | 3 | Nominations Exceed Capacity
24 | 2001-04-15 | 862655 | 899928 | D | -37273 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-16 | 860191 | 899938 | D | -39747 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-17 | 910270 | 999992 | D | -89722 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-18 | 928666 | 949940 | D | -21274 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-19 | 999903 | 1000000 | D | -97 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-20 | 980133 | 999928 | D | -19795 |  | 2 | Nominations Exceed Capacity
24 | 2001-04-21 | 978927 | 1023270 | D | -44343 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-22 | 975372 | 1023266 | D | -47894 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-23 | 994713 | 1037968 | D | -43255 |  | 3 | Nominations Exceed Capacity
24 | 2001-04-24 | 980000 | 1023262 | D | -43262 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-25 | 979562 | 1019948 | D | -40386 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-26 | 990894 | 1014124 | D | -23230 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-27 | 974986 | 1023264 | D | -48278 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-28 | 990362 | 1015072 | D | -24710 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-29 | 999209 | 999948 | D | -739 |  | 4 | Nominations Exceed Capacity
24 | 2001-04-30 | 980000 | 1009930 | D | -29930 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-01 | 967746 | 1029892 | D | -62146 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-02 | 952242 | 1028692 | D | -76450 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-03 | 950595 | 1048338 | D | -97743 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-04 | 951630 | 1044866 | D | -93236 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-05 | 946961 | 1057964 | D | -111003 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-06 | 956750 | 1026222 | D | -69472 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-07 | 969795 | 1019938 | D | -50143 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-08 | 700145 | 684326 | D | 15819 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-05-09 | 720000 | 719926 | D | 74 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-05-10 | 700000 | 743258 | D | -43258 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-11 | 711408 | 719912 | D | -8504 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-12 | 699413 | 719908 | D | -20495 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-13 | 974423 | 1023260 | D | -48837 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-14 | 987634 | 1010456 | D | -22822 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-15 | 946188 | 970094 | D | -23906 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-16 | 969271 | 992222 | D | -22951 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-17 | 967393 | 1007246 | D | -39853 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-18 | 999582 | 999916 | D | -334 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-19 | 995166 | 999928 | D | -4762 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-20 | 985323 | 1000000 | D | -14677 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-21 | 998375 | 999930 | D | -1555 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-22 | 997826 | 989950 | D | 7876 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-05-23 | 941396 | 999952 | D | -58556 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-24 | 960089 | 999956 | D | -39867 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-25 | 1089387 | 1089976 | D | -589 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-26 | 1068438 | 1104612 | D | -36174
24 | 2001-05-27 | 1045160 | 1050050 | D | -4890 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-28 | 1047682 | 1052598 | D | -4916 |  | 0 | Nominations Exceed Capacity
24 | 2001-05-29 | 1041626 | 1129972 | D | -88346 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-30 | 1089232 | 1091798 | D | -2566 |  | 4 | Nominations Exceed Capacity
24 | 2001-05-31 | 1084336 | 1089858 | D | -5522 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-01 | 1089529 | 1089762 | D | -233 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-02 | 1074043 | 1105190 | D | -31147 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-03 | 1066826 | 1113728 | D | -46902 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-04 | 1067997 | 1100942 | D | -32945 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-05 | 1063705 | 1090000 | D | -26295 |  | 2 | Nominations Exceed Capacity
24 | 2001-06-06 | 1069807 | 1105588 | D | -35781 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-07 | 1061987 | 1114216 | D | -52229 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-08 | 1018294 | 1153658 | D | -135364 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-09 | 834575 | 1090000 | D | -255425
24 | 2001-06-10 | 819098 | 1090000 | D | -270902
24 | 2001-06-11 | 1041794 | 1126851 | D | -85057 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-12 | 1038069 | 1149360 | D | -111291 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-13 | 1087861 | 1091142 | D | -3281 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-14 | 1012103 | 1119826 | D | -107723 |  | 3 | Nominations Exceed Capacity
24 | 2001-06-15 | 994438 | 1090000 | D | -95562 |  | 3 | Nominations Exceed Capacity
24 | 2001-06-16 | 794429 | 1090000 | D | -295571
24 | 2001-06-17 | 801587 | 1090000 | D | -288413
24 | 2001-06-18 | 1026946 | 1167346 | D | -140400
24 | 2001-06-19 | 1095243 | 1089974 | D | 5269 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-06-20 | 1082708 | 1092090 | D | -9382 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-21 | 1086931 | 1091020 | D | -4089 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-22 | 1088503 | 1089976 | D | -1473 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-23 | 971024 | 1090000 | D | -118976
24 | 2001-06-24 | 929510 | 1090000 | D | -160490
24 | 2001-06-25 | 1087370 | 1089956 | D | -2586 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-26 | 1088775 | 1090976 | D | -2201 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-27 | 1091509 | 1090000 | D | 1509 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-06-28 | 1051274 | 1147756 | D | -96482 |  | 4 | Nominations Exceed Capacity
24 | 2001-06-29 | 885127 | 1090000 | D | -204873
24 | 2001-06-30 | 889872 | 1090000 | D | -200128
24 | 2001-07-01 | 926866 | 1090000 | D | -163134
24 | 2001-07-02 | 1068915 | 1090000 | D | -21085
24 | 2001-07-03 | 1090267 | 1091000 | D | -733 |  | 3 | Nominations Exceed Capacity
24 | 2001-07-04 | 1086599 | 1089954 | D | -3355 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-05 | 1083979 | 1089972 | D | -5993 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-06 | 1073774 | 1090178 | D | -16404 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-07 | 1092359 | 1090480 | D | 1879 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-07-08 | 1079900 | 1091823 | D | -11923 |  | 3 | Nominations Exceed Capacity
24 | 2001-07-09 | 1090129 | 1097544 | D | -7415 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-10 | 1092421 | 1089966 | D | 2455 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-07-11 | 1083131 | 1089966 | D | -6835 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-12 | 1081625 | 9095936 | D | -8014311 |  | 2 | Nominations Exceed Capacity
24 | 2001-07-13 | 1089999 | 1089964 | D | 35 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-07-14 | 972257 | 1193612 | D | -221355
24 | 2001-07-15 | 792447 | 1090000 | D | -297553
24 | 2001-07-16 | 987322 | 1090000 | D | -102678 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-17 | 1090278 | 1089972 | D | 306 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-07-18 | 1093999 | 1093408 | D | 591 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-07-19 | 1038846 | 1136552 | D | -97706 |  | 2 | Nominations Exceed Capacity
24 | 2001-07-20 | 908846 | 1093000 | D | -184154
24 | 2001-07-21 | 849896 | 1093000 | D | -243104
24 | 2001-07-22 | 819883 | 1093000 | D | -273117
24 | 2001-07-23 | 1092939 | 1125276 | D | -32337 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-24 | 1060222 | 1092954 | D | -32732 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-25 | 1085718 | 1101810 | D | -16092 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-26 | 1093005 | 1092966 | D | 39 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-07-27 | 1092822 | 1093000 | D | -178 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-28 | 920585 | 1093000 | D | -172415
24 | 2001-07-29 | 907470 | 1093000 | D | -185530
24 | 2001-07-30 | 1053639 | 1105778 | D | -52139 |  | 4 | Nominations Exceed Capacity
24 | 2001-07-31 | 1093276 | 1092718 | D | 558 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-08-01 | 1092858 | 1092956 | D | -98 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-02 | 1092940 | 1093000 | D | -60 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-03 | 1092949 | 1092956 | D | -7 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-04 | 1076952 | 1093000 | D | -16048 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-05 | 1091142 | 1093000 | D | -1858 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-06 | 1103924 | 1093000 | D | 10924 | Flow rate calculation | 4 | Nominations Exceed Capacity
24 | 2001-08-07 | 1091411 | 1093000 | D | -1589 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-08 | 1092913 | 1093000 | D | -87 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-09 | 1074807 | 1090000 | D | -15193 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-10 | 1075836 | 1090000 | D | -14164 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-11 | 1088059 | 1090000 | D | -1941 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-12 | 1089732 | 1090000 | D | -268 |  | 4 | Nominations Exceed Capacity
24 | 2001-08-13 | 1073297 | 1090000 | D | -16703 |  | 3 | Nominations Exceed Capacity
24 | 2001-08-14 | 1074441 | 1090000 | D | -15559
24 | 2001-08-15 | 1066197 | 1090000 | D | -23803
24 | 2001-08-16 | 1086079 | 1090000 | D | -3921 |  | 4 | Pipeline Capacity Constraint at Delivery Location
24 | 2001-08-17 | 1027395 | 1090000 | D | -62605
24 | 2001-08-18 | 1058013 | 1090000 | D | -31987
24 | 2001-08-19 | 1028068 | 1090000 | D | -61932 |  | 1 | Pipeline Capacity Constraint at Delivery Location
24 | 2001-08-20 | 959344 | 975000 | D | -15656 |  | 4 | Force Majeure
24 | 2001-08-21 | 976266 | 1010000 | D | -33734 |  | 4 | Force Majeure
24 | 2001-08-22 | 1009258 | 1010000 | D | -742 |  | 4 | Force Majeure
24 | 2001-08-23 | 1009990 | 1010000 | D | -10 |  | 4 | Force Majeure
24 | 2001-08-24 | 1000854 | 1010000 | D | -9146 |  | 3 | Force Majeure
24 | 2001-08-25 | 1009964 | 1010000 | D | -36 |  | 4 | Force Majeure
24 | 2001-08-26 | 1009959 | 1010000 | D | -41 |  | 4 | Force Majeure
24 | 2001-08-27 | 1009958 | 1010000 | D | -42 |  | 4 | Force Majeure
24 | 2001-08-28 | 1009960 | 1010000 | D | -40 |  | 4 | Force Majeure
24 | 2001-08-29 | 1008710 | 1010000 | D | -1290 |  | 4 | Force Majeure
24 | 2001-08-30 | 1010382 | 1010000 | D | 382 | Flow rate calculation | 4 | Force Majeure
24 | 2001-08-31 | 1009529 | 1010000 | D | -471 |  | 3 | Force Majeure
24 | 2001-09-01 | 972381 | 1010000 | D | -37619
24 | 2001-09-02 | 939027 | 1010000 | D | -70973
24 | 2001-09-03 | 975334 | 1010000 | D | -34666
24 | 2001-09-04 | 1009961 | 1010000 | D | -39 |  | 4 | Force Majeure
24 | 2001-09-05 | 1009963 | 1010000 | D | -37 |  | 4 | Force Majeure
24 | 2001-09-06 | 1009962 | 1010000 | D | -38 |  | 4 | Force Majeure
24 | 2001-09-07 | 1009964 | 1010000 | D | -36 |  | 4 | Force Majeure
24 | 2001-09-08 | 1004659 | 1010000 | D | -5341
24 | 2001-09-09 | 1006726 | 1010000 | D | -3274
24 | 2001-09-10 | 1004279 | 1010000 | D | -5721
24 | 2001-09-11 | 990164 | 1010000 | D | -19836 |  | 1 | Force Majeure
24 | 2001-09-12 | 976700 | 1010000 | D | -33300
24 | 2001-09-13 | 958015 | 1010000 | D | -51985
24 | 2001-09-14 | 886965 | 1010000 | D | -123035
24 | 2001-09-15 | 883429 | 1010000 | D | -126571
24 | 2001-09-16 | 884285 | 1010000 | D | -125715
24 | 2001-09-17 | 907855 | 1010000 | D | -102145
24 | 2001-09-18 | 941513 | 1010000 | D | -68487
24 | 2001-09-19 | 930992 | 1010000 | D | -79008
24 | 2001-09-20 | 866488 | 1010000 | D | -143512
24 | 2001-09-21 | 842634 | 1010000 | D | -167366
24 | 2001-09-22 | 837745 | 1010000 | D | -172255
24 | 2001-09-23 | 818274 | 1010000 | D | -191726
24 | 2001-09-24 | 859101 | 1090000 | D | -230899
24 | 2001-09-25 | 891190 | 1090000 | D | -198810
24 | 2001-09-26 | 908123 | 1090000 | D | -181877
24 | 2001-09-27 | 975028 | 1090000 | D | -114972
24 | 2001-09-28 | 947485 | 1090000 | D | -142515
24 | 2001-09-29 | 966952 | 1090000 | D | -123048
24 | 2001-09-30 | 957496 | 1090000 | D | -132504
24 | 2001-10-01 | 1087425 | 1100000 | D | -12575 |  | 4 | Pipeline Capacity Constraint at Delivery Location
24 | 2001-10-02 | 1084096 | 1100000 | D | -15904 |  | 4 | Pipeline Capacity Constraint at Delivery Location
24 | 2001-10-03 | 1099506 | 1100000 | D | -494 |  | 4 | Pipeline Capacity Constraint at Delivery Location
24 | 2001-10-04 | 1042931 | 1100000 | D | -57069
24 | 2001-10-05 | 1000122 | 1100000 | D | -99878
24 | 2001-10-06 | 947976 | 1100000 | D | -152024
24 | 2001-10-07 | 959789 | 1100000 | D | -140211
24 | 2001-10-08 | 960006 | 1100000 | D | -139994
24 | 2001-10-09 | 1018602 | 1100000 | D | -81398
24 | 2001-10-10 | 894178 | 1100000 | D | -205822
24 | 2001-10-11 | 972683 | 1100000 | D | -127317
24 | 2001-10-12 | 933334 | 1100000 | D | -166666
24 | 2001-10-13 | 935825 | 1100000 | D | -164175
24 | 2001-10-14 | 920716 | 1100000 | D | -179284
24 | 2001-10-15 | 951849 | 1100000 | D | -148151
24 | 2001-10-16 | 1040908 | 1100000 | D | -59092
24 | 2001-10-17 | 1061281 | 1100000 | D | -38719
24 | 2001-10-18 | 1035464 | 1100000 | D | -64536
24 | 2001-10-19 | 1012694 | 1100000 | D | -87306
24 | 2001-10-20 | 910893 | 1100000 | D | -189107
24 | 2001-10-21 | 909160 | 1100000 | D | -190840
24 | 2001-10-22 | 910545 | 1100000 | D | -189455
24 | 2001-10-23 | 965747 | 1100000 | D | -134253
24 | 2001-10-24 | 1003862 | 1100000 | D | -96138
24 | 2001-10-25 | 951153 | 1100000 | D | -148847
24 | 2001-10-26 | 899001 | 1100000 | D | -200999
24 | 2001-10-27 | 814349 | 1100000 | D | -285651
24 | 2001-10-28 | 835418 | 1100000 | D | -264582
24 | 2001-10-29 | 829522 | 1100000 | D | -270478
24 | 2001-10-30 | 865071 | 1100000 | D | -234929
26 | 2000-10-01 | 865609 | 864983 | R | 626 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-02 | 870212 | 865000 | R | 5212 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-03 | 865708 | 865000 | R | 708 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-04 | 789359 | 735564 | R | 53795 | Flow rate Calculation | 4 | Compressor Outage
26 | 2000-10-05 | 855445 | 865000 | R | -9555 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-06 | 864314 | 865000 | R | -686 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-07 | 865766 | 865000 | R | 766 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-08 | 707117 | 534970 | R | 172147 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-09 | 689867 | 700000 | R | -10133 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-10 | 713630 | 730000 | R | -16370 |  | 4 | Force Majeure
26 | 2000-10-11 | 576832 | 580000 | R | -3168 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-12 | 800968 | 800000 | R | 968 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-13 | 848913 | 865000 | R | -16087
26 | 2000-10-14 | 867055 | 865000 | R | 2055 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-15 | 850064 | 865000 | R | -14936 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-16 | 845450 | 865000 | R | -19550 |  | 0 | Nominations Exceed Capacity
26 | 2000-10-17 | 847657 | 865000 | R | -17343 |  | 2 | Nominations Exceed Capacity
26 | 2000-10-18 | 763441 | 865000 | R | -101559
26 | 2000-10-19 | 753485 | 865000 | R | -111515
26 | 2000-10-20 | 815382 | 865000 | R | -49618 |  | 0 | Nominations Exceed Capacity
26 | 2000-10-21 | 849249 | 865000 | R | -15751 |  | 0 | Nominations Exceed Capacity
26 | 2000-10-22 | 822063 | 865000 | R | -42937 |  | 0 | Nominations Exceed Capacity
26 | 2000-10-23 | 846454 | 865000 | R | -18546 |  | 0 | Nominations Exceed Capacity
26 | 2000-10-24 | 822707 | 865000 | R | -42293
26 | 2000-10-25 | 842304 | 865000 | R | -22696
26 | 2000-10-26 | 864807 | 878900 | R | -14093 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-27 | 843983 | 865000 | R | -21017
26 | 2000-10-28 | 858021 | 865000 | R | -6979 |  | 4 | Nominations Exceed Capacity
26 | 2000-10-29 | 865414 | 865000 | R | 414 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-10-30 | 731650 | 865000 | R | -133350 |  | 0 | Nominations Exceed Capacity
26 | 2000-10-31 | 795498 | 865000 | R | -69502 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-01 | 673842 | 865000 | R | -191158
26 | 2000-11-02 | 863632 | 878696 | R | -15064
26 | 2000-11-03 | 863490 | 865000 | R | -1510 |  | 2 | Nominations Exceed Capacity
26 | 2000-11-04 | 866503 | 865000 | R | 1503 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-11-05 | 785601 | 865000 | R | -79399
26 | 2000-11-06 | 745443 | 865000 | R | -119557
26 | 2000-11-07 | 791413 | 865000 | R | -73587
26 | 2000-11-08 | 785565 | 865000 | R | -79435
26 | 2000-11-09 | 861457 | 865000 | R | -3543 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-10 | 842640 | 910122 | R | -67482 |  | 3 | Nominations Exceed Capacity
26 | 2000-11-11 | 825343 | 865000 | R | -39657 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-12 | 826919 | 865000 | R | -38081 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-13 | 794675 | 865000 | R | -70325 |  | 3 | Nominations Exceed Capacity
26 | 2000-11-14 | 757845 | 760000 | R | -2155 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-15 | 543845 | 550000 | R | -6155 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-16 | 549148 | 549966 | R | -818 |  | 4 | Nominations Exceed Capacity
26 | 2000-11-17 | 800215 | 865000 | R | -64785 |  | 0 | Nominations Exceed Capacity
26 | 2000-11-18 | 796140 | 865000 | R | -68860 |  | 1 | Nominations Exceed Capacity
26 | 2000-11-19 | 804386 | 865000 | R | -60614 |  | 2 | Nominations Exceed Capacity
26 | 2000-11-20 | 790018 | 865000 | R | -74982 |  | 0 | Nominations Exceed Capacity
26 | 2000-11-21 | 804781 | 865000 | R | -60219
26 | 2000-11-22 | 798472 | 865000 | R | -66528
26 | 2000-11-23 | 802775 | 865000 | R | -62225 |  | 0 | Nominations Exceed Capacity
26 | 2000-11-24 | 817503 | 865000 | R | -47497
26 | 2000-11-25 | 813152 | 865000 | R | -51848
26 | 2000-11-26 | 851596 | 865000 | R | -13404
26 | 2000-11-27 | 852323 | 865000 | R | -12677 |  | 2 | Nominations Exceed Capacity
26 | 2000-11-28 | 852986 | 865000 | R | -12014
26 | 2000-11-29 | 830653 | 865000 | R | -34347
26 | 2000-11-30 | 828341 | 865000 | R | -36659
26 | 2000-12-01 | 798778 | 870000 | R | -71222
26 | 2000-12-02 | 801197 | 870000 | R | -68803
26 | 2000-12-03 | 818466 | 870000 | R | -51534
26 | 2000-12-04 | 829278 | 870000 | R | -40722
26 | 2000-12-05 | 792885 | 870000 | R | -77115
26 | 2000-12-06 | 860092 | 870000 | R | -9908
26 | 2000-12-07 | 855249 | 870000 | R | -14751 |  | 0 | Nominations Exceed Capacity
26 | 2000-12-08 | 872753 | 870000 | R | 2753 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-12-09 | 872124 | 869968 | R | 2156 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-12-10 | 871100 | 869968 | R | 1132 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-12-11 | 866558 | 870000 | R | -3442 |  | 2 | Nominations Exceed Capacity
26 | 2000-12-12 | 855240 | 870000 | R | -14760 |  | 3 | Nominations Exceed Capacity
26 | 2000-12-13 | 862144 | 870000 | R | -7856 |  | 2 | Nominations Exceed Capacity
26 | 2000-12-14 | 868759 | 870000 | R | -1241 |  | 4 | Nominations Exceed Capacity
26 | 2000-12-15 | 870169 | 870000 | R | 169 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2000-12-16 | 864210 | 870000 | R | -5790 |  | 2 | Nominations Exceed Capacity
26 | 2000-12-17 | 865118 | 870000 | R | -4882 |  | 1 | Nominations Exceed Capacity
26 | 2000-12-18 | 842403 | 870000 | R | -27597 |  | 0 | Nominations Exceed Capacity
26 | 2000-12-19 | 857134 | 870000 | R | -12866 |  | 0 | Nominations Exceed Capacity
26 | 2000-12-20 | 840315 | 875000 | R | -34685 |  | 3 | Nominations Exceed Capacity
26 | 2000-12-21 | 820916 | 875000 | R | -54084 |  | 0 | Nominations Exceed Capacity
26 | 2000-12-22 | 867698 | 875000 | R | -7302 |  | 3 | Nominations Exceed Capacity
26 | 2000-12-23 | 867670 | 875000 | R | -7330 |  | 2 | Nominations Exceed Capacity
26 | 2000-12-24 | 874058 | 875000 | R | -942 |  | 4 | Nominations Exceed Capacity
26 | 2000-12-25 | 875841 | 875000 | R | 841 | Flow rate Calculation | 2 | Nominations Exceed Capacity
26 | 2000-12-26 | 869520 | 875000 | R | -5480 |  | 3 | Nominations Exceed Capacity
26 | 2000-12-27 | 866251 | 875000 | R | -8749 |  | 2 | Nominations Exceed Capacity
26 | 2000-12-28 | 872928 | 875000 | R | -2072 |  | 4 | Nominations Exceed Capacity
26 | 2000-12-29 | 850812 | 875000 | R | -24188 |  | 0 | Nominations Exceed Capacity
26 | 2000-12-30 | 865910 | 875000 | R | -9090 |  | 0 | Nominations Exceed Capacity
26 | 2000-12-31 | 853224 | 875000 | R | -21776 |  | 0 | Nominations Exceed Capacity
26 | 2001-01-01 | 827465 | 875000 | R | -47535
26 | 2001-01-02 | 835409 | 875000 | R | -39591
26 | 2001-01-03 | 875547 | 875000 | R | 547 | Flow rate Calculation
26 | 2001-01-04 | 824465 | 875000 | R | -50535 |  | 1 | Nominations Exceed Capacity
26 | 2001-01-05 | 862599 | 875000 | R | -12401 |  | 0 | Nominations Exceed Capacity
26 | 2001-01-06 | 868193 | 875000 | R | -6807 |  | 4 | Nominations Exceed Capacity
26 | 2001-01-07 | 875236 | 875000 | R | 236 | Flow rate Calculation | 0 | Nominations Exceed Capacity
26 | 2001-01-08 | 876949 | 875000 | R | 1949 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-01-09 | 874623 | 874968 | R | -345 |  | 4 | Nominations Exceed Capacity
26 | 2001-01-10 | 871398 | 875000 | R | -3602 |  | 3 | Nominations Exceed Capacity
26 | 2001-01-11 | 856866 | 875000 | R | -18134 |  | 0 | Nominations Exceed Capacity
26 | 2001-01-12 | 843550 | 875000 | R | -31450
26 | 2001-01-13 | 849502 | 875000 | R | -25498
26 | 2001-01-14 | 856759 | 875000 | R | -18241
26 | 2001-01-15 | 855779 | 875000 | R | -19221
26 | 2001-01-16 | 836292 | 875000 | R | -38708
26 | 2001-01-17 | 864758 | 875000 | R | -10242
26 | 2001-01-18 | 848444 | 875000 | R | -26556
26 | 2001-01-19 | 855340 | 875000 | R | -19660
26 | 2001-01-20 | 824239 | 875000 | R | -50761
26 | 2001-01-21 | 813723 | 875000 | R | -61277
26 | 2001-01-22 | 841191 | 875000 | R | -33809
26 | 2001-01-23 | 811648 | 875000 | R | -63352
26 | 2001-01-24 | 807510 | 875000 | R | -67490
26 | 2001-01-25 | 810268 | 875000 | R | -64732
26 | 2001-01-26 | 794683 | 875000 | R | -80317
26 | 2001-01-27 | 814160 | 875000 | R | -60840
26 | 2001-01-28 | 815033 | 875000 | R | -59967
26 | 2001-01-29 | 812406 | 875000 | R | -62594
26 | 2001-01-30 | 813151 | 875000 | R | -61849
26 | 2001-01-31 | 805201 | 875000 | R | -69799
26 | 2001-02-01 | 837289 | 875000 | R | -37711
26 | 2001-02-02 | 650635 | 490202 | R | 160433 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-02-03 | 824467 | 875000 | R | -50533
26 | 2001-02-04 | 819619 | 875000 | R | -55381
26 | 2001-02-05 | 826498 | 875000 | R | -48502
26 | 2001-02-06 | 853987 | 875000 | R | -21013 |  | 0 | Nominations Exceed Capacity
26 | 2001-02-07 | 801865 | 875000 | R | -73135
26 | 2001-02-08 | 828296 | 875000 | R | -46704
26 | 2001-02-09 | 812596 | 875000 | R | -62404
26 | 2001-02-10 | 831852 | 875000 | R | -43148
26 | 2001-02-11 | 839166 | 875000 | R | -35834
26 | 2001-02-12 | 782797 | 875000 | R | -92203 |  | 0 | Nominations Exceed Capacity
26 | 2001-02-13 | 806997 | 875000 | R | -68003
26 | 2001-02-14 | 853944 | 875000 | R | -21056 |  | 0 | Nominations Exceed Capacity
26 | 2001-02-15 | 832321 | 875000 | R | -42679
26 | 2001-02-16 | 835478 | 875000 | R | -39522
26 | 2001-02-17 | 865211 | 875000 | R | -9789 |  | 4 | Nominations Exceed Capacity
26 | 2001-02-18 | 866847 | 875000 | R | -8153 |  | 0 | Nominations Exceed Capacity
26 | 2001-02-19 | 868510 | 875000 | R | -6490 |  | 0 | Nominations Exceed Capacity
26 | 2001-02-20 | 806672 | 875000 | R | -68328 |  | 0 | Nominations Exceed Capacity
26 | 2001-02-21 | 817872 | 875000 | R | -57128
26 | 2001-02-22 | 849957 | 875000 | R | -25043
26 | 2001-02-23 | 853372 | 875000 | R | -21628
26 | 2001-02-24 | 847216 | 875000 | R | -27784
26 | 2001-02-25 | 859018 | 875000 | R | -15982
26 | 2001-02-26 | 861426 | 875000 | R | -13574
26 | 2001-02-27 | 868729 | 875000 | R | -6271 |  | 2 | Nominations Exceed Capacity
26 | 2001-02-28 | 859368 | 875000 | R | -15632 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-01 | 846626 | 875000 | R | -28374 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-02 | 769750 | 875000 | R | -105250
26 | 2001-03-03 | 756049 | 875000 | R | -118951
26 | 2001-03-04 | 756495 | 875000 | R | -118505
26 | 2001-03-05 | 664104 | 621779 | R | 42325 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-03-06 | 239159 | 235022 | R | 4137 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-03-07 | 858331 | 875000 | R | -16669 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-08 | 852201 | 875000 | R | -22799 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-09 | 865683 | 875000 | R | -9317 |  | 3 | Nominations Exceed Capacity
26 | 2001-03-10 | 844113 | 875834 | R | -31721
26 | 2001-03-11 | 843541 | 875000 | R | -31459 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-12 | 845093 | 875609 | R | -30516
26 | 2001-03-13 | 812266 | 875000 | R | -62734
26 | 2001-03-14 | 804620 | 875000 | R | -70380
26 | 2001-03-15 | 829061 | 875000 | R | -45939
26 | 2001-03-16 | 829450 | 875000 | R | -45550
26 | 2001-03-17 | 872168 | 876129 | R | -3961
26 | 2001-03-18 | 852474 | 875000 | R | -22526
26 | 2001-03-19 | 848923 | 875637 | R | -26714
26 | 2001-03-20 | 856217 | 876142 | R | -19925
26 | 2001-03-21 | 856933 | 874986 | R | -18053 |  | 3 | Nominations Exceed Capacity
26 | 2001-03-22 | 867826 | 875000 | R | -7174 |  | 4 | Nominations Exceed Capacity
26 | 2001-03-23 | 876938 | 875000 | R | 1938 | Flow rate Calculation | 0 | Nominations Exceed Capacity
26 | 2001-03-24 | 875982 | 880494 | R | -4512 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-25 | 852612 | 875000 | R | -22388 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-26 | 865727 | 875000 | R | -9273 |  | 0 | Nominations Exceed Capacity
26 | 2001-03-27 | 875165 | 876796 | R | -1631 |  | 2 | Nominations Exceed Capacity
26 | 2001-03-28 | 875510 | 875950 | R | -440 |  | 4 | Nominations Exceed Capacity
26 | 2001-03-29 | 873385 | 875000 | R | -1615 |  | 4 | Nominations Exceed Capacity
26 | 2001-03-30 | 881939 | 890674 | R | -8735 |  | 3 | Nominations Exceed Capacity
26 | 2001-03-31 | 887721 | 874976 | R | 12745 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-04-01 | 854364 | 875000 | R | -20636 |  | 3 | Nominations Exceed Capacity
26 | 2001-04-02 | 701714 | 875000 | R | -173286
26 | 2001-04-03 | 714715 | 875000 | R | -160285
26 | 2001-04-04 | 808223 | 875000 | R | -66777
26 | 2001-04-05 | 850385 | 934756 | R | -84371 |  | 3 | Nominations Exceed Capacity
26 | 2001-04-06 | 765681 | 727414 | R | 38267 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-04-07 | 843868 | 890000 | R | -46132
26 | 2001-04-08 | 840947 | 890000 | R | -49053
26 | 2001-04-09 | 820928 | 890000 | R | -69072
26 | 2001-04-10 | 819156 | 890000 | R | -70844
26 | 2001-04-11 | 807378 | 890000 | R | -82622
26 | 2001-04-12 | 763585 | 891824 | R | -128239
26 | 2001-04-13 | 722782 | 890000 | R | -167218
26 | 2001-04-14 | 849758 | 890000 | R | -40242
26 | 2001-04-15 | 859187 | 890000 | R | -30813
26 | 2001-04-16 | 838529 | 890000 | R | -51471
26 | 2001-04-17 | 888409 | 926012 | R | -37603 |  | 4 | Nominations Exceed Capacity
26 | 2001-04-18 | 892600 | 900298 | R | -7698 |  | 3 | Nominations Exceed Capacity
26 | 2001-04-19 | 890943 | 893596 | R | -2653 |  | 4 | Nominations Exceed Capacity
26 | 2001-04-20 | 870669 | 890000 | R | -19331
26 | 2001-04-21 | 884229 | 890000 | R | -5771
26 | 2001-04-22 | 881395 | 890000 | R | -8605 |  | 4 | Nominations Exceed Capacity
26 | 2001-04-23 | 868761 | 904102 | R | -35341 |  | 4 | Nominations Exceed Capacity
26 | 2001-04-24 | 851391 | 890000 | R | -38609
26 | 2001-04-25 | 885967 | 903806 | R | -17839 |  | 3 | Nominations Exceed Capacity
26 | 2001-04-26 | 867596 | 890000 | R | -22404
26 | 2001-04-27 | 868638 | 918308 | R | -49670
26 | 2001-04-28 | 916027 | 889966 | R | 26061 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-04-29 | 873676 | 890000 | R | -16324
26 | 2001-04-30 | 848390 | 890000 | R | -41610
26 | 2001-05-01 | 679807 | 890000 | R | -210193
26 | 2001-05-02 | 696073 | 890000 | R | -193927
26 | 2001-05-03 | 821631 | 890000 | R | -68369
26 | 2001-05-04 | 849218 | 890000 | R | -40782
26 | 2001-05-05 | 842985 | 890000 | R | -47015
26 | 2001-05-06 | 867606 | 890000 | R | -22394 |  | 3 | Nominations Exceed Capacity
26 | 2001-05-07 | 848128 | 890000 | R | -41872
26 | 2001-05-08 | 627271 | 629828 | R | -2557 |  | 4 | Nominations Exceed Capacity
26 | 2001-05-09 | 587555 | 625000 | R | -37445
26 | 2001-05-10 | 601457 | 700000 | R | -98543
26 | 2001-05-11 | 673371 | 713862 | R | -40491 |  | 0 | Nominations Exceed Capacity
26 | 2001-05-12 | 652213 | 700000 | R | -47787 |  | 0 | Nominations Exceed Capacity
26 | 2001-05-13 | 815294 | 890000 | R | -74706
26 | 2001-05-14 | 801441 | 890000 | R | -88559
26 | 2001-05-15 | 813235 | 890000 | R | -76765
26 | 2001-05-16 | 806817 | 890000 | R | -83183
26 | 2001-05-17 | 846564 | 890000 | R | -43436
26 | 2001-05-18 | 863843 | 890000 | R | -26157
26 | 2001-05-19 | 847197 | 890000 | R | -42803
26 | 2001-05-20 | 825063 | 891012 | R | -65949
26 | 2001-05-21 | 865657 | 890000 | R | -24343 |  | 2 | Nominations Exceed Capacity
26 | 2001-05-22 | 886676 | 889958 | R | -3282 |  | 3 | Nominations Exceed Capacity
26 | 2001-05-23 | 859089 | 889958 | R | -30869 |  | 4 | Nominations Exceed Capacity
26 | 2001-05-24 | 870154 | 889964 | R | -19810 |  | 4 | Nominations Exceed Capacity
26 | 2001-05-25 | 895081 | 889966 | R | 5115 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-05-26 | 893898 | 890000 | R | 3898 | Flow rate Calculation | 0 | Nominations Exceed Capacity
26 | 2001-05-27 | 915896 | 889972 | R | 25924 | Flow rate Calculation | 3 | Nominations Exceed Capacity
26 | 2001-05-28 | 892632 | 889971 | R | 2661 | Flow rate Calculation | 3 | Nominations Exceed Capacity
26 | 2001-05-29 | 878003 | 889992 | R | -11989 |  | 4 | Nominations Exceed Capacity
26 | 2001-05-30 | 871870 | 889964 | R | -18094 |  | 4 | Nominations Exceed Capacity
26 | 2001-05-31 | 893662 | 900066 | R | -6404 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-01 | 871689 | 890000 | R | -18311
26 | 2001-06-02 | 875456 | 890000 | R | -14544 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-03 | 852961 | 839230 | R | 13731 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-06-04 | 812724 | 846105 | R | -33381
26 | 2001-06-05 | 867800 | 878000 | R | -10200
26 | 2001-06-06 | 872121 | 882542 | R | -10421 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-07 | 874976 | 889976 | R | -15000 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-08 | 852917 | 895886 | R | -42969 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-09 | 749361 | 890000 | R | -140639
26 | 2001-06-10 | 775409 | 890000 | R | -114591
26 | 2001-06-11 | 852791 | 859706 | R | -6915 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-12 | 865941 | 889624 | R | -23683 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-13 | 871978 | 899092 | R | -27114 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-14 | 864694 | 848922 | R | 15772 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-06-15 | 849514 | 875000 | R | -25486 |  | 3 | Nominations Exceed Capacity
26 | 2001-06-16 | 789292 | 890000 | R | -100708 |  | 1 | Nominations Exceed Capacity
26 | 2001-06-17 | 765937 | 890000 | R | -124063 |  | 0 | Nominations Exceed Capacity
26 | 2001-06-18 | 872152 | 890000 | R | -17848 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-19 | 858471 | 849562 | R | 8909 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-06-20 | 890932 | 889974 | R | 958 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-06-21 | 890204 | 889974 | R | 230 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-06-22 | 873683 | 873481 | R | 202 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-06-23 | 861180 | 855464 | R | 5716 | Flow rate Calculation
26 | 2001-06-24 | 817329 | 800822 | R | 16507 | Flow rate Calculation
26 | 2001-06-25 | 866843 | 875644 | R | -8801 |  | 3 | Nominations Exceed Capacity
26 | 2001-06-26 | 850920 | 869000 | R | -18080
26 | 2001-06-27 | 871428 | 872470 | R | -1042 |  | 4 | Nominations Exceed Capacity
26 | 2001-06-28 | 863490 | 874000 | R | -10510
26 | 2001-06-29 | 822784 | 849660 | R | -26876
26 | 2001-06-30 | 823490 | 878000 | R | -54510
26 | 2001-07-01 | 800334 | 878000 | R | -77666
26 | 2001-07-02 | 851197 | 878000 | R | -26803
26 | 2001-07-03 | 869626 | 868742 | R | 884 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-07-04 | 849792 | 855262 | R | -5470
26 | 2001-07-05 | 851797 | 857986 | R | -6189 |  | 4 | Nominations Exceed Capacity
26 | 2001-07-06 | 830475 | 856738 | R | -26263 |  | 3 | Nominations Exceed Capacity
26 | 2001-07-07 | 859899 | 878000 | R | -18101
26 | 2001-07-08 | 842479 | 852092 | R | -9613
26 | 2001-07-09 | 779328 | 828000 | R | -48672
26 | 2001-07-10 | 837539 | 850000 | R | -12461
26 | 2001-07-11 | 819801 | 859639 | R | -39838
26 | 2001-07-12 | 845354 | 877980 | R | -32626 |  | 3 | Nominations Exceed Capacity
26 | 2001-07-13 | 850543 | 878000 | R | -27457
26 | 2001-07-14 | 884982 | 878000 | R | 6982 | Flow rate Calculation
26 | 2001-07-15 | 783078 | 878000 | R | -94922
26 | 2001-07-16 | 774180 | 790182 | R | -16002
26 | 2001-07-17 | 846693 | 854338 | R | -7645
26 | 2001-07-18 | 831960 | 850000 | R | -18040
26 | 2001-07-19 | 845550 | 850000 | R | -4450
26 | 2001-07-20 | 794826 | 878000 | R | -83174
26 | 2001-07-21 | 816124 | 878000 | R | -61876
26 | 2001-07-22 | 794947 | 878000 | R | -83053
26 | 2001-07-23 | 848001 | 860772 | R | -12771
26 | 2001-07-24 | 818890 | 878000 | R | -59110
26 | 2001-07-25 | 819901 | 858108 | R | -38207 |  | 4 | Nominations Exceed Capacity
26 | 2001-07-26 | 845468 | 878000 | R | -32532
26 | 2001-07-27 | 886560 | 878000 | R | 8560 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-07-28 | 866436 | 856000 | R | 10436 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-07-29 | 836396 | 878000 | R | -41604
26 | 2001-07-30 | 834550 | 878000 | R | -43450
26 | 2001-07-31 | 865999 | 878000 | R | -12001
26 | 2001-08-01 | 857711 | 878000 | R | -20289
26 | 2001-08-02 | 809839 | 878000 | R | -68161
26 | 2001-08-03 | 875222 | 878000 | R | -2778
26 | 2001-08-04 | 852591 | 878000 | R | -25409
26 | 2001-08-05 | 847843 | 878000 | R | -30157
26 | 2001-08-06 | 857216 | 878000 | R | -20784
26 | 2001-08-07 | 871246 | 878000 | R | -6754
26 | 2001-08-08 | 878581 | 878000 | R | 581 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-08-09 | 858355 | 878000 | R | -19645 |  | 4 | Nominations Exceed Capacity
26 | 2001-08-10 | 827525 | 878000 | R | -50475 |  | 0 | Nominations Exceed Capacity
26 | 2001-08-11 | 874756 | 873714 | R | 1042 | Flow rate Calculation | 4 | Nominations Exceed Capacity
26 | 2001-08-12 | 877966 | 878000 | R | -34 |  | 4 | Nominations Exceed Capacity
26 | 2001-08-13 | 871339 | 878000 | R | -6661 |  | 0 | Nominations Exceed Capacity
26 | 2001-08-14 | 872972 | 878000 | R | -5028 |  | 2 | Nominations Exceed Capacity
26 | 2001-08-15 | 878128 | 878000 | R | 128 | Flow rate Calculation | 3 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-08-16 | 863303 | 878000 | R | -14697 |  | 2 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-08-17 | 878610 | 878000 | R | 610 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-08-18 | 865204 | 878000 | R | -12796 |  | 3 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-08-19 | 842233 | 800000 | R | 42233 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-08-20 | 746027 | 800000 | R | -53973 |  | 4 | Force Majeure
26 | 2001-08-21 | 799129 | 800000 | R | -871 |  | 4 | Force Majeure
26 | 2001-08-22 | 787795 | 800000 | R | -12205 |  | 4 | Force Majeure
26 | 2001-08-23 | 794284 | 800000 | R | -5716 |  | 4 | Force Majeure
26 | 2001-08-24 | 789103 | 800000 | R | -10897 |  | 3 | Force Majeure
26 | 2001-08-25 | 801405 | 800000 | R | 1405 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-08-26 | 800024 | 800000 | R | 24 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-08-27 | 799472 | 800000 | R | -528 |  | 4 | Force Majeure
26 | 2001-08-28 | 797351 | 800000 | R | -2649 |  | 4 | Force Majeure
26 | 2001-08-29 | 777449 | 800000 | R | -22551 |  | 4 | Force Majeure
26 | 2001-08-30 | 800716 | 800000 | R | 716 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-08-31 | 803876 | 800000 | R | 3876 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-01 | 799264 | 800000 | R | -736 |  | 4 | Force Majeure
26 | 2001-09-02 | 809830 | 800000 | R | 9830 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-03 | 804552 | 800000 | R | 4552 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-04 | 798559 | 800000 | R | -1441 |  | 4 | Force Majeure
26 | 2001-09-05 | 803048 | 800000 | R | 3048 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-06 | 763700 | 800000 | R | -36300 |  | 4 | Force Majeure
26 | 2001-09-07 | 786923 | 800000 | R | -13077 |  | 4 | Force Majeure
26 | 2001-09-08 | 800608 | 800000 | R | 608 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-09 | 801648 | 800000 | R | 1648 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-10 | 811826 | 800000 | R | 11826 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-11 | 774813 | 800000 | R | -25187 |  | 1 | Force Majeure
26 | 2001-09-12 | 789133 | 800000 | R | -10867 |  | 4 | Force Majeure
26 | 2001-09-13 | 801372 | 800000 | R | 1372 | Flow rate Calculation | 3 | Force Majeure
26 | 2001-09-14 | 802320 | 800000 | R | 2320 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-15 | 800619 | 800000 | R | 619 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-16 | 803616 | 800000 | R | 3616 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-17 | 806986 | 800000 | R | 6986 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-18 | 795762 | 800000 | R | -4238 |  | 4 | Force Majeure
26 | 2001-09-19 | 783486 | 800000 | R | -16514 |  | 0 | Force Majeure
26 | 2001-09-20 | 805370 | 800000 | R | 5370 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-21 | 800713 | 800000 | R | 713 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-22 | 802693 | 800000 | R | 2693 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-23 | 801904 | 800000 | R | 1904 | Flow rate Calculation | 4 | Force Majeure
26 | 2001-09-24 | 851784 | 890000 | R | -38216
26 | 2001-09-25 | 836888 | 890000 | R | -53112
26 | 2001-09-26 | 854124 | 890000 | R | -35876
26 | 2001-09-27 | 866950 | 890000 | R | -23050
26 | 2001-09-28 | 863997 | 890000 | R | -26003 |  | 0 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-09-29 | 868317 | 890000 | R | -21683 |  | 0 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-09-30 | 857232 | 890000 | R | -32768 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-01 | 841732 | 890000 | R | -48268 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-02 | 857952 | 890000 | R | -32048 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-03 | 875617 | 890000 | R | -14383 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-04 | 869260 | 890000 | R | -20740 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-05 | 849403 | 890000 | R | -40597 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-06 | 867523 | 890000 | R | -22477 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-07 | 871403 | 890000 | R | -18597 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-08 | 871747 | 890000 | R | -18253 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-09 | 867982 | 890000 | R | -22018 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-10 | 874724 | 890000 | R | -15276 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-11 | 861367 | 890000 | R | -28633 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-12 | 871738 | 890000 | R | -18262 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-13 | 863267 | 890000 | R | -26733 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-14 | 851607 | 890000 | R | -38393 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-15 | 876678 | 890000 | R | -13322 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-16 | 870800 | 890000 | R | -19200 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-17 | 881828 | 890000 | R | -8172 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-18 | 873489 | 890000 | R | -16511 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-19 | 867241 | 890000 | R | -22759 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-20 | 874160 | 890000 | R | -15840 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-21 | 878283 | 890000 | R | -11717 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-22 | 878345 | 890000 | R | -11655 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-23 | 864075 | 890000 | R | -25925 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-24 | 864944 | 890000 | R | -25056 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-25 | 848370 | 890000 | R | -41630 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-26 | 873630 | 890000 | R | -16370 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-27 | 833233 | 890000 | R | -56767 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-28 | 856487 | 890000 | R | -33513 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-29 | 850182 | 890000 | R | -39818 |  | 4 | Pipeline Capacity Constraint at Receipt Location
26 | 2001-10-30 | 842926 | 890000 | R | -47074
28 | 2000-10-01 | 381958 | 750000 | R | -368042
28 | 2000-10-02 | 349870 | 750000 | R | -400130
28 | 2000-10-03 | 352184 | 750000 | R | -397816
28 | 2000-10-04 | 328214 | 750000 | R | -421786
28 | 2000-10-05 | 436851 | 750000 | R | -313149
28 | 2000-10-06 | 387653 | 750000 | R | -362347
28 | 2000-10-07 | 432063 | 750000 | R | -317937
28 | 2000-10-08 | 380994 | 750000 | R | -369006
28 | 2000-10-09 | 326445 | 750000 | R | -423555
28 | 2000-10-10 | 243247 | 750000 | R | -506753
28 | 2000-10-11 | 245912 | 750000 | R | -504088
28 | 2000-10-12 | 403620 | 750000 | R | -346380
28 | 2000-10-13 | 391365 | 750000 | R | -358635
28 | 2000-10-14 | 373308 | 750000 | R | -376692
28 | 2000-10-15 | 371476 | 750000 | R | -378524
28 | 2000-10-16 | 391078 | 750000 | R | -358922
28 | 2000-10-17 | 389538 | 750000 | R | -360462
28 | 2000-10-18 | 345238 | 750000 | R | -404762
28 | 2000-10-19 | 277265 | 750000 | R | -472735
28 | 2000-10-20 | 345571 | 750000 | R | -404429
28 | 2000-10-21 | 393544 | 750000 | R | -356456
28 | 2000-10-22 | 390464 | 750000 | R | -359536
28 | 2000-10-23 | 401857 | 750000 | R | -348143
28 | 2000-10-24 | 445457 | 750000 | R | -304543
28 | 2000-10-25 | 456441 | 750000 | R | -293559
28 | 2000-10-26 | 435155 | 750000 | R | -314845
28 | 2000-10-27 | 470398 | 750000 | R | -279602
28 | 2000-10-28 | 433725 | 750000 | R | -316275
28 | 2000-10-29 | 442162 | 750000 | R | -307838
28 | 2000-10-30 | 399050 | 750000 | R | -350950
28 | 2000-10-31 | 401076 | 750000 | R | -348924
28 | 2000-11-01 | 230524 | 750000 | R | -519476
28 | 2000-11-02 | 193859 | 750000 | R | -556141
28 | 2000-11-03 | 258104 | 750000 | R | -491896
28 | 2000-11-04 | 276890 | 750000 | R | -473110
28 | 2000-11-05 | 283281 | 750000 | R | -466719
28 | 2000-11-06 | 233571 | 750000 | R | -516429
28 | 2000-11-07 | 304454 | 750000 | R | -445546
28 | 2000-11-08 | 243163 | 750000 | R | -506837
28 | 2000-11-09 | 297430 | 750000 | R | -452570
28 | 2000-11-10 | 258239 | 750000 | R | -491761
28 | 2000-11-11 | 265501 | 750000 | R | -484499
28 | 2000-11-12 | 264800 | 750000 | R | -485200
28 | 2000-11-13 | 247613 | 750000 | R | -502387
28 | 2000-11-14 | 314269 | 750000 | R | -435731
28 | 2000-11-15 | 131783 | 750000 | R | -618217
28 | 2000-11-16 | 95107 | 750000 | R | -654893
28 | 2000-11-17 | 276212 | 750000 | R | -473788
28 | 2000-11-18 | 253605 | 750000 | R | -496395
28 | 2000-11-19 | 275581 | 750000 | R | -474419
28 | 2000-11-20 | 239231 | 750000 | R | -510769
28 | 2000-11-21 | 318661 | 750000 | R | -431339
28 | 2000-11-22 | 290971 | 750000 | R | -459029
28 | 2000-11-23 | 278039 | 750000 | R | -471961
28 | 2000-11-24 | 268909 | 750000 | R | -481091
28 | 2000-11-25 | 286224 | 750000 | R | -463776
28 | 2000-11-26 | 300587 | 750000 | R | -449413
28 | 2000-11-27 | 281585 | 750000 | R | -468415
28 | 2000-11-28 | 305881 | 750000 | R | -444119
28 | 2000-11-29 | 319263 | 750000 | R | -430737
28 | 2000-11-30 | 312567 | 750000 | R | -437433
28 | 2000-12-01 | 253295 | 750000 | R | -496705
28 | 2000-12-02 | 262001 | 750000 | R | -487999
28 | 2000-12-03 | 270294 | 750000 | R | -479706
28 | 2000-12-04 | 290374 | 750000 | R | -459626
28 | 2000-12-05 | 281289 | 750000 | R | -468711
28 | 2000-12-06 | 295479 | 750000 | R | -454521
28 | 2000-12-07 | 334437 | 750000 | R | -415563
28 | 2000-12-08 | 338844 | 750000 | R | -411156
28 | 2000-12-09 | 333523 | 750000 | R | -416477
28 | 2000-12-10 | 330827 | 750000 | R | -419173
28 | 2000-12-11 | 327869 | 750000 | R | -422131
28 | 2000-12-12 | 315506 | 750000 | R | -434494
28 | 2000-12-13 | 313606 | 750000 | R | -436394
28 | 2000-12-14 | 310563 | 750000 | R | -439437
28 | 2000-12-15 | 318016 | 750000 | R | -431984
28 | 2000-12-16 | 300866 | 750000 | R | -449134
28 | 2000-12-17 | 291835 | 750000 | R | -458165
28 | 2000-12-18 | 327341 | 750000 | R | -422659
28 | 2000-12-19 | 329951 | 750000 | R | -420049
28 | 2000-12-20 | 320777 | 750000 | R | -429223
28 | 2000-12-21 | 321017 | 750000 | R | -428983
28 | 2000-12-22 | 319896 | 750000 | R | -430104
28 | 2000-12-23 | 311767 | 750000 | R | -438233
28 | 2000-12-24 | 305396 | 750000 | R | -444604
28 | 2000-12-25 | 314279 | 750000 | R | -435721
28 | 2000-12-26 | 309484 | 750000 | R | -440516
28 | 2000-12-27 | 309556 | 750000 | R | -440444
28 | 2000-12-28 | 321658 | 750000 | R | -428342
28 | 2000-12-29 | 349544 | 750000 | R | -400456
28 | 2000-12-30 | 375463 | 750000 | R | -374537
28 | 2000-12-31 | 367495 | 750000 | R | -382505
28 | 2001-01-01 | 360211 | 750000 | R | -389789
28 | 2001-01-02 | 370304 | 750000 | R | -379696
28 | 2001-01-03 | 387221 | 750000 | R | -362779
28 | 2001-01-04 | 347098 | 750000 | R | -402902
28 | 2001-01-05 | 386312 | 750000 | R | -363688
28 | 2001-01-06 | 378284 | 750000 | R | -371716
28 | 2001-01-07 | 382452 | 750000 | R | -367548
28 | 2001-01-08 | 384432 | 750000 | R | -365568
28 | 2001-01-09 | 388210 | 750000 | R | -361790
28 | 2001-01-10 | 384999 | 750000 | R | -365001
28 | 2001-01-11 | 383908 | 750000 | R | -366092
28 | 2001-01-12 | 360728 | 750000 | R | -389272
28 | 2001-01-13 | 358850 | 750000 | R | -391150
28 | 2001-01-14 | 358758 | 750000 | R | -391242
28 | 2001-01-15 | 360241 | 750000 | R | -389759
28 | 2001-01-16 | 336930 | 750000 | R | -413070
28 | 2001-01-17 | 387108 | 750000 | R | -362892
28 | 2001-01-18 | 396491 | 750000 | R | -353509
28 | 2001-01-19 | 412573 | 750000 | R | -337427
28 | 2001-01-20 | 391399 | 750000 | R | -358601
28 | 2001-01-21 | 370254 | 750000 | R | -379746
28 | 2001-01-22 | 403146 | 750000 | R | -346854
28 | 2001-01-23 | 389900 | 750000 | R | -360100
28 | 2001-01-24 | 387246 | 750000 | R | -362754
28 | 2001-01-25 | 381251 | 750000 | R | -368749
28 | 2001-01-26 | 369391 | 750000 | R | -380609
28 | 2001-01-27 | 392060 | 750000 | R | -357940
28 | 2001-01-28 | 396126 | 750000 | R | -353874
28 | 2001-01-29 | 387195 | 750000 | R | -362805
28 | 2001-01-30 | 397768 | 750000 | R | -352232
28 | 2001-01-31 | 385820 | 750000 | R | -364180
28 | 2001-02-01 | 383879 | 750000 | R | -366121
28 | 2001-02-02 | 311784 | 750000 | R | -438216
28 | 2001-02-03 | 363966 | 750000 | R | -386034
28 | 2001-02-04 | 342968 | 750000 | R | -407032
28 | 2001-02-05 | 358886 | 750000 | R | -391114
28 | 2001-02-06 | 387309 | 750000 | R | -362691
28 | 2001-02-07 | 362373 | 750000 | R | -387627
28 | 2001-02-08 | 363634 | 750000 | R | -386366
28 | 2001-02-09 | 378400 | 750000 | R | -371600
28 | 2001-02-10 | 371163 | 750000 | R | -378837
28 | 2001-02-11 | 375138 | 750000 | R | -374862
28 | 2001-02-12 | 374613 | 750000 | R | -375387
28 | 2001-02-13 | 378706 | 750000 | R | -371294
28 | 2001-02-14 | 389302 | 750000 | R | -360698
28 | 2001-02-15 | 386338 | 750000 | R | -363662
28 | 2001-02-16 | 405161 | 750000 | R | -344839
28 | 2001-02-17 | 373585 | 750000 | R | -376415
28 | 2001-02-18 | 385320 | 750000 | R | -364680
28 | 2001-02-19 | 364663 | 750000 | R | -385337
28 | 2001-02-20 | 379691 | 750000 | R | -370309
28 | 2001-02-21 | 340296 | 750000 | R | -409704
28 | 2001-02-22 | 325994 | 750000 | R | -424006
28 | 2001-02-23 | 326488 | 750000 | R | -423512
28 | 2001-02-24 | 307026 | 750000 | R | -442974
28 | 2001-02-25 | 316169 | 750000 | R | -433831
28 | 2001-02-26 | 315339 | 750000 | R | -434661
28 | 2001-02-27 | 335751 | 750000 | R | -414249
28 | 2001-02-28 | 339954 | 750000 | R | -410046
28 | 2001-03-01 | 315260 | 750000 | R | -434740
28 | 2001-03-02 | 295665 | 750000 | R | -454335
28 | 2001-03-03 | 295693 | 750000 | R | -454307
28 | 2001-03-04 | 295335 | 750000 | R | -454665
28 | 2001-03-05 | 242133 | 750000 | R | -507867
28 | 2001-03-06 | 15999 | 750000 | R | -734001
28 | 2001-03-07 | 317018 | 750000 | R | -432982
28 | 2001-03-08 | 333120 | 750000 | R | -416880
28 | 2001-03-09 | 333654 | 750000 | R | -416346
28 | 2001-03-10 | 333554 | 750000 | R | -416446
28 | 2001-03-11 | 332765 | 750000 | R | -417235
28 | 2001-03-12 | 333141 | 750000 | R | -416859
28 | 2001-03-13 | 314830 | 750000 | R | -435170
28 | 2001-03-14 | 337351 | 750000 | R | -412649
28 | 2001-03-15 | 320653 | 750000 | R | -429347
28 | 2001-03-16 | 343965 | 750000 | R | -406035
28 | 2001-03-17 | 377662 | 750000 | R | -372338
28 | 2001-03-18 | 332441 | 750000 | R | -417559
28 | 2001-03-19 | 333402 | 750000 | R | -416598
28 | 2001-03-20 | 311464 | 750000 | R | -438536
28 | 2001-03-21 | 317271 | 750000 | R | -432729
28 | 2001-03-22 | 328991 | 750000 | R | -421009
28 | 2001-03-23 | 323110 | 750000 | R | -426890
28 | 2001-03-24 | 303171 | 750000 | R | -446829
28 | 2001-03-25 | 314308 | 750000 | R | -435692
28 | 2001-03-26 | 296944 | 750000 | R | -453056
28 | 2001-03-27 | 323204 | 750000 | R | -426796
28 | 2001-03-28 | 357003 | 750000 | R | -392997
28 | 2001-03-29 | 350909 | 750000 | R | -399091
28 | 2001-03-30 | 368899 | 750000 | R | -381101
28 | 2001-03-31 | 326215 | 750000 | R | -423785
28 | 2001-04-01 | 256729 | 750000 | R | -493271
28 | 2001-04-02 | 6379 | 750000 | R | -743621
28 | 2001-04-03 | 375 | 750000 | R | -749625
28 | 2001-04-04 | 199909 | 750000 | R | -550091
28 | 2001-04-05 | 211121 | 750000 | R | -538879
28 | 2001-04-06 | 275942 | 750000 | R | -474058
28 | 2001-04-07 | 281317 | 750000 | R | -468683
28 | 2001-04-08 | 275559 | 750000 | R | -474441
28 | 2001-04-09 | 293039 | 750000 | R | -456961
28 | 2001-04-10 | 319383 | 750000 | R | -430617
28 | 2001-04-11 | 300692 | 750000 | R | -449308
28 | 2001-04-12 | 239781 | 750000 | R | -510219
28 | 2001-04-13 | 228332 | 750000 | R | -521668
28 | 2001-04-14 | 275177 | 750000 | R | -474823
28 | 2001-04-15 | 253886 | 750000 | R | -496114
28 | 2001-04-16 | 295775 | 750000 | R | -454225
28 | 2001-04-17 | 289171 | 750000 | R | -460829
28 | 2001-04-18 | 319908 | 750000 | R | -430092
28 | 2001-04-19 | 291664 | 750000 | R | -458336
28 | 2001-04-20 | 344045 | 750000 | R | -405955
28 | 2001-04-21 | 289455 | 750000 | R | -460545
28 | 2001-04-22 | 304727 | 750000 | R | -445273
28 | 2001-04-23 | 277091 | 750000 | R | -472909
28 | 2001-04-24 | 319514 | 750000 | R | -430486
28 | 2001-04-25 | 328068 | 750000 | R | -421932
28 | 2001-04-26 | 302724 | 750000 | R | -447276
28 | 2001-04-27 | 311349 | 750000 | R | -438651
28 | 2001-04-28 | 328039 | 750000 | R | -421961
28 | 2001-04-29 | 329069 | 750000 | R | -420931
28 | 2001-04-30 | 298423 | 750000 | R | -451577
28 | 2001-05-01 | 404324 | 750000 | R | -345676
28 | 2001-05-02 | 372363 | 750000 | R | -377637
28 | 2001-05-03 | 286760 | 750000 | R | -463240
28 | 2001-05-04 | 303009 | 750000 | R | -446991
28 | 2001-05-05 | 287942 | 750000 | R | -462058
28 | 2001-05-06 | 292822 | 750000 | R | -457178
28 | 2001-05-07 | 281552 | 750000 | R | -468448
28 | 2001-05-08 | 308718 | 750000 | R | -441282
28 | 2001-05-09 | 229762 | 750000 | R | -520238
28 | 2001-05-10 | 227791 | 750000 | R | -522209
28 | 2001-05-11 | 238963 | 750000 | R | -511037
28 | 2001-05-12 | 231485 | 750000 | R | -518515
28 | 2001-05-13 | 301508 | 750000 | R | -448492
28 | 2001-05-14 | 292214 | 750000 | R | -457786
28 | 2001-05-15 | 275773 | 750000 | R | -474227
28 | 2001-05-16 | 274161 | 750000 | R | -475839
28 | 2001-05-17 | 315779 | 750000 | R | -434221
28 | 2001-05-18 | 317921 | 750000 | R | -432079
28 | 2001-05-19 | 316176 | 750000 | R | -433824
28 | 2001-05-20 | 294726 | 750000 | R | -455274
28 | 2001-05-21 | 337841 | 750000 | R | -412159
28 | 2001-05-22 | 302092 | 750000 | R | -447908
28 | 2001-05-23 | 275534 | 750000 | R | -474466
28 | 2001-05-24 | 285952 | 750000 | R | -464048
28 | 2001-05-25 | 307476 | 750000 | R | -442524
28 | 2001-05-26 | 317467 | 750000 | R | -432533
28 | 2001-05-27 | 345130 | 750000 | R | -404870
28 | 2001-05-28 | 326862 | 750000 | R | -423138
28 | 2001-05-29 | 305607 | 750000 | R | -444393
28 | 2001-05-30 | 298239 | 750000 | R | -451761
28 | 2001-05-31 | 314332 | 750000 | R | -435668
28 | 2001-06-01 | 303438 | 750000 | R | -446562
28 | 2001-06-02 | 311288 | 750000 | R | -438712
28 | 2001-06-03 | 307907 | 750000 | R | -442093
28 | 2001-06-04 | 351978 | 640666 | R | -288688 |  | 4 | Nominations Exceed Capacity
28 | 2001-06-05 | 315798 | 706000 | R | -390202
28 | 2001-06-06 | 282425 | 706000 | R | -423575
28 | 2001-06-07 | 276895 | 708966 | R | -432071
28 | 2001-06-08 | 280068 | 750000 | R | -469932
28 | 2001-06-09 | 277067 | 706000 | R | -428933
28 | 2001-06-10 | 303115 | 706000 | R | -402885
28 | 2001-06-11 | 311692 | 706000 | R | -394308
28 | 2001-06-12 | 319656 | 706000 | R | -386344 |  | 4 | Nominations Exceed Capacity
28 | 2001-06-13 | 298591 | 650000 | R | -351409 |  | 4 | Nominations Exceed Capacity
28 | 2001-06-14 | 296521 | 674968 | R | -378447 |  | 4 | Nominations Exceed Capacity
28 | 2001-06-15 | 269125 | 675000 | R | -405875 |  | 2 | Nominations Exceed Capacity
28 | 2001-06-16 | 221350 | 706000 | R | -484650
28 | 2001-06-17 | 209977 | 706000 | R | -496023
28 | 2001-06-18 | 306384 | 706000 | R | -399616
28 | 2001-06-19 | 311920 | 706000 | R | -394080
28 | 2001-06-20 | 316134 | 706000 | R | -389866
28 | 2001-06-21 | 321302 | 706000 | R | -384698
28 | 2001-06-22 | 284340 | 706000 | R | -421660
28 | 2001-06-23 | 281739 | 706000 | R | -424261
28 | 2001-06-24 | 277939 | 706000 | R | -428061
28 | 2001-06-25 | 281553 | 706000 | R | -424447
28 | 2001-06-26 | 296945 | 706000 | R | -409055
28 | 2001-06-27 | 282755 | 706000 | R | -423245
28 | 2001-06-28 | 294636 | 706000 | R | -411364
28 | 2001-06-29 | 209910 | 706000 | R | -496090
28 | 2001-06-30 | 289036 | 706000 | R | -416964
28 | 2001-07-01 | 275114 | 706000 | R | -430886
28 | 2001-07-02 | 307037 | 706000 | R | -398963
28 | 2001-07-03 | 281811 | 706000 | R | -424189
28 | 2001-07-04 | 273964 | 706000 | R | -432036
28 | 2001-07-05 | 286906 | 706000 | R | -419094
28 | 2001-07-06 | 374006 | 706000 | R | -331994
28 | 2001-07-07 | 328593 | 706000 | R | -377407
28 | 2001-07-08 | 312793 | 706000 | R | -393207
28 | 2001-07-09 | 253042 | 706000 | R | -452958
28 | 2001-07-10 | 330421 | 706000 | R | -375579
28 | 2001-07-11 | 297496 | 706000 | R | -408504
28 | 2001-07-12 | 322750 | 696979 | R | -374229 |  | 2 | Nominations Exceed Capacity
28 | 2001-07-13 | 324488 | 700000 | R | -375512
28 | 2001-07-14 | 353558 | 700000 | R | -346442
28 | 2001-07-15 | 328885 | 700000 | R | -371115
28 | 2001-07-16 | 353836 | 678000 | R | -324164
28 | 2001-07-17 | 368382 | 700000 | R | -331618
28 | 2001-07-18 | 557987 | 700000 | R | -142013
28 | 2001-07-19 | 601120 | 700000 | R | -98880
28 | 2001-07-20 | 668164 | 727880 | R | -59716
28 | 2001-07-21 | 675421 | 700000 | R | -24579 |  | 2 | Nominations Exceed Capacity
28 | 2001-07-22 | 653589 | 700000 | R | -46411
28 | 2001-07-23 | 649605 | 700000 | R | -50395
28 | 2001-07-24 | 653700 | 700000 | R | -46300 |  | 3 | Nominations Exceed Capacity
28 | 2001-07-25 | 683320 | 733512 | R | -50192 |  | 4 | Nominations Exceed Capacity
28 | 2001-07-26 | 677648 | 726082 | R | -48434 |  | 4 | Nominations Exceed Capacity
28 | 2001-07-27 | 693443 | 700000 | R | -6557 |  | 4 | Nominations Exceed Capacity
28 | 2001-07-28 | 668273 | 700000 | R | -31727 |  | 2 | Nominations Exceed Capacity
28 | 2001-07-29 | 684739 | 700000 | R | -15261
28 | 2001-07-30 | 619742 | 700000 | R | -80258 |  | 2 | Nominations Exceed Capacity
28 | 2001-07-31 | 657447 | 700000 | R | -42553 |  | 2 | Nominations Exceed Capacity
28 | 2001-08-01 | 674983 | 700000 | R | -25017
28 | 2001-08-02 | 578614 | 700000 | R | -121386
28 | 2001-08-03 | 655804 | 700000 | R | -44196
28 | 2001-08-04 | 618960 | 700000 | R | -81040
28 | 2001-08-05 | 592190 | 700000 | R | -107810
28 | 2001-08-06 | 618496 | 700000 | R | -81504
28 | 2001-08-07 | 621975 | 700000 | R | -78025
28 | 2001-08-08 | 652787 | 700000 | R | -47213
28 | 2001-08-09 | 642819 | 700000 | R | -57181
28 | 2001-08-10 | 644984 | 700000 | R | -55016
28 | 2001-08-11 | 678803 | 700000 | R | -21197
28 | 2001-08-12 | 665102 | 700000 | R | -34898
28 | 2001-08-13 | 666959 | 700000 | R | -33041
28 | 2001-08-14 | 628363 | 700000 | R | -71637
28 | 2001-08-15 | 663762 | 700000 | R | -36238
28 | 2001-08-16 | 690061 | 700000 | R | -9939 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-17 | 666898 | 700000 | R | -33102 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-18 | 697645 | 700000 | R | -2355 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-19 | 683870 | 700000 | R | -16130 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-20 | 617526 | 700000 | R | -82474 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-21 | 641570 | 700000 | R | -58430 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-22 | 649174 | 700000 | R | -50826
28 | 2001-08-23 | 663124 | 700000 | R | -36876 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-24 | 685334 | 700000 | R | -14666 |  | 3 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-08-25 | 620718 | 700000 | R | -79282
28 | 2001-08-26 | 596927 | 700000 | R | -103073
28 | 2001-08-27 | 638250 | 700000 | R | -61750
28 | 2001-08-28 | 642911 | 700000 | R | -57089
28 | 2001-08-29 | 598820 | 700000 | R | -101180
28 | 2001-08-30 | 610323 | 700000 | R | -89677
28 | 2001-08-31 | 594206 | 700000 | R | -105794
28 | 2001-09-01 | 580001 | 700000 | R | -119999
28 | 2001-09-02 | 564169 | 700000 | R | -135831
28 | 2001-09-03 | 602318 | 700000 | R | -97682
28 | 2001-09-04 | 591694 | 700000 | R | -108306
28 | 2001-09-05 | 674709 | 700000 | R | -25291 |  | 3 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-09-06 | 635388 | 700000 | R | -64612 |  | 3 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-09-07 | 628570 | 700000 | R | -71430
28 | 2001-09-08 | 635926 | 700000 | R | -64074
28 | 2001-09-09 | 640449 | 700000 | R | -59551
28 | 2001-09-10 | 630434 | 700000 | R | -69566
28 | 2001-09-11 | 645215 | 700000 | R | -54785
28 | 2001-09-12 | 633651 | 700000 | R | -66349
28 | 2001-09-13 | 583000 | 700000 | R | -117000
28 | 2001-09-14 | 675653 | 700000 | R | -24347
28 | 2001-09-15 | 634142 | 700000 | R | -65858
28 | 2001-09-16 | 626119 | 700000 | R | -73881
28 | 2001-09-17 | 586571 | 700000 | R | -113429
28 | 2001-09-18 | 587287 | 700000 | R | -112713
28 | 2001-09-19 | 571354 | 700000 | R | -128646
28 | 2001-09-20 | 520423 | 700000 | R | -179577
28 | 2001-09-21 | 604675 | 700000 | R | -95325
28 | 2001-09-22 | 628836 | 700000 | R | -71164
28 | 2001-09-23 | 620505 | 700000 | R | -79495
28 | 2001-09-24 | 652491 | 700000 | R | -47509
28 | 2001-09-25 | 586783 | 700000 | R | -113217
28 | 2001-09-26 | 615568 | 700000 | R | -84432
28 | 2001-09-27 | 642530 | 700000 | R | -57470
28 | 2001-09-28 | 660873 | 700000 | R | -39127
28 | 2001-09-29 | 654800 | 700000 | R | -45200
28 | 2001-09-30 | 632261 | 700000 | R | -67739
28 | 2001-10-01 | 639688 | 705000 | R | -65312 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-02 | 625478 | 705000 | R | -79522 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-03 | 631692 | 705000 | R | -73308 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-04 | 615029 | 705000 | R | -89971 |  | 3 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-05 | 653286 | 705000 | R | -51714 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-06 | 604974 | 705000 | R | -100026 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-07 | 601872 | 705000 | R | -103128 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-08 | 601787 | 705000 | R | -103213 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-09 | 612692 | 705000 | R | -92308 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-10 | 636212 | 705000 | R | -68788 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-11 | 644805 | 705000 | R | -60195 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-12 | 638419 | 705000 | R | -66581 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-13 | 651052 | 705000 | R | -53948 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-14 | 617154 | 705000 | R | -87846 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-15 | 640649 | 705000 | R | -64351 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-16 | 667348 | 705000 | R | -37652 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-17 | 679998 | 705000 | R | -25002 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-18 | 686111 | 705000 | R | -18889 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-19 | 649141 | 705000 | R | -55859 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-20 | 632839 | 705000 | R | -72161
28 | 2001-10-21 | 643914 | 705000 | R | -61086 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-22 | 623937 | 705000 | R | -81063
28 | 2001-10-23 | 647647 | 705000 | R | -57353 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-24 | 614097 | 705000 | R | -90903 |  | 2 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-25 | 631245 | 705000 | R | -73755 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-26 | 679099 | 705000 | R | -25901 |  | 4 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-27 | 577264 | 705000 | R | -127736
28 | 2001-10-28 | 596037 | 705000 | R | -108963
28 | 2001-10-29 | 619625 | 705000 | R | -85375 |  | 3 | Pipeline Capacity Constraint at Receipt Location
28 | 2001-10-30 | 622153 | 705000 | R | -82847 |  | 4 | Pipeline Capacity Constraint at Receipt Location
Summary Page
West of Thoreau Group 24
October 2000 11 days Allocated |  |  |  | 35%
November 2000 26 days Allocated |  |  |  | 86%
December 2000 31 days Allocated |  |  |  | 100%
January 2001 31 days Allocated |  |  |  | 100%
Feburary 2001 27 days Allocated |  |  |  | 97%
March 2001 31 days Allocated |  |  |  | 100%
April 2001 30 days Allocated |  |  |  | 100%
May 2001 30 days Allocated |  |  |  | 97%
June 2001 21 days Allocated |  |  |  | 70%
July 2001 22 days Allocated |  |  |  | 71%
August 2001 27 days Allocated |  |  |  | 87%
September 2001 5 days Allocated |  |  |  | 17%
October 2001 3 days Allocated |  |  |  | 10%
| Total | 295 Days |  | 81%
San Jaun Group 26
October 2000 25 days Allocated |  |  |  | 35%
November 2000 16 days Allocated |  |  |  | 86%
December 2000 25 days Allocated |  |  |  | 100%
January 2001 8 days Allocated |  |  |  | 100%
Feburary 2001 10 days Allocated |  |  |  | 97%
March 2001 18 days Allocated |  |  |  | 100%
April 2001 10 days Allocated |  |  |  | 100%
May 2001 15 days Allocated |  |  |  | 97%
June 2001 18 days Allocated |  |  |  | 70%
July 2001 7 days Allocated |  |  |  | 71%
August 2001 24 days Allocated |  |  |  | 87%
September 2001 26 days Allocated |  |  |  | 17%
October 2001 29 days Allocated |  |  |  | 10%
| Total | 231 Days |  | 63%
I/B Link Group 28
October 2000 0 days Allocated |  |  |  | 0%
November 2000 0 days Allocated |  |  |  | 0%
December 2000 0 days Allocated |  |  |  | 0%
January 2001 0 days Allocated |  |  |  | 0%
Feburary 2001 0 days Allocated |  |  |  | 0%
March 2001 0 days Allocated |  |  |  | 0%
April 2001 0 days Allocated |  |  |  | 0%
May 2001 0 days Allocated |  |  |  | 0%
June 2001 5 days Allocated |  |  |  | 17%
July 2001 9 days Allocated |  |  |  | 29%
August 2001 8 days Allocated |  |  |  | 26%
September 2001 2 days Allocated |  |  |  | 7%
October 2001 26 days Allocated |  |  |  | 84%
| Total | 50 Days |  | 14%